BILL OF QUANTITIES/ SCHEDULE “B”

Description & Rate of items based on Schedule/ Market (offered Rates).

REHABILITATION/ ALTERATION WORK OF EXISTING BUILDING FOR REGIONAL DIREDCTOR BUREAU OF STATISTICS OFFICE @ SUKKUR ( OCCUPIED BY NAB OFFICE).

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A(i)” OFFICE BLOCK  BUILDINGS SCHEDULE ITEMS.

| 1/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3725 | CFT | 5445/00 | %CFT | 202826/- |

| 2/- | Dismantling brick work in lime or cement mortar. (S.I.No:13 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3373 | CFT | 1285/63 | %CFT | 43364/- |

| 3/- | Removing door with chowkats. (S.I.JNo:33 P-12). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 08 | Nos. | 142/18 | EACH | 1137/- |

| 4/- | Removing window with sky light. (S.I.No:33(b) P-12). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 23 | Nos. | 102/85 | EACH | 2366/- |

| 5/- | Dismantling cement concrete (1:2:4). (S.I.No:19(C) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 660 | CFT | 3327/50 | %CFT | 21928/- |

| 6/- | Removing cement or lime plaster. (S.I.No:53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13132 | SFT | 121/00 | %SFT | 15890/- |

| 7/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - Using Tor Bar. |  | 179.13 | CWT | 5001/70 | P.CWT | 895955/- |

| 8/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3725 | CFT | 337/00 | P.CFT | 1255325/- |

| 9/- | Pacca brick work in Ground floor in cement sand mortar 1.6. (S.I.no:5(f) P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3373 | CFT | 12674/36 | %CFT | 427506/- |

| 10/- | Add extra labour for Ist: Floor. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3373 | CFT | 438/63 | %CFT | 14795/- |

| 11/- | Providing and fixing G.I. frames/chowkats 7”x2” or 4-1/2” x3” for Window using 20 guage G.I. Sheet i/c welded hinges and fixing. (S.I.No:29 P-94). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - Window. |  | 855 | RFT | 240/50 | P.RFT | 205628/- |

|  | b)Door. |  | 137 | RFT | 228/90 | P.RFT | 31359/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

|

| 12/- | First class deodar wood wrought joinery in doors and windows fixe to position including chowkats, hold fasts, hinges, iron tower bolts cleats deodar paneled or paneled and glazed or fully glazed (Only shutters)( 1-1/3” thick (S.I.No:7(b)P-58). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 592 | SFT | 902/93 | P.SFT | 534535/- |

Page No:2.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 13/- | Galvanized wire gauze fixed to chowkats ¾” thick deodar strips. (S.I.No:14(d) P-59). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 310 | SFT | 190/72 | P.SFT | 59123/- |

| 14/- | Supplying and fixing in position Steel grill of ¾”x1/4” size flat iron of approved design i/c painting 3 coats. (S.I.No:26 P-94) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 473 | SFT | 180/50 | P.SFT | 85377/- |

| 15/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 16068 | SFT | 2206/60 | %SFT | 354556/- |

| 16/- | Cement plaster (1:4) upto 20’ height3/8”thick. (S.I.No:11 (a) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 16068 | SFT | 2197/52 | %SFT | 353098/- |

| 17/- | Cement concrete plain i/c placing compacting finishing curring complete (1:2:4). (S.I.No:5 P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 429 | SFT | 14429/25 | %CFT | 61901/- |

| 18/- | Providing and laying tiles glazed 6”x6” x1/4” on floor on wall facing in required colour and pattern of stile specification. (S.I.No:60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2658 | SFT | 30509/77 | %SFT | 810950/- |

| 19/- | Excavation in foundation of Building Bridges and other structures including dag belling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 438 | CFT | 3176/25 | %0CFT | 1391/- |

| 20/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4(b) P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2363 | CFT | 9416/28 | %CFT | 222507/- |

| 21/- | Laying white marble flooring fine dressed on the surface without winding set in lime mortar (1:2) including rubbing and polishing of the joints 1” thick flooring. (S.I.No:28(b) P-43). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 213 | SFT | 628/93 | P.SFT | 133962/- |

| 22/- | Providing and laying 3/8”thick marble tiles of approved quality and color shade size 8”x4/6”x4” in dado strucking and facing removal/ strucking of existing plaster surface etc over 1-1/2”thick base of cement mortar (1:3) setting mortar base i/c filling the joints and washing the tiles with white cement slurry, curring, finishing cleaning and polishing etc complete. (S.I.No:68(i) P-49). |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4420 | SFT | 186/04 | P.SFT | 822297/- |  |

| 23/- | Supplying and fixing false Ceiling of plaster of paris. (S.I.No: P- ). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1779 | SFT | 25293/42 | %SFT | 449970/- |

| 24/- | Preparing surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick ) filling the voids with zink/chalk plaster of paris mixture applying first coat matt finish and painting 3 coats with matt finish of approved made etc (S.I.No:36(a) P-55) New surface.. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 11403 | SFT | 3444/38 | %SFT | 392763/- |

| 25/- | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk plaster of Paris mixture applying first coat matt finish and painting three coats with matt finish of approved made etc (S.I.No:36 P-55) Old Surface. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13132 | SFT | 2717/00 | %SFT | 356796/- |

Page No:3.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 26/- | Preparing surface Painting with weather coat. (S.I.No: P- ). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4718 | SFT | 2567/95 | %SFT | 121156/- |

| 27/- | Preparing the surface and painting with weather coat of approved make to old weather coat surface. (S.I.No:39(a) P-56). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4282 | SFT | 2118/33 | %SFT | 90707/- |

| 28/- | PNS, Painting doors and windows any type i/c edges three coats. (S.I.No:4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1140 | SFT | 2116/41 | %SFT | 24127/- |

| 29/- | Painting Old Surface, Painting doors and Windows any type i/c edges two coats. (S.I.No:4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1426 | SFT | 1662/21 | %SFT | 23703/- |

| 30/- | Distempering 3 coats. (S.I.No:24© P-54). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4287 | SFT | 1079/65 | %SFT | 46285/- |

| 31/- | Supplying and filling sand under floor plugging into walls. (S.I.No:29 P-26). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4010 | CFT | 1141/25 | %CFT | 45764/- |

| 32/- | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra/ cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/ pattern and design etc complete. (S.I.No:71 P-49). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 5385 | SFT | 199/77 | %SFT | 107561/- |

|  | PART “A(i)” OFFICE BLOCK BUILDINGS SCH: ITEMS TOTAL | RS: | 90,84,807/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F SCHEDULE ITEMS.

| 1/- | Supplying and fixing wash basin mixture of superior quality with C.P. head ½” dia. (S.I.No:14(a) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 07 | Nos. | 2882/00 | EACH | 20174/- |

| 2/- | Supplying and fixing long bib cocks of superior quality with C.P. head ½” dia (S.I.No:1b-b P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 25 | Nos. | 1109/46 | EACH | 27737/- |

| 3/- | Supplying and fixing in position C.P. stop cock (b) ½” dia C.P. stop cock standard pattern. (S.I.No:4(b) P-13). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 16 | Nos. | 843/92 | EACH | 13503/- |

| 4/- | Supplying and fixing C.P. Muslim Shower with double Bib cock & ring pipe etc complete. (S.I.No:19 P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 07 | Nos. | 3432/00 | EACH | 24024/- |

| 5/- | Supplying and fixing bath room accessories set (7 piece) i/c towel rod, brush holder soap tray, shelf of approved quality and design etc complete (S.I.No:22 P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 05 | Nos. | 8122/40 | EACH | 40612/- |

| 6/- | P/F in position nylon connection complete with ½” dia brass stop cock with pair of brass nuts and lining jointing to nylon connection.. (S.I.No:23 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 10 | Nos. | 447/15 | EACH | 4472/- |

| 7/- | Providing and fixing 24” x 18” beveled edge mirror of Belgium glass complete with 1/8” thick hard board and C.P. screws fixed to wooden pleat. (Standard pattern. (S.I.No:03 P-07). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3776/00 | EACH | 7552/- |

Page No:4.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 8/- | Providing and fixing 24” x 18” lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I. cantilever brackets 6” inches built into walls, painted white in two coats after a primay coat of red lead paint a pair of ½” dia rubber plugh and chrome plated brass chain 1-1/4” dia, malleable iron or brass unions and making requisite number of holes in walls, plinth and floor for pipe connections and making good in cement concrete (1:2:4) (Foreign or Equivalent) (S.I.No:10 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 4928/00 | EACH | 19712/- |

| 9/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No:11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 2533/47 | EACH | 10134/- |

| 10/- | Providing and fixing C.I. trap with 4” dia inlet and 4” dia outlet of the approved self cleaning design with a C.I. grating with or without a vent arm including cast of making requisite number of holes in walls, plinth and floor for pipe connection and making good cement concrete (1:2:4). (S.I.No:21 P-5). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 08 | Nos. | 1671/58 | EACH | 13373/- |

| 11/- | Providing and fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1” long C.P. brass screws (1) Towel rail 36” long (b) ¾” dia round or square (Superior quality). (S.I.No:1(b) P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 1412/95 | EACH | 5652/- |

| 12/- | Providing and fixing C.P. brass toilet paper holder of standard size with chrome plated brass brackets complete (Similar to tyfords design No:1108) (b) superior Quality. (S.I.No:2(b) P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 1071/40 | EACH | 4286/- |

| 13/- | Providing G.I. pipes and special etc clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (S.I.No: 1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a)1/2” dia. |  | 150 | RFT | 73/21 | P.RFT | 10982/- |

|  | b)3/4” dia. |  | 160 | RFT | 95/79 | P.RFT | 15326/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 14/- | Providing and fixing ball valve (with unsoldered copper ball) made to B.B S 1212. (S.I.No:6 P-17). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a)1/2” dia. |  | 04 | Nos. | 235/84 | EACH | 943/- |

|  | b)3/4” dia. |  | 04 | Nos. | 290/84 | EACH | 1163/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

|  | c)2” dia. |  | 02 | Nos. | 738/76 | EACH | 1475/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 15/- | Supplying and fixing fiber glass tank of approved quality and design and wall thickness as specified i/c cost of nuts, bolts and fixing in plate form of cement concrete (1:3:6) and making connections for in-let and out-let and over flow pipes etc complete © 500 Gallons wall thickness 4.5 mm. (S.I.No:3© P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 37505/- | EACH | 37505/- |

|  | PART “B” OFFICE BLOCK W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 301791/- |
| --- | --- | --- | --- |

Page No:5.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “C(i)” OFFICE BLOCK P.H.ENGR: SCHEDULE ITEMS.

| 1/- | Providing laying uPVC Pressure Pipes of Class “D” (equivalent make) fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to a head 122 meter or 400’ ft.(S.I.No:3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - 4” dia. |  | 400 | RFT | 226/00 | P.RFT | 90400/- |

|  | - 6” dia. |  | 580 | RFT | 486/00 | P.RFT | 281880/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 2/- | Construction of man hole or inspection chamber for the required dia of circular sewer and 3’-6” (1067mm) depth with walls of B.B. in cement mortar(1:3) cement plaster 1:3: ½” thick inside of wall s and 1” (25mm) thick over benching manhole and chanel i/c fixing C.I. manhole cover with frame of clear opening (1- ½’ x 1- ½’(457x457mm) or 1.75 Cwt (88.9 Kg) embedded in plain C.C.(1:2;4) and fixing 1” (25 mm) dia M/S. steps 6” (15mm) wide projection 4” (102mm) from the face of wall at 12” (305mm) C.C. duly painted etc complete as per specification and drawing No.D.P/1 of public health circle southern zone (S.I.No:1 P-39) P.H.Engr: Schedule ) (S.I.No:1(a) P-46).. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 18 | Nos. | 14748/00 | EACH | 265464/- |

|  | PART “C(i)” OFFICE BLOCK P.H.ENGR: SCHEDULE ITEMS TOTAL | RS: | 637744/- |
| --- | --- | --- | --- |

PART “D” OFFICE BLOCK NON SCHEDULE ITEMS.

| 1/- | S/F Variety make potion. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. |  | EACH |  |

| 2/- | S/F Wash Basin porta make (Foreign quality). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 3/- | S/F Commode porta made (Foreign quality) i/c flush tank. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |
| 4/- | S/F Mortice lock foreign quality. |  |  |  |  |  |  |
|  |  |  | 10 | Nos. |  | EACH |  |

| 5/- | S/Fixing W.C. porta made (Foreign quality) i/c flush tank. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 05 | Nos. |  | EACH |  |

| 6/- | S/Fixing Flag pipe stand i/c G.I. pipe 3” dia 26’ long i/c fixing in C.C. foundation (1:2:4) i/c painting three coats. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 7/- | Supplying and fixing Door closer. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 12 | Nos. |  | EACH |  |

| 8/- | Supplying and Fixing Table glass 12mm with side gola. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 66 | SFT |  | P.SFT |  |

| 9/- | Supplying and Fixing roller blinds curtains special quality. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 104 | SFT |  | P.SFT |  |

|  | PART “D” OFFICE BLOCK NON SCHEDULE ITEMS TOTAL | RS: |  |
| --- | --- | --- | --- |

Page No:6.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A(ii) REPAIR OF BUNGALOWS 3 NOS BUILDINGS SCH: ITEMS.

| 1/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1520 | CFT | 5445/00 | %CFT | 82764/- |

| 2/- | Dismantling cement concrete (1:2:4). (S.I.No:19(C) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 213 | CFT | 3327/50 | %CFT | 7088/- |

| 3/- | Removing cement or lime plaster. (S.I.No:53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 6032 | SFT | 121/00 | %SFT | 7299/- |

| 4/- | Pacca brick work in Ground floor in cement sand mortar 1.6. (S.I.no:5(f) P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1283 | CFT | 12674/36 | %CFT | 162616/- |

| 5/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1520 | CFT | 337/00 | P.CFT | 512240/- |

| 6/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - Using Tor Bar. |  | 83.60 | CWT | 5001/70 | P.CWT | 418142/- |

| 7/- | Applying floating coat of cement 1/32” thick. (S.I.No:14 P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 6032 | SFT | 660/00 | %SFT | 39811/- |

| 8/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 6032 | SFT | 2206/60 | %SFT | 133102/- |

| 9/- | Cement plaster (1:4) upto 20’ height3/8”thick. (S.I.No:11 (a) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 6032 | SFT | 2197/52 | %SFT | 132554/- |

| 10/- | Laying floor of approved with glazed tile ¼” thick in white cement (1:2) over ¾” thick cement mortar (1:2) complete. (S.I.No:29 P-12). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 128 | SFT | 27678/86 | %SFT | 35429/- |

| 11/- | Laying white marble flooring fine dresses on the surface without winding set in lime mortar (1:2) i/c rubbing and polishing of joints (3/4” thick). (S.I.No:28(a) P-43). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1727 | SFT | 567/48 | P.SFT | 980038/- |

| 12/- | Cement concrete plain i/c placing compacting finishing curring complete (1:2:4). (S.I.No:5 P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 294 | SFT | 14429/25 | %CFT | 3711347/- |

| 13/- | Glazed tile dado ¼” thick laid in pigment over (1:2) cement sand mortar ¾” thick including finishing. (S.I.No:38 P-45). |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 500 | SFT | 28299/30 |  | %SFT | 98821/- |  |

Page No:7.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 14/- | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels 2” thick. (S.I.No:4 P-16). |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3040 | SFT | 3250/70 |  | %SFT | 98821/- |  |

| 15/- | Two coat of bitumen laid hot using 34 lbs for % Sft over roof and binding with sand at one Cft per % Sft. (S.I.No:13 P-41). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3040 | SFT | 1887/40 | %SFT | 57377/- |

| 16/- | RCC spouts i/c fixing in position with top and bottom khurras. (S.I.No:68 P-107). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 604/17 | EACH | 3625/- |

| 17/- | Distempering two coats. (S.I.No:24 P-53). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1419 | SFT | 1079/65 | %SFT | 15320/- |

| 18/- | Preparing surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick ) filling the voids with zink/chalk plaster of paris mixture applying first coat matt finish and painting 3 coats with matt finish of approved made etc (S.I.No:36(a) P-55) New surface.. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3709 | SFT | 3444/38 | %SFT | 127752/- |

| 19/- | First class deodar wood wrought joinery in doors and windows fixed to position including chowkats, hold fasts, hinges, iron tower bolts cleats deodar paneled or paneled and glazed or fully glazed (Only shutters) 1-3/4” thick (S.I.No:7(b)P-58). |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 183 | SFT | 1273/76 | P.SFT | 233098/- |  |

| 20/- | Galvanized wire gauze fixed to chowkats ¾” thick deodar strips. (S.I.No:14(d) P-59). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 156 | SFT | 190/72 | P.SFT | 29752/- |

| 21/- | Preparing the surface and painting with weather coat i/c rubbing the surface brick filling the voids with zink/ chalk plaster of paris and then painting with weather coat of approved made etc. complete (New surface). (S.I.No:38 P-61). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4850 | SFT | 1948/10 | %SFT | 94093/- |

| 22/- | PNS, Painting doors and windows any type i/c edges two coats. (S.I.No:4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 600 | SFT | 1160/06 | %SFT | 6960/- |

|  | # REPAIR OF 3RD: BLOW 1 NO. BUILDINGS SCH: TOTAL | RS: | # 3,361,796/- # X 3 Nos. |
| --- | --- | --- | --- |
|  | # PART “A(ii)”REPAIR OF 3RD: BLOW 3 NOS. BUILDINGS SCH: TOTAL | RS: | 1,00,85,388/- |

PART “B(ii) REPAIR OF BUNGALOWS 3 NOS W/S & S/F  SCH: ITEMS.

| 1/- | P/F Orisa type white or colour glazed earthen ware W.C. with i/c the cost of flushing cistern with internal fitting and flush pipe with bend & making with plinth and floor for pipe connection and making with good in cement concrete (1:2:4) (Foreign Equivalent)W.C. pan or not less than 23” clear opening between flushing rims and 3 gallons flushing tank with 4"”dia C.I. tripe.(S.I.No:3-a(iii) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 6166/60 | EACH | 18500/- |

Page No:8.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 2/- | Providing & fixing 22”x16” lavatory basin in white glazed earthen ware complete with an i/c the cost of W.I. or C.I. cantilever brackets 6” inches built into walls painted white in 2 coats after a primary cost of red lead paint & pair of ½” dia chrome brass waste of approved pattern 1-1/4” dia malleable iron or cp brass trape, malleable iron or cp brass traps malleable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection and making good in C.C. (1:2:4) (Standard or equivalent).(S.I.No:13 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 1233/65 | EACH | 3701/- |

| 3/- | Providing and fixing 4" dia C.I. soil and vent pipes including cutting and fitting and extra painting to match the colour o the building(S.I.No:1 P-8). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | RFT | 333/29 | P.RFT | 39995/- |

| 4/- | Providing & fixing 4"x4"x4" dia C.I. branch of the requirerd degree with access doors, rubber washer 1/8" thick and bolts and nuts and extra painting to match the colour of the building. (S.I.No:5 P-9). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 270/60 | EACH | 812/- |

| 5/- | Providing and fixing 4" dia C.I. plain bend of the required degree including extra painting to match the colour of the building. (S.I.No:10 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 566/70 | EACH | 2267/- |

| 6/- | P/F Steel Sinks stainless local make complete with cast iron or wraught iron brackets 6” inches built in wall, 1-1/2” C.P. bubber plug chrome plated brass chain, 1-1/2” C.P. brass waste, with 1-1/2” P.V.C. waste pipe and making requisit5e number of holes in wall and plinth and floor for pipe connection and making good in cement concrete (1:2:4) Steel sink stainless sized 33”x18” locl make (Standard pattern). (S.I.No:19 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 5712/30 | EACH | 5712/- |

| 7/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No:11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 2533/47 | EACH | 7600/- |

| 8/- | Providing G.I. pipes and special etc clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (S.I.No: 1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a)1/2” dia. |  | 60 | RFT | 73/21 | P.RFT | 4393/- |

|  | b)3/4” dia. |  | 60 | RFT | 95/79 | P.RFT | 5747/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 9/- | Providing and fixing C.I. trap with 4” dia inlet and 4” dia outlet of the approved self cleaning design with a C.I. grating with or without a vent arm including cast of making requisite number of holes in walls, plinth and floor for pipe connection and making good cement concrete (1:2:4). (S.I.No:21 P-5). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 1671/58 | EACH | 10029/- |

| 10/- | P/F in position nylon connection complete with ½” dia brass stop cock with pair of brass nuts and lining jointing to nylon connection.. (S.I.No:23 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 447/15 | EACH | 2683/- |

| 11/- | Supplying and fixing long bib cocks of superior quality with C.P. head ½” dia (S.I.No:1b-b P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 09 | Nos. | 1109/46 | EACH | 9985/- |

Page No:9.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 12/- | Providing and fixing ball valve (with unsoldered copper ball) made to B.B S 1212. (S.I.No:6 P-17). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a)1/2” dia. |  | 03 | Nos. | 235/84 | EACH | 708/- |

| 13/- | Providing R.C.C. pipe with collers class “B” and digging the trench to required depth and fixing in position in cutting fitting jointing with maxphalt composition and cement mortar (1:1) and testing with water pressure to a head 4’ feet above top of highest pipe and refilling the excavated staff. (S.I.No:2(c+d+e) P- 24 ) W/S & S/F Schedule. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a)6” dia. |  | 60 | RFT | 199/25 | P.RFT | 11955/- |
|  | b)9” dia. |  | 120 | RFT | 250/60 | P.RFT | 30072/- |

| 14/- | Providing and fixing 24"x18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and C.P. screws fixed to wooden pleat(Standard pattern). (S.I.No:3 P-7). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 09 | Nos. | 2376/00 | EACH | 21384/- |

| 15/- | Providing G.I. pipe and Special etc including fixing cutting and fitting complete with & i/c the cost of cutting trench upto 2-1/2’ feet deep refilling watering ramming and disposal of surplus earth within one chain and painting 2 coats of bitumen pain to pipes and hessian cloth soaked in maxphalt composition wrapped tightly round pipes and testing to a pressure head of 200’ feet and handling. (S.I.No:1 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 200 | RFT | 155/27 | P.RFT | 31054/- |

|  | REPAIR OF BUNGALOW 1 NO W/S & S/F TOTAL | RS: | ### 207350/- ### X 3 Nos. |
| --- | --- | --- | --- |
|  | PART “B(ii) REPAIR OF BUNGALOWS 3 NOS W/S & S/F SCH: ITEMS. TOTAL | Rs:- | 6,22,050/- |

PART “C(ii)” 3RD: BUNGALOW 3 NOS P.H.ENGR: SCHEDULE ITEMS.

| 1/- | Providing laying uPVC Pressure Pipes of Class “D” (equivalent make) fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to a head 122 meter or 400’ ft.(S.I.No:3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - 6” dia. |  | 103 | RFT | 486/00 | P.RFT | 50058/- |

|  | - 10” dia. |  | 50 | RFT | 1375/00 | P.RFT | 68750/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 2/- | Construction of man hole or inspection chamber for the required dia of circular sewer and 3’-6” (1067mm) depth with walls of B.B. in cement mortar(1:3) cement plaster 1:3: ½” thick inside of wall s and 1” (25mm) thick over benching manhole and chanel i/c fixing C.I. manhole cover with frame of clear opening (1- ½’ x 1- ½’(457x457mm) or 1.75 Cwt (88.9 Kg) embedded in plain C.C.(1:2;4) and fixing 1” (25 mm) dia M/S. steps 6” (15mm) wide projection 4” (102mm) from the face of wall at 12” (305mm) C.C. duly painted etc complete as per specification and drawing No.D.P/1 of public health circle southern zone (S.I.No:1 P-39) P.H.Engr: Schedule ) (S.I.No:1(a) P-46).. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 18 | Nos. | 14748/00 | EACH | 265464/- |

|  | 3RD: BLOW 1 NO P.H. ENGR: TOTAL | RS: | ### 1,92,548/- ### X 3 Nos. |
| --- | --- | --- | --- |
|  | PART “C(ii)” 3RD: BLOW 3 NOS P.H. ENGR: SCHEDULE ITEMS TOTAL | Rs:- | 5,77,644/- |

Page No:10.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A(iii) REPAIR OF CATG: IVTH: QUARTERS 2 NOS BUILDINGS SCH: ITEMS.

| 1/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 495 | CFT | 5445/00 | %CFT | 26955/- |

| 2/- | Dismantling brick work in lime or cement mortar. (S.I.No:13 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 139 | CFT | 1285/63 | %CFT | 1887/- |

| 3/- | Removing cement or lime plaster. (S.I.No:53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 445 | SFT | 121/00 | %SFT | 538/- |

| 4/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 495 | CFT | 337/00 | P.CFT | 166815/- |

| 5/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - Using Tor Bar. |  | 27.72 | CWT | 5001/70 | P.CWT | 138647/- |

| 6/- | Pacca brick work in Ground floor in cement sand mortar 1.6. (S.I.no:5(f) P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 139 | CFT | 12674/36 | %CFT | 26489/- |

| 7/- | Pacca brick work in other than building in Cement sand mortar 1:6 (S.I.No.7(i)(a)(e) P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | C/Wall. |  | 54 | CFT | 12346/65 | %CFT | 6667/- |

| 8/- | Applying floating coat of cement 1/32” thick. (S.I.No:14 P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 445 | SFT | 660/00 | %SFT | 2937/- |

| 9/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1112 | SFT | 2206/60 | %SFT | 25437/- |

| 10/- | Cement plaster (1:4) upto 20’ height3/8”thick. (S.I.No:11 (a) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1112 | SFT | 2197/52 | %SFT | 24436/- |

| 11/- | Cement concrete plain i/c placing compacting finishing curring complete (1:2:4). (S.I.No:5 P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 11 | SFT | 14429/25 | %CFT | 1587/- |

| 12/- | Providing and laying 1” thick cement concrete topping (1:2;4) including surface finishing and dividing into panel 2”thick. (S.I.No:16(c) P-42). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - 2” Thick. | C.C. Topping. | 726 | SFT | 3275/50 | %SFT | 23780/- |

|  | - 1-1/2” Thick. | C.C. Topping. | 990 | SFT | 2548/29 | %SFT | 25228/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 13/- | Two coat of bitumen laid hot using 34 lbs for % Sft over roof and binding with sand at one Cft per % Sft. (S.I.No:13 P-41). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 990 | SFT | 1887/40 | %SFT | 18685/- |

Page No:11.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 14/- | RCC spouts i/c fixing in position with top and bottom khurras. (S.I.No:68 P-107). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 604/17 | EACH | 3625/- |

| 15/- | First class deodar wood wrought joinery in doors and windows fixed to position including chowkats, hold fasts, hinges, iron tower bolts cleats deodar paneled or paneled and glazed or fully glazed (Only shutters) 1-3/4” thick (S.I.No:7(b)P-58). |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 212 | SFT | 1273/76 | P.SFT | 270037/- |  |

| 16/- | Primary coating of chalk under distemper.(S.I.No:23 P-54). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1732 | SFT | 442/75 | %SFT | 7668/- |

| 17/- | Glazed tile dado ¼” thick laid in pigment over (1:2) cement sand mortar ¾” thick including finishing. (S.I.No:38 P-45). |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 243 | SFT | 28299/30 |  | %SFT | 68767/- |  |

|  | # REPAIR OF CATG: IVTH: QTRS: 1 NO: TOTAL | RS: | ### 9,33,460/- ### X 2 Nos. |
| --- | --- | --- | --- |
|  | # PART “A(iii)”REPAIR OF CATG: IVTH: QTRS: 2 NOS. BUILDINGS SCH: TOTAL | Rs:- | 18,66,920/- |

PART “A(iv) REPAIR OF CATG: VTH: QUARTERS BUILDINGS SCH: ITEMS.

| 1/- | Dismantling brick work in lime or cement mortar. (S.I.No:13 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 545 | CFT | 1285/63 | %CFT | 7007/- |

| 2/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 290 | CFT | 5445/00 | %CFT | 15791/- |

| 3/- | Dismantling cement concrete (1:2:4). (S.I.No:19(C) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 269 | CFT | 3327/50 | %CFT | 8709/- |

| 4/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 252 | CFT | 337/00 | P.CFT | 84924/- |

| 5/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | - Using Tor Bar. |  | 11.25 | CWT | 5001/70 | P.CWT | 56269/- |

| 6/- | Two coat of bitumen laid hot using 34 lbs for % Sft over roof and binding with sand at one Cft per % Sft. (S.I.No:13 P-41). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 596 | SFT | 1887/40 | %SFT | 11249/- |

| 7/- | Pacca brick work in Ground floor in cement sand mortar 1.6. (S.I.no:5(f) P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 209 | CFT | 12674/36 | %CFT | 26489/- |

| 8/- | Pacca brick work in other than building in Cement sand mortar 1:6 (S.I.No.7(i)(a)(e) P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | C/Wall. |  | 336 | CFT | 12346/65 | %CFT | 41485/- |

Page No:12.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 9/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1455 | SFT | 2206/60 | %SFT | 32106/- |

| 10/- | Cement plaster (1:4) upto 20’ height3/8”thick. (S.I.No:11 (a) P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1455 | SFT | 2197/52 | %SFT | 31974/- |

| 11/- | Reinforced cement concrete spout including fixing in position 2 -1/2” x 6”x 5” . (S.I.No:14 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 261/25 | EACH | 1045/- |

| 12/- | Bottom, Kuras of brick masonary in cement mortar (1:6) 2’x2’x4-1/2” over 3” cement concrete (1:4:8). (S.I.No:19 P-36). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 649/83 | EACH | 2599/- |

| 13/- | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels 2” thick. (S.I.No:4 P-16). |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 3” thick. |  | 540 | SFT | 4411/82 |  | %SFT | 23824/- |  |

| 14/- | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels 2” thick. (S.I.No:4 P-16). |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2” thick. |  | 1132 | SFT | 3275/50 |  | %SFT | 37079/- |  |

| 15/- | Laying floor of approved with glazed tile ¼” thick in white cement (1:2) over ¾” thick cement mortar (1:2) complete. (S.I.No:29 P-12). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 552 | SFT | 27678/86 | %SFT | 152787/- |

| 16/- | Glazed tile dado ¼” thick laid in pigment over (1:2) cement sand mortar ¾” thick including finishing. (S.I.No:38 P-45). |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 407 | SFT | 28299/30 |  | %SFT | 115178/- |  |

| 17/- | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk plaster of Paris mixture applying first coat matt finish and painting three coats with matt finish of approved made etc (S.I.No:36 P-55) Old Surface. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2600 | SFT | 2717/00 | %SFT | 70642/- |

| 18/- | Preparing the surface and painting with weather coat of approved make to old weather coat surface. (S.I.No:39(A) P-55). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2862 | SFT | 1498/48 | %SFT | 42886/- |

| 19/- | PNS, Painting doors and windows any type i/c edges two coats. (S.I.No:4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 506 | SFT | 1160/06 | %SFT | 5870/- |

|  | # REPAIR OF VTH: QUARTER TOTAL | RS: | ### 7,67,913/- ### X 4 Nos. |
| --- | --- | --- | --- |
|  | # PART “A(iv)”REPAIR OF VTH: QUARTER 4 NOS BUILDINGS SCH: TOTAL | RS: | 30,71,652/- |

PART “A(ii) REPAIR OF CATG: VTH: QUARTER NON SCH: ITEMS.

| 1/- | S/F Vanity made porta. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. |  | EACH |  |

| 2/- | SF Wash basin porta make (Foreign) qualtity). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

Page No:13.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 3/- | S/F Commode Porta made (Foreign quality) i/c flush tank. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 4/- | S/F Mortice lock foreign quality. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 10 | Nos. |  | EACH |  |

| 5/- | S/Fixing W.C. porta made (Foreign quality) i/c flush tank. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 05 | Nos. |  | EACH |  |

| 6/- | S/Fixing Flag pipe stand i/c G.I. pipe 3” dia 26’ long i/c fixing in C.C. folundation (1:2:4) i/c painting 3 coats. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 7/- | Supplying and fixing door closer. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 12 | Nos. |  | EACH |  |

| 8/- | Supplying and fixing Table glass 12mm with side gola. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 66 | Nos. |  | EACH |  |

| 9/- | Supplying and fixing roller blinds curtains special quality. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 104 | SFT |  | P.SFT |  |

|  | # PART “A(ii)”REPAIR OF VTH: QUARTER NON SCH: ITEMS TOTAL | RS: |  |
| --- | --- | --- | --- |

PART “A(v)” NAB OFFICE BUILDING SCHEDULE ITEMS.

| 1/- | Removing cement or lime plaster. (S.I.No:53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13132 | SFT | 121/00 | %SFT | 15890/- |

| 2/- | Distempering two coats. (S.I.No:24 P-53). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4287 | SFT | 1079/65 | %SFT | 46285/- |

| 3/- | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk plaster of Paris mixture applying first coat matt finish and painting three coats with matt finish of approved made etc (S.I.No:36 P-55) Old Surface. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13132 | SFT | 2717/00 | %SFT | 356796/- |

| 4/- | Painting Old Surface, Painting doors and Windows any type i/c edges two coats. (S.I.No:4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1426 | SFT | 1662/21 | %SFT | 23703/- |

| 5/- | Preparing the surface and painting with weather coat of approved make to old weather coat surface. (S.I.No:39(a) P-56). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4282 | SFT | 2118/33 | %SFT | 90707/- |

| 6/- | Supplying and filling sand under floor plugging into walls. (S.I.No:29 P-26). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4010 | CFT | 1141/25 | %CFT | 45764/- |

| 7/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4(b) P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2253 | CFT | 9416/28 | %CFT | 212149/- |

| 8/- | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra/ cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/ pattern and design etc complete. (S.I.No:71 P-49). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 5385 | SFT | 199/77 | %SFT | 107561/- |

|  | # PART “A(v)”REPAIR OF NAB OFFICE BUILDINGS SCH: TOTAL | RS: | 17,67,055/- |
| --- | --- | --- | --- |

Page No:14.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| PART "A(i TO v)" |  | ________________%Above/Below Buildings Schedule Items |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- |
| PART "B(i+ii)" |  |  | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |
| PART "C(i+ii)" |  |  | ________________%Above/Below P.H. EngrL Schedule Items | Total Rs:- |  |
| PART “D(i+ii)” |  |  | _____________________ Non Schedule Items | Total Rs:- |  |

|  |  |  |  | G. Total Rs:- |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| CONTRACTOR. |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR. |
| --- | --- | --- |