## N.I.T
LIST OF WORKS
Sr. No. | Name of Works | Estimate cost |  | Bid Security |  | Tenders Fee |  | Completion Period.
1 | 2 | 3 |  | 4 |  | 5 |  | 6
1 | Establishment of Deputy Commissioner Complex Shujawal
i | Providing & Fixing External E.I Work from Main Gate to Complex | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
ii | Providing & Fixing External E.I Work from Complex to Residence Area (Solar Light) | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
iii | Providing & Fixing External E.I Work from West Side (Solar Light) | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
iv | Providing & Fixing External E.I Work from East Side (Solar Light) | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
v | Providing & Fixing External E.I Work from North & South Side (Solar Light) | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
2 | Up-Gradation Of Dispensary To Basic Health Unit Chach Jehan Khan Taluka Shah Bunder, District Sujawal
i | Providing & Fixing Internal E.I Work (Main Building) | 0.45 | (M) | 0.009 | (M) | 1000 | /- | 12-Months
ii | Providing & Fixing Internal E.I Work (Type Vth Quarter) | 0.2 | (M) | 0.004 | (M) | 500 | /- | 12-Months
iii | Providing & Fixing External E.I Work from (Main Building) to Main Gate Within Compound wall (Solar Light) | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
3 | Construction of Medical Dispensary Building at Village Abdul, Razzaque Hingorja District Sujawal
i | Providing & Fixing Internal E.I Work | 0.25 | (M) | 0.005 | (M) | 500 | /- | 12-Months
4 | Construction of Office of the Executive Engineer Highway Division (Work & Services) Sujawal, District Sujawal
i | Providing & Fixing Internal E.I Work | 0.45 | (M) | 0.009 | (M) | 1000 | /- | 12-Months
ii | Providing & Fixing External E.I Work from Front Side (Solar Light) | 0.99 | (M) | 0.0198 | (M) | 2000 | /- | 12-Months
EXECUTIVE ENGINEER Building Division Sujawal

## 1.i
Establishment of Deputy Commissioner Complex Shujawal
| i | Providing & Fixing External E.I Work from Main Gate to Complex
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 1.ii
Establishment of Deputy Commissioner Complex Shujawal
| ii | Providing & Fixing External E.I Work from Complex to Residence Area (Solar Light)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 1.iii
Establishment of Deputy Commissioner Complex Shujawal
| iii | Providing & Fixing External E.I Work from West Side (Solar Light)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 1.iv
Establishment of Deputy Commissioner Complex Shujawal
| iv | Providing & Fixing External E.I Work from East Side (Solar Light)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 1.v
Establishment of Deputy Commissioner Complex Shujawal
| v | Providing & Fixing External E.I Work from North & South Side (Solar Light)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 2.i
Up-Gradation Of Dispensary To Basic Health Unit Chach Jehan Khan Taluka Shah Bunder, District Sujawal (i) Providing & Fixing Internal E.I Work (Main Building)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) |  | 90 | -Nos: | 1130 | P.Point. | 101700 | 101700
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) |  | 25 | -Nos: | 985 | P.Point. | 24625 | 24625
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) |  | 3 | -Nos: | 1764 | P.Point. | 5292 | 5292
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) |  | 209 | -Met: | 222 | P.Met: | 46398 | 46398
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) |  | 89 | -Met: | 341 | P.Met: | 30349 | 30349
6 | P/L (MAIN OR SUB MAIN) PVC insulated with size 4-7/.052 (10mm2) copper conductor in 1''-1/2" dia PVC conduit on surface(S.I.No.41 P-6) |  | 20 | Mtr | 858 | P.Rft: | 17160 | 17160
7 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) |  | 90 | -No: | 58 | Each. | 5220 | 5220
8 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) |  | 25 | -No: | 83 | Each. | 2075 | 2075
9 | P/F three pin 10/15 plug socket flush type. (S.I.No A-227, P-33) |  | 6 | -No: | 162 | Each. | 972 | 972
10 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) |  | 49 | -Nos: | 72 | Each. | 3528 | 3528
11 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 12 | -Nos: | 70 | P.No: | 840 | 840
12 | P/F Brass Celling fan 56'' (Good Quality) .(S.I.No C-235, P-34). |  | 12 | -No: | 3185 | Each. | 38220 | 38220
13 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) |  | 21 | -Nos: | 916 | P.No: | 19236 | 19236
14 | P/F circuit breaker 15, 20 30, 40, 50 & 60 amp TP (XE-100CS(CB)) on prepared board as required. (S.I.No.206, P-31) |  | 1 | -Nos: | 5521 | P.No: | 5521 | 5521
15 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) |  | 1 | -Nos: | 9261 | P.No: | 9261 | 9261
16 | P/L (MAIN OR SUB MAIN) PVC insulated & PVC Sheeted with 4 core Armounred copper conductor 600/1000 volts size 25mm2. (S.I.No.114 P-13) |  | 42 | Mtr | 2435 | P.Rft: | 102270 | 102270
|  |  | T o t a l :- |  |  |  | 412667 | 412667
Part (B) Electric Non - Schedule Items.
1 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. |  | 12 | -No: |  | Each. | 0
2 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. |  | 12 | -No: |  | Each. | 0
3 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 12 | -No: |  | Each. | 0
4 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 48 | -Nos: |  | Each. | 0
5 | P/F Flush Type Electric Bell push Baton |  | 3 | -Nos: |  | Each. | 0
6 | P/F A.C. or D.C. Electric bell 200 / 250 volts. |  | 2 | -Nos: |  | Each. | 0
7 | P/F Distribution Board Double Shutter Accordable C.B i/c painting with Embaled painting for other simple has on surface. |  | 3 | -Sft: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Electric Schedule Items. |  |  |  | RS:- |  | 412667 | 412667
2) | Part (B) Electric Non - Schedule Items. |  |  |  | RS:- |  | 0
[5 empty] | G. TOTAL :- |  | 412667
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 2.ii.
Up-Gradation Of Dispensary To Basic Health Unit Chach Jehan Khan Taluka Shah Bunder, District Sujawal (ii) Providing & Fixing Internal E.I Work (Type Vth Quarter)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) |  | 40 | -Nos: | 1130 | P.Point. | 45200 | 45200
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) |  | 25 | -Nos: | 985 | P.Point. | 24625 | 24625
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) |  | 1 | -Nos: | 1764 | P.Point. | 1764 | 1764
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) |  | 150 | -Met: | 222 | P.Met: | 33300 | 33300
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) |  | 50 | -Met: | 341 | P.Met: | 17050 | 17050
6 | P/L (MAIN OR SUB MAIN) PVC insulated with size 4-7/.052 (10mm2) copper conductor in 1''-1/2" dia PVC conduit on surface(S.I.No.41 P-6) |  | 25 | Mtr | 858 | P.Rft: | 21450 | 21450
7 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) |  | 50 | -No: | 58 | Each. | 2900 | 2900
8 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) |  | 15 | -No: | 83 | Each. | 1245 | 1245
9 | P/F three pin 10/15 plug socket flush type. (S.I.No A-227, P-33) |  | 3 | -No: | 162 | Each. | 486 | 486
10 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) |  | 30 | -Nos: | 72 | Each. | 2160 | 2160
11 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 30 | -Nos: | 70 | P.No: | 2100 | 2100
12 | P/F Brass Celling fan 56'' (Good Quality) .(S.I.No C-235, P-34). |  | 3 | -No: | 3185 | Each. | 9555 | 9555
13 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) |  | 5 | -Nos: | 916 | P.No: | 4580 | 4580
15 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) |  | 1 | -Nos: | 9261 | P.No: | 9261 | 9261
|  |  | T o t a l :- |  |  |  | 175676 | 175676
Part (B) Electric Non - Schedule Items.
1 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. |  | 5 | -No: |  | Each. | 0
2 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. |  | 5 | -No: |  | Each. | 0
3 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 5 | -No: |  | Each. | 0
4 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 30 | -Nos: |  | Each. | 0
5 | P/F A.C. or D.C. Electric bell 200 / 250 volts. |  | 2 | -Nos: |  | Each. | 0
6 | P/F Distribution Board Double Shutter Accordable C.B i/c painting with Embaled painting for other simple has on surface. |  | 3 | -Sft: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Electric Schedule Items. |  |  |  | RS:- |  | 175676 | 175676
2) | Part (B) Electric Non - Schedule Items. |  |  |  | RS:- |  | 0
[5 empty] | G. TOTAL :- |  | 175676
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 2.iii
Up-Gradation Of Dispensary To Basic Health Unit Chach Jehan Khan Taluka Shah Bunder, District Sujawal
| iii | Providing & Fixing External E.I Work from (Main Building) to Main Gate Within Compound wall (Solar Light)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 3.i
Construction of Medical Dispensary Building at Village Abdul, Razzaque Hingorja District Sujawal (i) Providing & Fixing Internal E.I Work
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) |  | 50 | -Nos: | 1130 | P.Point. | 56500 | 56500
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) |  | 35 | -Nos: | 985 | P.Point. | 34475 | 34475
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) |  | 1 | -Nos: | 1764 | P.Point. | 1764 | 1764
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) |  | 189 | -Met: | 222 | P.Met: | 41958 | 41958
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) |  | 38 | -Met: | 341 | P.Met: | 12958 | 12958
6 | P/L (MAIN OR SUB MAIN) PVC insulated with size 4-7/.052 (10mm2) copper conductor in 1''-1/2" dia PVC conduit on surface(S.I.No.41 P-6) |  | 30 | Mtr | 858 | P.Rft: | 25740 | 25740
7 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) |  | 50 | -No: | 58 | Each. | 2900 | 2900
8 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) |  | 35 | -No: | 83 | Each. | 2905 | 2905
9 | P/F three pin 10/15 plug socket flush type. (S.I.No A-227, P-33) |  | 2 | -No: | 162 | Each. | 324 | 324
10 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) |  | 35 | -Nos: | 72 | Each. | 2520 | 2520
11 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 35 | -Nos: | 70 | P.No: | 2450 | 2450
12 | P/F Brass Celling fan 56'' (Good Quality) .(S.I.No C-235, P-34). |  | 7 | -No: | 3185 | Each. | 22295 | 22295
13 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) |  | 3 | -Nos: | 916 | P.No: | 2748 | 2748
14 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) |  | 1 | -Nos: | 9261 | P.No: | 9261 | 9261
|  |  | T o t a l :- |  |  |  | 218798 | 218798
Part (B) Electric Non - Schedule Items.
1 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. |  | 7 | -No: |  | Each. | 0
2 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. |  | 7 | -No: |  | Each. | 0
3 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 7 | -No: |  | Each. | 0
4 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 35 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. |  | 10 | -No: |  | Each. | 0
6 | P/F Distribution Board Double Shutter Accordable C.B i/c painting with Embaled painting for other simple has on surface. |  | 3 | -Sft: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Electric Schedule Items. |  |  |  | RS:- |  | 218798 | 218798
2) | Part (B) Electric Non - Schedule Items. |  |  |  | RS:- |  | 0
[5 empty] | G. TOTAL :- |  | 218798
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 4.i
Construction of Office of the Executive Engineer Highway Division (Work & Services) Sujawal, District Sujawal. (i) Providing & Fixing Internal E.I Work
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) |  | 90 | -Nos: | 1130 | P.Point. | 101700 | 101700
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) |  | 25 | -Nos: | 985 | P.Point. | 24625 | 24625
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) |  | 3 | -Nos: | 1764 | P.Point. | 5292 | 5292
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) |  | 209 | -Met: | 222 | P.Met: | 46398 | 46398
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) |  | 89 | -Met: | 341 | P.Met: | 30349 | 30349
6 | P/L (MAIN OR SUB MAIN) PVC insulated with size 4-7/.052 (10mm2) copper conductor in 1''-1/2" dia PVC conduit on surface(S.I.No.41 P-6) |  | 20 | Mtr | 858 | P.Rft: | 17160 | 17160
7 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) |  | 90 | -No: | 58 | Each. | 5220 | 5220
8 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) |  | 25 | -No: | 83 | Each. | 2075 | 2075
9 | P/F three pin 10/15 plug socket flush type. (S.I.No A-227, P-33) |  | 6 | -No: | 162 | Each. | 972 | 972
10 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) |  | 49 | -Nos: | 72 | Each. | 3528 | 3528
11 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 12 | -Nos: | 70 | P.No: | 840 | 840
12 | P/F Brass Celling fan 56'' (Good Quality) .(S.I.No C-235, P-34). |  | 12 | -No: | 3185 | Each. | 38220 | 38220
13 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) |  | 21 | -Nos: | 916 | P.No: | 19236 | 19236
14 | P/F circuit breaker 15, 20 30, 40, 50 & 60 amp TP (XE-100CS(CB)) on prepared board as required. (S.I.No.206, P-31) |  | 1 | -Nos: | 5521 | P.No: | 5521 | 5521
15 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) |  | 1 | -Nos: | 9261 | P.No: | 9261 | 9261
16 | P/L (MAIN OR SUB MAIN) PVC insulated & PVC Sheeted with 4 core Armounred copper conductor 600/1000 volts size 25mm2. (S.I.No.114 P-13) |  | 42 | Mtr | 2435 | P.Rft: | 102270 | 102270
|  |  | T o t a l :- |  |  |  | 412667 | 412667
Part (B) Electric Non - Schedule Items.
1 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. |  | 12 | -No: |  | Each. | 0
2 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. |  | 12 | -No: |  | Each. | 0
3 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 12 | -No: |  | Each. | 0
4 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 48 | -Nos: |  | Each. | 0
5 | P/F Flush Type Electric Bell push Baton |  | 3 | -Nos: |  | Each. | 0
6 | P/F A.C. or D.C. Electric bell 200 / 250 volts. |  | 2 | -Nos: |  | Each. | 0
7 | P/F Distribution Board Double Shutter Accordable C.B i/c painting with Embaled painting for other simple has on surface. |  | 3 | -Sft: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Electric Schedule Items. |  |  |  | RS:- |  | 412667 | 412667
2) | Part (B) Electric Non - Schedule Items. |  |  |  | RS:- |  | 0
[5 empty] | G. TOTAL :- |  | 412667
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal

## 4.ii
Construction of Office of the Executive Engineer Highway Division (Work & Services) Sujawal, District Sujawal
| ii | Providing & Fixing External E.I Work from Front Side (Solar Light)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 40 | -Nos: |  | Each. | 0
2 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 3 | -No: |  | Each. | 0
3 | Construction of R.C.C fondation as per following specification & Instruction of E.I for 40/50 ft long haxagonal pole 18"x16" Excavation of soft / hard soil 4' x 4' x 9' stone soilling 4'x4'x6" making lean in the ratio 1:4:8: lenght of MS with MS rod, R.C.C foundation ratio 1:2:4 with appropriate size 2.5'x2.5'x8.5' |  | 3 | -No: |  | Each. | 0
4 | P/F MS tublar pole as per following specification to be precast foundation with the help of hydraulic crane and manual labour 31 ft long (20 ft 6" dia) + 5.5 ft (5" dia) + 5.5 ft (4" dia) wall thickness 8 SWG base plate 18"x18"x3/4" Hole 4 nos Stiffeners 4 Nos 9 1/2"x4-1/2"x1/2" making window in the pole of required size with LN key provision 2 coats red oxide as rust prevent and 2 coats of oil paint as per site requirement & instruction of E.I |  | 3 | -No: |  | Each. | 0
5 | M/P & fixing G.I single arm double arch as per site requirement with the help of hydraulic crane & instraction of E.I with folloing specification. G.I pipe 2" dia 10 SWG 7' long and 2 Nos: MS clamp with nuts & bilts. |  | 3 | -No: |  | Each. | 0
6 | Providing & installation of solar panel 120x2=240 watts (German make or requivalent complete with dry battary 150 amp 12 volts i/c LED lights 70-80 watts internal & enternal wiring with controller automatic ON/OFF sensor E F make fixed on the existing pole with the help of manual labour and hydraulic crane etc complete as approved by Engineer Incharge. (R.A) atteched |  | 3 | -No: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | #REF!
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Sujawal