## Sch B Roof tretment
| Name of Work | M&R to Governor HouseKarachi ( Roof tratment & Renovation of Bathrooms)
Schedule B
S# | DESCRIPTION OF ITEM |  | QUANTITY |  | RATE | UNIT | Amount
1 | Dismentling CC plain ratio 1:2:4 (SI 19c/p.10)
|  |  | 684.4 | cft | 3327.5 | %cft | 22773.41 | 22773.41
Rs: three thousand three hundred twenty seven & Ps ffity only
2 | P/L 1" thick topping cement concrete 1:2:4 i/c surface finishing and dividing into panles ©2 " thick) (SI 16c/p.42
|  |  | 4025.9 | sft | 3275.5 | %sft | 131868.3545 | 131868.3545
Rs: three thousand two hundred seventy five & Ps fifty only
3 | Removing cement plaster or lime plaster (SI 53/p.13)
|  |  | 515 | sft | 121 | %sft | 623.15
Rs: one hundred twnety one only
4 | Applying floating coat of cement 1/32" thick (SI 14/p.53)
|  |  | 515 | sft | 660 | %sft | 3399 | #VALUE!
Rs: six hundred sixty only
5 | G.I.expend metal 1/2" to 3/4" mesh 16 gauge fixed to chowkhats without deodar patti. (S.I.No.65-p-66)
|  |  | 515 | sft | 60.43 | P.sft | 31121.45
Rs: sixty & Ps forty three only
6 | Cement plaster 1:4 upto 12ft height © 3/4" thick (SI 11c/p.52)
|  |  | 515 | sft | 3015.76 | %sft | 15531.164
Rs: three thousand fifteen & Ps seventy six only
7 | Dismentling glazed or encaustic tiles etc (SI 55/p.13)
|  |  | 626.1 | sft | 786.5 | %sft | 4924.2765
Rs: seven hundred eighty six & Ps fifty only
210240.805
Add % above/below
A
B | Non Schedule item
1 | Providing and Fixing glazed Tiles 10”x13” or 12”x18” or 8”16” or porcelline tile of size 16"x16" as approved sizes specified approved quality / make / design and colour in/c. Jointing in White Cement in/c. Washing of tiles and filling of joints with Slurry of white cement in desired shape with finishing in/c. cutting of tiles to proper profile i/c. all respect labour and necessary required material as directed by the Engineer Incharge etc. complete.
|  |  | 804.4 | sft |  | P.sft
Total B
C | Water supply & Sanitary fitting
1 | P/F orisa type white or colour glazed earthen ware WC pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requisite No of holes in wall plinth & floor and making good in cement concrete 1:2:4 (ii) WC pan orisa type 23" with plstic tank of low down 3 galon CI trap & CI thumble (Superior quality (ii) with 4" dia earthen ware trape & palstic thumble (SI 3a/p.2)
|  |  | 2 | No | 6166.6 | each | 12333.2 | 12333.2
Rs: six thousand one hundred sixty six & Ps sixty
2 | P/F European white glazed earthen ware wash down WC pan complete with & i/c cost of white/black plastic seat (best quality) & lid with CP brass hinges and buffers 3 gallons white glazed earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisit No: of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Foreign quality) SI 5/p.2
|  |  | 4 | No | 11477.4 | each | 45909.6
Rs: eleven thousand four hundred seventy seven & Ps forty
3 | P/F 24"x18" lavatory basin in white glazed earthen ware complete with & I/c the cost of WI or CI cantilever brackets 6" built into walls painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia malleable iron or CP brass taps malleable iron or brass union and making requisite No: of holes in walls plinth and floor for pipe connection and making good in CC 1:2:4 (Forign or equivalent) SI 10/p.3)
|  |  | 5 | No | 4928 | each | 24640
Rs: four thousand nine hundred twenty eight only
4 | S/F bathroom accessories set (7 piece) i/c towel rod,brush holder soap tray shelf of approved design i/c cost of screws nuts etc complete (Master brand) SI 22/p.19)
|  |  | 4 | No | 8122.4 | each | 32489.6
Rs: eight thousand one hundred twenty two & Ps forty only
5 | P/F 24"x18" bevelled edge mirror of Belgium glass compete with 1/8" thick hard board and CP scress fixed to woden please (b0 superiror quallity (SI 3a/p.7)
|  |  | 6 | No | 1711.6 | each | 10269.6
Rs: one thousand seven hundred eleven & Ps sixty only
125642
Add % above /below
D | Non schedule item (WS & SF)
1 | P/F U PVC pipe 4" i/c cutting making jointing with switch pest with special approved quality i/c all cost of labour as directed by the Engineer
|  |  | 40 | Rft |  | each
2 | P/F 4" dia U PVC plain bend of Pak arab of approved quality on wallupto height of 50ft with plastic clamp paid seprately this i/c making jointing with U PVC fitting by using approved pest solution (AGM) make etc complete as per instruction of the Engineer
|  |  | 5 | no |  | each
3 | P/F U PVC pipe 3" i/c cutting making jointing with switch pest with special approved quality i/c all cost of labour as directed by the Engineer
|  |  | 38 | Rft |  | each
4 | P/F U PVC floor trap i/c cutting making jointing with switch pest with special approved quality i/c all cost of labour as directed by the Engineer
|  |  | 5 | no |  | each
5 | P/F C.P. swan type pillar cock i/c fixing on lavatory basin etc complete
|  |  | 5 | no |  | each
6 | P/F fancy bib cock best quality
|  |  | 8 | no |  | each
7 | P/F double bib cock 1/2" dia plastic coated etc
|  |  | 4 | no |  | each
Total NSI
Electric work
1 | Wiring for light or fn point with 3/.029 PVC insulated wire in 20mm (3/4") channel patti on surfce as required (SI 129/p.15)
|  |  | 20 | no | 910 | P.point | 18200
Rs: nine hundred ten only
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4" ) chanel patti on surface as required (SI 13/p.15)
|  |  | 3 | no | 742 | P.point | 2226
Rs: seven hundred forty two only
3 | P/F cirucuit breaker 6,10,15,20, 30,40,50 and 63 SP (TB-5S) on prepared board as required (SI 203/p.31)
|  |  | 6 | no | 916 | P.point | 5496
Rs: nine hundred sixteen only
4 | P/F circuit breaker 6,10,15,20 & 63 amp DP (TB-5S) on prepared board as required (SI 204/p.31)
|  |  | 1 | no | 2456 | P.point | 2456
| Rs: two thousand four hundred fifty six only | [5 empty] | 28378
Add % above/below
Total elect SI
Non Schedule items
1 | P/F flush type switch fancy type 5 to 10 Amp SP imported quality with board i/c necessary connection recessed in the wall etc
|  |  | 71 | no |  | each
2 | P/F fancy type 2 pin 5 Amp SP plug socket switch as shoe unit imported quality with board i/c necessary connection & recessed in the wall etc
|  |  | 7 | no |  | each
3 | P/F fancy type 3 pin 5 Amp SP plug socket switch & shoe unit imported quality with board i/c necessary connection & recessed in the wall etc
|  |  | 5 | no |  | each
4 | P/F wall bracket fan 18" sweep approved make 7 quality (Royal/Pak?millat or equivalent) i/c fixing on wall as directed by Engineer Incharge
|  |  | 5 | no |  | each
5 | P/F LED light concealed type 9 watt philips or equivalent quality i/c necessary electric connection & fixing on false ceiling etc complete
|  |  | 39 | no |  | each
6 | P/F LED light best quality imported 18 watt i/c fixing on ceiling & necessary connection etc complete
|  |  | 18 | no |  | each
7 | P/F 1-40 watt tube light complete with 40 watt rods chock, starter & base fitted on wall / ceiling i/c necessary connection with 23/076 flexible wire etc philips or equivalent
|  |  | 12 | no |  | each
8 | P/F distribution board 16 gauge to accommodate mains or submains circuit breaker bus bar & other similar job double shutter painting with enameld paint as directed by Engineer
|  |  | 1.25 | sft |  | each
9 | Wiring for main with 2-7/.029 PVC insulated wire make in PVC channal putty 3/4" on surface
|  |  | 200 | rft |  | each
10 | Wiring for main with 2-7/.044 PVC insulated wire PVC channel putty
|  |  | 50 | rft |  | each
Total NSI
Summary
1 | Cost of schedule items(Civil)
2 | Cost of non schedule items (Civil)
3 | Cost of schedul item WS & SF
4 | Cost of NSI (SW & SF)
5 | Cost of electric S.Items
6 | Cost of electric NSI
Terms & Conditions
1 | No cartage of any material neither arranged by the contractor himself/themselves or supplied by the Government any shall not be paid seperately.
2 | Contractors shall have to make their own arrangement palatable water for use in work at his/their own cost. In case they request for supply the water by the Govt: , recovery on this account shall be made as per rules on gross amount of the item of the work in which is used.
3 | Contrctor(s) shall be responsible for arrangement to get material posted his/their own cost if directed by the Executive Egnineer/Assistant Engineer failing which the tested shall be arrange by the Department and amount will be recovered from his/their bill.
4 | Concrete shall be mixed with mechanically operated concrete mixture with due constrcutions to agregate and water ratio.
5 | All material shall confirm be standard specification.
6 | No premium shall be allowed on non schedule item/offer rates.
7 | Only ran pathani Dhabeji for sand and Mangopir for crush quarry or equivalent approved by the competant authority shall be used in aggregate mortar and concrete.
8 | It may please be noted that where over nomenclature or any item is not elaborated or not clear or any typographical error occurs in the schedule for the tender it should be read strictly as per composite schedule or rates 2012
9 | All buildings debries and surplus stuff not required for use in the connection shall be removed from the site and suitable disposal off by the contractor for which the extra cost of cartage shall be paid.
Contractor
| Assistant Engineer |  |  |  | Executive Engineer
| Provincial Buildings Sub Division VI |  |  |  | Provincial Buildings Division-II
| Karachi |  |  |  | Karachi