SCHEDULE OF QUANTITIES

WORK No: 01

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:   7,96,513 (+) O/R		Earnest Money Rs:	15,930 (+) 2% of O/R

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | P/L R.C.C. PIPE DRAIN 12” DIA GALI No:25, BLOCK “B” UC-01, SHER SHAH KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Excavation for pipe line in trenches and pits in all kind of soil of murum i/c trimming and dressing side to true alignment and shape traveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guard light flags and temporary crossing for non vehicular traffic wherever required left upto 05’ and lead upto 01 chain. | 6,000 Cft | 4650.00 | 1000 Cft | 27,900.00 |
| 2. | A. PROVIDING, LAYING & JOINTING (Rubber Gasket, JOINTS). Providing, laying R.C.C. pipes of A.S.T.M. C-76-62 T/C: 76-70 of class II wall B and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. ………...………………………12” Dia ……...…..……………………. | 800 Rft | 412.00 | P/Rft | 3,29,600.00 |
| 3. | Providing manhole 4’ dia (inside) and 5’ clear depth complete with 21” dia ( inside ) C.I frame & 21” dia of 3” multiply 3 x 8, flat iron frame for R.C.C 1:2:4 pre-cast cover i/c the cost of M.S bars reinforcement and two handles of 5 clear depth C.C 1:2:4 cast in Situ walls with 50% screened graded bajri of 9” thick i/c benching & channel ½” thick cement plaster 1:3 on all inside walls surface complete with c.i Foot rest i/c cutting asphalt roads excavation in all kind of soil, back filling and disposal of surplus stuff etc. | 40 Nos | 9307.86 | Each | 3,72,314.00 |
| 4. | Add/Less for extra depth beyond 5’ depth, less than 5’ depth deduct at the same rate. | ( - ) 40 Rft | 1609.15 | P/Rft | ( - ) 64,366.00 |
| 5. | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete. | 5,400 Cft | 2760.00 | 1000 Cft | 14,904.00 |
| 6. | Manufacturing and supplying of R.C.C. ring slab of 21” Dia inside 36”Dia outside 7.5” width and 6” thick i/c 3/8” Dia for steel bars two concentric ring with 3/8” Dia 08 Nos. cross linked bars welded and two sunk type hooks casted etc. | 20 Nos | 1906.60 | Each | 38,132.00 |
| 7. | Shifting and fixing R.C.C. pre-cast ring slab in c.c. 1:2:4 etc. | 20 Nos | 563.00 | Each | 14,075.00 |

Cont’d Page No: 02

Page No:02

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 8. | Manufacturing and supplying R.C.C. manhole covers casting c.c. 1:2:4 ratio 3 inch deep at center bar, reinforced with 3/8” dia tour steel 2.50” deep M.S. plate other curing, stacking and transportation within 10 miles. ………...………………………12” Dia ……...…..……………………. | 70 Nos | 913.63 | Each | 63,954.00 |
| 9. | Supply of Labour on Hiring Basis for lifting the Garbage (whenever, wherever, as much as required) and as per direction of Engineer Incharge. | 225 Nos |  | Each |  |
| Total Estimated Cost |  |  |  |  | 7,96,513 (+) Open Rate |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R

(+) Open Rate Rs:_________________ for complete work/job.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address:

SCHEDULE OF QUANTITIES

WORK No: 02

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:       9,96,555/-		Earnest Money Rs:	         19,931/-

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | HIRING OF MACHINERY AND LABOUR FOR CLEANING OF NALLAH IN UC-02, SHER SHAH KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Hiring of Machinery with P.O.L. |  |  |  |  |
| i). | Front Loader / Excavator……………………………………………… | 48 Hours | 3088.13 | P/Hour | 1,48,230.00 |
| ii). | Dumper (Hino)…………………………………………………………. | 192 Hours | 2006.90 | P/Hour | 3,85,325.00 |
| iii). | Tractor Blade…………………………………………………………… | 80 Hours | 950.00 | P/Hour | 76,000.00 |
| 2. | Hiring of Skilled Labour for cleaning of Nallah for 8 Hours. | 430 Nos. | 900.00 | Each | 3,87,000.00 |
| Total Estimated Cost |  |  |  |  | 9,96,555.00 |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address:

SCHEDULE OF QUANTITIES

WORK No: 03

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:   4,22,454 (+) O/R		Earnest Money Rs:	8,449 (+) 2% of O/R

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | IMPROVEMENT OF NALLAH / CLEANING / DESILTING NOOR-E-KHUDA MASJID GULSHAN-E-SIKENDERABAD KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling cement concrete R.C.C. (1:2:4) disposal lead upto 10 miles etc. | 500 Cft | 5445.00 | %Cft | 27,225.00 |
| 2. | Cartage of 100 Cft / 05 Tons of all materials like stone aggregate, spawl, coal, lime, surkhi etc B.G. rail fastening point and crossing bridge girders, pipes sheet rails M.S. bar etc or 1000 number bricks 10”x5”x3” or 1000 manuds of fuel wood by trucks or any other means owned by the contractors (lead upto 15 miles etc). | 15,000 Cft | 1065.04 | %Cft | 1,59,756.00 |
| 3. | R.C.C. working roof slab beams, column, rafts, lintels and other structural members laid in situ or pre-cast laid in position complete in all respect 1:2:4. | 500 Cft | 337.00 | P/Cft | 1,68,500.00 |
| 4. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars) using tor bars. | 13.39 Cwt | 5001.70 | P/Cwt | 66,973.00 |
| 5. | Supply of Labour on Hiring Basis for lifting the Garbage and cleaning of Nallah/Sewerage System (whenever, wherever, as much as required) and as per direction of Engineer Incharge. | 635 Nos. |  | Each |  |
| Total Estimated Cost |  |  |  |  | 4,22,454 (+) Open Rate |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R

(+) Open Rate Rs:_________________ for complete work/job.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address:

SCHEDULE OF QUANTITIES

WORK No: 04

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:   8,21,364 (+) O/R		Earnest Money Rs:	16,427 (+) 2% of O/R

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | P/L R.C.C. PIPE DRAIN 12” DIA CEMENT LINE GALI No:46, UC-43, KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Excavation for pipe line in trenches and pits in all kind of soil of murum i/c trimming and dressing side to true alignment and shape traveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guard light flags and temporary crossing for non vehicular traffic wherever required left upto 05’ and lead upto 01 chain. | 6,000 Cft | 4650.00 | 1000 Cft | 27,900.00 |
| 2. | A. PROVIDING, LAYING & JOINTING (Rubber Gasket, JOINTS). Providing, laying R.C.C. pipes of A.S.T.M. C-76-62 T/C: 76-70 of class II wall B and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. ………...………………………12” Dia ……...…..……………………. | 800 Rft | 412.00 | P/Rft | 3,29,600.00 |
| 3. | Providing manhole 4’ dia (inside) and 5’ clear depth complete with 21” dia ( inside ) C.I frame & 21” dia of 3” multiply 3 x 8, flat iron frame for R.C.C 1:2:4 pre-cast cover i/c the cost of M.S bars reinforcement and two handles of 5 clear depth C.C 1:2:4 cast in Situ walls with 50% screened graded bajri of 9” thick i/c benching & channel ½” thick cement plaster 1:3 on all inside walls surface complete with c.i Foot rest i/c cutting asphalt roads excavation in all kind of soil, back filling and disposal of surplus stuff etc. | 40 Nos | 9307.86 | Each | 3,72,314.00 |
| 4. | Add/Less for extra depth beyond 5’ depth, less than 5’ depth deduct at the same rate. | ( - ) 40 Rft | 1609.15 | P/Rft | ( - ) 64,366.00 |
| 5. | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete. | 5,400 Cft | 2760.00 | 1000 Cft | 14,904.00 |
| 6. | Manufacturing and supplying of R.C.C. ring slab of 21” Dia inside 36”Dia outside 7.5” width and 6” thick i/c 3/8” Dia for steel bars two concentric ring with 3/8” Dia 08 Nos. cross linked bars welded and two sunk type hooks casted etc. | 50 Nos | 1906.60 | Each | 95,330.00 |
| 7. | Shifting and fixing R.C.C. pre-cast ring slab in c.c. 1:2:4 etc. | 50 Nos | 563.00 | Each | 28,150.00 |
| 8. | Manufacturing and supplying R.C.C. manhole covers casting c.c. 1:2:4 ratio 3 inch deep at center bar, reinforced with 3/8” dia tour steel 2.50” deep M.S. plate other curing, stacking and transportation within 10 miles. ………...………………………12” Dia ……...…..……………………. | 50 Nos | 913.63 | Each | 45,682.00 |

Cont’d Page No: 02

Page No:02

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 9. | Supply of Labour on Hiring Basis for lifting the Garbage (whenever, wherever, as much as required) and as per direction of Engineer Incharge. | 179 Nos |  | Each |  |
| Total Estimated Cost |  |  |  |  | 8,21,364 (+) Open Rate |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R

(+) Open Rate Rs:_________________ for complete work/job.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address:

SCHEDULE OF QUANTITIES

WORK No: 05

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:   4,22,454 (+) O/R		Earnest Money Rs:	8,449 (+) 2% of O/R

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | IMPROVEMENT OF NALLAH M.A. JINNAH ROAD TO K.B.L.D. TERMINAL UC-43, KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling cement concrete R.C.C. (1:2:4) disposal lead upto 10 miles etc. | 500 Cft | 5445.00 | %Cft | 27,225.00 |
| 2. | Cartage of 100 Cft / 05 Tons of all materials like stone aggregate, spawl, coal, lime, surkhi etc B.G. rail fastening point and crossing bridge girders, pipes sheet rails M.S. bar etc or 1000 number bricks 10”x5”x3” or 1000 manuds of fuel wood by trucks or any other means owned by the contractors (lead upto 15 miles etc). | 15,000 Cft | 1065.04 | %Cft | 1,59,756.00 |
| 3. | R.C.C. working roof slab beams, column, rafts, lintels and other structural members laid in situ or pre-cast laid in position complete in all respect 1:2:4. | 500 Cft | 337.00 | P/Cft | 1,68,500.00 |
| 4. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars) using tor bars. | 13.39 Cwt | 5001.70 | P/Cwt | 66,973.00 |
| 5. | Supply of Labour on Hiring Basis for lifting the Garbage and cleaning of Nallah/Sewerage System (whenever, wherever, as much as required) and as per direction of Engineer Incharge. | 635 Nos. |  | Each |  |
| Total Estimated Cost |  |  |  |  | 4,22,454 (+) Open Rate |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R

(+) Open Rate Rs:_________________ for complete work/job.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address:

SCHEDULE OF QUANTITIES

WORK No: 06

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:   4,16,175 (+) O/R		Earnest Money Rs:	8,324 (+) 2% of O/R

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | IMPROVEMENT OF NALLAH DOCKS COLONY AND MAJEED COLONY UC-43, KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling cement concrete R.C.C. (1:2:4) disposal lead upto 10 miles etc. | 300 Cft | 5445.00 | %Cft | 16,335.00 |
| 2. | Cartage of 100 Cft / 05 Tons of all materials like stone aggregate, spawl, coal, lime, surkhi etc B.G. rail fastening point and crossing bridge girders, pipes sheet rails M.S. bar etc or 1000 number bricks 10”x5”x3” or 1000 manuds of fuel wood by trucks or any other means owned by the contractors (lead upto 15 miles etc). | 15,000 Cft | 1065.04 | %Cft | 1,59,756.00 |
| 3. | R.C.C. working roof slab beams, column, rafts, lintels and other structural members laid in situ or pre-cast laid in position complete in all respect 1:2:4. | 300 Cft | 337.00 | P/Cft | 1,01,100.00 |
| 4. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars) using tor bars. | 8.03 Cwt | 5001.70 | P/Cwt | 40,164.00 |
| 5. | Hiring of Excavator for fulfill the necessary work i/c the wage of Driver, Assistant and Fuel etc complete. | 32 Hours | 3088.13 | P/Hour | 98,820.00 |
| 6. | Supply of Labour on Hiring Basis for lifting the Garbage (whenever, wherever, as much as required) and as per direction of Engineer Incharge. | 640 Nos. |  | Each |  |
| Total Estimated Cost |  |  |  |  | 4,16,175 (+) Open Rate |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R

(+) Open Rate Rs:_________________ for complete work/job.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address:

SCHEDULE OF QUANTITIES

WORK No: 07

DISTRICT MUNICIPAL CORPORATION (WEST)

KARACHI, KEAMARI ZONE

Estimated Cost Rs:       9,43,251/-		Earnest Money Rs:	         18,865/-

Time Limit:	45 Days		Penalty Per Day Rs:	1,000/-

| SUBJECT: | CONSTRUCTION OF FOOTPATH K.P.T. GROUND IN UC-43, KEAMARI ZONE, DMC(WEST). |  |
| --- | --- | --- |

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Filling, watering and ramming earth under floor with new earth (excavated from outside) lead upto one chain and lift upto 05 feet. | 3,000 Cft | 3630.00 | 1000 Cft | 10,890.00 |
| 2. | Excavation for foundation of building brigs and other structure i/c dressing refilling, around structure with excavate earth watering and ramming lead upto 05 feet. | 750 Cft | 3176.25 | 1000 Cft | 2,382.00 |
| 3. | Cement concrete brick or stone ballast 1½” to 2” gauge (1:4:8). | 375 Cft | 9416.28 | %Cft | 35,311.00 |
| 4. | Kerb Stone. Providing and fixing precast edge block 3750 PSI Industrial Made size 6 inches thick x 12 inches long x 1½” high including the cost of cartage, excavation, form work for hunching 1450 PSI lean concrete 2250 PSI concrete for hunching 1:4 cement sand mortor. | 750 Rft | 297.01 | P/Rft | 2,22,758.00 |
| 5. | P/F cement paving blocks flooring having size of 197 x 97 x 80mm of city / quddra / cobble shape with natural colours, having strength between 5000 psi to 8500 psi i/c filling the joints with hill said and laying in specified manner / pattern and design etc complete. | 3,000 Sft | 223.97 | P/Sft | 6,71,910.00 |
| Total Estimated Cost |  |  |  |  | 9,43,251.00 |

Nomenclature, Quantities and Rates etc checked

and found correct.

ASSTT: EX-ENGINEER (B&R)	EXECUTIVE ENGINEER(B&R)

KEAMARI ZONE	KEAMARI ZONE

*********************************

I/We hereby quoted Rates @                           %  above/below the S/R.

The total amount is Rs:	         (Rupees:

(In Figure)	(In Word)

## Contractor’s Signature:

## Address: