## Sch B
SCHEDULE-B
Name of Work :- |  | Up-Gradation of BHU to RHC at Khawaja Goth Sultanabad District Tando Allahyar Residentional Building Cagr: VIth Type Qtr: 02 Nos (E.I work).
S.# | ITEMS OF WORK |  | QTY |  | RATE | UNIT |  | AMOUNT
Part-A SCHEDULE ITEMS
1 | Wiring for light of fan point with (3/.029) PVC insulated wire in 20mm (3/4") PVC coonduit Processed in the wall or column as required (S.I.No. 121/ P-15)
|  |  | 46 | Nos | 1130 | P. point | Rs. | 51980
( Rupees One Thousend One Hundred Thirty Only )
2 | Wiring for call bell with (3/.029) PVC insulated wire in 20mm (3/4") PVC coonduit Processed in the wall or column as required (S.I.No. 128/ P-15)
|  |  | 2 | Nos | 1764 | P. point | Rs. | 3528
( Rupees One Thousend Seven Hundred Sixty Four Only )
3 | Wiring for plug pint with (3/.029) PVC insulated wire in 20mm (3/4") PVC coonduit Processed in the wall or column as required (S.I.No. 126/ P-15)
|  |  | 20 | Nos | 985 | P. point | Rs. | 19700
( Rupees Nine Hundred Eighty Five Only )
4 | P/L (MAIN or SUB MAIN) PVC insulated with siz 2-7/0.29 copper condition in 3/4" dia PVC conduit Processed in the wall or column as required (S.I.No. 10/ P-02)
|  |  | 100 | Mter | 222 | P. Metr | Rs. | 22200
( Rupees Two Hundred Twenty Two Only )
5 | P/F AC one way S.P 15/10 Amps switch flush type on metal board recessed in the wall or column or as required and cover with plastic sheet (S.I.No:218,p-33)
|  |  | 46 | Nos | 58 | Each | Rs. | 2668
( Rupees Fifty Eight Only )
6 | P/F flush type 2 pin 5 Amps S.P plug socket and metal board recessed in the wall or column and covered with plastic sheet. (S.I.NO:225/P-33)
|  |  | 20 | Nos | 83 | Each | Rs. | 1660
( Rupees Eighty Three Only )
7 | P/F flush type 3 pin 10 to 15 Ampress S.P plug socket switch and shoe unit on a given prepared board an surface as required (S.I.NO:224/P-33)
|  |  | 2 | Nos | 151 | Each | Rs. | 302
( Rupees One Hundred Fifty One Only )
8 | Providing and Fixing Brass Battern Holder (S.I.No. 232/ P-33)
|  |  | 28 | Nos | 70 | Each | Rs. | 1960
( Rupees Seventy Only )
9 | Providing and Fixing Bakelite Ceiling rose with two terninals (S.I.No. 228/ P-33)
|  |  | 8 | Nos | 72 | Each | Rs. | 576
( Rupees Seventy Two Only )
10 | Providing and fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No. 203/ P-31)
|  |  | 6 | Nos | 916 | Each | Rs. | 5496
( Rupees Nine Hundred Sixteen Only )
11 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31)
|  |  | 2 | Nos | 2456 | Each | Rs. | 4912
( Rupees Two Thousend Four Hundred Fifty Six Only )
12 | Providing and fixing voltemeter Size 96/96mm 500volt as required & as per instruction of EI (S.I.No. 285/ P-41)
|  |  | 2 | Nos | 999 | Each | Rs. | 1998
( Rupees Nine Hundred Ninety Nine Only )
13 | P/F Ampmeter size 96/96 mm direct 15-60 amps 100 amps as required (S.I.No. 284/ P-34)
|  |  | 2 | Nos | 1054 | Each | Rs. | 2108
( Rupees One Thousend Fifty Four Only )
14 | P/L (Main or Sub Main) PVC insulated with siz2-7/064 (16mm2) copper conductor in 1" dia PVC conduit on surface (S.I.No. 7. P-01)
|  |  | 60 | Mter | 605 | P. Metr | Rs. | 36300
( Rupees Six Hundred Five Only )
[6 empty] | Total:- | 155388
PART-B NON SCHEDULE ITEMS
1 | P/F earting set with 2"x2" x1/4" copper plate buried in ground at a depth of 12" or less if water comes out from the ground level with salt and charcoal etc, i/c making the poir 12" deep by excavation on all type of soil earth plate to be connected with No. 8,S.W.G, bare copper wire ruin in 1/2" G.L.pipe straight from the earth plate upto the matailc electrical necessary i/c providing necessary Tee etc complete .
|  |  | 1 | Nos |  | Each | Rs.
1 | S/F capsol light plastic body with energy saver 24 wtt fancy glass shade holder etc as required.
|  |  | 6 | Nos |  | Each | Rs.
2 | P/F energy saver superior quality i/c fixing on exisiting holder etc complete 24 walts .
|  |  | 10 | Nos |  | Each | Rs.
3 | Providing & Fixing distribution board shutter (LQR)
|  |  | 2 | ft |  | P-Ft | Rs.
4 | Providing & Fixing Blubs 100 watts
|  |  | 20 | Nos |  | Each | Rs.
5 | Providing & Fixing A.C Celling fan regulator fancy type as required
|  |  | 8 | Nos |  | Each | Rs.
6 | Errection of Celling fan i/c wiring of down rod with 1/1.13 mm(3/0.29) PVC wire fixing of regulators flade canopy as required
|  |  | 8 | Nos |  | Each | Rs.
7 | P/F ceiling fan 56" sweep ceiling fan complete with rod fald canopy etc as requaired. Made by Pak,Royal , GFC fan etc complete.
|  |  | 8 | Nos |  | Each | Rs.
Total:-
GENERAL ABSTRACT
| Part-A SCHEDULE ITEMS |  |  |  |  | Rs:- | 155388
| PART-B NON SCHEDULE ITEMS |  |  |  |  | Rs:-
G.Total:-
Say:-
N O T E :-
Certified that Premium not allowed on non schedule items .
Nothing shall be paid for cartage of any material what so ever brought at the site of work
material cartage form Government stores
Executive Engineer
Contractor |  |  |  | Buildings Division
Tando Allahyar