## Sch B
SCHEDULE-B
Renovation of Civil Hospital Tando Allahyar (E.I Work)
Sr. No: | Items of Work. | Qty: |  |  | Rate. | Unit. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.129, P-15) | 125 |  | -No: | 910 | P.Point. | 113750
( Rupees Nine Hundred Ten Only )
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.130, P-15) | 50 |  | -No: | 742 | P.Point. | 37100
( Rupees Seven Hundred Forty Two Only )
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.131, P-15) | 10 |  | -No: | 1590 | P.Point. | 15900
( Rupees One Thousend Five Hundred Ninety Only )
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit on surface. (S.I.No.03, P-01) | 300 |  | -Met: | 171 | P.Met: | 51300
( Rupees One Hundred Seventy One Only )
5 | Providnig & fixing one way SP 10/15 amp switch surface type. (S.I.No.218, P-33) | 150 |  | -No: | 58 | P.No: | 8700
( Rupees Fifty Eight Only )
6 | Providnig & fixing two pin 5 amp plug & socket flush type. (S.I.No.225, P-33) | 50 |  | -No: | 83 | P.No: | 4150
( Rupees Eighty Three Only )
7 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 40 |  | -No: | 916 | P.No: | 36640
( Rupees Nine Hundred Sixteen Only )
9 | Providnig & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 20 |  | -No: | 72 | P.No: | 1440
( Rupees Seventy Two Only )
10 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 20 |  | -No: | 70 | P.No: | 1400
( Rupees Seventy Only )
11 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit ressessed on wall or column as required (S.I.No.12, P-02) | 500 |  | -Met: | 341 | P.Met: | 170500
( Rupees Three Hundred Forty One Only )
12 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.235, P-34) | 4 |  | -No: | 999 | P.No: | 3996
( Rupees Nine Hundred Ninety Nine Only )
13 | P/F Circuit breaker 15,20,30,40,50 & 100 TP on prepared board (S.I.No-207,P-31) | 5 |  | -No: | 9261 | P.No: | 46305
( Rupees Nine Thousend Two Hundred Sixty One Only )
|  | Total Schedule Item |  |  |  | Rs | 491181
Part (B) Electric Non-Schedule Items.
1 | P/F Earthing Set
|  | 2 |  | Nos. |  | Each.
2 | Providing & Fixing distribution borad shutter (L.Q.R)
| (4x2.00x2.00) | 16
| (2x1.25x1.50) | 3.75
|  | 19.75 |  | ft |  | Each.
3 | P/F Flush type electric bell push botton
|  | 10 |  | Nos. |  | Each.
4 | Ceiling Fan 56" sweep (Pak,Royal & G.F.C) | 10 |  | -No: |  | Each.
5 | P/F Fancy sheet | 90 |  | -No: |  | Each.
6 | P/F Wall Brackat fan
|  | 8 |  | -No: |  | Each.
7 | P/F Energy Saver superior quality i/c fixing on existing holder etc. complete. | 150 |  | -Nos: |  | Each.
8 | S/F Door call bell | 10 |  | -No: |  | Each.
|  | Total Non-Sch: |  |  | Rs.
N O T E :-
Certified that Premium not allowed on non schedule items .
Nothing shall be paid for cartage of any material what so ever brought at the site of work
material cartage form Government stores
Executive Engineer
Contractor |  |  | Buildings Division
Tando Allahyar