## Sb
Schedule "B".
Up-Gradation of BHU to RHC at Khawaja Goth Sultanabad District Tando Allahyar Main Building (E.I Work)
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Item.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.124, P-15) | 295 | -Nos: | 1130 | P.Point. | 333350 | 333350
( Rupees One Thousend One Hundred Thirty Only )
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' PVC conduit processed in the wall or coloum as required. (S.I.No.126, P-15) | 70 | -Nos: | 985 | P.Point. | 68950 | 68950
( Rupees Nine Hundred Eighty Five Only )
3 | Wiring for call bell with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduit processed in the wall or coloum as required. (S.I.No.128, P-15) | 12 | -No: | 1764 | P.Point. | 21168 | 21168
( Rupees One Thousend Seven Hundred Sixty Four Only )
4 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.029 copper condition in 3/4'' dia PVC conduit recessed in the wall or coloum as required. (S.I.No 10 P-2) | 1000 | Mtr | 222 | P.Mtr: | 222000 | 222000
( Rupees Two Hundred Twenty Two Only )
5 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper condition in 3/4'' dia PVC conduit recessed in the wall or coloum as required. (S.I.No.12 P-2) | 800 | Mtr | 341 | P.Mtr: | 272800 | 272800
( Rupees Three Hundred Forty One Only )
6 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.052 (19mm2) copper condition in 3/4'' dia PVC conduit recessed in the wall or coloum as required. (S.I.No.13 P-2) | 400 | Mtr | 463 | P.Mtr: | 185200 | 185200
( Rupees Four Hundred Sixty Three Only )
7 | P/L (MAIN OR SUB MAIN) PVC insulated with size 4-7/.064 (16mm2) copper condition in 1 1/2'' dia PVC conduit recessed in the wall or coloum as required. (S.I.No.42 P-6) | 50 | Mtr | 1213 | P.Mtr: | 60650 | 60650
( Rupees One Thousend Two Hundred Thirteen Only )
8 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 70 mm 2. (S.I.No.106, P-12) | 35 | Mtr | 4722 | P.Mtr: | 165270 | 165270
( Rupees Four Thousend Seven Hundred Twenty Two Only )
9 | P/F Circuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required.. (S.I.No.203, P-31)2 | 57 | -No: | 916 | Each. | 52212 | 52212
( Rupees Nine Hundred Sixteen Only )
10 | P/F Circuit breaker 15,20,30,40,50, & 60 amp TP (XE-100CS[CB]) on prepared board as required.. (S.I.No.206, P-31) | 5 | -No: | 5521 | Each. | 27605 | 27605
( Rupees Five Thousend Five Hundred Twenty One Only )
11 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) | 3 | -Nos: | 9261 | P.No: | 27783 | 27783
( Rupees Nine Thousend Two Hundred Sixty One Only )
12 | P/F circuit breaker 250 amp T.P. setting 160-250 amp (XS-250NJ) on prepared board as required. (S.I.No.209, P-31) | 1 | -No: | 27411 | P.No: | 27411 | 27411
( Rupees Twenty Seven Thousend Four Hundred Eleven Only )
13 | P/F circuit breaker 400 amp T.P. setting 250-400 amp (XS-400CJ) on prepared board as required. (S.I.No.210, P-31) | 1 | -No: | 39401 | P.No: | 39401 | 39401
( Rupees Thirty Nine Thousend Four Hundred One Only )
14 | Providnig & fixing DP i/c change over switch 500 volts 600 amp on a prepared board. (S.I.No.202, P-30) | 1 | -No: | 69014 | P.No: | 69014 | 69014
( Rupees Sixty Nine Thousend Fourteen Only )
15 | P/F brass battern holder.(S.I.No 232, P-33). | 146 | -No: | 70 | Each. | 10220 | 10220
( Rupees Seventy Only )
16 | P/F Bakelit celling rose with two terminals. (S.I.No B-228, P-33) | 146 | -No: | 72 | Each. | 10512 | 10512
( Rupees Seventy Two Only )
17 | P/F Voltmeter size 96/96mm 500 volt as required & as per instuction of E.I (S.I.No.285 P-41) | 6 | -No: | 999 | Each. | 5994 | 5994
( Rupees Nine Hundred Ninety Nine Only )
18 | P/F ammeters size 96/96mm Direct 15A, 30A 50A, 60A, & 100A as required as per instruction of E.I. (S.I.No C-284, P-41). | 6 | -No: | 1054 | Each. | 6324 | 6324
( Rupees One Thousend Fifty Four Only )
19 | P/F flood light 400 watts (HPIT) having IP65 Classification with 400q lamp, choke, capacitor, igniter & internal wiring complete in all respect at the height up to 40ft with the help hydraulic crane and manual labour as per site requirement and instruction of EI.(S.I.No.167 P-26) | 1 | -No: | 16980 | Each. | 16980 | 16980
( Rupees Sixteen Thousend Nine Hundred Eighty Only )
20 | P/F of street light 125 watts (HPMV) having LP54 classification with 125w lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 2 | -No: | 6365 | Each. | 12730 | 12730
( Rupees Six Thousend Three Hundred Sixty Five Only )
|  | T o t a l :- |  |  |  | 1635574 | 1635574
Part (B) E.I Non Shedule Item.
1 | P/F Energy Saver 24 watts superior quality an existing holder as required. | 146 | -Nos: |  | Each.
2 | P/f 1-40 watts tube light complete with chock starter, patti fitting superior quality etc as required. | 40 | -No: |  | Each.
3 | S/f fancy double tube light flush type with fancy girl complete with tube light, holder, starter, chock, patti fitting etc as required. | 10 | -No: |  | Each.
4 | P/F Distribution Board Double Shutter Accordable C.B i/c painting with Embaled painting for other simple has on surface. | 13 | -Sft: |  | P-Sft
5 | P/F Panal Board Double sheet to commodate Heavy duty Circuit bracker.bus bar i/c painting with Embaled painting & for other similar job on surface with following accessories (DB) (i) copper wring conection (ii) pilot lamps. Pilot lamps 3 Nos. (iii) vots meters (iv) Amp metter | 8 | -Sft: |  | P-Sft
6 | P/F Pilot Lamp as required. | 15 | -Nos: |  | Each.
7 | P/F Ceiling fan 56" sweep Celling Fan complete with rod fald canopy etc as required. Pak Royal G.F.C etc complete. | 52 | -No: |  | Each.
8 | P/F flash type light dimmer imported quality fancy type as requred | 52 | -Nos: |  | Each.
9 | Errection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 52 | -No: |  | Each.
10 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 52 | -No: |  | Each.
11 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip with switch socket etc as required. | 60 | -Nos: |  | Each.
12 | S/F Door Bell Superior Quality as required. | 14 | -No: |  | Each.
13 | S/F bell push switch etc as required. | 14 | -Nos: |  | Each.
14 | P/F three pin 10/15 plug socket flush type. Imported quality as required. | 25 | -No: |  | Each.
15 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 30 | -No: |  | Each.
16 | S/F Capsol light plastic body with Energy sever 24 watt fancy glass shade holder etc as required. | 17 | -No: |  | Each.
17 | S/F fancy LED Light 07 watt Imported quality as required. | 26 | -Nos: |  | Each.
18 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same.hard soil | 2 | -No: |  | Each.
T o t a l :-
G E N E R A L A B S T R A C T.
1) | Part (A) E.I Schedule Item. |  |  | RS:- |  | 1635574 | 1635574
2) | Part (B) E.I Non Shedule Item. |  |  | RS:-
G. TOTAL :-
N O T E :-
1) | Premium on non schedule item will not be allowed.
2) | Cartage of any item either supplied y the Department if the contractor arrang will be not allowed.
3) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  |  | Executive Engineer Buildings Division Tando Allahyar