SCHEDULE “B”

REHABILITATION OF RURAL HEALTYH CENTRE RANIPUR TALUKA SOBHODERO

NON- RESIDENTIAL PORTION

PART( A )CIVIL WORK

| S# | NAME OF ITEM | NO:L.B.D | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |

1/-	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4)

Qty: 10681 cft			@RS: 3176.25		% Cft	RS: 33926/-

02/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:4:8). (S.I.No.4 (c) P.No.15)

Qty: 2670 Cft			@RS: 9416.28		% Cft	RS: 251415/-

03/-	Un- Coursed rubble masonry  dressing  dry masonry  (S.I No:1 P-27).

Qty: 6123 Cft			@RS: 17723/-		% Cft	RS: 1085179/-

04/-	Coursed rubble masonry  including  hammer dressing  dry  masonry (S.I No:2 O-27).

Qty: 6210 Cft			@RS: 25321/-		% Cft	RS: 1572434/-

05/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) .(S,I No:06 P-19).

Qty: 9782 cft			@RS: 337/-		P.Cft	RS: 3296534/-

06/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in

position making joints and fastenings i/c cost of binding wire (also includes removal of rust

from bars) (a) Using tor bars. (S.I.No.7 (a)

Qty: 524.035 cwt		@RS: 5001.70		P.cwt	RS: 2621069/-

07/-	Filling watering ramming earth under floor with new earth excavated. (S.I NO: 22 P.NO: 4).

Qty: 31536 Cft			@RS: 3630/-		% Cft	RS: 114476/-

08/-	Dressing & leveling  of earth work to designed section (d) Ordinary Soil.

Qty: 31536 Cft			@RS: 187.55		%0 Cft	RS: 5915/-

| S# | NAME OF ITEM | NO:L.B.D | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |

09/-	Filling watering and ramming earth in floor with surplus earth etc

Qty: 7121 Cft			@RS: 1512.50		%0Cft	RS: 10771/-

10/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:6:12). (S.I.No.4 (b) P.No.14.)

Qty: 2602 cft			@RS: 8122.95		% Cft	RS: 211359/-

11/-	Cement Concrete plain including placing Compacting Finishing & curing, complete 	i/c

Screening & washing of stone  aggregate  Ratio (1:3:6) (S.I No:5 P-18).

Qty: 1340 cft			@RS: 14429.25	% Cft	RS: 193352/-

12/-	Providing Anti Termite treatment by spraying /sprinkling (S.I NO: 92 P. 109).

Qty: 7884 cft			@RS: 9.74		P.Sft	RS: 76790/-

13/-	Pacca Brick work in ground floor  super  structure  cement  & sand  mortar  ratio

(1:6)(S.I No:05 (c)P.No:20)

Qty: 11202 Cft			@RS: 12674.36	% Cft	RS: 1419782/-

14/-	Providing & fixing G.I frames/chowkhats size 7”x2” or   4 ½”x3” for  door using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio (1:6) and repairing the jambs. The cost also i/c all carriage, tools and plants used in making & fixing.(S.I.No 29 P.No.93)

Qty: 676 rft			@RS: 228.90		P.Rft	RS: 154736/-

15/-	Providing and fixing G.I frames/chowkhats of size 7”x2” or 4½”x3” for windows  using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing.   (S.I.No. 28 Page No. 93)

=	721	rft

Qty: 721 rft			@RS: 240.50		P.Rft	RS: 173400/-

16/-	First class deodar wood  wrought  joinery  in doors & windows  etc .  fixed in position  i/c  chowakats  holds  fasts  hinges, iron tower  blts. Chocks  cleats , handles  and cores  with hooks , etc Deodar  paneled  or paneled glazed or fully  glazed  (with out  chowkats) (S.I No:7 (b0 P No:57).

Qty: 1163 Sft			@RS: 902.93		P.Sft	RS: 1050108/-

17/-	Teak wood  framed and fixed in pace including chowakats hold fast iron bolts chock cleats handles card with.

Qty: 119 sft			@RS: 3800/-		P.Sft	RS: 452200/-

| S# | NAME OF ITEM | NO:L.B.D | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |

18/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b)    P:NO:52   )

Qty: 33332 Sft			@RS: 2206.60		% Sft	RS: 735504/-

19/-	Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52   )

Qty: 33332 Sft			@RS: 2197.52		% Sft	RS:732477/-

20/-	Pacca  Brick  work in  foundation & plinth  work  in cement sand mortar (1:6) (S.I No:5 P-25).

Qty: 2427 Sft			@RS: 11948.36	% Cft	RS: 289987/-

21/-	Providing and laying tile glazed (6”x 6”1/4”) on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.47)

Qty: 10064 Sft			@RS: 30509.77	% Sft	RS: 3070503/-

22/-	Laying white marble Flooring fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 42)

Qty: 600 Sft			@RS: 567.48		P.Sft	RS: 340488/-

23/-	Providing and fixing 3/8” thick marble tile of approved quality and colour and shade size 8”x4”/6”x4” in dado skirting and facing removal/tucking of existing plaster surface etc over ½” thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filing the joints and washing the tiles with white cement slurry cutting, finishing cleaning and polishing etc complete (2) for new works. (S.I. No.68 (i) P. No.48)

Qty: 238 Sft			@RS: 186.04		P.Sft	RS: 44278/-

24/-	Pointing flush in stone work in cement mortar 1:3 (S.I NO: 20 P.NO: 53).

Qty: 1202 Sft			@RS: 1062.33		% Sft	RS: 12769/-

25/-	Providing and lying 2” thick C/C topping cement concrete (1:2:4) i/c surface finishing and dividing into panels.  (S.I.No.16 (d) P.No.42)

Qty:9515 Sft			@RS: 3275.50		% Sft	RS: 311664/-

26/-	Two coats of Bitumen laid hot using 34 Lbs (S.I NO:   P.NO:     ).

Qty: 9515 Sft			@RS: 1887.40		% Sft	RS: 179586/-

27/-	P/F iron steel grill using solid square bar of size ½ x ½ placed at 4” i/c and frame of flat iron patti of ¾ x ¾ i/c circle shape at 1-0 a part equivalent fitted with screw are pins i/c painting 03 coats with first coat of red oxide  paint etc. (S.I. No.30 P. No.98)

Qty: 585 Sft			@RS: 194.16		P.Sft	RS: 113584/-

28/-	White washing 03 coats.

Qty: 7884 Sft			@RS: 829.95		% Sft	RS: 65433/-

| S# | NAME OF ITEM | NO:L.B.D | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |

29/-	Distempering 03 coats.

Qty: 29406Sft			@RS: 1079.65		% Sft	RS: 317482/-

30/-	Preparing the surface and painting with weather coats paint of approved make to old matt finish

surface paris and then painting with weather coat of approved make. (03 Coats)

(old surface) (S.I. No. 36  (a+b)  P. No.55).

Qty: 5207 Sft		@RS: 2567.95		% Sft	RS: 133713/-

31/-	Painting doors & Windows any type including edges of three coats (S.I NO:40 ii P 67).

Qty: 2562 Sft			@RS: 2116.40		% Sft	RS: 56784/-

32/-	Supplying & Fixing false ceiling  of plaster , in panels including making frame , work of deodar wood including painting with soligia paint.(S.NO:52 P.NO:64).

Qty: 820 Sft			@RS: 25293.42	% Sft	RS: 207406/-

33/-	Providing & Fixing plaster of pairs ceiling border of 8” -10” with of specified design & thickness i/c fixing besides ceiling with nails/screws with jetties.(S.I No:44 P.NO:39)

Qty: 324 rft			@RS: 104.22		P.Rft	RS: 33767/-

===================================

Total					RS: 19368671/

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SCHEDULE - B

REHABILITATION OF RURAL HEALTYH CENTRE RANIPUR TALUKA SOBHOD

3rd Type Bungalow

(PART( B )  CIVIL  WORK.

| Sr. No. | ITEM OF WORKS |  |  |  |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01. | Excavation foundation of buildings bridge and other Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 2358.0 | 3176/25 | %0Cft | Rs. 7490/- |
| 02. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:4:8. (S.I.No.4 P.No.14). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 634. Cft | 9416/28 | %Cft | Rs. 59699/- |
| 03. | Rondom Rubble masonry i/c hammer dressing ratio 1:6 (S.I.No.3 P.No.27.. |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 988 Cft | 17723/- | % Cft | Rs.175103/- |
| 04 | Coursed Rubble masonry i/c hammer dressing ratio 1:6 (S.I.No.3 P.No.27.. |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1068 Cft | 25321/- | %Cft | Rs.270428/- |
| 05 | Pacca Brick work in foundation & plinth in cement & Sand mortar Ratio 1:6 (S.I.No.4 (c) P.No.25). |  |  |  |  |  |  |  |  |
| 06 | P/L single per layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of engineer in charge (S.No.38 P. 37) |  |  |  |  | 1013 Cft | 11948/36 | %Cft | Rs. 121037/- |
|  |  |  |  |  |  | 2064 Sft | 10/70 | P.SFT | Rs. 22085/- |
| 07 | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1432 Cft | 337/- | P.CFT | Rs. 482584/- |
| 8 | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 63.929Cwt | 5001/70 | P.CWT | Rs. 319754/- |
| 09 | Pacca Brick work in ground floor sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1819 Cft | 12674/36 | % CFT | Rs.230547/- |
| 10 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain up to 5ft |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1572 Sft | 1512/50 | %0 Cft | Rs. 2378/- |
| 11 | Filling watering and ramming earth under floor with new earth excavated( out side) lead upto one chain up to 5ft |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 4825 Sft | 3630/0 | %0 Cft | Rs. 17515/- |
| 12 | S/Filling sand under floor plugging into walls. |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1206 Cft | 1141/75 | %Cft | Rs.13769/- |

Page - 2

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Add extra lead 3 miles |  |  |  |  |  |
|  |  |  | 6031 Sft | 579/41 | % CFT | Rs.34944/- |
| 14 | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:6:12. (S.I.No.4 P.No.14). |  |  |  |  |  |
|  |  |  | 729 Sft | 8122/95 | % CFT | Rs. 69216/- |
| 15 | P/L 1” thick topping cement concrete 1:2:4 including finishing and dividing into panels. |  |  |  |  |  |
|  |  |  | 517 Sft | 3275/50 | % SFT | Rs. 16934/- |
| 16 | P/F Tiles Glazed 6”x6”x1/4” on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1;2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.60 P.No.46). |  |  |  |  |  |
|  |  |  | 1158 Sft | 27678/86 | % SFT | Rs. 320521/- |
| 17 | White tile dado ¼ thick kid in cement over 1:2 cement sand mortar thick including finishing (P.No 50 |  |  |  |  |  |
|  |  |  | 434 Sft | 28253/01 | % SFT | Rs. 122618/- |
| 18 | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |
|  |  |  | 5351 Sft | 2206/60 | % SFT | Rs. 118075/- |
| 19 | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |
|  |  |  | 5351 Sft | 2197/52 | % SFT | Rs. 117589/- |
| 20 | Cement pointing struck joint on walls ratio 1:3 (S.I.No.19 P.No.59). |  |  |  |  |  |
|  |  |  | 1129 Sft | 1287/44 | % SFT | Rs. 14535/- |
| 21 | Cement pointing flesh on stone ratio 1:3 (S.I.No.19 P.No.59). |  |  |  |  |  |
|  |  |  | 318 Sft | 1062/33 | % SFT | Rs. 3378/- |
| 22 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4-1/2x3 for door using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). |  |  |  |  |  |
|  |  |  | 230 Sft | 228/90 | P.SFT | Rs. 52647/- |
| 23 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4-1/2x3 for windows using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). |  |  |  |  |  |
|  |  |  | 369 Sft | 240/50 | P.SFT | Rs. 88745/- |

Page - 3

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 24 | First class deodar wood wrought, joinery in doors & windows etc. fixed in position i/c chowkhats holds fasts hinges, iron tower blts. Chocks cleats, handles and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (with out chowkhats). (S.I.No54 P.No.64). |  |  |  |  |  |
|  |  |  | 299 Sft | 902/93 | % SFT | Rs. 269976/- |
| 25 | White wash 3 coats. |  |  |  |  |  |
|  |  |  | 1957 Sft | 829/95 | % SFT | Rs. 16242/- |
| 26 | Primary coat of chalk under distempering. |  |  |  |  |  |
|  |  |  | 5351 Sft | 442/75 | % SFT | Rs. 23692/- |
| 27 | Disptemper of two coats. |  |  |  |  |  |
|  |  |  | 5351 Sft | 1043/90 | % SFT | Rs. 55859/- |
| 28 | Colour washing two coat over one coat of white wash. |  |  |  |  |  |
|  |  |  | 1576 Sft | 859/90 | % SFT | Rs. 13552/- |
| 29 | P/L 2” thick topping cement concrete 1:2:4 including finishing and dividing into panels. |  |  |  |  |  |
|  |  |  | 1678 Sft | 3275/50 | % SFT | Rs. 54963/- |
| 30 | Reinforced cement concrete spout including fixing in position 2-1/2x6x5 (P.No 17 |  |  |  |  |  |
|  |  |  | 8 Nos | 261/25 | Each | Rs. 2090/- |
| 31 | Galvanized wire jauze fixed into chowkats with ¾ deodar strips and screws. (P.No 59 |  |  |  |  |  |
|  |  |  | 108 Sft | 190/72 | P.SFT | Rs. 20998/- |
| 32 | Painting new surface preparing surface painting of door and any type ( P. 76 |  |  |  |  |  |
|  |  |  | 1024 Sft | 2116/41 | % SFT | Rs. 21672/- |
|  |  |  |  |  | Total | Rs. 3150220/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SCHEDULE “B”

REHABILITATION OF RURAL HEALTYH CENTRE RANIPUR TALUKA SOBHODERO

RESIDENTIAL PORTION

3RD TYPE BUNGALOW

COURT YARD  WALL.

| Sr. No. | ITEM OF WORKS |  |  |  |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01. | Excavation foundation of buildings bridge and other Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1248.0 | 3176/25 | %0Cft | Rs:3904/- |
| 02. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 305.0 | 8694/95 | %Cft | Rsa:26520/- |
| 03. | Pacca brick work in foundation and plinth in cement concrete sand mortar ratio 1:6.(S.NO:4-e P-20) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1131.0 | 11948/36 | % Cft | Rs:135136/- |
| 04 | D.P.C. cement sand ratio 1:2:4. i/c coat of asphitic mixture 3”thick.(S.NO:8 P-22) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 223.0 | 4982/18 | %Cft | Rs:11110/- |
| 05. | Pacca Brick work another than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 597.0 | 12346/65 | % CFT | Rs:73710 |
| 06. | M/Fixing steel greated door with 1/6”thick sheeting i/c angle iron frame 2x2x3/8”sq: bares with looking arrangment.(S-24 P-91) |  |  |  |  |  |  |  |  |
| 08 | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1036.0 | 2206/60 | %sft | Rs:22800/- |
| 9 | Cement plaster 1:4 up to 20 heights 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1036.0 | 2197/52 | %sft | Rs:22700/- |
| 10 | Cement pointing stuck joints walls (1;3) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1360.0 | 1287/44 | %Sft | Rs:16453/- |
| 11 | Cement pointing flush on stone walls in cement sand ratio (1;3) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1233.0 | 1062/33 | % SFT | Rs:13099/- |

Page - 2

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | R.C.C.roof slab beames coloumes rafts lintels and other structurel members laid in situ etc complete.(S-6 P-19) |  |  |  |  |  |
|  |  |  | 32.0 | 337/- | P.Cft | Rs:10784/- |
| 13 | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |
|  |  |  | 1.428.0 | 5001/70 | P.CWT | Rs:7142/- |
| 14 | Colour washing 2 coats.(S-25 P-53) |  |  |  |  |  |
|  |  |  | 407.0 | 859/61 | %Sft | Rs:3499/- |
| 15. | Painting new surface painting guard bars gaytes of iron bars grating raling i/c standard braces etc (s- P-760) |  |  |  |  |  |
|  |  |  | 120.0 | 2116/41 | % SFT | Rs. 393186/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SCHEDULE “B”

REHABILITATION OF RURAL HEALTYH CENTRE RANIPUR TALUKA SOBHODERO

RESIDENTIAL PORTION

3RD TYPE BUNGALOW

COURT YARD  FLOOR.

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 01. | filling watering and ramming earth in floor with surplus earth lead upto one chain and lift upto five feet (S-22 P-4) |  |  |  |  |  |
|  |  |  | 1000.0 | 1512/50 | % Cft | Rs.1513/- |
| 02. | S/filling sand under floor plugging into wall 1:3. |  |  |  |  |  |
|  |  |  | 250.0 | 1141/25 | %Cft | Rs.28531/- |
| 3. | Add Extra lead three miles |  |  |  |  |  |
|  |  |  | 1250.0 | 579/41 | %Sft | Rs:7243/- |
| 04 | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:6:12. (S.I.No.4 P.No.14). |  |  |  |  |  |
|  |  |  | 250.0 | 8122/95 | %Cft | Rs.20307/- |
| 05 | P/L 2”thick topping finishing into dividing into pannals (S-16 P-41) |  |  |  |  |  |
|  |  |  | 500.0 | 3275/50 | % SFT | Rs. 16378/- |
|  |  |  |  |  | Total | Rs. 48294/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SCHEDULE B

Part-B	Water Supply & Sanitary Fittings

| Sr. No. | ITEM OF WORK |  | QTY: | RATE | UNIT | AMOUNT (RS.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing separating type white glazed of flushing cistern with internal Fitting and flush pipe with bend and making requisite number of holes in wall plinth and floor for pipe connections and making good in cement concrete1:2:4 (ii) with 4 dial earthen ware trap and plastic thimble (S.I.NO.2 P-1). |  | 03 Nos. | 4846/60 | Each | Rs.14540/- |
| 2. | Providing and fixing 24x18 lavatory basin in white glazed earthen ware complete with and i/c the cost of W.I. or C.I. cantilever brackets 6 inches built into painted white in two coats after a primary coat of red lead paint a pair of ½ dial and chrome plaster traps1-1/2 dial rubber plug and chrome plated brass chain 1-1/4 dial malleable iron of holes in wall plinth and floor for pipe connection and making good in cement concrete 1.2.4 (stand pattern.(S.I.NO.8 P-3). |  | 03 Nos. | 4928/- | Each | Rs.14784/- |
| 3. | Providing G.I. pipe specials clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white Zink paint with pigment to match the color of the buildings .1/2 dial G.I. pipe.(S.I.NO.1 P-11). |  |  |  |  |  |
|  | 1 ¼”Dia. |  | 100 Rft | 188/97 | P.Rft | Rs. 18897/- |
|  | 1”Dia. |  | 100 Rft | 128/55 | P.Rft | Rs.12855 |
|  | ¾”Dia. |  | 170 Rft | 95/79 | P.Rft | Rs.16284/- |
|  | ½”Dia. |  | 130 Rft | 73/21 | P.Rft | Rs.9517/- |
| 4. | Add extra cancelled G.I pipe and fitting etc complete (S.I.No.2 P.No.11). |  | 200 Rft | 7/82 | P.Rft | Rs.1564/- |
| 5. | P/F 6x2xor 6x3 C.I. Floor trap of the approved self cleaning design with a vent C.I. Skewed down gritting with or without a vent arm complete with and i/c the making requisite number of holes in walls plinth and floor for pipe connections and making good in c.,c.1.2.4. (S.I.NO.20 P-5). |  | 06 Nos. | 2024/43 | Each | Rs.12147/- |
| 6. | Supplying and fixing cancelled tee stop of superior quality with C.P Head ½” (S.I.No.3 P.No.15). |  | 06 No. | 889/46 | Each | Rs.5337/- |
| 7. | P/F chrome plated brass towel sail complete with brick nuts fixing on wooden cleats with 1 long C.P brass screws ¾”dia bound C. Square (Standard Pattern) (S.I.No.1 (a) P.No.7). |  | 03 No. | 1269/95 | Each | Rs.3810 |
| 8. | Providing and fixing 15”x12” beveled edge mirror of Belgium glass complete with 1/8”thick hard board and C.P screws fixed to wooden plate (Standard pattern). |  | 03 No. | 1161/60 | Each | Rs.2485/- |
| 9. | P/F in position nylon connections complete with ½ dial brass stop cock with pair of brass nuts and lining joints to nylon connection .(S.I.NO.23 P-6). |  | 06 Nos. | 447/15 | Each | Rs.2683/- |
| 10. | S/F Bib cock of superior quality with C.P head ½”dia. (S.I.No.13 P.No.15). |  | 06 Nos. | 1109/46 | Each | Rs.6657/- |
| 11. | S/F canceled stop cock of superior quality head ½ dial.(S.I.NO.3(b)p-15). |  | 06 Nos. | 509/74 | Each | Rs.3058/- |
| 12. | Supplying and fixing handle valve china ¾”dia (S.I.No.7 P.No.14). |  | 06 Nos. | 271/92 | Each | Rs.1631/- |

| Sr. No. | ITEM OF WORK |  | QTY: | RATE | UNIT | AMOUNT (RS.) |
| --- | --- | --- | --- | --- | --- | --- |
| 13. | S/F fiber glass tank of approved quality and design and wall thickness as specified i/c the cost of nuts bolts and fixing in platform of cement concrete 1.3.6.and making connection for inlet outlet and over flow inlet outlet flow pipe etc complete 250 gallon wall thickness 3.5mm. (S.I.No. P.No. ). |  | 01 Nos. | 21989/61 | Each | Rs.21990/- |
| 14. | Providing RCC pipe with collars class “Band digging the troches to required depth and fixing in position including cutting fitting and jointing with asphalt composition and cement mortar 1:1 and testing with water pressure head of 4ft above the top of the height pipes and refilling with excavated staff. |  |  |  |  |  |
|  | 6”dia. |  | 24.00 Rft |  |  |  |
|  |  |  | 18.00 Rft |  |  |  |
|  |  |  | 18.00 Rft |  |  |  |
|  |  |  | 24.00 Rft |  |  |  |
|  |  |  | 84.00 Rft | 199/25 | P.Rft | Rs.16737/- |
|  | 9” Dia |  | 60.0 Rft | 250/60 | P.RFT | Rs. 15036/- |
| 15 | Providing asbestos pipe with collar deed or equitant i/c digging the trenches to required depth and fixing to position and jointing with rubber rings including testing to water pressure head of 200feet |  |  |  |  |  |
|  |  |  | 30.00 Rft |  |  |  |
|  |  |  | 18.00 Rft |  |  |  |
|  |  |  | 10.00 Rft |  |  |  |
|  |  |  | 58.00 Rft | 141/11 | P.Rft | Rs.8184/- |
| 16. | Providing and fixing 6x4 C.C dully trap with 4 outlet complete with 4thick 1:2:4 C.C for head and ½”thick cement plaster 1:3 to the karb grating 6x6 cole cover and fasts 12x12 inside etc complete with C.I Cover and frames (S.I.No.1 P.No.21). |  | 03 Nos. | 1193/17 | Each | Rs.3580/- |
|  |  |  | TOTAL |  |  | Rs.192776/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

Part-B-II	P.H Schedule Item

| Sr. No. | ITEM OF WORK |  | QTY: | RATE | UNIT | AMOUNT (RS.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Boring tubwell in all water bearing foil from ground level up to 100 ft or 30.5 meter west i/c thinking & drawing the casing pipe Hospital & Quarter 4”Dia. |  | 60 Rft | 242/- | P.Rft | Rs.14520/- |
| 2. | Constructing man hole or inspection chamber for the required dial of circular screw and 3-6(1067mm) depth with walls of Bobbin cement motor 1..32 cement plastered 1.3 ½ thick inside of walls and 1`(25mm) thick over benching and channel i/c fixing Caiman hole cover with frames of clear opening 1-1/2x1:1-1/2 (457x457mm) of 1.75CWT (88.9kg) embedded in plain c.c.1.2.4 and fixing 1(25mm)dial M.S. Steps 6 (150mm) wide projecting 4 (102mm)from the face of wall at 12 (305mm) c/c duly painted etc complete as per specification and drawing NO;DP [/1of public heath circle southern 4 to 12 dial 2x2x3x6. (S.I.No.11 (a) P.No.39 (Without). |  | 05 Nos. | 14748/- | Each | Rs.73740/- |
| 3. | Providing and fixing PVC pipe class “D” class etc complete. |  | 50 Rft | 34/- | P.Rft | Rs.1700/- |
|  |  |  | TOTAL |  |  | Rs.89960/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

Part-B-III	E.I Items

| Sr. No. | ITEM OF WORK |  | QTY: | RATE | UNIT | AMOUNT (RS.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Supplying and fixing water pumping set 2 H.P Complete. |  | 01 No, | 21691/0 | Each | Rs.21691/- |
|  |  |  |  | TOTAL |  | Rs.21691/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

Part 4 Non schedule item

| Sr. No. | ITEM OF WORK |  | QTY: | RATE |  | UNIT |  | AMOUNT (RS.) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing U.PVC pipe |  |  |  |  |  |  |  |  |  |
|  | 4”Dia. |  | 50 Rft |  |  |  | P.Rft |  |  |  |
|  | ¾”Dia. |  | 100 Rft |  |  |  | P.Rft |  |  |  |
|  | ½”Dia. |  | 100 Rft |  |  |  | P.Rft |  |  |  |
| 2. | Providing and fixing U.PVC Branches |  | 3 Nos |  |  |  | Each |  |  |  |
| 3. | Providing and fixing U.PVC P-Trop |  | 3 Nos |  |  |  | Each |  |  |  |
| 4. | Providing and fixing U.PVC plain bends |  | 3 Nos |  |  |  | Each |  |  |  |
| 5. | Providing and fixing U.PVC T- |  | 3 Nos |  |  |  | Each |  |  |  |
|  |  |  |  |  |  |  | Total |  |  |  |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SHEDULE “B”

REHABILITATION OF RURAL HEALTYH CENTRE RANIPUR TALUKA SOBHODERO

PART              COMPOUND WALL

| Sr. No. | ITEM OF WORKS |  | L.B.D. | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation foundation of buildings bridge and other Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil |  |  |  |  |  |  |
|  |  |  |  | 2054.0 | 3176/25 | %0 CFT | Rs:5424/- |
| 2 | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |  |
|  |  |  |  | 514.0 | 8694/95/ | % CFT | Rs:46692/- |
| 3. | Rondom rubble masonary ratio 1:6(S.NO:1 P.NO:27) |  |  |  |  |  |  |
|  |  |  |  | 750.0 | 17721/- | % CFT | Rs;132923/- |
| 4. | Course rubblr masonary including hammar ratio 1:6(S.NO:2 P.NO:27) |  |  |  |  |  |  |
|  |  |  |  | 938.0 | 25321/- | %Cft | Rs:237511/- |
| 5. | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). |  |  |  |  |  |  |
|  |  |  |  | 371.0 | 337/00 | P.CFT | Rs:125027/- |
| 6. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |  |
|  |  |  |  | 13.25.0 | 5001/70 | P.CWT | Rs:66273/- |
| 7. | Pacca Brick work another than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). |  |  |  |  |  |  |
|  |  |  |  | 1619.0 | 12346/65 | % CFT | Rs:199892/- |

| Sr. No. | ITEM OF WORKS | L.B.D | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |

| 8. | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2710.0 | 2206/60 | % SFT | Rs:59799/- |
| 9. | Cement plaster 1:4 up to 20 heights 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |
|  |  |  | 2710.0 | 2197/52 | % SFT | Rs:59553/- |
| 10. | M/ fixing steel graed door 1/16” thick ( S.W. 24 P- 91 ) |  |  |  |  |  |
|  |  |  | 60.0 | 726/72 | P.SFT | Rs:43603/- |
| 11. | Providing and laying HALA or pattern tiles glazed 6x6x1/2 on floor or wall facing in required floor and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.61 P.No.54). |  |  |  |  |  |
|  |  |  | 45.0 | 47651/56 | % SFT | Rs:21443/- |
| 12. | Cement pointing stuck joints walls (1;3) |  |  |  |  |  |
|  |  | Total Qty = 4180 ( - )513 | 1875.0 | 1213/58 | % SFT | Rs:22755/- |

| 13. | Colour wash two coats (S. No 25 (B) P- 53) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4585.0 | 859/90 | % SFT | Rs:39426/- |
| 14. | Preparing new surface painting guard bars gates(S.NO: P.NO: ) |  |  |  |  |  |
|  |  |  | 120.0 | 896/36 | %Sft | Rs:1076/- |
|  |  |  |  |  | Total | Rs:1060497/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

| 1. | Excavation foundation of buildings bridge and other Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1798 | 3176/25 | % CFT | Rs. 5711/- |
| 2. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |
|  |  |  | 450 CFT | 8694/95 | % CFT | Rs. 39127/- |
| 3 | Random rubble masonry (un-coursed) ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). |  |  |  |  |  |
|  |  |  | 900 | 17723/00 | % CFt | Rs. 159507/- |
| 4. | Coursed rubble masonry ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). |  |  |  |  |  |
|  |  |  | 450 Cft | 25321/00 | % CFT | Rs. 113945/- |
| 5 | Providing and laying single pr layer of per sft polythene sheet 0.13 mm thick for water proofing as per specification and instruction of engineer in charge. |  |  |  |  |  |
|  |  |  | 300.0 | 10/70 | P.SFT | Rs. 3210/- |
| 6 | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). |  |  |  |  |  |
|  |  |  | 586.0 | 337/- | P.CFT | Rs. 197482/- |

SCHEDULE B

REHABILATIN OF RURAL HEALTH CENTER RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.  5th TYPE QTR:

| 7. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 26.160 | 5001/70 | P.CWT | Rs. 130844/- |
| 8 | Pacca Brick work ground floor than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). |  |  |  |  |  |  |
|  |  |  |  | 1523 | 12674/36 | % CFT | Rs. 193031/- |
| 9 | Filling watering and ramming with surplus earth. |  |  |  |  |  |  |
|  |  |  |  | 1199.0 | 1512/50 | % CFT | Rs. 1813/- |
| 10. | S,Frilling sand under floor plugging in to walls |  |  |  |  |  |  |
|  |  |  |  | 695 | 1141/25 | % CFT | Rs. 7932/- |
| 11. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |  |
|  |  |  |  | 76.0 | 8694/95 | % CFT | Rs. 6608/- |
| 12 | Providing and laying 3” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels (S.No 14 P.No 41) |  |  |  |  |  |  |
|  |  |  |  | 475.0 | 4411/82 | % SFT | Rs. 20956/- |

| Sr. No. | ITEM OF WORKS | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| 13. | P/F Tiles Glazed 6”x6”x1/4” on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1;2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.60 P.No.46) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 146.0 | 27747/06 | % SFT | Rs. 40511/- |
| 14. | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |
|  |  |  | 2590 | 2206/6 | % CFT | Rs. 57151/- |
| 15. | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |
|  |  |  | 2590 Sft | 2197/52 | % CFT | Rs. 56916/- |
| 16. | Cement pointing struck joint on walls ratio 1:2 (S.I.No.19 P.No.59). |  |  |  |  |  |
|  |  |  | 955 SFT | 1287/44 | % SFT | Rs. 12295/- |
| 17 | Cement pointing flesh on stone work (1:3) (S.No 20 P.No 52) |  |  |  |  |  |
|  |  |  | 159 Sft | 1758/08 | % SFt | Rs. 2795/- |

| 18 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4-1/2x3 for door using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 130 Sft | 228/90 | P.RFT | Rs. 29757/- |
| 19 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4x4 for windows using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). |  |  |  |  |  |  |
|  |  |  |  | 145 Sft | 240/50 | P.RFT | Rs. 34173/- |
| 20 | First class deodar wood wrought, joinery in doors & windows etc. fixed in position i/c chowkhats holds fasts hinges, iron tower blts. Chocks cleats, handles and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (with out chowkhats). (S.I.No54 P.No.64). |  |  |  |  |  |  |
|  |  |  |  | 215 | 902/93 | P.SFT | Rs. 194130/- |
| 21 | White wash two coats sealing |  |  |  |  |  |  |
|  |  |  |  | 557 SFt | 425/84 | % SFT | Rs. 2372/- |
| 22. | Distemper two coats. |  |  |  |  |  |  |
|  |  |  |  | 2859 | 1043/90 | % SFT | Rs. 29845/- |
| 23 | Colour washing two coats. |  |  |  |  |  |  |
|  |  |  |  | 1334 | 859/90 | % SFT | Rs. 11471/- |
| 24. | Painting doors and windows any type |  |  |  |  |  |  |
|  |  |  |  | 430 | 1489/68 | % SFT | Rs.6406/- |

| Sr. No. | ITEM OF WORKS | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| 25. | Reinforced cement concrete spout including fixing and position 2 ½ into 6”x5” (S.No 14 P.No 17 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 8 Nos | 268/25 | Each | Rs. 2090/- |
| 26 | Add Extra lead 3“ Miles |  |  |  |  |  |
|  |  |  | 695.0 | 579/41 | % SFT | Rs. 4027/- |
|  |  |  |  |  | Total | Rs. 1364805/- |
|  |  |  |  |  | Total | Rs. 1562377/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SCHEDULE  B

PART ( B )COURT YARD WALL 5TH TYPE QUARTER.

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation foundation of buildings bridge and other Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil |  |  |  |  |  |
|  |  |  | 266 | 3176/25 | % CFT | Rs. 845/- |
| 2. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |
|  |  |  | 67 CFT | 8694/95 | % CFT | Rs. 5826/- |
| 3 | Random rubble masonry (un-coursed) ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). |  |  |  |  |  |
|  |  |  | 150.0 | 17723/00 | % CFt | Rs. 26585/- |
| 4. | Coursed rubble masonry ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). |  |  |  |  |  |
|  |  |  | 187 Cft | 25321/00 | % CFT | Rs. 47350/- |

| 5. | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 42.0 | 337/- | P.CFT | Rs. 14154/- |  |  |
| 6. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |  |  |
|  |  |  | 1.875 Cwt | 5001/70 | P.CWT | Rs. 9378/- |  |  |
| 7. | Providing and laying single pr layer of per sft polythene sheet 0.13 mm thick for water proofing as per specification and instruction of engineer in charge. |  |  |  |  |  |  |  |
|  |  |  | 83.0 | 10/70 | P.SFT | Rs. 888/- |  |  |
| 8. | Pacca brick work ann other then (1:6) |  |  |  |  |  |  |  |
|  |  |  | 300 Cft | 12346/65 | % CFT | Rs. 37040/- |  |  |
| 9 | Cement pointing struck joint on walls ratio 1:2 (S.I.No.19 P.No.59). |  |  |  |  |  |  |  |
|  |  |  | 482 | 1287/44 | % SFT | Rs. 6205/- |  |  |

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 10. | Cement Pointing flush on stone |  |  |  |  |  |
|  |  |  | 105.0 | 1758/08 | % SFT | Rs. 1846/- |
| 11. | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |
|  |  |  | 449.0 | 2206/6 | % CFT | Rs. 9908/- |
| 12. | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |
|  |  |  | 449.0 SFT | 2197/52 | % CFT | Rs. 9908/- |
| 13. | Colour wash two coats |  |  |  |  |  |
|  |  |  | 931.0 | 859/90 | % SFT | Rs. 8006/- |
|  |  |  |  |  | Total | Rs. 177898/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

SCHEDULE B

PART ( C ) REHABILATION OF RURAL HEALTH CENTER RENIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR. 5th TYPE QTR:

COURT YARD FLOOR

| Sr. No. | ITEM OF WORKS | No: L: B: D: | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Supplying filling sand under floor plugging into walls |  |  |  |  |  |
|  |  | 1x24.50x25.50x1.50 | 937 |  |  |  |
|  |  |  | 937 Cft | 1141/25 | % Cft | Rs, 10694/- |
| 2. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |
|  |  |  | 206 Cft | S8694/95 | % CFT | Rs, 17912/- |
| 3. | Providing and laying 3” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels (S.No 14 P.No 41) |  |  |  |  |  |
|  |  |  | 625 CFT | 4411/82 | % SFT | Rs, 27574/- |
| 4. | Add extra lead 3 miles |  |  |  |  |  |
|  |  |  | 937 CFT | 579/41 | % CFT | Rs. 5429/- |
|  |  |  |  |  | TOTAL | 61609/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation foundation of buildings bridge and other Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil |  |  |  |  |  |
|  |  |  | 482 | 3176/25 | % CFT | Rs. 121/- |
| 2. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |
|  |  |  | 121 CFT | 8694/95 | % CFT | Rs. 10521/- |
| 3 | Random rubble masonry (un-coursed) ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). |  |  |  |  |  |
|  |  |  | 270 | 17723/00 | % CFt | Rs. 47852/-/- |
| 4. | Coursed rubble masonry ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). |  |  |  |  |  |
|  |  |  | 145 Cft | 25321/00 | % CFT | Rs. 36715/- |
| 5. | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). |  |  |  |  |  |
|  |  |  | 231.0 | 337/- | P.CFT | Rs. 77847/- |

SCHEDULE B

REHABILATIN OF RURAL HEALTH CENTER RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.   CONSTRUCTION OF MORTUARY.

| 6. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 12.37 | 5001/70 | P.CWT | Rs. 61871/- |
| 7 | Pacca Brick work ground floor than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). |  |  |  |  |  |  |
|  |  |  |  | 577 | 12674/36 | % CFT | Rs. 68188/- |
| 8 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4-1/2x3 for door using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). |  |  |  |  |  |  |
|  |  |  |  | 26 Sft | 228/90 | P.RFT | Rs. 6253//- |
| 9 | Filling watering and ramming with execavated new earth. |  |  |  |  |  |  |
|  |  |  |  | 340.0 | 3630/- | % 0CFT | Rs. 1234/- |
| 10. | S,Frilling sand under floor plugging in to walls |  |  |  |  |  |  |
|  |  |  |  | 96.0 | 1141/25 | % CFT | Rs. 1095/- |
| 11. | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). |  |  |  |  |  |  |
|  |  |  |  | 96.0 | 8694/95 | % CFT | Rs. 8347/- |
| 12 | cement concrete plain i/c placing compacting and curring comlete i/c screening and washing at stone aggregate without ratio(1:2:4) (S.No 5 P.No 15) |  |  |  |  |  |  |
|  |  |  |  | 51 | 4411/82 | % SFT | Rs.7359/- |

| Sr. No. | ITEM OF WORKS | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| 13 | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 688.0 | 2206/6 | % CFT | Rs. 15181/- |
| 14 | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |
|  |  |  | 688 Sft | 2197/52 | % CFT | Rs. 15119/- |
| 15. | Laying floors of approved coloured glazed tiles ¼”thick laid in white cement and pigment on a bed of ¾”thick cement mortar (S.I.No.25 P.No.49). |  |  |  |  |  |
|  |  |  | 300.0 | 567/48 | PSft | Rs ;170244/- |
| 16. | White tile dado ¼ thick kid in cement over 1:2 cement sand mortar thick including finishing. (S.I.No.37 P.No.50). |  |  |  |  |  |
|  |  |  | 46.00 | 186/06 | P.Sft | Rs.8559/- |
| 17 | Cement pointing struck joint on walls ratio 1:2 (S.I.No.19 P.No.59). |  |  |  |  |  |
|  |  |  | 762 SFT | 1213/58 | % SFT | Rs. 9247/-/- |

| 18 | First class deodar wood wrought, joinery in doors & windows etc. fixed in position i/c chowkhats holds fasts hinges, iron tower blts. Chocks cleats, handles and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (with out chowkhats). (S.I.No54 P.No.64). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 52 | 902/93 | P.SFT | Rs. 46952/- |
| 19 | White wash two coats sealing |  |  |  |  |  |  |
|  |  |  |  | 300SFt | 425/84 | % SFT | Rs. 1278/-/- |
| 20 | Primary coat of under Distemper . |  |  |  |  |  |  |
|  |  |  |  | 725.0 | 442/75 | % SFT | Rs. 3210/- |
| 21 | Distemper two cats |  |  |  |  |  |  |
|  |  |  |  | 725 | 1043/90 | % SFT | Rs. 7568/- |
|  |  |  |  |  |  | Total | Rs .610062/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |