## Sch B remain work AK lodhi
| NAME OF WORK: | M/R to Sindh Secretariate VI Karachi (Finance complex , A.K Lodhi block) wiring for light plug, AC point & fixing light fixtures(Remaining work)
Schedule B
S# | DESCRIPTION OF ITEM | QUANTITY |  | RATE | UNIT | Amount
Add diff cost of steel
Add diff cost of cement
Thatta at Karachi
1 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") channel patti on surface as required (SI 130/p.15)
|  | 50 | No | 742 | P.point | 37100
Rs: seven hundred forty two only
2 | P/F cirucuit breaker 6,10,15,20, 30,40,50 and 63 SP (TB-5S) on prepared board as required (SI 203/p.31)
|  | 24 | No | 916 | Each | 21984
Rs: nine hundred sixteen only
3 | P/F circuit breaker 15,20,30,40,50,60 75 & 100 Amp TP(XS-100NS) on prepared board as required (SI 207/p.31)
|  | 1 | No | 9261 | Each | 9261
Rs: nine thousand two hundred sixty one only
68345
Add % above/below
Non schedule items
1 | Wiring for light circuit for DB to switch & between switch to switch 2x2.5mm+ECC 1x1.5mm sq wire in 3/4" dia PVC pipe Galco/Nawab recessed in the wall /ceiling complete in all respect (approximate length upto 100ft)
|  | 12 | No |  | Each
2 | Wiring with 2x2.5mm+ ECC x1.5sq mm wire in 3/4" dia PVC pipe recessed in the wall / ceiling complete in all respect (approximate length 60 rft)
(a) | wiring for point to swtich | 24 | No |  | Each
(b) | Wiring for light point to point (approximate length 20rft) | 189 | No |  | Each
3 | Wiring for call bell with 2x1.5 sq mm + ECC 1x1.5 sq mm wire in 3/4" dia PVC pipe recessed in the wall / ceiling complete in all respect (approximate length 25 rft)
|  | 10 | No |  | Each
4 | Wiring for wall mounted A/C unite with 2x4.0 sq mm+1x1.5 sq mm wire in 3/4" dia PVC pipe Galco/Nawab recessed in the wall /ceiling for DB to In-door/ out-door unite complete in all respect
|  | 6 | No |  | Each
5 | Wiring for 13 Amps / 5amp socket circuit directly for DB with 2x2.5 sq.mm +ECC x1.5 sq mm in 3/4" dia PVC pipe recessed in the wall /ceiling complete in all respect (Approcimae length 75 rft)
|  | 30 | No |  | Each
6 | P/F power plug 15 Amp of approved quality & make clipsal or equivalent as directed by the Engineer incharge
|  | 7 | No |  | Each
7 | P/F light plug 13 Amp of approved quality & make clipsal or equivalent as directed by the Engineer incharge
|  | 90 | No |  | Each
8 | Supplying fixing flush type switch with sheet 5 to 10 amps single phase of approved quality SOGO /clipsal/ armour series make or imported
a | 2 gang 01 way | 5 | No |  | Each
b | 3 gang 01 way | 5 | No |  | Each
c | 4 gang 01 way | 5 | No |  | Each
d | 6 gang 01 way | 2 | No |  | Each
9 | S/F LED pannel light china make with 7 Nos. lamps each 12 watts fitted on walls, ceiling of approved quality as directed by the Engineer incharge
|  | 292 | No |  | Each
10 | P/F call bell
|  | 10 | No |  | Each
11 | P/F call bell push button type
|  | 10 | No |  | Each
12 | P/F PVC/PVC LED lighting top imported (China make) in warm color i/c 220 /240 volts adopeter fixing in wooden /gypsum false ceiling complete in all respect
|  | 855 | No |  | Each
13 | P/F miror light of superior quality (imported) with 2x11 watts warm E sever
|  | 2 | No |  | Each
NSI
SI
Terms & Conditions
1 | No cartage of any material neither arranged by the contractor himself/themselves or supplied by the Government any shall not be paid seperately.
2 | Contractors shall have to make their own arrangement palatable water for use in work at his/their own cost. In case they request for supply the water by the Govt: , recovery on this account shall be made as per rules on gross amount of the item of the work in which is used.
3 | Contrctor(s) shall be responsible for arrangement to get material posted his/their own cost if directed by the Executive Engineer/Assistant Engineer failing which the tested shall be arrange by the Department and amount will be recovered from his/their bill.
4 | Concrete shall be mixed with mechanically operated concrete mixture with due constrcutions to agregate and water ratio.
5 | All material shall confirm be standard specification.
6 | No premium shall be allowed on non schedule item/offer rates.
7 | Only ran pathani Dhabeji for sand and Mangopir for crush quarry or equivalent approved by the competant authority shall be used in aggregate mortar and concrete.
8 | It may please be noted that where over nomenclature or any item is not elaborated or not clear or any typographical error occurs in the schedule for the tender it should be read strictly as per composite schedule or rates 2012
9 | All buildings debries and surplus stuff not required for use in the connection shall be removed from the site and suitable disposal off by the contractor for which the extra cost of cartage shall be paid.
Contractor
| Assistant Engineer |  |  | Executive Engineer
| Provincial Buildings Elect: Sub Divn-VIII |  |  | Provincial Buildings Division-II
| Karachi |  |  | Karachi