## GBHS Ibrahim Laghari
BILL OF QUANITITY (B.O.Q)
WATER SUPPLY & SAINTARY FITTING
Item No. | Quantity | Description of Item | Rate | Unit | Amount
1 | 2 | P/F Squatting type white glazed earthen were w.c pan with including the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4 (S.I.N:1(b)P/1) | 4802.6 | P.No. | 9605.2
2 |  | Providing G.I pipe specials & clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking rough wall and roof making good etc painting two coats after cleaning the pipe etc white zink point with pigment to match the colour of building (S.I.NO:1P/12)
a | 80 | 1-1/2”dia | 188.44 | P.Rft | 15075.2
b | 50 | 1/2”dia | 73.21 | P.Rft | 3660.5
c | 50 | 3/4”dia | 95.89 | P.Rft | 4794.5
3 | 2 | Providing fixing handle valves (china) (S.I:No:5 | 271.92 | P.No. | 543.84
4 | 2 | Construction of main hole or inspection diameter of circular sewer and 3”6” (1067mm)depth with wall of B.B in cement plastered 1:3.1/2”thick ,inside of wall and 1”(25 mm))thick over benching and channel i/c etc.complete | 14748 | P.No. | 29496
5 | 2 | S/Fixing long bib-cook of superior quality with c.p head ½” dia (S.I.N.O:13 P/10) | 1109.46 | P.No. | 2218.92
6 | 2 | S/Fixing concealed tee-stop cock of superior quality with c.p head ½”dia .(S.I.NO: 12(b) P/18) | 889.46 | P.No. | 1778.92
7 |  | Add. Extra labour for P/fitting of earthen ware pedestal white or coloured glazed superior quality (S.I No-9 P/3)
a | 50 | 1/2" dia | 8.45 | P.Rft | 422.5
b | 50 | 3/4" Dia | 7.82 | P.Rft | 391
8 |  | Providing R.C.C pipe with collars class “B” and digging the to required depth & fixing in positing i/c cutting fitting & jointing with maxphalt composition cement to a head of 4” feet above the top of the heightest pipe & refilling excavated staff 6” pipe class “B”
a | 50 | 6"Dia | 199.25 | P.Rft | 9962.5
9 |  | S/F Fiber glass tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in platform of C.C 1:3:6 250 Gal.& making compection for inlet outlet & over flow pipe etc completed (S.I.No-3(a) P/18)
10 | 40 | P/l UPVC pipes of class "B" fixing in trenches i/c cutting fitting jointing with solvent cement i/c testing with water to a head of 61 metter or 200 ft(PH SIN 04 P-23) | 136 | P.rft | 5440
11 |  | P/F Hand Pump with all accessories wooden shown i/c boring cutting etc. (R.A)
a | 10 | Filer | 76.05 | P.Rft | 760.5
b | 80 | Boring | 38.95 | P.Rft | 3116
c | 1 | Hand Pump | 1442 | P.No. | 1442
12 | 1 | Providing and fixing water pumping set ½ H.P Mono Block single phase 220 bolts with 1”x1-1/4” suction and delivery 20 ft head including making c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made). (R.A) | 14417.7 | Each | 14417.7
|  |  | TOTAL |  | 103125.28
|  |  | N.S.I |  | 19737
|  |  | S.I |  | 83388
| 10% Above /below3 on the Rates of CSR |  | Amount tobe added/aeduted on
basis of premium quoted Total (b) =
| Total A+B Rs:(a)__________Rs: (b)_____________ |  | Rs________________________
| RCC (a) 10% Rs:_______________ |  | Total Amount Rs:_____________
| Fabrication (a) 10% Above Rs:___________ |  | Total Amount Rs:_____________
Total (A)=+b in Words & Figure___________________________________________________
| NOTE:- | Quantities/Rates can be changed after Techinical sanctioned is recieved from
Competant authortity.
CONTRACTORT

## GBHS Ibrahim Laghari (LB)
BILL OF QUQNITITY (B.O.Q)
Name of Scheme:- |  | Repair & Maintenenece of Lav: Block @ GBHS IBRAHEEM LAGHARI Taluka Johi.
Item No. | Quantity | Description of Item | Rate | Unit | Amount
1 | 30 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S.I.No.04 P-19) | 11948.36 | %Cft | 3584.508
2 | 58 | R.C.C work including all labour and material except the cost of steel reinforcement and i/c cutting beding which will be paid s separately. R.C.C work in roof slab, beams, columns, rafts,precast Ratio 1:2:4 ( SI No. 06 P-16) | 337 | P.Cft | 19546
3 | 2.848 | Fabrication of miled steel reinforcement for cutting, bending and binding which will joint and fasteing wire removal of removal of rust from bars. (SI No.08 P-17) | 5001.7 | P.Cwt | 14244.8416
4 | 69 | Pacca brick work in ground floor in cement sand mortor ratio 1:6. (1st Floor) (S.No: 5 e /P.20) | 12674.36 | %cft | 8745.3084
5 | 183 | Cement Plaster 1/2'' thick ration 1:6 (S.No.13 b/P.51) | 2206.6 | %Sft | 4038.078
6 | 183 | Cement Plaster 3/8'' thick ration 1:4 (S.No.11 a/P.51) | 2197.52 | %Sft | 4021.4616
7 | 9 | CC plain 1:3:6 i/c placing compacting fininshing curring with washing to shingle stone agregate (SINO. 5 P-16) | 12595 | %Cft | 1133.55
8 |  | Providing and laying 1'' thick topping cement concret (1:2:4) i/c surface finishing and dividing into panels (d) 3'' thick (S.No.16 d/P.41)
A | 121 | 2'' Thick | 3275.5 | %Sft | 3963.355
9 | 80 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortar 1:2. (S.No:25 P/42) | 27747.06 | %Sft | 22197.648
10 | 215 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick including finishing.(S.No: 38 / P.44) | 28299.3 | %.Sft | 60843.495
11 | 35 | First class deodar wood wrought, joinery in doors and windows joinery in fixed in position i/c chowkats hold fasts 3/4'' (SINO.7 P-58) | 902.93 | P.Sft | 31602.55
12 | 50 | White wash Two coats. (S.No. 26a/P.54) | 425.84 | %Sft | 212.92
13 | 202 | Primary coats of chalk under distemper.(S.No.23 /P.53) | 442.75 | %Sft | 894.355
14 | 202 | Distempering two coats. (S.No. 24c/P.53) | 1043.9 | %Sft | 2108.678
15 | 58 | Painting new surface (c) preparing surface and painting of doors and windows any type, (including edges).three coat.(S.No: 5 c /P.68) | 2116.41 | %Sft | 1227.5178
|  |  | Total | Rs: | 290938
10% Above /below on the Rates of CSR.
Total a+b Rs:(a)______Rs: (b)
| RCC (a) 10% Rs:___________ |  | Total Amount Rs:
| Fabrication (a) 10% Above Rs:__________ |  | Total Amount Rs:
Total (A)=+b in Works & Fiqure_______________________________________________
NOTE: Quantities/Rates can be changed after Tecghnical sanctioned is recieved from
competant authority.
CONTRACTOR.