SCHEDULE-“B”

NAME OF WORK: REPAIR MAINTNANACE OF G.B.H.S NAU GOTH (CAMPUS) 		             	             TALUKA MEHAR DISTRICT DADU.

| S.NO: | DESCRIPTION | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

- Removing cement or lime plaster from walls.(SINO: 53 P-13).

= 340.00	@ 121/=	%Sft	Rs: 411/=

- Dismantling  C.C Plain 1:2:4.(SINO: 19 © P-10).

= 59.00	@ 3327/50	%Cft	Rs: 1963/=

03.	Cement plaster ½” thick up to 20’ height ratio 1:6.

(SINO: 13 (b)P-52 ).

= 340.00	@ 2206/60	%Sft	Rs: 7502/=

04.	Cement plaster 3/8” thick up to 20’ height ratio 1:4.

(SINO: 11(a)P-52 ).

= 340.00	@ 2197/52	%Sft	Rs: 7472/=

05.	Laying floor of approved colour glazed tiles ¼” thick tiles laid in

White cement and pigment on a bed of 1:2 grey cement mortor.

(SINO: 25 P-43).

=  349.00	@ 27747/06	%Sft	Rs:96837/=

06.	White glazed tiles dado glazed tiles ¼” thick tiles laid in

White cement and pigment on a bed of 1:2 grey cement mortor.

(SINO: 37 P-45 ).

= 150.00	@ 28253/61	%Sft	Rs:42380/=

07.	Distempering two coats on walls.(SINO:24(b)P- 54 ).

= 1813.00	@ 1043/90	%Sft	Rs: 18926/=

08.	White wash two coats on walls. (SINO: 26 P-  54 ).

= 349.00	@ 425/84	%Sft	Rs: 1486/=

09.	Preparing the  surface and painting old surface D/W any type						 2 coats (old  surface). (SINO: 04(c-ii) P-68).

= 374.00	@ 1160/06	%Sft	Rs: 4339/=

10.	Preparing the  surface and painting old surface guard bars 				grating iron rails any type 2 coats (old  surface). (SINO: 04(d-ii) P-68).

= 136.00	@ 674/60	%Sft	Rs: 917/=

____________

G.TOTAL AMOUNT				Rs: 182233/=

SCHEDULE-“B”

NAME OF WORK: REPAIR MAINTNANACE OF GOVT: BOYS HIGH SCHOOL 		             	             @ NAU GOTH TALUKA MEHAR DISTRICT DADU.(C/WALL)

| S.NO: | DESCRIPTION | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

01.	Dismantling  pacca brick work in cement sand mortar.

(SINO: 13 P-10).

= 29.00	@ 1285/63	%Cft	Rs: 373/=

02.Removing cement or lime plaster from walls.(SINO: 53 P-13).

= 887.00	@ 121/=	%Sft	Rs: 1073/=

03.	Pacca brick work in other than building with cement sand mortor 1:6.

(SINO: 7 (e)P-22 ).

= 1026.00	@ 12346/65	%Sft	Rs: 126677/=

04.	Cement plaster ½” thick up to 20’ height ratio 1:6.

(SINO: 13 (b)P-52 ).

=  4953.00		@ 2206/60	%Sft	Rs: 109293/=

05.	Cement plaster 3/8” thick up to 20’ height ratio 1:4.

(SINO: 11(a)P-52 ).

= 4953.00	@ 2197/52	%Sft	Rs: 108843/=

06.	White wash one coat on walls. (SINO: 26 P-54 ).

=  4066.00	@ 416/63	%Sft	Rs: 16940/=

07.	Colour wash two coats on walls. (SINO: 25 (b)P-54 ).

= 11687.00	@ 859/90	%Sft	Rs: 100496/=

08.	Preparing the  surface and painting old surface painting guard

Grating iron railing 2 coats ( old  surface). (SINO: 04(d) P-69).

= 120.00	@ 674/60	%Sft	Rs: 810/=

09.	Supplying and Fixing broken glasses on courtyard walls including

1:3:6, cement cencrete coping.(SINO: 61 P-105).

= 906.00	@ 70/44	P.Lft	Rs: 63819/=

____________

G.TOTAL AMOUNT				Rs: 528324/=

PART “B” W/S/S/F.

NAME OF WORK: REPAIR MAINTNANACE OF GBHS NAU GOTH CAMPOUS		             	             MEHARTALUKA MEHAR DISTRICT DADU.

01.	P/F Squatting type white glazed earthen ware W.C pan i/c

Pan i/c with front flushing christen with internal fitting

Complete i/c the cost of W.I G.I cantilever brackets 6”

built into walls etc complete. (SINO: 01 b (ii)P-01).

Lav:		1x01				= 01		@ 4846/60	Each	Rs: 4847/=

02.	P/F 4” C.I Soil and vent pipe i/c cutting fitting and fixing and

Extra painting to match the colour of the building.(SINO: 01 P-09).

Lav:		1x6.00			= 6.00			@ 333/29	P.Rft	Rs: 2000/=

03.	P/F 4”x4”x4” dia C.I branch of the required degree with excess

doors i/c extra painting to match the colour of the building.(SINO:5 P-09).

Lav:		1x01				= 01		@ 270/60	Each	Rs: 270/=

04.	Providing and Fixing nylon connection complete with ½” dia brass

Stops cocks with pair of brass nuts and aliening joints to nylon

Connection. (SINO:23 P-06 ).

Lav:		1x01				= 01		@ 447/15	Each	Rs: 447/=

05.	Providing G.I Pipe special and clamps i/c cutting fitting and fixing

Complete with and i/c the cost of breaking through walls, roofs

Making good etc pain ting two coats after cleaning the pipe etc, with

White Zink paint with pigment to match the colour of building and

testing with water pressure to a head of 40 feet.( SINO:01(i) P-12 ).

½” dia		1x20.00			= 20.00	@ 73/21	P.Rft	Rs: 1464/=

¾” dia		1x50.00			= 50.00	@ 95/79	P.Rft	Rs: 4790/=

1” dia		1x10.00			= 10.00	@ 128/55	P.Rft	Rs: 1286/=

06.	P/F Full way gun metal valves with wheel threaded with rubber

Washer 3/8” thick etc complete. .( SINO:04(a) P-17 ).

1” dia		1x01				= 01		@ 197/12	Each	Rs: 197/=

¾” dia		1x01				= 01		@ 260/92	Each 	Rs: 261/=

07.	Supplying and Fixing long bib cock of superior quality with c.p head

½” dia. .( SINO:13(a) P-19 ).

1x02				= 02 Nos	@ 1109/46	Each	Rs: 2219/=

08.	Providing RCC Pipe with collar class “A” i/c digging to trenches

to the required depth and the cost of cutting fixing in position

i/c cutting fitting and maxphat composition and testing with water

pressure to a head of 40.0’ height etc complete.( SINO: 02(b,c) P-23 ).

4” dia		1x10.00			= 10.00	@ 146/57	P.Rft	Rs: 1466/=

09.	S/F  Fiber glass tank of approved quality and wall thickness as

Specified i/c the cost of fixing in platform of c.c 1:3:6, and making

Connection with inlet, inlet and over flow for pipe connection etc

(350 Gallon).( SINO: 03(c) P-21 ).

01 No				= 01 No	@ 30773/42	Each	Rs: 30773/=

10.	Providing and Fixing water pumping set 1/2 H.P Mono Block single phase

220 volts with 1”x1-1/4” suction and delivery 550 feet head including making

c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made)

(R. A).

01 Nos				= 01 No	@ 14417/70	Each	Rs: 14418/-   11.	P/I Hand pump 1-1/4” dia G.I Coir stair with wooden show

i/c boring fitting and fixing and complete with i/c the cost of

fixing embedded in c.c 1:2:4 etc complete.(R.A)

Filter		1x10.00			= 10.00	@ 76/05	P.Rft	Rs: 761/=

G.I Pipe	1x80.00			= 80.00	@ 38/95	P.Rft	Rs: 3116/=

Machiene	1x01				= 01		@ 1441/65	Each	Rs: 1442/=

____________

G.Total Amount	Rs: 69757/=

N.S.I			Rs:  19737/=

___________

G.Total Amount	Rs: 5002/=

SCHEDULE-“B”

NAME OF WORK: REPAIR MAINTNANACE OF G.G.H.S  THARARI MUHABBAT		             	             TALUKA MEHAR DISTRICT DADU.(C/WALL)

| S.NO: | DESCRIPTION | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

01.	Dismantling  pacca brick work in cement sand mortar.

(SINO: 13 P-10).

= 394.00	@ 1285/63	%Cft	Rs: 5065/=

- Dismantling  cement concrete reinforced separating reinforcement

from concrete cleaning and strain thing the same.(SINO: 20 P-10).

= 64.00	@ 5445/=	%Cft	Rs: 3485/=

03.      Removing cement or lime plaster from walls.(SINO: 53 P-13).

= 1091.00	@ 121/=	%Cft	Rs: 1320/=

04.	Pacca brick work in foundation and plinth ratio 1:6.(SINO: 4 (i)e P-21).

= 422.00	@ 11948/36	%Cft	Rs: 50422/=

05.	Rcc work i/.c all labour for bending binding   and which will be paid

Separately this rate also all kinds of forms moulds lifting shuttering curing the

exposed surface (a) Rcc work in all roof slab beams columns rafts lintels &

other structure members laid in situ or laid precast in position complete 1:2:4.

(SINO: 6 (a)P-17).

= 183.00	@ 337/=	P.Cft	Rs: 61671/=

06.	Fabrication of milled steel reinforcement and its lobular for cutting bending and

Laying in position and making joints i/c the removals of rust from bars.

(SINO: 8 (b)P-17).

= 8.169	@ 5001/70	P.Cwt	Rs: 40859/=

07.	Pacca brick work in other than building with cement sand mortor 1:6.

(SINO: 7 (e)P-22 ).

= 968.00	@ 12346/65	%Sft	Rs: 119516/=

08.	Cement plaster ½” thick up to 20’ height ratio 1:6.

(SINO: 13 (b)P-52 ).

= 3221.00		@ 2206/60	%Sft	Rs: 71075/=

09.	Cement plaster 3/8” thick up to 20’ height ratio 1:4.

(SINO: 11(a)P-52 ).

= 3221.00	@ 2197/52	%Sft	Rs: 70782/=

10.	Cement pointing struck joints on walls ratio 1:2. (SINO: 19 P-53 ).

= 1125.00	@ 1287/44	%Sft	Rs: 14484/=

11.	Extra labour rate for making cement bend patta  around the

Strength or carved opening  corners width not less than 6” thick

etc complete. (SINO:35 P-55 ).

= 180.00	@ 19/36	P Rft	Rs: 3485/=

12.	White wash one coat on walls. (SINO: 26 P-54 ).

=  3221.00	@ 416/63	%Sft	Rs: 13420/=

13.	Colour wash two coats on walls. (SINO: 25 (b)P-54 ).

= 4346.00	@ 859/90	%Sft	Rs: 37371/=

14.	Preparing the  surface and painting old surface painting guard

Grating iron railing 2 coats ( old  surface). (SINO: 04(d) P-69)

= 120.00	@ 674/60	%Sft	Rs: 810/=

____________

G.TOTAL AMOUNT				Rs: 493765/=

SCHEDULE-“B”

NAME OF WORK: REPAIR MAINTNANACE OF G.G.H.S THARARI MUHABBAT

TALUKA MEHAR DISTRICT DADU (LAV:BLOCK).

| S.NO: | DESCRIPTION | QNTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

- Removing Doors with chowckts. (SINO: 33 P-12).

= 02 Nos	@ 142/18	Each	Rs: 284/=

02.Dismantling  cement concrete reinforced separating reinforcement

from concrete cleaning and strain thing the same.(SINO: 20 P-10).

= 78.00	@ 5445/=	%Cft	Rs: 4247/=

03.      Dismantling  C.C plain 1:2:4 etc. (SINO: 13 P-10).

= 13.0		@ 3327/50	%Cft	Rs: 433/=

04.      Removing cement or lime plaster from walls.(SINO: 53 P-13).

= 843.00	@ 121/=	%Cft	Rs: 1020/=

05.	Pacca brick work in foundation and plinth ratio 1:6.(SINO: 4 (i)e P-21).

= 126.00	@ 11948/36	%Cft	Rs: 15055/=

06.	Rcc work i/.c all labour for bending binding   and which will be paid

Separately this rate also all kinds of forms moulds lifting shuttering curing the

exposed surface (a) Rcc work in all roof slab beams columns rafts lintels &

other structure members laid in situ or laid precast in position complete 1:2:4.

(SINO: 6 (a)P-17).

= 139.00	@ 337/=	P.Cft	Rs: 46843/=

07.	Fabrication of milled steel reinforcement and its lobular for cutting bending and

Laying in position and making joints i/c the removals of rust from bars.

(SINO: 8 (b)P-17).

= 6.205	@ 5001/70	P.Cwt	Rs: 31036/=

08.	Fixing Door with chowckts.(SINO: 44(a) P-63 ).

= 02 No	@ 279/51	each	Rs: 559/=

09.	S/F in position iron steel grill ¼”x4/4” size flat i/c approved

design weight not less than 3-6 Lbs sq: of the finished grill.

(SINO: 26 P-93).

= 06.00	@ 180/50	P.Sft	Rs: 1083/=

10.	P/F G.I Frames/Chowckts of size 7”x2”or 4-1/2”x3” for doors

using 20 gauge G.I sheet i/c welded hinges and fixing at site

with necessary hold fasts, filling with cement sand slurry

of ratio 1:6 and repairing the jambs. The cost also i/c all

carriage ,tools and plants used in making and fixing.

(SINO: 29 P-  93).

= 16.00	@ 228/90	P.Rft	Rs: 3662/=

11.	Ist: Class deodar wood wrought journey in D/W any fixed i/c

Chowckts hold fasts hinges iron tower bolts, cords cleats nuts

With hooks deodar paneled glazed or fully glazed 1-3/4” thick.

(SINO: 7 (b)P-58 ).

= 18.00	@ 902/93	P.Sft	Rs: 16253/=

12.	P/L 1” thick topping c.c 1:2:4 i/c surface finishing curing and

Dividing into paneled( 1-1/2” thick). (SINO:16 (b)P-42).

= 170.00	@ 2548/29	%Cft	Rs: 4332/=

13.	Cement plaster ½” thick up to 20’ height ratio 1:6.

(SINO: 13 (b)P-52 ).

= 1038.00	@ 2206/60	%Sft	Rs: 22905/=

14.	Cement plaster 3/8” thick up to 20’ height ratio 1:4.

(SINO: 11(a)P-52 ).

= 1038.00	@ 2197/52	%Sft	Rs: 22810/=

15.	Laying floor of approved colour glazed tiles ¼” thick tiles laid in

White cement and pigment on a bed of 1:2 grey cement mortar.

(SINO: 25 P-43).

= 75.00	@ 27747/06	%Sft	Rs:20810/=

16.	White glazed tiles dado glazed tiles ¼” thick tiles laid in

White cement and pigment on a bed of 1:2 grey cement mortor.

(SINO: 37 P-45 ).

= 216.00	@ 28253/61	%Sft	Rs:61028/=

17.	Primary coat of chalk under distemper. (SINO: 23 P- 54 ).

= 826.00	@ 442/75	%Sft	Rs: 3657/=

18.	Distempering three coats on walls.(SINO:24(c)P- 54 ).

= 826.00	@ 1079/65	%SFT	Rs: 8918/=

19.	White wash three coats on walls. (SINO: 26 P-  54 ).

= 132.00	@ 829/95	%Sft	Rs: 584/=

20.	Preparing the  surface and painting old surface D/W any type						 2 coats (old  surface). (SINO: 04(c-ii) P-68).

= 70.00	@ 1160/06	%Sft	Rs: 812/=

21.	Preparing the  surface and painting new surface D/W any type						 2 coats (New  surface). (SINO: 05(d-ii) P-68).

= 35.00	@ 2116/41	%Sft	Rs: 741/=

____________

G.TOTAL AMOUNT				Rs: 246262/=

PART “B” W/S/S/F.

NAME OF WORK: REPAIR MAINTNANACE OF G.G.H.S  THARARI MUHABBAT		             	             TALUKA MEHAR DISTRICT DADU.( LAV: BLOCK).

01.	P/F Squatting type white glazed earthen ware W.C pan i/c

Pan i/c with front flushing christen with internal fitting

Complete i/c the cost of W.I G.I cantilever brackets 6”

built into walls etc complete. (SINO: 01 b (ii)P-01).

Lav:		1x03				= 03		@ 4846/60	Each	Rs: 14539/=

02.	P/F 4” C.I Soil and vent pipe i/c cutting fitting and fixing and

Extra painting to match the colour of the building.(SINO: 01 P-09).

Lav:		1x18.00			= 18.00	@ 333/29	P.Rft	Rs: 5999/=

03.	P/F 4”x4”x4” dia C.I branch of the required degree with excess

doors i/c extra painting to match the colour of the building.(SINO:5 P-09).

Lav:		1x03				= 03		@ 270/60	Each	Rs: 812/=

04.	Providing and Fixing nylon connection complete with ½” dia brass

Stops cocks with pair of brass nuts and aliening joints to nylon

Connection. (SINO:23 P-06 ).

Lav:		1x03				= 03		@ 447/15	Each	Rs: 1341/=

05.	Providing G.I Pipe special and clamps i/c cutting fitting and fixing

Complete with and i/c the cost of breaking through walls, roofs

Making good etc pain ting two coats after cleaning the pipe etc, with

White Zink paint with pigment to match the colour of building and

testing with water pressure to a head of 40 feet.( SINO:01(i) P-12 ).

½” dia		1x40.00			= 40.00	@ 73/21	P.Rft	Rs: 2928/=

¾” dia		1x60.00			= 60.00	@ 95/79	P.Rft	Rs: 5747/=

1” dia		1x20.00			= 20.00	@ 128/55	P.Rft	Rs: 2571/=

06.	P/F Full way gun metal valves with wheel threaded with rubber

Washer 3/8” thick etc complete. .( SINO:04(a) P-17 ).

1” dia		1x01				= 01		@ 197/12	Each	Rs: 197/=

¾” dia		1x01				= 01		@ 260/92	Each 	Rs: 261/=

07.	Supplying and Fixing long bib cock of superior quality with c.p head

½” dia. .( SINO:13(a) P-19 ).

1x03				= 03 Nos	@ 1109/46	Each	Rs: 3328/=

08.	Providing RCC Pipe with collar class “A” i/c digging to trenches

to the required depth and the cost of cutting fixing in position

i/c cutting fitting and maxphat composition and testing with water

pressure to a head of 40.0’ height etc complete.( SINO: 02(b,c) P-23 ).

6” dia		1x18.00			= 18.00	@ 199/25	P.Rft	Rs: 3586/=

4” dia		1x10.00			= 10.00	@ 146/57	P.Rft	Rs: 1466/=

09.	Constt: of main hole or inspection chamber of the required depth

Of sever circular 3-6 (1067) mm thick in wall B.B in cement plaster

inside of walls & 1” (25 mm) thick over benching and channel etc complete.

(SINO:         P-       ).

1x01				= 01 Nos	@14748/= 	Each	Rs: 14748/=

10.	S/F  Fiber glass tank of approved quality and wall thickness as

Specified i/c the cost of fixing in platform of c.c 1:3:6, and making

Connection with inlet, inlet and over flow for pipe connection etc

(500 Gallon).( SINO: 03(c) P-21 ).

01 No				= 01 No	@ 37505/42	Each	Rs: 37505/=

11.	Providing and Fixing water pumping set 1/2 H.P Mono Block single phase

220 volts with 1”x1-1/4” suction and delivery 550 feet head including making

c.c 1:3:6 platform of required size and fixing with nuts and bolts (local made)

(R. A).

01 Nos				= 01 No	@ 14417/70	Each	Rs: 14418/-   12.	P/I Hand pump 1-1/4” dia G.I Coir stair with wooden show

i/c boring fitting and fixing and complete with i/c the cost of

fixing embedded in c.c 1:2:4 etc complete.(R.A)

Filter		1x10.00			= 10.00	@ 76/05	P.Rft	Rs: 761/=

G.I Pipe	1x80.00			= 80.00	@ 38/95	P.Rft	Rs: 3116/=

Machiene	1x01				= 01		@ 1441/65	Each	Rs: 1442/=

____________

G.Total Amount	Rs; 80828/=

N.S.I			Rs:  19737/=

___________

G.Total Amount	Rs: 61091/=