## Sheet1
S # | Qty | Description of item to be executed at site | Unit | Rate | Amount in Rs:
PART-A Scheduled Items
1 | 375 | P/L (Main or Sub Main )PVC insulated wire with size 2-7/.029 copper conductor in (¾") dia PVC Conduit in the wall or column as required (S.I.No.B-10, P.No.02) | P.Meter | 222 | 83250
2 | 500 | P/L (Main or Sub Main )PVC insulated wire with size 2-7/.044(6mm2) copper conductor in (¾") dia PVC Conduit in the wall or column as required (S.I.No.B-12, P.No.02) | P.Meter | 341 | 170500
3 | 530 | Erection of Ceiling fan including wiring of down road with 1/1.13mm (3/029) PVC wire fixing of regulator blade canopy etc. as required. (S.I.No. D-1, P.No.14) | Each | 82.16 | 43544.8
4 | 5 | P/F S.W. canopy block and bakelite ceiling rose on S.W. block (S.I.No. D-3, P.No.14) | Each | 44 | 220
5 | 30 | P&L (MAIN or SUB MAIN)PVC insulated & PVC sheeted with 4-core armoured copper conductor 600/1000 volts size 70mm2 (S.I.No.P-117 P.No.14) | P.Meter | 5438 | 163140
6 | 30 | Wiring for light or fan point with 1/1.13 (3/.029) PVC insulated wire in 20 mm (¾") PVC conduit recessed in the wall or column as required. (S.I.No.124, P.No.15) | P.Point | 1130 | 33900
Switches
7 | 30 | Providing and fixing one way S.P. 5 amps switch flush type (S.I.No.A.219, P.No.33) | Each | 54 | 1620
8 | 6 | Providing and fixing 02 pin 5 amps plug & socket flush type (S.I.No.A.225, P.No.33) | Each | 83 | 498
9 | 10 | Providing and fixing 03 pin 10/15 amps plug & socket flush type (S.I.No.A.227, P.No.33) | Each | 162 | 1620
10 | 5 | P&F Brass ceiling fan56" sweep(Superior Quality) (S.I.No.C.234, P.No.34) | Each | 3185 | 15925
|  | Sub Total (Part-A) RS= |  |  | 514217.8
S # | QTY | Description of item to be executed at site | Unit | RATE | AMOUNT
Part-B (i) Non Scheduled Items:
FAN CLAMP BOX
1 | 5 | Providing & fixing 75 mm X 100 mm X 113 mm size (14SWG) thick recessed type fan clamp box 13 mm dia MS bar fan clamp fixed in roof at casting time as required. Complete in all respect as per instructions of Engineer-in-Charge. | Each
2 | 5 | Fixing A.C. Ceiling fan regulator on metal board recessed in the walls or columns and covered with plastic sheet complete in all respect as per instructions of Engineer-in-Charge | Each
3 | 8 | P/F of Main switch 500 Volts 100Amps: on a prepared board etc. complete in all respect as per instructions of Engineer-in-Charge | Each
4 | 6 | Providing and fixing 1-40 watts tube light complete with 40 watts 4"-0 long road chock, starter and putty with Philips components including necessary electric connection and fixing on wall or ceiling etc. complete in all respect as per instructions of Engineer-in-Charge | Each
32 | 266 | Providing and fixing Energy savers of superior quality including fixing of existing holders etc. complete (M.R) | Each
5 | 10 | P/F Energy Saver 24 watts of superior quality including fixing on existing holders etc. complete in all respect as per instructions of Engineer-in-Charge | Each
6 | 10 | P/I of fancy globe pole/wall mounted including 24 watts Energy saver, holder, nuts,required swtiches and board with wiring and all accessories of superior quality etc complete in all respect as per instructions of Engineer-in-Charge | Each
|  | Total Cost of Non-Scheduled Items (Part-B-i) |  | Rs=
S # | QTY | Description of item to be executed at site | Unit | RATE | AMOUNT
Part-B (ii) Non Schedule Items
Generator Machine.
1 | 1 | Providing, installation, testing and commissioning of Diesel Engine directly coupled with Marelli Alternator of 44.6KVA/35.7 KW prime 49.8 KVA/39.8 KW standby power at 1500 RPM,0.8 power factor, 3 phase, 50 Hertz, 400/230 Volts with digital control panel of standard quality with satisfaction of Engineer/Incahrge. (M.R) | Per Job
2 | 1 | Providing, installation icluding testing and commissioning of Sound Proof Canopy for 50 KVA Diesel Engine of standard quality as per site requirement complete in all repsect satisfaction with Engineer/Incharge. (M.R) | Per Job
3 | 1 | Providing, installation including testing and commissioning of ATS & MOR(AC-I Ratting) system for 50 KVA Diesel Engine of standard quality satisfaction with Engineer/Incharge. (M.R) | Per Job
4 | 1 | Providing and installation of Earthing Rod for 50 KVA Diesel Engine machine of standard quality satisfaction with Engineer/Incharge. (M.R) | Each
Total Cost of Non-Scheduled Items (Part-B-ii) Rs=
G.Total Part (A+B-i+B-ii) Rs=
NOTE:
| 1 | Contractors are required to fill the rates carefully, because no any extra claim for escalation, transportation and unforeseen expenditures will be entertained.
| 2 | The tender documents should be returned accompanied with call deposit/demand draft @ 2% of the total tendered cost in the name of Executive Engineer (E&M) Shah Abdul Latif University, Khairpur.
| 3 | Procuring Agency may change quantity of above items as per site requirement.
Contractor
Executive Engineer (E&M)