## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BARRACK No. 86 OFFICE OF SPECIAL ASSISTANT TO C.M FOR SPECIAL EDUCATION GOVERNEMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
[5 empty] | G.Total Rs | 0 | /-
[5 empty] | Say Rs. | 0 | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BARRACK No. 86 OFFICE OF SPECIAL ASSISTANT TO C.M FOR SPECIAL EDUCATION GOVERNEMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
' SCHEDULE " B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 3014.06 | Sft | 226 | / | 88 | % Sft | 6838 | /-
Rupees Two Hundred Twenty Six and Eighty Eight Ps Only
2 | Distempering (c) Three Coats.(S.I.24(C)/54) |  | 1711.03 | Sft | 1043 | / | 90 | % Sft | 17861 | /-
Rupees One Thousand Forty Three and Ninty Ps Only
3 | Providing & fixing with jute felt paper
of 60 lbs over roof i/c claning of roof
with wire brush and removing dust, applying
bitumen coat at the rate of 34 lbs per % sft
as premix inter coats and then laying felt paper
with 10 % over laps then applying and s
spreading hill sand at the rate of 1 cft per
100 sft the cost also i/c necessary fire
material , kerosene oil wood etc.
| (S.I.No.42/P-39) |  | 1750 | Sft | 106 | / | 73 | P.Sft | 186778 | /-
Rupees One Hundred Six and Seventy Three Only
4 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
| (S.I.No.11(c)P-52) |  | 81 | Sft | 3015 | / | 76 | % Sft | 2443 | /-
Rupees Three Thousand Fifteen and SeventySix Ps Only
5 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 128.5 | Sft | 1160 | / | 6 | % Sft | 1491 | /-
Rupees Eleven Hundred Sixty and Six Ps Only
6 | Providing and laying tiles glazed 6"x6"x
1/4" on floor or wall facing in required colour
and pattern of STILE specification jointed in
white cement and pigment over a base of 1:2
grey cement mortor 3/4" thick i/c washing & filling
of joints with slaurry of white cement and
pigment in desire shade with finishing,
cleaning and cost of wax polish etc
complete i/c cutting tiles toproper profile.
| (S.I No.60 P-47 |  | 322 | Sft | 30509 | / | 77 | %Sft | 98241 | /-
Rupees Thirty Thousand Five Hundred Nine& Seventy Seven
7 | Providing & Fixing approved quality mortice
| Lock.(S.I.No.21/P-60) |  | 5 | No | 1786 | / | 13 | Each | 8931 | /-
Rupees Seventeen Hundred Eighty Six and Thirteen ps Only
[8 empty] | Part A(i)Total | 322583 | /-
Above Or Below
Total
Part (A) Civil Work
(ii) Non Schedule Item
1 | French Polish of Door Windows & ventilators and
stair floor (Walls) work etc including repairing surface
and polishing by using latch dana, spirit, thinner,
pigment ICI lacquer,regmal, (Germany) malmal,
ICI Saller, Tarpauine Oil, Polishing as per satisfaction
| of competent authorityetc complete. |  | 456.5 | Sft |  |  |  | P.Sft
2 | Preparing the surface & Applying matte finishpaint of
approved quality & make includingscraping the old
surface, applying sandpaper filling with loppy& ICI or
equivalent& then applying matte finish paint 2 to 3 coats
| as directed by Engineer Incharge. |  | 1510.56 | Sft |  |  |  | P.Sft
3 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
aluminium double channel Section hanged
with Nails, Hooks, wire to ceiling etc. as
| directed by the Consultant. |  | 846 | Sft |  |  |  | P.Sft
4 | Providing and fixing hydraulic door
| closure best quality etc complete. |  | 5 | No |  |  |  | Each
5 | P/F Lasani wooden floor size 8'-0x1.50 dado
and wall of approved colour shade paste
with foam as underlay & sovent cement
forgien make pasting i/c panneling as
required as approved by the competent
| authority as well as Engineer Incharge. |  | 500 | Sft |  |  |  | P.Sft
6 | P/F Aluminum partition with fixed glass (frosted) 5mm thick using
4” lucky section in champion color as frame on floor or block
block masonry fixed with necessary fixtures rubber packings
etc the cost in/c tools & plants used in making and carriage
| from shop to site as directed by the Engineer Incharge. |  | 150 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part (B) W/S & S/F
(i) Schedule Item
1 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
Rupees Eleven Thousand Four Hundred Seventy Seven and Forty Only
2 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 1 | No | 5088 | / | 20 | Each | 5088 | /-
Rupees Five Thousand Eighty Eight and Twenty Ps Only
3 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 1 | No | 4928 | / | 70 | Each | 4929 | /-
Rupees Four Thousand Nine Hundred Twenty Eight and Seventy ps Only
4 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 1 | No | 889 | / | 46 | Each | 889 | /-
Rupees Eight Hundred Eighty Nine and Forty Six Ps Only
5 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 2 | No | 3432 | / | 0 | Each | 6864 | /-
Rupees Thirty Four Hundred Thirty Two Only
6 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 4 | No | 2042 | / | 43 | Each | 8170 | /-
Rupees Two Thousand Forty Two and Forty Three Only
7 | Supplying & fixing Bath room accessories
set (7 pieces i/c towel rod, brush holder, soap
tray, shelf of approved design i/c cost of
screws nuts etc complete
| (Master Brand) (S.I.23/19) |  | 1 | No | 10322 | / | 40 | Each | 10322 | /-
Rupees Ten Thousand Three Hundred Twenty Two and Forty Only
8 | S/F fiber glass tank of approved quality
and design and wall thickness as specified
i/c the cost of nuts bolts and fixing in
plateform of cement concrete 1:3:6
and making connection for inlet and
over flow pipe etc complete 250 gallon
| wall thickness 4mm (S.I.No.3-a/P-21) |  | 1 | Nos | 21979 | / | 89 | Each | 21980 | /-
Rupees Twenty One Thousand Nine Hundred Seventy Nine and Eighty Nine Ps Only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 69719 | /-
Above Or Below
Total W/S & S/F
Part B-ii W/S & S/F Non-Schedule Item
1 | Providing & fixing UPVC pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 1/2" dia |  | 35 | Rft |  |  |  | P.Rft
| 4" dia |  | 20 | Rft |  |  |  | P.Rft
2 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Plug Tee |  | 4 | No |  |  |  | P.Rft
| 4" dia Plain Bend |  | 4 | No |  |  |  | P.Rft
| 4" dia Cowel |  | 2 | No |  |  |  | P.Rft
Total W/S & S/F Non- S.Item
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| PART B-ii | Cost of Non Schedule Item W/S & S/F |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK No. 86 OFFICE OF SPECIAL ASSISTANT TO C.M FOR SPECIAL EDUCATION GOVERNEMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | Scraping (b) Ordinary Distemper
| Special Assistant Office |  |  | 2x(20.0+20.0)x10.0 |  | 800 | Sft
| P.S Room |  |  | 2x(20.0+20.0)x10.0 |  | 800 | Sft
| Kitchen |  |  | 2x(12.0+7.33)x8.0 |  | 309.28 | Sft
| Chamber |  |  | 2x(12.0+7.33)x8.0 |  | 309.28 | Sft
| Bath Room |  |  | 2x(7.0+8.0)x4.0 |  | 120 | Sft
| Bath Room |  |  | 2x(7.0+8.0)x4.0 |  | 120 | Sft
| Verr |  |  | 2x(40.0+7.50)x8.0 |  | 760 | Sft
[6 empty] | 3218.56 | Sft
Deduction:
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.25 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.25 | Sft
[6 empty] | 204.5 | Sft
[6 empty] | 3014.06 | Sft
2 | Distempering (b) Two Coats
| Kitchen |  |  | 1x2(12.50+7.33)x8.0 |  | 317.28 | Sft
| Room |  |  | 1x2(7.0+8.0)x4.0 |  | 120 | Sft
| O/Side Wall |  |  | 1x42.0x14.0 |  | 588 | Sft
| O/Side Wall |  |  | 1x37.0x14.0 |  | 518 | Sft
| O/Side Wall |  |  | 1x50.0x14.0 |  | 700 | Sft
[6 empty] | 2243.28 | Sft
Deduction:
| W |  |  | 1x3x5.0x4.0 |  | 400 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| W |  |  | 2x3.0x4.0 |  | 24 | Sft
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.25 | Sft
[6 empty] | 532.25 | Sft
[6 empty] | 1711.03 | Sft
3 | Providing & fixing with jute felt paper
of 60 lbs over roof i/c claning of roof
|  |  |  | 1x50.0x35.0 |  | 1750 | Sft
4 | Cement Plaster 1:4 upto 12" height 3/4" thick
|  |  |  | 1x8.0x4.0 |  | 32 | Sft
|  |  |  | 1x5.0x3.0 |  | 15 | Sft
|  |  |  | 1x4.0x4.0 |  | 16 | Sft
|  |  |  | 1x6.0x1.0 |  | 6 | Sft
|  |  |  | 1x2.0x6.0 |  | 12 | Sft
[6 empty] | 81 | Sft
5 | Painting Door & Windows
|  |  |  | 1x3.0x4.0 |  | 12 | Sft
|  |  |  | 1x3.0x4.0 |  | 12 | Sft
|  |  |  | 1x3.0x4.0 |  | 12 | Sft
|  |  |  | 2x3.0x4.0 |  | 24 | Sft
|  |  |  | 2x5.0x4.0 |  | 40 | Sft
|  |  |  | 1x5.0x4.0 |  | 20 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.5 | Sft
| D |  |  | 1x4.0x7.0 |  | 28 | Sft
[6 empty] | 128.5 | Sft
6 | Providing & Fixing glazed tiles.
| Bath Floor |  |  | 1x7.0x8.0 |  | 56 | Sft
| Bath Room Wall |  |  | 2x(7.0+8.0)x7.0 |  | 210 | Sft
| Bath Floor |  |  | 1x7.0x8.0 |  | 56 | Sft
[6 empty] | 322 | Sft
7 | P/F approved quality mortice lock
|  |  |  | 1 x 5 |  | 5 | Nos
PART A-II
NON SEHEDULE ITEMS
1 | P/Applying French Polish
| D |  |  | 1x2x4.0x7.0 |  | 56 | Sft
| D |  |  | 1x2x4.0x7.0 |  | 56 | Sft
| D |  |  | 1x2x4.0x7.0 |  | 56 | Sft
| D |  |  | 1x2x4.0x7.0 |  | 56 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.25 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.25 | Sft
| Wall |  |  | 1x20.0x10.0 |  | 200 | Sft
[6 empty] | 456.5 | Sft
2 | P/L Matte Finish
|  |  |  | 2(20.0+20.0)x10.0 |  | 800 | Sft
|  |  |  | 2(12.0+7.33)x8.0 |  | 309.28 | Sft
|  |  |  | 2(7.0+8.0)x4.0 |  | 120 | Sft
|  |  |  | 2(12.0+7.33)x8.0 |  | 309.28 | Sft
|  |  |  | 2(7.0+8.0)x4.0 |  | 120 | Sft
[6 empty] | 1658.56 | Sft
Deduction:
| D |  |  | 2x4.0x7.0 |  | 56 | Sft
| D |  |  | 2x2.50x6.50 |  | 32 | Sft
| W |  |  | 2x3.0x4.0 |  | 24 | Sft
| W |  |  | 3x3.0x4.0 |  | 36 | Sft
[6 empty] | 148 | Sft
[6 empty] | 1510.56 | Sft
3 | P/F False Ceiling
|  |  |  | 1x40.0x7.50 |  | 300 | Sft
|  |  |  | 1x20.0x20.0 |  | 400 | Sft
|  |  |  | 1x7.0x8.0 |  | 56 | Sft
|  |  |  | 1x12.0x7.0 |  | 90 | Sft
[6 empty] | 846 | Sft
4 | P/F Door Closure
|  |  |  | 1 x 5 |  | 5 | Nos
5 | P/F Wooden Panneling
|  |  |  | 1x20.0x10.0 |  | 200 | Sft
|  |  |  | 1x20.0x5.0 |  | 100 | Sft
|  |  |  | 1x20.0x5.0 |  | 100 | Sft | “
|  |  |  | 1x20.0x5.0 |  | 100 | Sft
[6 empty] | 500 | Sft
6 | P/F Aluminum Partition
|  |  |  | 1x20.0x5.0 |  | 100 | Sft
|  |  |  | 1x10.0x5.0 |  | 50 | Sft
[6 empty] | 150 | Sft
Part (B) W/S & S/F
(i) Schedule Item
1 | P/F European White glazed earthen ware
| W.C |  |  | 1x1 |  | 1 | No
2 | P/F Squatting type White glazed
| W.C |  |  | 1x1 |  | 1 | No
3 | P/F 24" x 18" lavatory Basin in
| white glazed earthen ware |  |  | 1x1 |  | 1 | No
4 | S/F Concelaed Tee Stop Cock
|  |  |  | 1x1 |  | 1 | No
5 | P/F C.P Muslim Shower
|  |  |  | 1 x 2 |  | 2 | Nos
6 | P/F C.I Floor Trap
|  |  |  | 1x4 |  | 4 | No
7 | P/F Bath Room Accessories
|  |  |  | 1x1 |  | 1 | No
8 | P/F Fiber Glass Tank 250 Gallons
|  |  |  | 1x1 |  | 1 | No
Part B -ii W/S & S/F Non Schedule Item
1 | P/F UPVC Pipe
| 1/2" dia |  |  | 1x(25.0+10) |  | 35 | Rft
| 4" dia |  |  | 1x(5.0+5.0+10.0) |  | 20 | Rft
2 | P/F UPVC Fitting
4" dia UPVC Plug Tee
|  |  |  | 1x4 |  | 4 | Nos
4" dia UPVC Plain Bend
|  |  |  | 1x4 |  | 4 | Nos
4" dia Cowel
|  |  |  | 1x2 |  | 2 | Nos
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.