## F.St
GOVERNMENT OF SINDH
WORKS AND SERVICES DEPARTMENT
KARACHI.
ESTABLISHMENT OF INSTITUTE PSYCHIATRY AND TRAUMA CENTRE AT SINDH GOVERNMENT HOSPITAL SAUDABAD KARACHI. (CONSTRUCTION OF TRUAMA CENTRE )( REVISED ESTIMATE )
REFERENCE OF SCHEME: |  | ADP NO. | 1274 | 2012-13
ESTIMATED COST: |  | RS: | #REF! | (M)
DATE OF PREPARATION:
THE DETAILED WORKING ESTIMATE PREPARED IN THE OFFICE OF THE EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION NO.II, WORKS & SERVICES DEPARTMENT GOVERNMENT OF SINDH KARACHI.
DETAILED WORKING ESTIMATE
Note on C10: Mushtaq Malik:

## SOC
NAME OF WORK => |  | M/R TO BARRACK No. 20-A (ii), G + 1 BUILDING LABOUR COURT SINDH SECRETARIAT BLOCK 4-A KARACHI SHIFTED NAB COURT No. 07
SUMMARY OF COST
| PART A-I CIVIL WORK SCHEDULE ITEM |  |  | TOTAL RS: | #REF! | /-
| PART 'A'-ii CIVIL WORK NON SCHEDULE ITEM. |  |  | TOTAL RS: | 0 | /-
| Part (B) W/S & S/F(i) Schedule Item |  |  | TOTAL RS: | 0 | /-
| Part B-ii W/S & S/F Non-Schedule Item |  |  | TOTAL RS: | 0 | /-
| Part C-I Electric Work Schedule Item |  |  | TOTAL RS: | 125472 | /-
| Part C-ii Electric Work Non Sch: Item |  |  | TOTAL RS: | 0 | /-
|  |  |  | TOTAL RS: | #REF! | /-
|  |  |  | SAY RS: | #REF! | /-
|  |  |  | OR RS: | #REF! | (M)
.. |  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
|  | PROVINCIAL BUILDINGS SUB DIVIN-VII |  |  | PROVINCIAL BUILDINGS DIVISION NO-II,
|  | KARACHI. |  |  | KARACHI.

## SOC CSt.
SUMMARY OF COST
REHABILITATION & RECONSTRUCTION OF RESIDENTIAL AREAOF COMMISSIONER OFFICE (4 CLUB ROAD) KARACHI CONSTRUCTION OF 8 NOS CATEGORY IV FLATS AND 8 NOS FLATS OF CATEGORY V AND CONSTRUCTION OF UNDERGROUND TANK AND HSR AND CANTEEN BUILDING .(REVISED ESTIMATE).
S.NO. | NAME OF WORK |  |  | W.O.NO.& DATE. | T.S. AMOUNT |  | CURRENT ESTIMATE AMOUNT |  | ACCESS AMOUNT |  | SAVING AMOUNT
1 | Construction of Estt: of |  |  | TC/G-55/465,
| Institute Psychiatry. |  |  | 01.03.2013. | 46911385 | /- | 44408150 | /- | 1937251 | /- | 2428483 | /-
2 | Construction of Trauma |  |  | TC/G-55/464,
| Centre. |  |  | 01.03.2013. | 41532896 | /- | 42027539 | /- | 4468953 | /- | 2428483 | /-
[5 empty] | 88444281 | /- | 86435689 | /- | 6406204 | /- | 4856966 | /-
|  | ASSISTANT ENGIEER | [5 empty] | EXECUTIVE EGINEER
|  | PROVINCIAL BUILDINGS SUB DIVIN-II | [5 empty] | PROVINCIAL BUILDINGS DIVISION NO-III,
|  | KARACHI. | [5 empty] | KARACHI.

## Com.Stt,
COMPARATIVE STATEMENT
| NAME OF WORK: | REHABILITATION & RECONSTRUCTION OF RESIDENTIAL AREAOF COMMISSIONER OFFICE (4 CLUB ROAD) KARACHI CONSTRUCTION OF 8 NOS CATEGORY IV FLATS AND 8 NOS FLATS OF CATEGORY V AND CONSTRUCTION OF UNDERGROUND TANK AND HSR AND CANTEEN BUILDING .(REVISED ESTIMATE).
| W.O.No. & Dated: | NO.TC/G-55/465, Dated:01.03.2013.
| NAME OF CONTRACTOR. | M/S S.WILLAYAT ALI SHAH
S.No. | Description of items |  | AS PER ORIGIONAL T.S.E. | [7 empty] | AS PER Revised Estimate. | [8 empty] | Quantity. |  | Amount. |  | Remarks.
|  |  | Quantity. |  | Rate. |  |  | Unit, | Amount |  | Quantity. |  |  | Rate. |  |  | Unit, | Amount |  | Excess | Saving | Excess | Saving
PART 'A' CATEGORY IV FLATS BLOCK A & B GROUND FLOOR
1 | Excavation in foundation of buildings bridges and
| upto 5Ft: (in ordinary soil.(S.I.No 18(b)P-4). |  | 21558 | Cft | 3554 | / | 38 | %oCft | 76625 | /- |  | 92.35 | Cft | 3554 | / | 38 | %oCft | 328 | /- | --- | 21465.65 | --- | 76297
2 | Random, rubble masonary (uncoused )
| (a) Dry Masonary (S.I.No.1-a/P-27) |  |  | Cft | 13051 | / | 50 | %Cft | 0 | /- |  | Rupees Three Thousand Two Hundred Seventy Five and Fifty Ps Only | Cft | 13051 | / | 50 | %Cft | #VALUE! | /- | #VALUE! | --- | #VALUE! | #VALUE!
3 | Dismantling cement concrete reinforced separating
| reinfor cement from concrete cleaning and |  |  | Cft | 5444 | / | 0 | % Cft | 0 | /- |  | Rupees Eleven Hundred Sixty and Six Ps Only | Cft | 5444 | / | 0 | % Cft | #VALUE! | /- | #VALUE! | --- | #VALUE! | #VALUE!
4 | Dismantling stone-masonary is lime or
| cement.(S.I.No.3/P-9) |  |  | Cft | 907 | / | 50 | % Cft | 0 | /- |  | 0 | Cft | 907 | / | 50 | % Cft | 0 | /- | 0 | --- | --- | ---
5 | Dismantling cement concrete plain 1: 2: 4
| (S.I.No.19-c/P-10) |  |  | Cft | 3327 | / | 50 | %Cft | 0 | /- |  | 6933.5386 | Cft | 3327 | / | 50 | %Cft | 230713 | /- | 6933.5386 | --- | 230713 | ---
6 | Dismantling cement concrete plain 1: 4: 8
| (S.I.No.19-a/P-10) |  |  | Cft | 1663 | / | 73 | % Cft | 0 | /- |  | 0 | Cft | 1663 | / | 73 | % Cft | 0 | /- | 0 | --- | --- | ---
7 | Dismantling cement block masonary.
| (S.I.No.14/P-9) |  |  | Cft | 1134 | / | 38 | % Cft | 0 | /- |  | #REF! | Cft | 1134 | / | 38 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
8 | Extra Lead for Shifting of dismantling Material
| from site to 25 mile. |  |  | Cft | 1389 | / | 46 | % Cft | 0 | /- |  | #REF! | Cft | 1389 | / | 46 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
9 | Cement concrete plain including placing compacting
| finishing and curring complete including screening and |  | 1373.66 | Cft | 14429 | / | 25 | % Cft | 198209 | /- |  | #REF! | Cft | 14429 | / | 25 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
10 | Fabrication of Miled steel reinforcement for
| cement concrete including cutting bendidng |  | 867.55 | Cwt | 5001 | / | 70 | P.Cwt | 4339225 | /- |  | #REF! | Cwt | 5001 | / | 70 | P.Cwt | #REF! | /- | #REF! | #REF! | #REF! | #REF!
11 | R.C.C work including all labour and material
| except the cost of steel reinforcement and its |  | 11355.74 | Cft | 337 | / | 0 | P.Cft | 3826884 | /- |  | #REF! | Cft | 337 | / | 0 | P.Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
2
|  |  | 3896.73 | Cft | 9416 | / | 28 | %Cft | 366927 | /- |  |  | Cft | 9416 | / | 28 | %Cft | 0 | /- | --- | 3896.73 | --- | 366927
12 | Cement concrete brick or stone ballast 1-1/2" to
| 2" guage Ratio 1:4:8 (S.I.No.4(b)P-15). |  | 3698.24 | Cft | 9416 | / | 28 | % Cft | 348237 | /- |  | #REF! | Cft | 9416 | / | 28 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
13 | Erection and removal of centering for R.C.C or
| plain cement concrete works of Deodar wood |  | 4100.48 | Sft | 3127 | / | 41 | %Sft. | 128239 | /- |  | #REF! | Sft | 3127 | / | 41 | %Sft. | #REF! | /- | #REF! | #REF! | #REF! | #REF!
14 | Filling watering and ramming earth under floor
| with new earth excavated from out side lead |  | 7607 | Cft | 1948 | / | 96 | %Cft | 148257 | /- |  | #REF! | Cft | 1948 | / | 96 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
15 | Providing and laying 1:3:6 cement concrete solid
| block masonary wall 6" and below thick ness set |  | 2188.28 | Cft | 15771 | / | 1 | % Cft | 345114 | /- |  | #REF! | Cft | 15771 | / | 1 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
16 | Cement plaster 1:6 upto 12' height
| 3/4" thick.(S.I.No.13-c P-52) |  | 13425.16 | Sft | 2590 | / | 50 | % Sft | 347779 | /- |  |  | Sft | 2590 | / | 50 | % Sft | 0 | /- | --- | 13425.16 | --- | 347779
17 | P/F G.I frame/chowkhats of size 7"x2" or
| 4-1/2"x3" for door using 20 gauge G.I.sheet |  | 610 | Rft | 228 | / | 90 | P.Rft | 139629 | /- |  | 50.5 | Rft | 228 | / | 90 | P.Rft | 11559 | /- | --- | 559.5 | --- | 128070
18 | Providing & fixing inposition doors
| windows & ventilators of 1st class deodar |  | 742 | Sft | 856 | / | 53 | P.Sft | 635545 | /- |  | #REF! | Sft | 856 | / | 53 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
19 | P/F iron steel grill using solid square bass of size 1/2"x1/2"
| placed at 4" I/c and frame of flat iron pathti of 3/4"x3/4" |  | 1981.62 | Sft | 194 | / | 16 | P.Sft | 384751 | /- |  | #REF! | Sft | 194 | / | 16 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
20 | Supplying & fixing inposition Aluminum
| channel framing for sliding windows & |  | 852 | Sft | 1449 | / | 69 | P.Sft | 1235136 | /- |  | #REF! | Sft | 1449 | / | 69 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
21 | Laying white marble flooring fine dressed on
| the surface without winding set in lime mortar |  | 229.24 | Sft | 628 | / | 93 | P.Sft | 144176 | /- |  | #REF! | Sft | 628 | / | 93 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
22 | Providing and fixing deodar Almirah 9" - 12"
| depth including boxing with back shelves, |  |  | Sft | 1778 | / | 50 | P.Sft | 0 | /- |  | #REF! | Sft | 1778 | / | 50 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
23 | Providing and fixing 3/8" thick marble tiles
| of approved quality and colour and shade size |  | 118 | Sft | 186 | / | 4 | P.Sft | 21953 | /- |  | #REF! | Sft | 186 | / | 40 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
24 | Priming coat of chalk distemper.
| (S.I.No.23/P-52) |  | 25826.86 | Sft | 442 | / | 75 | % Sft | 114348 | /- |  | #REF! | Sft | 442 | / | 75 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
25 | Distempering in three coats.
| (S.I.No. 24 -b P-54). |  | 3803.5 | Sft | 1043 | / | 90 | % Sft | 39705 | /- |  | #REF! | Sft | 1043 | / | 90 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
26 | Preparing the surface and painting with plastic
| emulsion paint of approved make I/c rubbing the |  | 18219.86 | Sft | 1659 | / | 35 | % Sft | 302331 | /- |  | #REF! | Sft | 1659 | / | 35 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
27 | Providing and fixing iron collapsible gate with
| channel framing of section 3/4" x 5/16" at 4" I/c |  | 126 | Sft | 387 | / | 4 | P.Sft | 48767 | /- |  | #REF! | Sft | 387 | / | 4 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
28 | Preparing new surface © Painting to doors
| and windows any type (including edges in |  | 3440 | Sft | 2116 | / | 41 | %Sft. | 72805 | /- |  | #REF! | Sft | 2116 | / | 41 | %Sft. | #REF! | /- | #REF! | #REF! | #REF! | #REF!
29 | Providing Anti -termmite treatment by spraying
| /sprinkling /spreading Neptachlar 0.5% Emulsion |  |  | Sft | 9 | / | 74 | P.Sft | 0 | /- |  | #REF! | Sft | 9 | / | 74 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
30 | Two coats of bitumen laid hot using 34 Lbs
| for % Sft. Ober roof and blinded with sand at |  |  | Sft | 1887 | / | 40 | % Sft | 0 | /- |  | #REF! | Sft | 1887 | / | 40 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
31 | Cement concrete plain including placing compacting
| finishing and curring complete including screening and |  |  | Cft | 12595 | / | 0 | %Cft | 0 | /- |  | #REF! | Cft | 12595 | / | 0 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
32 | Preparing the surface and painting with
| weather coat i/c rubbing the surface with |  | 6394.5 | Sft | 1948 | / | 10 | % Sft | 124571 | /- |  |  | Sft | 1948 | / | 10 | % Sft | 0 | /- | --- | 6394.5 | --- | 124571
33 | Providing and laying HALA or gattewrn tilles
| glazed 8" x 8" x1/4" on floor or wall facing in |  | 6219 | Sft | 34520 | / | 31 | % Sft | 2146818 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | --- | 6219 | --- | 2146818
34 | Cement plaster 1:4 upto 20' height
| 3/4" thick.(S.I.No.11-c P-52) |  |  | Sft | 3015 | / | 76 | % Sft | 0 | /- |  | #REF! | Sft | 3015 | / | 76 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
[8 empty] | Part 'A' Total Rs: | 15169104 | /- | [6 empty] | Part 'A' Total Rs: | #VALUE! | /- | 0 | --- | #VALUE! | #VALUE!
|  |  | 20 % Below On Item No. 18,20,21,23,33 | [5 empty] | 836725 | /- |  |  |  | At Par
[8 empty] | Total Rs | 14332379 | /- | [6 empty] | Part 'A' Total Rs: | #VALUE! | /-
|  |  | 10 % Above On Item No.10,17,19,27 | [5 empty] | 477274 | /-
[8 empty] | Total Rs | 14809653 | /-
|  |  |  | Add Cartage |  |  |  |  | 428340 | /-
[8 empty] | Total Rs | 15237993 | /-
PART 'A'-ii Block A & B G.Floor NON SCHEDULE ITEM.
1 | Making & Fixing floor cabinet shutter with lasani
| sheet 3/4" thick laminated in/c framing with 2" |  | 134.75 | Sft | 710 | / | 0 | P.Sft | 95673 | /- |  | 118.13 | Sft | 709 | / | 0 | P.Sft | 83754 | /- | --- | 16.62 | --- | 11919
2 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
| work of 1st class partal wood 2" x 1" |  | 104 | Sft | 730 | / | 0 | P.Sft | 75920 | /- |  | 237.63 | Sft | 729 | / | 0 | P.Sft | 173232 | /- | 133.63 | --- | 97312 | ---
3 | Providing & fixing marble top 1" thick (24"
| wide to approved quality china verona i/c |  | 104 | Sft | 650 | / | 0 | P.Sft | 67600 | /- |  | 127.7 | Sft | 649 | / | 0 | P.Sft | 82877 | /- | 23.7 | --- | 15277 | ---
4 | P/L Bath room tiles glazed or matt glazed,
| make having size 12”x24” Maste/Shabbir make or |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  | 2412.88 | Sft | 350 | / | 0 | P.Sft | 844508 | /- | 2412.88 | --- | 844508 | ---
5 | Providing & Laying marble flooring super
China Verona Teravera or equivalent
| having size 24"x12"x3/4" or 12"x12"x3/4" |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  | 3289.66 | Sft | 350 | / | 0 | P.Sft | 1151381 | /- | 3289.66 | --- | 1151381 | ---
6 | Supply & fixing stainless steel two stove
| burner etc complete |  | 4 | Nos | 5500 | / | 0 | Each | 22000 | /- |  |  | Nos | 5500 | / | 0 | Each | 0 | /- | --- | 4 | --- | 22000
[8 empty] | Part 'B-i' Total Rs: | 261193 | /- | [6 empty] | Part 'B-i' Total Rs: | 2335752 | /- | 0 | --- | 2108478 | 33919
[8 empty] | Total Part (B +B-i) | 15499186 | /- | [6 empty] | Total Part (B +B-i) | #VALUE! | /- | 0 | --- | #VALUE! | #VALUE!
PART 'A' CATEGORY IV FLATS Block A & B FIRST FLOOR
1 | Fabrication of Miled steel reinforcement for
| cement concrete including cutting bendidng |  | 537.84 | Cwt | 5001 | / | 70 | P.Cwt | 2690114 | /- |  | 415.7 | Cwt | 5001 | / | 70 | P.Cwt | 2079207 | /- | --- | 122.14 | --- | 610907
1-b | Add extra for lifting of steel above
| first floor for every additional floor |  |  | Cwt | 151 | / | 25 | P.Cwt | 0 | /- |  | 415.7 | Cwt | 151 | / | 25 | P.Cwt | 62875 | /- | 415.7 | --- | 62875 | ---
2 | R.C.C work including all labour and material
| except the cost of steel reinforcement and its |  | 5825 | Cft | 337 | / | 0 | P.Cft | 1963025 | /- |  | 7222.66 | Cft | 337 | / | 0 | P.Cft | 2434036 | /- | 1397.66 | --- | 471011 | ---
1-b | Add extra for lifting of steel above
| first floor for every additional floor |  |  | Cft | 1210 | / | 0 | % Cft | 0 | /- |  | #REF! | Cft | 1210 | / | 0 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
3 | Providing and laying 1:3:6 cement concrete solid
| block masonary wall 6" and below thick ness set |  | 3356.29 | Cft | 15771 | / | 1 | % Cft | 529321 | /- |  | 4108.61 | Cft | 15771 | / | 1 | % Cft | 647969 | /- | 752.32 | --- | 118648 | ---
4 | Cement plaster 1:6 upto 12' height
| 3/4" thick.(S.I.No.13-c P-52) |  | 13425.16 | Sft | 2590 | / | 50 | % Sft | 347779 | /- |  | 30306.56 | Sft | 2590 | / | 50 | % Sft | 785091 | /- | 16881.4 | --- | 437312 | ---
5 | P/F G.I frame/chowkhats of size 7"x2" or
| 4-1/2"x3" for door using 20 gauge G.I.sheet |  | 610 | Rft | 228 | / | 90 | P.Rft | 139629 | /- |  | 568 | Rft | 228 | / | 90 | P.Rft | 130015 | /- | --- | 42 | --- | 9614
6 | Providing & fixing inposition doors
| windows & ventilators of 1st class deodar |  | 742 | Sft | 856 | / | 53 | P.Sft | 635545 | /- |  | 627.75 | Sft | 856 | / | 53 | P.Sft | 537687 | /- | --- | 114.25 | --- | 97858
7 | Supplying & fixing inposition Aluminum
| channel framing for sliding windows & |  | 852 | Sft | 1449 | / | 69 | P.Sft | 1235136 | /- |  | 941.5 | Sft | 1449 | / | 69 | P.Sft | 1364883 | /- | 89.5 | --- | 129747 | ---
8 | Providing and laying HALA or gattewrn tilles
| glazed 8" x 8" x1/4" on floor or wall facing in |  | 6362.5 | Sft | 34520 | / | 31 | % Sft | 2196355 | /- |  | 2251.2 | Sft | 34520 | / | 31 | % Sft | 777121 | /- | --- | 4111.3 | --- | 1419234
9 | Laying white marble flooring fine dressed on
| the surface without winding set in lime mortar |  | 229.24 | Sft | 628 | / | 93 | P.Sft | 144176 | /- |  | 296 | Sft | 628 | / | 93 | P.Sft | 186163 | /- | 66.76 | --- | 41987 | ---
10 | Providing and fixing 3/8" thick marble tiles
| of approved quality and colour and shade size |  | 118 | Sft | 186 | / | 4 | P.Sft | 21953 | /- |  | 586.4 | Sft | 186 | / | 40 | P.Sft | 109305 | /- | 468.4 | --- | 87352 | ---
11 | Priming coat of chalk distemper.
| (S.I.No.23/P-52) |  | 25826.86 | Sft | 442 | / | 75 | % Sft | 114348 | /- |  | 17005.42 | Sft | 442 | / | 75 | % Sft | 75291 | /- | --- | 8821.44 | --- | 39057
12 | Distempering in three coats.
| (S.I.No. 24 -b P-54). |  | 3803.5 | Sft | 1043 | / | 90 | % Sft | 39705 | /- |  | 3474.16 | Sft | 1043 | / | 90 | % Sft | 36267 | /- | --- | 329.34 | --- | 3438
13 | Preparing the surface and painting with plastic
| emulsion paint of approved make I/c rubbing the |  | 18219.86 | Sft | 1659 | / | 35 | % Sft | 302331 | /- |  | 13531.26 | Sft | 1659 | / | 35 | % Sft | 224531 | /- | --- | 4688.6 | --- | 77800
14 | Preparing the surface and painting with
| weather coat i/c rubbing the surface with |  | 6522.39 | Sft | 1948 | / | 10 | % Sft | 127063 | /- |  |  | Sft | 1948 | / | 10 | % Sft | 0 | /- | --- | 6522.39 | --- | 127063
15 | Providing and fixing iron collapsible gate with
| channel framing of section 3/4" x 5/16" at 4" I/c |  | 126 | Sft | 387 | / | 4 | P.Sft | 48767 | /- |  | 126 | Sft | 387 | / | 4 | P.Sft | 48767 | /- | 0 | --- | --- | ---
16 | P/F iron steel grill using solid square bass of size 1/2"x1/2"
| placed at 4" I/c and frame of flat iron pathti of 3/4"x3/4" |  | 1981.62 | Sft | 194 | / | 16 | P.Sft | 384751 | /- |  | 828 | Sft | 194 | / | 16 | P.Sft | 160764 | /- | --- | 1153.62 | --- | 223987
17 | Preparing new surface © Painting to doors
| and windows any type (including edges in |  | 3440 | Sft | 2116 | / | 41 | %Sft. | 72805 | /- |  | 2083.5 | Sft | 2116 | / | 41 | %Sft. | 44095 | /- | --- | 1356.5 | --- | 28710
18 | Cement concrete plain including placing compacting
| finishing and curring complete including screening and |  |  | Cft | 12595 | / | 0 | % Cft | 0 | /- |  | 808.48 | Cft | 12595 | / | 0 | % Cft | 101828 | /- | 808.48 | --- | 101828 | ---
19 | Erection and removal of centering for R.C.C or
| plain cement concrete works of Deodar wood |  |  | Sft | 3127 | / | 41 | %Sft. | 0 | /- |  | 993.24 | Sft | 3127 | / | 41 | %Sft. | 31063 | /- | 993.24 | --- | 31063 | ---
20 | Extra for lime mud or cement plaster and
| pointing from 12' and above (for each |  |  | Sft | 140 | / | 97 | % Sft | 0 | /- |  | 30306.56 | Sft | 140 | / | 97 | % Sft | 42723 | /- | 30306.56 | --- | 42723 | ---
21 | Providing and laying 1" thick topping cement
| concrete (1:2:4 ) including Surface finishing |  |  | Sft | 4411 | / | 82 | % Sft | 0 | /- |  | 3474.16 | Sft | 4411 | / | 82 | % Sft | 153274 | /- | 3474.16 | --- | 153274 | ---
22 | Providing and fixing deodar Almirah 9" - 12"
| depth including boxing with back shelves, |  |  | Sft | 1778 | / | 50 | P.Sft | 0 | /- |  | 250 | Sft | 1778 | / | 50 | P.Sft | 444625 | /- | 250 | --- | 444625 | ---
23 | Two coats of bitumen laid hot using 34 Lbs
| for % Sft. Ober roof and blinded with sand at |  |  | Sft | 1887 | / | 40 | % Sft | 0 | /- |  | 1106 | Sft | 1887 | / | 40 | % Sft | 20875 | /- | 1106 | --- | 20875 | ---
[8 empty] | Part 'A' Total Rs: | 10992803 | /- | [6 empty] | Part 'A' Total Rs: | #REF! | /- | 0 | --- | #REF! | #REF!
|  |  | 20 % Below On Item No. 18,20,21,23,33 | [5 empty] | 846632 | /- |  |  |  | Less 2.90 % Below |  |  |  | #REF! |  |  |  | #REF! | #REF!
[8 empty] | Total Rs | 10146171 | /- | [6 empty] | Part 'A' Total Rs: | #REF! |  |  |  | #REF! | #REF!
|  |  | 10 % Above On Item No.10,17,19,27 | [5 empty] | 312363 | /-
[8 empty] | Total Rs | 10458534 | /-
|  |  |  | Add Cartage |  |  |  |  | 227559 | /-
[8 empty] | Total Rs | 10686093 | /-
PART 'A'-ii Block A & B G.Floor NON SCHEDULE ITEM.
1 | Making & Fixing floor cabinet shutter with lasani
| sheet 3/4" thick laminated in/c framing with 2" |  | 134.75 | Sft | 710 | / | 0 | P.Sft | 95673 | /- |  | 118.13 | Sft | 709 | / | 0 | P.Sft | 83754 | /- | --- | 16.62 | --- | 11919
2 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
| work of 1st class partal wood 2" x 1" |  | 104 | Sft | 730 | / | 0 | P.Sft | 75920 | /- |  | 237.63 | Sft | 729 | / | 0 | P.Sft | 173232 | /- | 133.63 | --- | 97312 | ---
3 | Providing & fixing marble top 1" thick (24"
| wide to approved quality china verona i/c |  | 104 | Sft | 650 | / | 0 | P.Sft | 67600 | /- |  | 127.7 | Sft | 649 | / | 0 | P.Sft | 82877 | /- | 23.7 | --- | 15277 | ---
4 | P/L Bath room tiles glazed or matt glazed,
| make having size 12”x24” Maste/Shabbir make or |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  | 2412.88 | Sft | 350 | / | 0 | P.Sft | 844508 | /- | 2412.88 | --- | 844508 | ---
5 | Providing & Laying marble flooring super
China Verona Teravera or equivalent
| having size 24"x12"x3/4" or 12"x12"x3/4" |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  | 3289.66 | Sft | 350 | / | 0 | P.Sft | 1151381 | /- | 3289.66 | --- | 1151381 | ---
6 | Supply & fixing stainless steel two stove
| burner etc complete |  | 4 | Nos | 5500 | / | 0 | Each | 22000 | /- |  |  | Nos | 5500 | / | 0 | Each | 0 | /- | --- | 4 | --- | 22000
7 | Applying the Rough Cost Stucco over colour
| crete on the surface of wall with using material |  |  | Sft | 170 | / | 0 | P.Sft | 0 | /- |  | 11775.34 | Sft | 170 | / | 0 | P.Sft | 2001808 | /- | 11775.34 | --- | 2001808 | ---
[8 empty] | Part 'B-i' Total Rs: | 261193 | /- | [6 empty] | Part 'B-i' Total Rs: | 4337560 | /- | 0 | --- | 4110286 | 33919
[8 empty] | Total Part (B +B-i) | 10947286 | /- | [6 empty] | Total Part (B +B-i) | #REF! | /- | 0 | --- | #REF! | #REF!
Part (B) W/S & S/F Schedule Item
1 | Providing & fixing squating type white
| glazed earthen ware w.c pan with i/c |  | 16 | No | 6166 | / | 60 | Each | 98666 | /- |  | 16 | No | 6166 | / | 60 | Each | 98666 | /- | 0 | --- | --- | ---
2 | Providing & fixing 24" x 18" lavatory basin in
| white glazed earthen ware complete with & |  | 16 | No | 4253 | / | 70 | Each | 68059 | /- |  | 16 | No | 4253 | / | 70 | Each | 68059 | /- | 0 | --- | --- | ---
3 | Add Extra for labour for providing and fixing
| of earthen ware pedestal |  | 16 | No | 938 | / | 47 | Each | 15016 | /- |  | 16 | No | 938 | / | 47 | P.Sft | 15016 | /- | 0 | --- | --- | ---
4 | Providing & Fixing 6"x2" or 6"x3" C.I Floor trap
of the approved selt cleaning design with a C.I
5 | Providing & Fixing 6"x4" gully trap with 4"dia
of the approved selt cleaning design with a C.I
6 | S/F Long Bib Cock and Tee Stop Cock plastic
coated of superior quality of required colour
7 | S/F Concealed Tee Stop Cock of Superior
Quality with C.p Head 1/2" dia
8 | Supplying & Fixing Wash Basin Mixture of
Superior quality with C.p head 1/2" dia
9 | Supplying & Fixing C.P Bath Tub Mixture of
superior quality with head of approved quality
10 | S/F Bath Room Accessories set
PART 'A' CATEGORY IV FLATS BLOCK A & B GROUND FLOOR
1 | Excavation in foundation of buildings bridges and
| upto 5Ft: (in ordinary soil.(S.I.No 18(b)P-4). |  | 21558 | Cft | 3554 | / | 38 | %oCft | 76625 | /- |  | #REF! | Cft | 3554 | / | 38 | %oCft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
2 | Random, rubble masonary (uncoused )
| (a) Dry Masonary (S.I.No.1-a/P-27) |  |  | Cft | 13051 | / | 50 | %Cft | 0 | /- |  | #REF! | Cft | 13051 | / | 50 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
3 | Dismantling cement concrete reinforced separating
| reinfor cement from concrete cleaning and |  |  | Cft | 5444 | / | 0 | % Cft | 0 | /- |  | #REF! | Cft | 5444 | / | 0 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
4 | Dismantling stone-masonary is lime or
| cement.(S.I.No.3/P-9) |  |  | Cft | 907 | / | 50 | % Cft | 0 | /- |  | #REF! | Cft | 907 | / | 50 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
5 | Dismantling cement concrete plain 1: 2: 4
| (S.I.No.19-c/P-10) |  |  | Cft | 3327 | / | 50 | %Cft | 0 | /- |  | #REF! | Cft | 3327 | / | 50 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
6 | Dismantling cement concrete plain 1: 4: 8
| (S.I.No.19-a/P-10) |  |  | Cft | 1663 | / | 73 | % Cft | 0 | /- |  | #REF! | Cft | 1663 | / | 73 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
7 | Dismantling cement block masonary.
| (S.I.No.14/P-9) |  |  | Cft | 1134 | / | 38 | % Cft | 0 | /- |  | #REF! | Cft | 1134 | / | 38 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
8 | Extra Lead for Shifting of dismantling Material
| from site to 25 mile. |  |  | Cft | 1389 | / | 46 | % Cft | 0 | /- |  | #REF! | Cft | 1389 | / | 46 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
9 | Cement concrete plain including placing compacting
| finishing and curring complete including screening and |  | 1373.66 | Cft | 14429 | / | 25 | % Cft | 198209 | /- |  | #REF! | Cft | 14429 | / | 25 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
10 | Fabrication of Miled steel reinforcement for
| cement concrete including cutting bendidng |  | 867.55 | Cwt | 5001 | / | 70 | P.Cwt | 4339225 | /- |  | #REF! | Cwt | 5001 | / | 70 | P.Cwt | #REF! | /- | #REF! | #REF! | #REF! | #REF!
11 | R.C.C work including all labour and material
| except the cost of steel reinforcement and its |  | 11355.74 | Cft | 337 | / | 0 | P.Cft | 3826884 | /- |  | #REF! | Cft | 337 | / | 0 | P.Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
2
|  |  | 3896.73 | Cft | 9416 | / | 28 | %Cft | 366927 | /- |  |  | Cft | 9416 | / | 28 | %Cft | 0 | /- | --- | 3896.73 | --- | 366927
12 | Cement concrete brick or stone ballast 1-1/2" to
| 2" guage Ratio 1:4:8 (S.I.No.4(b)P-15). |  | 3698.24 | Cft | 9416 | / | 28 | % Cft | 348237 | /- |  | #REF! | Cft | 9416 | / | 28 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
13 | Erection and removal of centering for R.C.C or
| plain cement concrete works of Deodar wood |  | 4100.48 | Sft | 3127 | / | 41 | %Sft. | 128239 | /- |  | #REF! | Sft | 3127 | / | 41 | %Sft. | #REF! | /- | #REF! | #REF! | #REF! | #REF!
14 | Filling watering and ramming earth under floor
| with new earth excavated from out side lead |  | 7607 | Cft | 1948 | / | 96 | %Cft | 148257 | /- |  | #REF! | Cft | 1948 | / | 96 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
15 | Providing and laying 1:3:6 cement concrete solid
| block masonary wall 6" and below thick ness set |  | 2188.28 | Cft | 15771 | / | 1 | % Cft | 345114 | /- |  | #REF! | Cft | 15771 | / | 1 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
16 | Cement plaster 1:6 upto 12' height
| 3/4" thick.(S.I.No.13-c P-52) |  | 13425.16 | Sft | 2590 | / | 50 | % Sft | 347779 | /- |  |  | Sft | 2590 | / | 50 | % Sft | 0 | /- | --- | 13425.16 | --- | 347779
17 | P/F G.I frame/chowkhats of size 7"x2" or
| 4-1/2"x3" for door using 20 gauge G.I.sheet |  | 610 | Rft | 228 | / | 90 | P.Rft | 139629 | /- |  | #REF! | Rft | 228 | / | 90 | P.Rft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
18 | Providing & fixing inposition doors
| windows & ventilators of 1st class deodar |  | 742 | Sft | 856 | / | 53 | P.Sft | 635545 | /- |  | #REF! | Sft | 856 | / | 53 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
19 | P/F iron steel grill using solid square bass of size 1/2"x1/2"
| placed at 4" I/c and frame of flat iron pathti of 3/4"x3/4" |  | 1981.62 | Sft | 194 | / | 16 | P.Sft | 384751 | /- |  | #REF! | Sft | 194 | / | 16 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
20 | Supplying & fixing inposition Aluminum
| channel framing for sliding windows & |  | 852 | Sft | 1449 | / | 69 | P.Sft | 1235136 | /- |  | #REF! | Sft | 1449 | / | 69 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
21 | Laying white marble flooring fine dressed on
| the surface without winding set in lime mortar |  | 229.24 | Sft | 628 | / | 93 | P.Sft | 144176 | /- |  | #REF! | Sft | 628 | / | 93 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
22 | Providing and fixing deodar Almirah 9" - 12"
| depth including boxing with back shelves, |  |  | Sft | 1778 | / | 50 | P.Sft | 0 | /- |  | #REF! | Sft | 1778 | / | 50 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
23 | Providing and fixing 3/8" thick marble tiles
| of approved quality and colour and shade size |  | 118 | Sft | 186 | / | 4 | P.Sft | 21953 | /- |  | #REF! | Sft | 186 | / | 40 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
24 | Priming coat of chalk distemper.
| (S.I.No.23/P-52) |  | 25826.86 | Sft | 442 | / | 75 | % Sft | 114348 | /- |  | #REF! | Sft | 442 | / | 75 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
25 | Distempering in three coats.
| (S.I.No. 24 -b P-54). |  | 3803.5 | Sft | 1043 | / | 90 | % Sft | 39705 | /- |  | #REF! | Sft | 1043 | / | 90 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
26 | Preparing the surface and painting with plastic
| emulsion paint of approved make I/c rubbing the |  | 18219.86 | Sft | 1659 | / | 35 | % Sft | 302331 | /- |  | #REF! | Sft | 1659 | / | 35 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
27 | Providing and fixing iron collapsible gate with
| channel framing of section 3/4" x 5/16" at 4" I/c |  | 126 | Sft | 387 | / | 4 | P.Sft | 48767 | /- |  | #REF! | Sft | 387 | / | 4 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
28 | Preparing new surface © Painting to doors
| and windows any type (including edges in |  | 3440 | Sft | 2116 | / | 41 | %Sft. | 72805 | /- |  | #REF! | Sft | 2116 | / | 41 | %Sft. | #REF! | /- | #REF! | #REF! | #REF! | #REF!
29 | Providing Anti -termmite treatment by spraying
| /sprinkling /spreading Neptachlar 0.5% Emulsion |  |  | Sft | 9 | / | 74 | P.Sft | 0 | /- |  | #REF! | Sft | 9 | / | 74 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
30 | Two coats of bitumen laid hot using 34 Lbs
| for % Sft. Ober roof and blinded with sand at |  |  | Sft | 1887 | / | 40 | % Sft | 0 | /- |  | #REF! | Sft | 1887 | / | 40 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
31 | Cement concrete plain including placing compacting
| finishing and curring complete including screening and |  |  | Cft | 12595 | / | 0 | %Cft | 0 | /- |  | #REF! | Cft | 12595 | / | 0 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
32 | Preparing the surface and painting with
| weather coat i/c rubbing the surface with |  | 6394.5 | Sft | 1948 | / | 10 | % Sft | 124571 | /- |  |  | Sft | 1948 | / | 10 | % Sft | 0 | /- | --- | 6394.5 | --- | 124571
33 | Providing and laying HALA or gattewrn tilles
| glazed 8" x 8" x1/4" on floor or wall facing in |  | 6219 | Sft | 34520 | / | 31 | % Sft | 2146818 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | --- | 6219 | --- | 2146818
34 | Cement plaster 1:4 upto 20' height
| 3/4" thick.(S.I.No.11-c P-52) |  |  | Sft | 3015 | / | 76 | % Sft | 0 | /- |  | #REF! | Sft | 3015 | / | 76 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
[8 empty] | Part 'A' Total Rs: | 15169104 | /- | [6 empty] | Part 'A' Total Rs: | #REF! | /- | 0 | --- | #REF! | #REF!
|  |  | 20 % Below On Item No. 18,20,21,23,33 | [5 empty] | 836725 | /-
[8 empty] | Total Rs | 14332379 | /-
|  |  | 10 % Above On Item No.10,17,19,27 | [5 empty] | 477274 | /-
[8 empty] | Total Rs | 14809653 | /-
|  |  |  | Add Cartage |  |  |  |  | 428340 | /-
[8 empty] | Total Rs | 15237993 | /-
PART 'A'-ii Block A & B G.Floor NON SCHEDULE ITEM.
1 | Making & Fixing floor cabinet shutter with lasani
| sheet 3/4" thick laminated in/c framing with 2" |  | 134.75 | Sft | 710 | / | 0 | P.Sft | 95673 | /- |  | 118.13 | Sft | 709 | / | 0 | P.Sft | 83754 | /- | --- | 16.62 | --- | 11919
2 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
| work of 1st class partal wood 2" x 1" |  | 104 | Sft | 730 | / | 0 | P.Sft | 75920 | /- |  | 237.63 | Sft | 729 | / | 0 | P.Sft | 173232 | /- | 133.63 | --- | 97312 | ---
3 | Providing & fixing marble top 1" thick (24"
| wide to approved quality china verona i/c |  | 104 | Sft | 650 | / | 0 | P.Sft | 67600 | /- |  | 127.7 | Sft | 649 | / | 0 | P.Sft | 82877 | /- | 23.7 | --- | 15277 | ---
4 | P/L Bath room tiles glazed or matt glazed,
| make having size 12”x24” Maste/Shabbir make or |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  | 2412.88 | Sft | 350 | / | 0 | P.Sft | 844508 | /- | 2412.88 | --- | 844508 | ---
5 | Providing & Laying marble flooring super
China Verona Teravera or equivalent
| having size 24"x12"x3/4" or 12"x12"x3/4" |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  | 3289.66 | Sft | 350 | / | 0 | P.Sft | 1151381 | /- | 3289.66 | --- | 1151381 | ---
6 | Supply & fixing stainless steel two stove
| burner etc complete |  | 4 | Nos | 5500 | / | 0 | Each | 22000 | /- |  |  | Nos | 5500 | / | 0 | Each | 0 | /- | --- | 4 | --- | 22000
[8 empty] | Part 'B-i' Total Rs: | 261193 | /- | [6 empty] | Part 'B-i' Total Rs: | 2335752 | /- | 0 | --- | 2074559 | ---
[8 empty] | Total Part (B +B-i) | 15499186 | /- | [6 empty] | Total Part (B +B-i) | 2335752 | /- | 0 | --- | 2074559 | 13163434
PART 'A' CATEGORY IV FLATS BLOCK A & B GROUND FLOOR
1 | Fabrication of Miled steel reinforcement for
| cement concrete including cutting bendidng |  | 537.84 | Cwt | 5001 | / | 70 | P.Cwt | 2690114 | /- |  | 415.7 | Cwt | 5001 | / | 70 | P.Cwt | 2079207 | /- | --- | 122.14 | --- | 610907
Add extra for lifting of steel above
| first floor for every additional floor |  |  | Cwt | 151 | / | 25 | P.Cwt | 0 | /- |  | 415.7 | Cwt | 151 | / | 25 | P.Cwt | 62875 | /- | 415.7 | --- | 62875 | ---
2 | R.C.C work including all labour and material
| except the cost of steel reinforcement and its |  | 5825 | Cft | 337 | / | 0 | P.Cft | 1963025 | /- |  | #REF! | Cft | 337 | / | 0 | P.Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
3 | Providing and laying 1:3:6 cement concrete solid
| block masonary wall 6" and below thick ness set |  | 3356.29 | Cft | 15771 | / | 1 | % Cft | 529321 | /- |  | #REF! | Cft | 15771 | / | 1 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
4 | Cement plaster 1:6 upto 12' height
| 3/4" thick.(S.I.No.13-c P-52) |  | 13425.16 | Sft | 2590 | / | 50 | % Sft | 347779 | /- |  |  | Sft | 2590 | / | 50 | % Sft | 0 | /- | --- | 13425.16 | --- | 347779
5 | P/F G.I frame/chowkhats of size 7"x2" or
| 4-1/2"x3" for door using 20 gauge G.I.sheet |  | 610 | Rft | 228 | / | 90 | P.Rft | 139629 | /- |  | #REF! | Rft | 228 | / | 90 | P.Rft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
6 | Providing & fixing inposition doors
| windows & ventilators of 1st class deodar |  | 742 | Sft | 856 | / | 53 | P.Sft | 635545 | /- |  | #REF! | Sft | 856 | / | 53 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
7 | Supplying & fixing inposition Aluminum
| channel framing for sliding windows & |  | 852 | Sft | 1449 | / | 69 | P.Sft | 1235136 | /- |  | #REF! | Sft | 1449 | / | 69 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
8 | Providing and laying HALA or gattewrn tilles
| glazed 8" x 8" x1/4" on floor or wall facing in |  | 6362.5 | Sft | 34520 | / | 31 | % Sft | 2196355 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | --- | 6362.5 | --- | 2196355
9 | Laying white marble flooring fine dressed on
| the surface without winding set in lime mortar |  | 229.24 | Sft | 628 | / | 93 | P.Sft | 144176 | /- |  | #REF! | Sft | 628 | / | 93 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
10 | Providing and fixing 3/8" thick marble tiles
| of approved quality and colour and shade size |  | 118 | Sft | 186 | / | 4 | P.Sft | 21953 | /- |  | #REF! | Sft | 186 | / | 40 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
11 | Priming coat of chalk distemper.
| (S.I.No.23/P-52) |  | 25826.86 | Sft | 442 | / | 75 | % Sft | 114348 | /- |  | #REF! | Sft | 442 | / | 75 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
12 | Distempering in three coats.
| (S.I.No. 24 -b P-54). |  | 3803.5 | Sft | 1043 | / | 90 | % Sft | 39705 | /- |  | #REF! | Sft | 1043 | / | 90 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
13 | Preparing the surface and painting with plastic
| emulsion paint of approved make I/c rubbing the |  | 18219.86 | Sft | 1659 | / | 35 | % Sft | 302331 | /- |  | #REF! | Sft | 1659 | / | 35 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
14 | Preparing the surface and painting with
| weather coat i/c rubbing the surface with |  | 6522.39 | Sft | 1948 | / | 10 | % Sft | 127063 | /- |  |  | Sft | 1948 | / | 10 | % Sft | 0 | /- | --- | 6522.39 | --- | 127063
15 | Providing and fixing iron collapsible gate with
| channel framing of section 3/4" x 5/16" at 4" I/c |  | 126 | Sft | 387 | / | 4 | P.Sft | 48767 | /- |  | #REF! | Sft | 387 | / | 4 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
16 | P/F iron steel grill using solid square bass of size 1/2"x1/2"
| placed at 4" I/c and frame of flat iron pathti of 3/4"x3/4" |  | 1981.62 | Sft | 194 | / | 16 | P.Sft | 384751 | /- |  | #REF! | Sft | 194 | / | 16 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
17 | Preparing new surface © Painting to doors
| and windows any type (including edges in |  | 3440 | Sft | 2116 | / | 41 | %Sft. | 72805 | /- |  | #REF! | Sft | 2116 | / | 41 | %Sft. | #REF! | /- | #REF! | #REF! | #REF! | #REF!
5 | Cement concrete brick or stone ballast 1-1/2" to
| 2" guage Ratio 1:4:8 (S.I.No.4(b)P-15). |  | 3698.24 | Cft | 9416 | / | 28 | % Cft | 348237 | /- |  | #REF! | Cft | 9416 | / | 28 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
13 | Erection and removal of centering for R.C.C or
| plain cement concrete works of Deodar wood |  | 4100.48 | Sft | 3127 | / | 41 | %Sft. | 128239 | /- |  | #REF! | Sft | 3127 | / | 41 | %Sft. | #REF! | /- | #REF! | #REF! | #REF! | #REF!
14 | Filling watering and ramming earth under floor
| with new earth excavated from out side lead |  | 7607 | Cft | 1948 | / | 96 | %Cft | 148257 | /- |  | #REF! | Cft | 1948 | / | 96 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
15 | Providing and laying 1:3:6 cement concrete solid
| block masonary wall 6" and below thick ness set |  | 2188.28 | Cft | 15771 | / | 1 | % Cft | 345114 | /- |  | #REF! | Cft | 15771 | / | 1 | % Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
16 | Cement plaster 1:6 upto 12' height
| 3/4" thick.(S.I.No.13-c P-52) |  | 13425.16 | Sft | 2590 | / | 50 | % Sft | 347779 | /- |  |  | Sft | 2590 | / | 50 | % Sft | 0 | /- | --- | 13425.16 | --- | 347779
17 | Providing and fixing deodar Almirah 9" - 12"
| depth including boxing with back shelves, |  |  | Sft | 1778 | / | 50 | P.Sft | 0 | /- |  | #REF! | Sft | 1778 | / | 50 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
17 | Providing Anti -termmite treatment by spraying
| /sprinkling /spreading Neptachlar 0.5% Emulsion |  |  | Sft | 9 | / | 74 | P.Sft | 0 | /- |  | #REF! | Sft | 9 | / | 74 | P.Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
18 | Two coats of bitumen laid hot using 34 Lbs
| for % Sft. Ober roof and blinded with sand at |  |  | Sft | 1887 | / | 40 | % Sft | 0 | /- |  | #REF! | Sft | 1887 | / | 40 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
19 | Cement concrete plain including placing compacting
| finishing and curring complete including screening and |  |  | Cft | 12595 | / | 0 | %Cft | 0 | /- |  | #REF! | Cft | 12595 | / | 0 | %Cft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
20 | Cement plaster 1:4 upto 20' height
| 3/4" thick.(S.I.No.11-c P-52) |  |  | Sft | 3015 | / | 76 | % Sft | 0 | /- |  | #REF! | Sft | 3015 | / | 76 | % Sft | #REF! | /- | #REF! | #REF! | #REF! | #REF!
[8 empty] | Part 'A' Total Rs: | #REF! | /- | [6 empty] | Part 'A' Total Rs: | #REF! | /- | 0 | --- | #REF! | #REF!
|  |  | 20 % Below On Item No. 18,20,21,23,33 | [5 empty] | 836725 | /-
[8 empty] | Total Rs | #REF! | /-
|  |  | 10 % Above On Item No.10,17,19,27 | [5 empty] | 477274 | /-
[8 empty] | Total Rs | #REF! | /-
|  |  |  | Add Cartage |  |  |  |  | 428340 | /-
[8 empty] | Total Rs | #REF! | /-
PART 'A'-ii Block A & B G.Floor NON SCHEDULE ITEM.
1 | Making & Fixing floor cabinet shutter with lasani
| sheet 3/4" thick laminated in/c framing with 2" |  | 134.75 | Sft | 710 | / | 0 | P.Sft | 95673 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | --- | 134.75 | --- | 95673
2 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
| work of 1st class partal wood 2" x 1" |  | 104 | Sft | 730 | / | 0 | P.Sft | 75920 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | --- | 104 | --- | 75920
3 | Providing & fixing marble top 1" thick (24"
| wide to approved quality china verona i/c |  | 104 | Sft | 650 | / | 0 | P.Sft | 67600 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | --- | 104 | --- | 67600
4 | P/L Bath room tiles glazed or matt glazed,
| make having size 12”x24” Maste/Shabbir make or |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | 0 | --- | --- | ---
5 | Providing & Laying marble flooring super
China Verona Teravera or equivalent
| having size 24"x12"x3/4" or 12"x12"x3/4" |  |  | Sft | 350 | / | 0 | P.Sft | 0 | /- |  |  | Sft | 34520 | / | 31 | % Sft | 0 | /- | 0 | --- | --- | ---
6 | Supply & fixing stainless steel two stove
| burner etc complete |  | 4 | Nos | 5500 | / | 0 | Each | 22000 | /- |  |  | Nos | 5500 | / | 0 | Each | 0 | /- | --- | 4 | --- | 22000
[8 empty] | Part 'B-i' Total Rs: | 239193 | /- | [6 empty] | Part 'B-i' Total Rs: | 0 | /- | 0 | --- | --- | 239193
[8 empty] | Total Part (B +B-i) | #REF! | /- | [6 empty] | Total Part (B +B-i) | 0 | /- | 0 | --- | #REF! | #REF!
[8 empty] | Total Part (C +C-i) | 0 | /- | [6 empty] | Total Part (C +C-i) | 0 | /- | 0 | --- | --- | ---
Justification are attached as separate sheet.
|  | ASSISTANT ENGIEER | [13 empty] | EXECUTIVE EGINEER
|  | PROVINCIAL BUILDINGS SUB DIVIN-VI | [13 empty] | PROVINCIAL BUILDINGS DIVISION NO-II,
|  | KARACHI. | [13 empty] | KARACHI.

## Abs
NAME OF WORK => |  | M/R TO BARRACK No. 20-A (ii), G + 1 BUILDING LABOUR COURT SINDH SECRETARIAT BLOCK 4-A KARACHI SHIFTED NAB COURT No. 07
SCHEDULE "B" '
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART A-I CIVIL WORK SCHEDULE ITEM
1 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 6508.56 | Sft | 226 | / | 88 | % Sft | 14767 | /-
Rupees Two Hundred Twenty Six and Eighty Eight Ops Only
2 | Cement concrete brick or stone ballast 1-1/2" to
| 2" guage Ratio 1:4:8 (S.I.No.4(b)P-15). |  | 92.35 | Cft | 9416 | / | 28 | %Cft | 8696 | /-
Rupees Ninr Thousand Four Hundred sixteen and Twenty Eight Only
3 | Providing and laying 1 :3 : 6 Cement
concrete solid Block masorany set in
1 :6 cement sand mortar in plinth and
foundation in cluding raking out joints
| and curing etc. complete. |  | 30.54 | Cft | 14268 | / | 53 | % Cft | 4358 | /-
Rupees Forteen Thousand Two Hundred Sixty Eight and Fifty Three Ps Only
4 | Providing and laying 1 :3 : 6 Cement
concrete solid Block masorany wall
above 6" in thickness set in 1 : 6 cement
mortar in G.F ground floor superstructure
including raking out joints & curing etc,
| complete. |  | 608.11 | Cft | 14621 | / | 44 | % Cft | 88914 | /-
Rupees Forteen Thousand Six Hundred Twenty One and Forty Four
5 | Providing and laying 1" thick topping cement
concrete (1:2:4 ) including Surface finishing
and dividiing into panels:
| (a) 2" thick.(S.I.No. 16-c/P.42) |  | 444 | Sft | 3275 | / | 50 | % Sft | 14543 | /-
Rupees Three Thousand Two Hundred Seventy Five and Fifty Ps Only
6 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 770 | Sft | 1160 | / | 6 | % Sft | 8932 | /-
Rupees Eleven Hundred Sixty and Six Ps Only
7 | Preparing new surface © Painting to doors
and windows any type (including edges in
| three coats (S.I.No. 5-c(I+ii+iii P-67). |  | 112 | Sft | 2116 | / | 41 | %Sft. | 2370 | /-
Rupees Twenty One Hundred Sixteen and Forty One Ps Only
8 | Painting old surfaces painting guard bars
gates iron bars grating railings including
standard barces and similar open work
(i) 1st coat (ii) Each Subsequent coat.
| (S.I.No.4(d)i+ii/P-69 |  | 86.12 | Sft | 674 | / | 60 | % Sft | 581 | /-
Rupees Six Hundred Seventy Four and Sixty Ps Only
9 | Cement plaster 1:4 upto 20' height
| 3/4" thick.(S.I.No.11-c P-52) |  | 2658.6922 | Sft | 3015 | / | 76 | %Sft. | 80180 | /-
Rupees Three Thousand Fifteen and Seventy Six Ps Only
10 | Distempering (c) Three Coats.(S.I.24(C)/54) |  | 6933.5386 | Sft | 1043 | / | 90 | % Sft | 72379 | /-
Rupees One Thousand Forty Three and Ninty Ps Only
11 | P/F G.I frame/chowkhats of size 7"x2" or
4-1/2"x3" for door using 20 gauge G.I.sheet
in/c welded hinges and fixing at site with necessary
hold fasts filling with cement sand slurry of
ratio 1:6 and repairing the jambs. The cost also
in/c all carriage tools and plants used in
| making and fixing.(S.I.No.24/P-93). |  | 50.5 | Rft. | 228 | / | 90 | P.Rft. | 11559 | /-
Rupees Two Hundred Twenty Eight and Ninty Ps Only
12 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood
frames and 1-1/2" thick Teak wood ply shutters
of 2nd class deodar wood skeleton (solid )
styles and rails core of partal wood and Teak
ply wood (3-ply) on both sides i/c hold fasts,
hinges, iron tower bolts, handles and cleats
with cord etc. complete.(S.I.No.58 P-65).
| (1077/06- 370.83 = 706.23) |  | 129.5 | Sft | 706 | / | 23 | P.Sft | 91457 | /-
Rupees Seven Hundred Six and Twenty Three Ps Only
13 | Providing & Fixing approved quality mortice
| Lock.(S.I.No.21/P-60) |  | 20 | No | 1786 | / | 13 | Each | 35723 | /-
Rupees Seventeen Hundred Sixteen and Thirteen ps Only
[8 empty] | Part 'A' Total Rs: | 434459 | /-
Below Or Above
Part 'A' Total Rs:
PART 'A'-ii CIVIL WORK NON SCHEDULE ITEM.
1 | P/L Bath room tiles glazed or matt glazed,
make having size 12”x24” Maste/Shabbir make or
equivalent jointed in white cement and laid over 1:2 grey
cement sand mortar ¾” thick in/c finishing & filling of joints
with slurry of white cement or tile grout in desired shape
| in/c cutting of tiles to proper profile (on floor or facing) |  | 421.4544 | Sft |  |  |  | P.Sft
2 | P/F marble top 1” thick (botesina/Chaina verona/
teravera or equivalent) having size upto 8’-0x2’-0
in/c cutting into proper size, making round gola & cutting
for fixing vanity basin or sink bowl and filling joints with
white cement or jelly in/c grinding and chemical polishing
| etc complete as directed by the Engineer Incharge. |  | 20 | Sft |  |  |  | P.Sft
3 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
work of 1st class partal wood 2" x 1"
pasted with classic farmica 18" deep
i/c necessary hinges, catchers handles
sliding windows in doors nalis screws
etc with approved design and shape.
The cost also in/c necessary tools
and plants to be used in making etc
complete as directed by Engineer
| Incharge. |  | 14 | Sft |  |  |  | P.Sft
4 | P/L RCC Precast Slab size of specially
designed size 3 1/2 x 2 1/2 x 3 scetion shown
below directed by Engineer Incharge.Rate
i/c all cost of material trained labour
shifting loading & unloading fixing jointing
with cement mortar ratio 1:2 and curring
| etc complete in all respect |  | 112.5 | Sft |  |  |  | P.Sft
5 | P/F Iron Steel Grill of solid square vertical bar
3/8” x 3/8” at 4” center to center and ¾” x 1/4”
flat patti at all around 6-Nos horizontal bar 3/8” x
3/8” in/c red oxide paint and two coats of
| enemmelled paint to the grill at any height. |  | 67 | Sft |  |  |  | P.Sft
6 | P/F Security Barriers with double solid
steel 6" dia Rod having 8 Nos steel grider
section 4"x6" fixed in line with one end free
and other end fixed with weight not less
| than 100 kg |  | 1 | Job |  |  |  | P.Job
7 | Preparing the surface & Applying matte finishpaint of
approved quality & make includingscraping the old
surface, applying sandpaper filling with loppy& ICI or
equivalent& then applying matte finish paint 2 coats
| as directed by Engineer Incharge. |  | 1172.58 | Sft |  |  |  | P.Sft
8 | P/L RCC precast beam size of any design
size 6"x12" section shown below as
directed by Engineer InchargeRate in/c all
cost of material trained labour shifting
loading & unloading fixing jointing with
cement mortar ratio 1:2 and curring etc
| complete |  | 36 | Sft |  |  |  | P.Sft
9 | P/F RCC main hole cover of 3” thickness embedded
with angle iron frame 1-1/2”x1-1/2”x1-1/4” and
bars of 3/8” dia mild steel placed at 6” i/c both
way i/c handle in centre for lifting poured with
| C.C. 1:2:4 in/c curing, finishing etc complete. |  | 9 | Sft |  |  |  | P.Sft
10 | P/F cement paving block flooring having red/Grey
size of 197x 197 60mm of city quddra cobble shape
with pigment having strength b/w 5000 psi to 8500 psi
filling joints with hill sand and laying over khakka
&compacting with electric compactor etc
| complete as directed by Enginner Incharge |  | 180 | Sft |  |  |  | P.Sft
11 | Construction of manhole or inspection chamber of
2’-0x2’-0 & upto 3’-0” inside dimension for
required dia circular sewer with walls of solid
block masonry 1:3:6 set in 1:6 cement sand mortar
6” thick with 6” thick C.C. 1:4:8 in foundation, ½”
thick plaster in 1:4 ratio to all inside wall surface & to
top 1” thick C.C. flooring etc including, curing,
excavation, back filling & disposal of surplus
| earth as directed by the Engineer Incharge. |  | 3 | No |  |  |  | Each
Total Non Sch: Item
Part (B) W/S & S/F(i) Schedule Item
1 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 1 | No | 5088 | / | 20 | Each | 5088 | /-
Rupees Five Thousand Eighty Eight and Twenty Ps Only
2 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 4 | No | 4928 | / | 70 | Each | 19715 | /-
Rupees Forty Nine Hundred Twenty Eight and Seventy Ps Only
3 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 5 | No | 2042 | / | 43 | Each | 10212 | /-
Rupees Two Thousand Forty Two and Forty Three Only
4 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 8 | Nos | 1109 | / | 46 | Each | 8876 | /-
Rupees Eleven Hundred Nine and Forty Six Only
5 | Supplying & fixing Bath room accessories
set (7 pieces i/c towel rod, brush holder, soap
tray, shelf of approved design i/c cost of
screws nuts etc complete
| (Master Brand) (S.I.23/19) |  | 2 | No | 10322 | / | 40 | Each | 20645 | /-
Rupees Ten Thousand Three Hundred Twenty Two and Forty Only
6 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 6 | No | 889 | / | 46 | Each | 5337 | /-
Rupees Eight Hundred Eighty Nine and Forty Six Ps Only
7 | Providing & fixing steel sinks stainless local make
complete with cast iron or wraught iron brackets
6 inches built in wall, 1-1/2" c.p bubber plug chrome
plated brass chain, 1-1/2" c.p brass waste, with 1-1/2"
P.V.C. waste pipe & making requisite number of holes
in wall & plinth & floor for pipe connection &
| making good in cement concrete 1 : 2: 4. |  | 1 | No | 5052 | / | 30 | Each | 5052 | /-
Rupees Five Thousand Fifty Two and Thirtyps Only
8 | Providing & fixing flat back lipped from urinal
basin (of not less than 17" in height) of white
glazed earthen ware complete with and I/c the cost of
1 gallon C.I automatic flushing cistern with
fittings, a pot cock C.I or W.I.brackets standard
flush Pipe with fitting standard waste pipe
(enamelled iron ) connection complete and
making requisite number of holes in walls plinth
& floor for Pipe connection & making good
| in cement concerete 1 : 2 : 4. (Standard Pattern.) |  | 1 | Sft | 4440 | / | 70 | P.Sft | 4441 | /-
Rupees Forty Four Hundred Forty and Seventy Ps Only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 79366 | /-
Above Or Below
Total W/S & S/F
Part B-ii W/S & S/F Non-Schedule Item
1 | Supplying & fixing earthen ware European
commode set (ROCCA Imported) coupled
with flush tank & seat cover complete with
internal fittings, fixtures, clamps, necessary lead
connection and making requisite No of holes
in wall plinth or floor for pipe connection
& making good in c.c. 1:2:4 as directed by
| the Engineer Incharge. |  | 1 | No |  |  |  | Each
2 | Providing & fixing UPVC pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 3/4" dia |  | 57 | Rft |  |  |  | P.Rft
| 2" dia |  | 40 | Rft |  |  |  | P.Rft
| 4" dia |  | 44 | Rft |  |  |  | P.Rft
3 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Plug Tee |  | 4 | No |  |  |  | P.Rft
| 4" dia Plain Bend |  | 4 | No |  |  |  | P.Rft
| 4" dia Cowel |  | 2 | No |  |  |  | P.Rft
Total W/S & S/F Non- S.Item
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 70 | No | 985 | / | 0 | P.Point | 68950 | /-
Rupees Nine Hundred Eighty Five Only
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 10 | Nos | 742 | / | 0 | P.Point | 7420 | /-
Rupees Seven Hundred Forty Two Only
3 | Providing & Fixing Backelite Ceiling Rose |  | 8 | Nos | 70 | / | 0 | Each | 560 | /-
Rupees Seventy Only
4 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 15 | Nos | 916 | / | 0 | P.No | 13740 | /-
Rupees Nine Hundred Sixteen Only
5 | Providing & fixing circuit breaker 15,20,30,
40,50,60,75 & 100amp TP (XS-100NS) on
| prepared board as required. |  | 1 | Nos | 9261 | / | 0 | P.No | 9261 | /-
Rupees Nine Thousand Two Hundred Sixty One Only
6 | Providing & fixing circuit breaker 125,150,200
& 225amp TP (XS-225NS) on
| prepared board as required. |  | 1 | Nos | 25541 | / | 0 | P.No | 25541 | /-
Rupees Twenty Five Thousand Five Hundred Forty One Only
[8 empty] | Part A(i)Total | 125472 | /-
Above Or Below
Total Electric Work
PART - C Electric Item
(ii) Non Schedule Item
1 | Providing & Fixing LED Tube Light 36 Watts
| including Electric Connection etc complete |  | 24 | Nos |  |  |  | P.No
2 | Providing & fixing fancy type switch imported quality
with board approved by the Engineer Incharge
| I/c necessary connection & recessed in the wall etc. |  | 120 | Nos |  |  |  | Each
3 | Providing & fixing fancy type socket 10/15 Amps
with board approved by the Engineer Incharge
| I/c necessary connection & recessed in the wall etc. |  | 16 | Nos |  |  |  | Each
4 | P/Fixing Fancy Type Dimmer best make as
| approved by the Engineer Incharge |  | 10 | Nos |  |  |  | Each
5 | Providing & Fixing Light Plug 5 Amp SP best
| make as approved by the Enginner Incharge |  | 19 | Nos |  |  |  | Each
6 | Providing & Fixing Energy Saver 18 to 25 Watt
| as approved by the Engineer Incharge |  | 15 | Nos |  |  |  | Each
7 | P/Fixing Electric Motor 2 H.P Set best make
| as directed by the Engineer Incharge |  | 1 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| PART B-ii | Cost of Non Schedule Item W/S & S/F |  |  |  |  | Rs.
| PART C | Cost of Electric Work Schedule Item |  |  |  |  | Rs.
| PART C-ii | Cost of Non Schedule Item Electric Work |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mts
NAME OF WORK => |  | M/R TO BARRACK No. 20-A (ii), G + 1 BUILDING LABOUR COURT SINDH SECRETARIAT BLOCK 4-A KARACHI SHIFTED NAB COURT No. 07
MEASUREMENT SHEET
S.NO. | Description of Items. |  | NO. L: B: D: H: |  | Quantity.
PART 'A' CIVIL WORK SCHEDULE ITEM
1 | Scraping (b) Ordinary Distemper
| JudgE Room |  | 2x(13.83+18.17)x10.0 |  | 640 | Sft
| " Chamber |  | 2x(23.67+18.17)x10.0 |  | 836.8 | Sft
| Court Hall |  | 2x(10.83+10.92)x10.0 |  | 216.6 | Sft
| Office Room 1 |  | 2x(11.0+10.92)x10.0 |  | 438.4 | Sft
| Office Room 2 |  | 2x(15.92+10.75)x10.0 |  | 536.8 | Sft
| Staff Office |  | 2x(12.66+8.0)x7.0 |  | 289.24 | Sft
| Kitchen |  | 2x(16.0+12.0)x10.0 |  | 560 | Sft
| Passage Room |  | 2x(12.0+3.66)x12.00 |  | 375.84 | Sft
| O/Side |  | 2x(57.0+23.50)x22.0 |  | 3452 | Sft
[5 empty] | 7345.68 | Sft
Deduction:
| Judge Chamber |  | 2x3.50x7.0 |  | 49 | Sft
| " Bath |  | 1x2.50x7.0 |  | 17.5 | Sft
| Exit Door |  | 1x2.50x7.0 |  | 17.5 | Sft
| W |  | 1x4.0x4.0 |  | 16 | Sft
| W |  | 1x6.0x4.0 |  | 24 | Sft
| Court Hall |  | 1x3.50x7.0 |  | 24 | Sft
| " |  | 4x4.0x4.0 |  | 64 | Sft
| Passage |  | 1x4.0x4.0 |  | 16 | Sft
| Room/Passage |  | 2x3.50x7.0 |  | 49 | Sft
| Kit |  | 1x3.50x7.0 |  | 24.5 | Sft
| Kit |  | 1x2.50x7.0 |  | 17.5 | Sft
| V |  | 1x1.0x1.50 |  | 1.5 | Sft
| Room W |  | 2x4.0x4.0 |  | 32 | Sft
| Room W |  | 1x4.0x4.0 |  | 16 | Sft
| Room W |  | 1x6.0x4.0 |  | 24 | Sft
| First Floor W |  | 9x4.0x4.0 |  | 144 | Sft
| S.Floor W |  | 9x4.0x4.0 |  | 144 | Sft
|  |  | 2x6.0x4.0 |  | 48 | Sft
|  |  | 2x6.0x4.0 |  | 48 | Sft
|  |  | 1x7.0x8.66 |  | 60.62 | Sft
[5 empty] | 837.12 | Sft
[5 empty] | 6508.56 | Sft
2 | Cement concrete brick or stone ballast 1-1/2" to
2" guage Ratio 1:4:8 (S.I.No.4(b)P-15).
|  |  | 1x22.17x7.66x0.33 |  | 56.04 | Cft
|  |  | 1x9.17x12.0x0.33 |  | 36.31 | Cft
[5 empty] | 92.35 | Cft
3 | P/L Solid Block Masonry above 6" wall
|  |  | 12x0.66x0.75 |  | 5.14 | Cft
|  |  | 1x22.17x0.66x0.75 |  | 10.97 | Cft
|  |  | 1x7.66x0.66x0.75 |  | 3.79 | Cft
|  |  | 1x9.50x0.66x0.75 |  | 4.7 | Cft
|  |  | 1x12.0x0.66x0.75 |  | 5.94 | Cft
|  |  | 1x20.0x0.66x0.75 |  | 9.9 | Cft
[5 empty] | 30.54 | Cft
4 | P/L Block Masonry 6" Wall
| Court Hall Wall |  | 1x14.33x0.50x10.67 |  | 76.45 | Cft
| Bath Wall |  | 1x3x6.17x0.50x8.50 |  | 78.16 | Cft
| Opp: |  | 2x12.0x0.50x8.50 |  | 102 | Cft
| C/Wall |  | 1x6.0x0.50x5.0 |  | 15 | Cft
| " |  | 1x34.50x0.50x4.0 |  | 69 | Cft
| Kit Slab Wall |  | 1x51.0x0.50x4.0 |  | 102 | Cft
| Store |  | 3x2.0x0.50x3.0 |  | 9 | Cft
| " |  | 2x12.0x0.50x13.0 |  | 156 | Cft
| Chamber |  | 1x10.0x0.50x13.0 |  | 65 | Cft
|  |  | 2x4x2.50x0.50x3.0 |  | 30 | Cft
[5 empty] | 702.61 | Cft
Deduction:
| D |  | 1x3.0x8.0 |  | 24 | Cft
| V |  | 2x1.0x2.0 |  | 4 | Cft
| D |  | 2x2.50x7.0 |  | 35 | Cft
| D |  | 1x3.0x7.0 |  | 21 | Cft
| W |  | 1x3.50x3.0 |  | 10.5 | Cft
[5 empty] | 94.5 | Cft
[5 empty] | 608.11 | Cft
5 | P/L Topping 2" thick
|  |  | 1x12.0x9.0 |  | 108 | Sft
|  |  | 1x12.0x13.0 |  | 156 | Sft
|  |  | 1x30.0x6.0 |  | 180 | Sft
[5 empty] | 444 | Sft
6 | Painting Doors & Windows Old Surface
| G.Floor D |  | 6x2x3.50x7.0 |  | 294 | Sft
| B-D |  | 2x2.50x7.0 |  | 35 | Sft
| Exit |  | 2x2.50x7.0 |  | 35 | Sft
| Kit D |  | 2x2.50x7.0 |  | 35 | Sft
| F.Floor D |  | 6x2x3.50x7.0 |  | 294 | Sft
| B-D |  | 2x2.50x7.0 |  | 35 | Sft
| Stair D |  | 2x1x3.0x7.0 |  | 42 | Sft
[5 empty] | 770 | Sft
7 | Painting Doors & Windows New Surface
| B-D |  | 2x2x2.50x7.0 |  | 70 | Sft
|  |  | 2x1x3.0x7.0 |  | 42 | Sft
[5 empty] | 112 | Sft
8 | Painting Old Surface Guard Bars
| B-D Grill |  | 1x3.0x8.50 |  | 25.5 | Sft
| Main Gate |  | 1x7.0x8.66 |  | 60.62 | Sft
[5 empty] | 86.12 | Sft
9 | Cement Plaster
| Court Hall Wall |  | 2x14.33x10.67 |  | 305.8022 | Sft
| Bath Wall |  | 2x6.17x8.50 |  | 104.89 | Sft
| Opp: |  | 2x12.0x8.50 |  | 204 | Sft
| C/Wall |  | 2x6.0x5.0 |  | 60 | Sft
| " |  | 2x34.50x4.0 |  | 276 | Sft
| Kit Slab Wall |  | 2x51.0x4.0 |  | 408 | Sft
| Store |  | 2x3x2.0x3.0 |  | 36 | Sft
| " |  | 2x10.0x13.0 |  | 260 | Sft
| Chamber |  | 2x2x12.0x13.0 |  | 624 | Sft
|  |  | 2x1x10.0x13.0 |  | 260 | Sft
|  |  | 2x2x4x2.50x3.0 |  | 120 | Sft
[5 empty] | 2658.6922 | Sft
10 | Distemering Two Coats
| Bath O/Side Wall |  | 1x9.0x8.50 |  | 76.5 | Sft
| " |  | 1x12.0x8.50 |  | 102 | Sft
| Bath Wall |  | 2x2x(5.0+5.0)x3.50 |  | 140 | Sft
| Bath Passage |  | 2x(10.92+3.0)x3.50 |  | 97.44 | Sft
| C/Wall |  | 2x34.50x4.0 |  | 276 | Sft
| " |  | 2x51.0x4.0 |  | 408 | Sft
|  |  | 2x3x2.0x3.0 |  | 36 | Sft
|  |  | 2x10.0x13.0 |  | 260 | Sft
|  |  | 2x2x12.0x13.0 |  | 520 | Sft
|  |  | 2x1x10.0x13.0 |  | 260 | Sft
|  |  | 2x2x4x2.50x3.0 |  | 120 | Sft
| O/Side Building |  | 2x(57.0+23.50)x22.0 |  | 3542 | Sft
|  |  | 1x18.17x13.83 |  | 251.2911 | Sft
|  |  | 1x18.17x23.67 |  | 430.0839 | Sft
|  |  | 1x10.83x10.92 |  | 118.2636 | Sft
|  |  | 1x11.0x10.92 |  | 120.12 | Sft
|  |  | 1x15.92x10.75 |  | 171.14 | Sft
|  |  | 1x16.0x12.0 |  | 192 | Sft
|  |  | 1x12.66x8.0 |  | 101.28 | Sft
|  |  | 1x12.0x3.66 |  | 43.92 | Sft
[5 empty] | 7266.0386 | Sft
Deduction
| Doors |  | 1x3.0x8.0 |  | 24 | Sft
|  |  | 9x4.0x4.0 |  | 144 | Sft
|  |  | 2x1.0x1.50 |  | 3 | Sft
|  |  | 2x2.50x3.50 |  | 17.5 | Sft
|  |  | 9x4.0x4.0 |  | 144 | Sft
[5 empty] | 332.5 | Sft
[5 empty] | 6933.5386 | Sft
11 | P/F G.I Chowkhat
| Bath |  | 2x(7.0+2.50+7.0) |  | 33 | Rft
| Store |  | 1x(7.0+3.50+7.0) |  | 17.5 | Rft
[5 empty] | 50.5 | Rft
12 | P/F 1st Class Deodar Wood Shutter
| Bath |  | 1x2x2.50x7.0 |  | 35 | Sft
| Store |  | 1x3.0x7.0 |  | 21 | Sft
| Judge Chmaber |  | 1x3.50x7.0 |  | 24.5 | Sft
| " |  | 1x3.50x7.0 |  | 24.5 | Sft
| " |  | 1x3.50x7.0 |  | 24.5 | Sft
[5 empty] | 129.5 | Sft
13 | P/F Door Lock
|  |  | 1x(18+2) |  | 20 | Nos
PartA-ii Civil Work Non Schedule Item'
1 | P/L Bath Glazed Tiles
| Bath Wall |  | 2x2x(5.0+5.0)x5.66 |  | 226.4 | Sft
| Bath Floor |  | 2x1x5.0x5.0 |  | 50 | Sft
| Bath Passage |  | 2x(3.0+10.92)x5.66 |  | 157.5744 | Sft
| " Florr |  | 1x3.0x10.92 |  | 32.76 | Sft
[5 empty] | 466.7344 | Sft
Deduction:
| D |  | 1x3.0x5.66 |  | 16.98 | Sft
| D |  | 2x2.50x5.66 |  | 28.3 | Sft
[5 empty] | 45.28 | Sft
[5 empty] | 421.4544 | Sft
2 | P/F Marble Top
|  |  | 1x10.0x2.0 |  | 20 | Sft
3 | P/F Wooden Cabinet
|  |  | 1x7.0x2.0 |  | 14 | Sft
4 | P/F R.C.C Precast Slab
|  |  | 1x12.50x9.0 |  | 112.5 | Sft
5 | P/F Iron Steel Grill
| Bath |  | 1x3.0x8.50 |  | 25.5 | Sft
|  |  | 1x3.50x7.0 |  | 24.5 | Sft
|  |  | 2x1.50x1.50 |  | 4.5 | Sft
|  |  | 1x1.0x2.0 |  | 2 | Sft
|  |  | 1x3.0x3.50 |  | 10.5 | Sft
[5 empty] | 67 | Sft
6 | P/F Iron Steel Barrier
|  |  | 1 x 1 |  | 1 | Job
7 | Preparing the surface & Painting with matte finish
| Lounge |  | 2x(12.0+16.0)x10.0 |  | 560 | Sft
| Kit |  | 2x(12.66+8.0)x7.0 |  | 289.24 | Sft
| Stair |  | 2x(12.0+3.66)x12.0 |  | 375.84 | Sft
[5 empty] | 1225.08 | Sft
Deduction:
| BD |  | 2x2.50x7.0 |  | 35 | Sft
| Exit D |  | 1x2.50x7.0 |  | 17.5 | Sft
[5 empty] | 52.5 | Sft
[5 empty] | 1172.58 | Sft
8 | P/Fixing Precast Beam
|  |  | 1x4.0x9.0 |  | 36 | Sft
9 | P/Fixing Main Hole Cover
|  |  | 1x3.0x3.0 |  | 9 | Sft
10 | P/Fixing Paving Block
|  |  | 1x30.0x6.0 |  | 180 | Sft
11 | P/Fixing Main Hole Chamber
|  |  | 1 x 3 |  | 3 | No
Part B-I W/S & S/F Schedule Item
1 | P/F Squattting Type W.C
|  |  | 1 x 1 |  | 1 | Nos
2 | P/Fixing 24"x18" Lavatory Basin
|  |  | 1 x 4 |  | 4 | Nos
3 | P/Fixing 6"x2" or 6"x3" C.I Floor Trap
|  |  | 1 x 5 |  | 5 | Nos
4 | P/Fixing Long Bib Cock
|  |  | 1 x 3 + 5 |  | 8 | Nos
5 | S/Fixing Bath Room Accessories
|  |  | 1 x 2 |  | 2 | Nos
6 | P/Fixing Concealed Tee Stop Cock
|  |  | 1 x 6 |  | 6 | Nos
7 | S/Fixing stainless steel sink
|  |  | 1 x 1 |  | 1 | No
8 | P/Fixing Urinal Basin
|  |  | 1 x 1 |  | 1 | No
Part B-ii W/S & S/F Non Schedule Item
1 | P/Fixing Commode Porta
|  |  | 1 x 1 |  | 1 | No
2 | P/Fixing UPVC Pipe
| 3/4" dia |  | 1x(7.0+10.0+10.0+30.0 |  | 57 | Rft
| 2" dia |  | 1x20.0+20.0 |  | 40 | Rft
| 4" dia |  | 1x44.0 |  | 44 | Rft
3 | P/F UPVC Fitting 4" dia
| Plug Tee |  | 1 x 4 |  | 4 | Nos
| Plain Bend |  | 1 x 4 |  | 4 | Nos
| Cowel |  | 1 x 2 |  | 2 | Nos
Part C-I Electric Work Schedule Item
1 | Wiring for Light or Fan Point
| G.F Chamber |  | 1 x 5 |  | 5 | Pts
| G.F Court Hall |  | 1 x 7 |  | 7 | Pts
| G.F Room 1,2,3 |  | 3 x 4 |  | 12 | Pts
| G.F Lounge |  | 1 x 5 |  | 5 | Pts
| G.F O/Side |  | 1 x 6 |  | 6 | Pts
[5 empty] | 35 | Pts
| G.F + F.F |  | 2 x 35 |  | 70 | Pts
2 | Wiring for Plug Point
| G.F + F.F |  | 5 + 5 |  | 10 | Pts
3 | P/F Backelite Ceiling Rose
| G.F + F.F |  | 2 x 4 |  | 8 | Nos
4 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| G.F D.B |  | 7 + 8 |  | 15 | Nos
5 | Providing & fixing circuit breaker 15,20,30,
40,50,60,75 & 100amp TP (XS-100NS) on
| G.F D.B |  | 1 x 1 |  | 1 | No
6 | Providing & fixing circuit breaker 125,150,200
& 225amp TP (XS-225NS) on
|  |  | 1 x 1 |  | 1 | No
Part C-ii Electric Work Non Schedule Item
1 | P/F LED Tube Light 36 Watt
| G.F + F.F |  | 1 x 24 |  | 24 | Nos
2 | P/F Switch 5 Amp SP
| G.F + F.F |  | 60+60 |  | 120 | Nos
3 | P/F Socket 10/15 Amps SP
| G.F + F.F |  | 8 + 8 |  | 16 | Nos
4 | P/F Fancy Type Dimmer
| G.F + F.F |  | 5 + 5 |  | 10 | Nos
5 | P/F Light Plug 5 Amps
| G.F + F.F |  | 10 + 9 |  | 19 | Nos
6 | P/Fixing Energy Saver
|  |  | 5 + 5 +5 |  | 15 | Nos
7 | P/Fixing Electric Motor 2 H.P
|  |  | 1 x 1 |  | 1 | No
| Sub-Engineer |  |  | ASSISTANT ENGINEER
Provincial Building Sub Division-VII
Karachi.

## Catg.
MATERIAL CARTAGE STATEMENT
| NAME OF WORK => | REHABILITATION & RECONSTRUCTION OF RESIDENTIAL AREAOF COMMISSIONER OFFICE (4 CLUB ROAD) KARACHI CONSTRUCTION OF 8 NOS CATEGORY IV FLATS AND 8 NOS FLATS OF CATEGORY V AND CONSTRUCTION OF UNDERGROUND TANK AND HSR AND CANTEEN BUILDING .(REVISED ESTIMATE).
S.No | Descreption |  | Main Building |  |  | Renovation of Existing Dispensary | C/ wall |  |  | Total |  | Cement |  | Sand |  | Stone Metal |  | Stone Bajri |  | Steel | Earth
|  |  | Foundation | Ground Floor | First Floor |  |  |  | C/ wall
|  |  | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty |  | Ratio | Qty in Bag | Ratio | Qty in Cft | Ratio | Qty | Ratio | Qty in Cft | Qty in Cwt | Qty
1 | C.C. 1:4:8. |  | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 4508 | Cft | 9.6% | 433 | 48% | 2164 | 96% | 4327.68 | --- | --- | --- | ---
2 | C.C. 1:5:10. |  | 3928 | #REF! | 0 | 0 | 0 | 0 | 0 | 3713 | Cft | 7.8% | 289.614 | 49% | 1819.37 | 98% | 3638.74 | --- | --- | --- | ---
3 | Febrication. |  | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | Cwt | --- | --- | --- | --- | --- | --- | --- | --- | #REF!
4 | R.C.C 1:2:4. |  | 33401 | #REF! | #REF! | 0 | 0 | 0 | 0 | 27565 | Cft | 17.6% | 4851.44 | 44% | 12128.6 | --- | --- | 88% | 24257.2 | --- | ---
5 | C.C 1:3:6 Block Masonary. |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 1906 | Cft | 13% | 248 | 44.47% | 848 | --- | --- | 88.94% | 1695 | --- | ---
6 | Cement Plaster (1:6) 1/2" thick. |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 57796 | Sft | 0.53% | 306.3188 | 3% | 1733.88 | --- | --- | --- | --- | --- | ---
7 | Cement Plaster (1:6) 3/8" thick. |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 57796 | Sft | 0.73% | 421.9108 | 3% | 1733.88 | --- | --- | --- | --- | --- | ---
8 | Cement Plaster (1:4) 3/4" thick. |  | #REF! | 0 | #REF! | 0 | 0 | 0 | 0 | 6020 | Sft | 1.14% | 69 | 5.5% | 331 | --- | --- | --- | --- | --- | ---
9 | C.C Topping 2" thick. |  | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 3276 | Sft | 3% | 98 | 7.4% | 242 | --- | --- | 14.7% | 482 | --- | ---
10 | Cement Concrete Plain 1:3:6. |  | 497 | #REF! | #REF! | 0 | 0 | 0 | 0 | 1352 | Cft | 13% | 176 | 46% | 622 | --- | --- | 92% | 1244 | --- | ---
11 | white glazed tile flooring 1/4" thick. |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | Sft | 2.26% | #REF! | 5.2% | #REF! | --- | --- | --- | --- | --- | ---
12 | White Glazed tile dado. |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | Sft | 2.26% | #REF! | 5.2% | #REF! | --- | --- | --- | --- | --- | ---
13 | Marble Flooring 3/4" thick. |  | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | #REF! | Sft | 1.9% | #REF! | 5% | #REF! | --- | --- | --- | --- | --- | ---
7 | C.C Topping 3" thick. |  | 5280 | 0 | 0 | 0 | 0 | 0 | 0 | 5280 | Sft | 4.4% | 232 | 11% | 581 | --- | --- | 22% | 1162 | --- | ---
11 | Glazed Tile/Marble Floor &Dado | [8 empty] | 26886 | Sft | 1.76% | 473 | 4.7% | 1264 | --- | --- | --- | --- | ---
2 | Cement Concrete Plain 1:2:4. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cft | 17.6% | 0 | 44% | 0 | --- | --- | 88% | 0 | --- | ---
3 | 1-1/2'' thick Mosic topping 8220.00 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 3.6% | 0 | 3.7% | 0 | --- | --- | 7.4% | 0 | --- | ---
4 | Earth |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cft | --- | --- | --- | --- | --- | --- | --- | --- | --- | 0
5 | C.C. 1:4:8. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cft | 9.5% | 0 | 48% | 0 | 96% | 0 | --- | --- | --- | ---
9 | Applying floating coat. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 0.4% | 0 | --- | --- | --- | --- | --- | --- | --- | ---
12 | Marble Flooring 3/4" thick. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 1.9% | 0 | 5% | 0 | --- | --- | --- | --- | --- | ---
13 | Marble Dado 3/8" thick. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 1.13% | 0 | 3.4% | 0 | --- | --- | --- | --- | --- | ---
14 | white glazed tile flooring 1/4" thick. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 2.26% | 0 | 5.2% | 0 | --- | --- | --- | --- | --- | ---
15 | White Glazed tile dado. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 2.26% | 0 | 5.2% | 0 | --- | --- | --- | --- | --- | ---
17 | C.C 1:4:8 Block Masonary. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cft | 9.6% | 0 | 48% | 0 | --- | --- | 96% | 0 | --- | ---
18 | Vertical D.P.C 3/4" thick |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 1.9% | 0 | 4.7% | 0 | --- | --- | --- | --- | --- | ---
20 | Mosic tile of white cement 8"x8"x1" |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 1.87% | 0 | 4.7% | 0 | --- | --- | --- | --- | --- | ---
21 | Mosic dado or skirting 1/2" th. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 2.9% | 0 | 4.5% | 0 | --- | --- | --- | --- | --- | ---
22 | Stile Tile face lifting |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2.26% | 0 | 5.2% | 0 | --- | --- | --- | --- | --- | ---
23 | Cement Concrete Plain 1:3:6. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sft | 13% | 0 | 46% | 0 | --- | --- | 92% | 0 | --- | ---
24 | D.P.C. 2" thick . |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2.93% | 0 | 7.5% | 0 | --- | --- | 15% | 0 | --- | ---
25 | R.C.C 1 : 1-1/2 : 3. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 22.5% | 0 | 42% | 0 | --- | --- | 84% | 0 | --- | ---
26 | Cement Plaster (1:4) 1/2" thick. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73% | 0 | 3.6% | 0 | --- | --- | --- | --- | --- | ---
27 | Dry Rammed stone. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | --- | --- | --- | --- | 118% | 0 | --- | --- | --- | ---
28 | Coursed Rubble Masonary 1:6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4.57% | 0 | 34.2% | 0 | 135% | 0 | --- | --- | --- | ---
29 | Cement Pointing Flush 1:3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54% | 0 | 2% | 0 | --- | --- | --- | --- | --- | ---
31 | Stone Pitching I/c sub-base |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | --- | --- | --- | --- | 120% | 0 | --- | --- | --- | ---
[13 empty] | #REF! | Bags | #REF! |  | 7966 |  | 27678 | #REF! | 0
[12 empty] | @Rs | 16.53 |  | 1520.84 |  | 1292.92 |  | 1585.96 | 13.16 | 1132.61
[13 empty] | P.Bag |  | %Cft |  | %Cft |  | %Cft | P.ton | %Cft
[12 empty] | Total Amount | #REF! |  | #REF! |  | 102994.0072 |  | 438962 | #REF! | 0
[12 empty] | Total | #REF! |  | /=
|  | ASSISTANT ENGIEER | [6 empty] | EXECUTIVE EGINEER | [7 empty] | EXECUTIVE EGINEER
|  | PROVINCIAL BUILDINGS SUB DIVIN-VI | [6 empty] | PROVINCIAL BUILDINGS DIVISION NO-II, | [7 empty] | PROVINCIAL BUILDINGS DIVISION NO-II,
|  | KARACHI. | [6 empty] | KARACHI. | [7 empty] | KARACHI.
[6 empty] | DEPUTY CITY OFFICER | DEPUTY CITY OFFICER
[6 empty] | BUILDINGS LANDHI TOWN | BUILDINGS LANDHI TOWN
[6 empty] | CDG KARACHI. | CDG KARACHI.