## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BARRACK NO.89 OFFICE OF THE MEMBER DIRECTOR SINDH LOCAL GOVERNEMENT DEPARTMENT ELECTION COMMISSION AUTHORITY GOVERNMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | 571014 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
Part "C" Electric work
| (i) | Schedule Item |  |  |  | 29624 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
[5 empty] | G.Total Rs | 600638 | /-
[5 empty] | Say Rs. | 601000 | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO.89 OFFICE OF THE MEMBER DIRECTOR SINDH LOCAL GOVERNEMENT DEPARTMENT ELECTION COMMISSION AUTHORITY GOVERNMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
' SCHEDULE " B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work) (i) Schedule Item
1 | Dismantling glazed or encaustic tiles
| S.I.No.55/P-13 |  | 377.75 | Sft | 786 | / | 50 | % Sft | 2971 | /-
Rupees Seven Hundred Eighty Six and Fifty Only
2 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 4474.25 | Sft | 226 | / | 88 | % Sft | 10151 | /-
Rupees Two Hundred Twenty Six and Eighty Eight Only
3 | Providing & fixing with jute felt paper
of 60 lbs over roof i/c claning of roof
with wire brush and removing dust, applying
bitumen coat at the rate of 34 lbs per % sft
as premix inter coats and then laying felt paper
with 10 % over laps then applying and s
spreading hill sand at the rate of 1 cft per
100 sft the cost also i/c necessary fire
material , kerosene oil wood etc.
| (S.I.No.42/P-39) |  | 4692 | Sft | 106 | / | 73 | P.Sft | 500777 | /-
Rupees One Hundred Six and Seventy Three Only
4 | Supplying & fixing inposition Aluminum
channel framing for sliding windows &
cventilators of Alcop made with 5mm
thick tinted glass belgium etc complete
| (S.I.No.85(b)/P-108) |  | 24 | Sft | 1647 | / | 49 | P.Sft | 39540 | /-
Rupees Sixteen Hundred Forty Seven and Sixty Nine Only
5 | Providing & Fixing approved quality mortice
| Lock.(S.I.No.21/P-60) |  | 5 | No | 1786 | / | 13 | Each | 8931 | /-
Rupees Seventeen Hundred Eighty Six and thirteen Ps Only
6 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 481.5 | Sft | 1160 | / | 6 | % Sft | 5586 | /-
Rupees Elven Hundred Sixty and Six Ps Only
7 | Preparing new surface © Painting to doors
and windows any type (including edges in
| three coats (S.I.No. 5-c(I+ii+iii P-67). |  | 144.5 | Sft | 2116 | / | 41 | %Sft. | 3058 | /-
Rupees Twenty One Hundred Sixteen and Foirty One Ps Only
[8 empty] | Part A(i)Total | 571014 | /-
Above Or Below
SI) Total
Part (A) Civil Work (ii) Non Schedule Item
1 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
aluminium double channel Section hanged
with Nails, Hooks, wire to ceiling etc. as
| directed by the Consultant. |  | 400 | Sft |  |  |  | P.Sft
2 | P/L Bath room tiles glazed or matt glazed, make
having size 12”x18” Shabbir / Sonex / Karam or equivalent
jointed in white cement and laid over 1:2 grey cement sand
mortar ¾” thick in/c finishing & filling of joints with
slurry of white cement or tile grout in desired shape
| in/c cutting of tiles to proper profile (on floor or facing) |  | 377.75 | Sft |  |  |  | P.Sft
3 | Preparing the surface & Applying matte finishpaint of
approved quality & make includingscraping the old
surface, applying sandpaper filling with loppy& ICI or
equivalent& then applying matte finish paint 2 to 3 coats
| as directed by Engineer Incharge. |  | 744 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part (B) W/S & S/F(i) Schedule Item
1 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 2 | No | 5088 | / | 20 | Each | 10176 | /-
Rupees Five Thousand Eighty Eight and Twenty Ps Only
2 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 3 | No | 4928 | / | 70 | Each | 14786 | /-
Rupees Forty Nine Hundred Twenty Eight and Seventy Only
3 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 9 | No | 889 | / | 46 | Each | 8005 | /-
Rupees Eight Hundred Eighty Nine and Forty Six Only
4 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 3 | No | 3432 | / | 0 | Each | 10296 | /-
Rupees Thirty Four Hundred Thirty Two Only
5 | Supplying & fixing Swan type piller cock of superior
| quality with crystal head ½” dia.(S.I.No.16(b)/P-19) |  | 4 | No | 887 | / | 80 | Each | 3551 | /-
Rupees Eight Hundred Seventy Sevan and Eighty Ps Only
6 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 6 | Nos | 1109 | / | 46 | Each | 6657 | /-
Rupees Eleven Hundred and Forty Six Ps Only
7 | Supplying & fixing Bath room accessories
set (7 pieces i/c towel rod, brush holder, soap
tray, shelf of approved design i/c cost of
screws nuts etc complete
| (Master Brand) (S.I.23/19) |  | 2 | No | 10322 | / | 40 | Each | 20645 | /-
Rupees Ten thousand Three Hundred Twenty Two and Forty Ps Only
8 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 3 | No | 2042 | / | 43 | Each | 6127 | /-
Rupees Two Thousand Forty Two and Forty Three Ps Only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 70067 | /-
Above Or Below
Total W/S & S/F
Part B-ii W/S & S/F Non-Schedule Item
1 | Providing & fixing UPVC pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 1/2" dia |  | 50 | Rft |  |  |  | P.Rft
| 3/4" dia |  | 30 | Rft |  |  |  | P.Rft
| 3/4" dia |  | 40 | Rft |  |  |  | P.Rft
2 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Plug Tee |  | 4 | No |  |  |  | Each
| 4" dia Plain Bend |  | 4 | No |  |  |  | Each
| 4" dia Cowel |  | 3 | No |  |  |  | Each
3 | Supplying & fixing earthen ware European
commode set (ROCCA Imported) coupled
with flush tank & seat cover complete with
internal fittings, fixtures, clamps, necessary lead
connection and making requisite No of holes
in wall plinth or floor for pipe connection
& making good in c.c. 1:2:4 as directed by
| the Engineer Incharge. |  | 1 | No |  |  |  | Each
Total W/S & S/F Non- S.Item
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 16 | No | 1130 | / | 0 | P.Point | 18080 | /-
Rupees Eleven Hundred Thirty Only
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 8 | Nos | 985 | / | 0 | P.Point | 7880 | /-
Rupees Nine Hundred Eighty Five Only
3 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 4 | Nos | 916 | / | 0 | P.No | 3664 | /-
Rupees Nine Hundred Sixteen Only
[8 empty] | Part A(i)Total | 29624 | /-
Above Or Below
Part A(i)Total
PART - C Electric Item
(ii) Non Schedule Item
1 | Providing and fixing fancy type switch
| best make as directed by the Engineer Incharge. |  | 16 | Nos |  |  |  | Each
2 | Providing and fixing fancy type 3 Pin 15 Amps
| plug best make as directed by the Engineer Incharge. |  | 12 | Nos |  |  |  | Each
3 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 16 | Nos |  |  |  | Each
4 | Providing & fixing Wall Bracket Fan 18"
| sweep approved quality etc complete. |  | 6 | Nos |  |  |  | Each
5 | P/F Exhaust Fan 10” to 12” sweep metal body
| / plastic body i/c. necessary connection etc. |  | 2 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| PART B-ii | Cost of Non Schedule Item W/S & S/F |  |  |  |  | Rs.
| PART C | Cost of Electric Work Schedule Item |  |  |  |  | Rs.
| PART C-ii | Cost of Non Schedule Item Electric Work |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK NO.89 OFFICE OF THE MEMBER DIRECTOR SINDH LOCAL GOVERNEMENT DEPARTMENT ELECTION COMMISSION AUTHORITY GOVERNMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)(i) Schedule Item
1 | Dismantling Glazed or encaustic tiles
| Director |  |  | 2x(6.0+7.0)x6.0 |  | 156 | Sft
| Wall |  |  | 1x6.0x7.0 |  | 42 | Sft
| Staff Bath |  |  | 2x(6.75+7.0)x6.0 |  | 165 | Sft
| Staff Bath Floor |  |  | 1x6.75x7.0 |  | 47.25 | Sft
[6 empty] | 410.25 | Sft
Deduction:
|  |  |  | 2x2.50x6.50 |  | 32.5 | Sft
[6 empty] | 32.5 | Sft
[6 empty] | 377.75 | Sft
2 | Scraping
| Director Office |  |  | 2x(20.0+20.0)x10.0 |  | 800 | Sft
| Staff Office |  |  | 2x(20.0+20.0)x10.0 |  | 800 | Sft
| Member Office |  |  | 2x(20.0+20.0)x10.0 |  | 800 | Sft
| Chamber |  |  | 2x(11.50+7.0)x8.0 |  | 296 | Sft
| Verr |  |  | 2x(21.0+7.50)x8.0 |  | 456 | Sft
| Back Side Verr |  |  | 2x(12.0+7.0)x8.0 |  | 304 | Sft
| Chamber |  |  | 2x(19.50+7.0)x9.0 |  | 477 | Sft
| O/Side |  |  | 2x(13.75+7.0)x9.0 |  | 373.5 | Sft
|  |  |  | 3x20.50x8.0 |  | 492 | Sft
[6 empty] | 4798.5 | Sft
Deduction:
| D |  |  | 6x4.0x7.0 |  | 168 | Sft
| W |  |  | 1x6.0x4.0 |  | 24 | Sft
| W |  |  | 3x4.0x5.0 |  | 60 | Sft
| D |  |  | 1x2.50x6.50 |  | 16.25 | Sft
| D |  |  | 1x3.0x6.75 |  | 56 | Sft
[6 empty] | 324.25 | Sft
[6 empty] | 4474.25 | Sft
3 | P/F Jhute Felt
| Over Roof |  |  | 1x102.0x46.0 |  | 4692 | Sft
4 | P/Fixing Aluminum Window
| Director Office |  |  | 1x6.0x4.0 |  | 24 | Sft
5 | P/F Door Lock
|  |  |  | 1 x 5 |  | 5 | Nos
6 | Painting Doors & Windows
|  |  |  | 2x2x4.0x7.0 |  | 112 | Sft
|  |  |  | 2x2x4.0x7.0 |  | 112 | Sft
|  |  |  | 2x2x4.0x7.0 |  | 112 | Sft
|  |  |  | 2x2x2.50x6.50 |  | 65 | Sft
|  |  |  | 2x1x2.50x6.50 |  | 32.5 | Sft
|  |  |  | 2x6.0x4.0 |  | 48 | Sft
[6 empty] | 481.5 | Sft
7 | Painting Doors & Windows New Surface
|  |  |  | 2x4.0x7.0 |  | 56 | Sft
|  |  |  | 2x4.0x7.0 |  | 56 | Sft
|  |  |  | 2x2.50x6.50 |  | 32.5 | Sft
[6 empty] | 144.5 | Sft
PART A-II
NON SEHEDULE ITEMS
1 | P/F False Ceiling
| Room |  |  | 1x20.0x20.0 |  | 400 | Sft
[6 empty] | 400 | Sft
2 | P/F Glazed/Matt glazed Tiles
|  |  |  | Qty same as Schedule Item No. 01 |  | 377.75 | Sft
3 | Matte Finish
|  |  |  | 2x(20.0+20.0)x10.0 |  | 800 | Sft
[6 empty] | 800 | Sft
Deduction:
| D |  |  | 2x4.0x7.0 |  | 56 | Sft
[6 empty] | 56 | Sft
[6 empty] | 744 | Sft
Part (B) W/S & S/F
(i) Schedule Item
1 | P/F Squatting Type W.C
|  |  |  | 1 x 2 |  | 2 | Nos
2 | P/Fixing 24"x18" Basin
|  |  |  | 1 x 3 |  | 3 | Nos
3 | P/F Concealed Tee Stop Cock
|  |  |  | 1 x 9 |  | 9 | Nos
4 | S/F C.P Muslim Shower
|  |  |  | 1 x 3 |  | 3 | Nos
5 | S/F Swan Type Piller Cock
|  |  |  | 1 x 4 |  | 4 | Nos
6 | P/F Long Bib Cock
|  |  |  | 1 x 6 |  | 6 | No
7 | P/F Bath Room Accessories
|  |  |  | 1 x2 |  | 2 | Nos
8 | P/F C.I Floor Trap
|  |  |  | 1 x 3 |  | 3 | No
Part B -ii W/S & S/F Non Schedule Item
1 | P/F UPVC Pipe
| 1/2" dia |  |  | 1 x 50 |  | 50 | Rft
| 3/4" dia |  |  | 1 x 30.00 |  | 30 | Rft
| 4" dia |  |  | 1 x 40.00 |  | 40 | Rft
2 | P/Fixing UPVC Fitting
| 4" dia Plug Tee |  |  | 1 x 4 |  | 4 | Nos
| Plain Bend |  |  | 1 x 4 |  | 4 | Nos
| Cowel |  |  | 1 x 3 |  | 3 | Nos
3 | P/F Commode Porta
|  |  |  | 1 x 1 |  | 1 | No
Electrification Works
1 | Wiring for Light or Fan Point
|  |  |  | 1 x (5+8+3) |  | 16 | Point
2 | Wiring for Plug Point
|  |  |  | 1 x 8 |  | 8 | Point
3 | Providing & fixing Circuit braker 6,10,15
| 20,30,40,50&63 amps SP |  |  | 1 x 4 |  | 4 | Nos
Non Schedule Item Electric Work
1 | P/Fixing Switch fancy type
|  |  |  | Qty same as Item No,. 01 |  | 16 | Nos
2 | P/F Power Plug
|  |  |  | 1 x 12 |  | 12 | Nos
3 | P/F False ceiling spot light fancy type
| round shape or square shape with glass |  |  | 1 x 16 |  | 16 | Nos
4 | P/F Wall Bracket Fan 18" Sweep
|  |  |  | 1 x 6 |  | 6 | Nos
5 | P/F Exhuast Fan
|  |  |  | 1 x 2 |  | 2 | Nos
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.