## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BARRACK NO.20-A OFFICE OF THE SINDH SERVICE TRIBUNAL SINDH SECRETARIAT BLOCK 4-A KARACHI.
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | #REF! | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 46464 | /-
| (ii) | Non Schedule Item |  |  |  | 72705 | /-
Part "C" Electric work
| (i) | Schedule Item |  |  |  | 34700 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
[5 empty] | G.Total Rs | #REF! | /-
[5 empty] | Say Rs. | #REF! | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO.20-A OFFICE OF THE SINDH SERVICE TRIBUNAL SINDH SECRETARIAT BLOCK 4-A KARACHI.
' SCHEDULE " B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Providing and laying 1" thick topping cement
concrete (1:2:4 ) including Surface finishing
and dividiing into panels:
| (a) 2" thick.(S.I.No. 16-c/P.42) |  | 256 | Sft | 3275 | / | 50 | % Sft | 8385 | /-
Rupees Thirty Two Hundred Seventy Five and Fifty Paisa Only
2 | Providing and laying 1 :3 : 6 Cement
concrete solid Block masorany wall
above 6" in thickness set in 1 : 6 cement
mortar in G.F ground floor superstructure
including raking out joints & curing etc,
| complete. |  | 170.31 | Cft | 14621 | / | 44 | % Cft | 24902 | /-
Rupees Fourteen Thousand Six Hundred Twenty One and Forty four only
3 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
| (S.I.No.11(c)P-52) |  | 1262.88 | Sft | 3015 | / | 76 | % Sft | 38085 | /-
Rupees Three Thousand Fifteen and Seventy Six Only
4 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 35.5 | Rft | 228 | / | 90 | P.Rft | 8126
Rupees Two Hundred twenty eight and Ninty Only
5 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood
frames and 1-1/2" thick Teak wood ply shutters
of 2nd class deodar wood skeleton (solid )
styles and rails core of partal wood and Teak
ply wood (3-ply) on both sides i/c hold fasts,
hinges, iron tower bolts, handles and cleats
with cord etc. complete.(S.I.No.58 P-65).
| (1077/06- 370.83 = 706.23) |  | 49 | Sft | 706 | / | 23 | P.Sft | 34605 | /-
Rupees Seven Hundred six and twenty three only
6 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 98 | Sft | 2116 | / | 61 | % Sft | 2074 | /-
Rupees Twernty One hundred sixteen and sixty one only
[8 empty] | Part A(i)Total | 116177 | /-
Below Or Above
SI) Total
Part (A) Civil Work
(ii) Non Schedule Item
1 | Preparing the surface & Applying matte finishpaint of
approved quality & make includingscraping the old
surface, applying sandpaper filling with loppy& ICI or
equivalent& then applying matte finish paint 2 to 3 coats
| as directed by Engineer Incharge. |  | 614.64 | Sft |  |  |  | P.Sft
2 | P/L Bath room tiles glazed or matt glazed, make
having size 12”x18” Shabbir / Sonex / Karam or equivalent
jointed in white cement and laid over 1:2 grey cement sand
mortar ¾” thick in/c finishing & filling of joints with
slurry of white cement or tile grout in desired shape
| in/c cutting of tiles to proper profile (on floor or facing) |  | 218 | Sft |  |  |  | P.Sft
3 | P/Fixing fiber glass shade with fiber glass
2-3mm thick including necessary frame
work of angle iron & G.I Pipe & fixing
sheet with screws in proper design &
| shape as directed by E.I |  | 625.3125 | Sft |  |  |  | P.Sft
4 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
aluminium double channel Section hanged
with Nails, Hooks, wire to ceiling etc. as
| directed by the Consultant. |  | 56 | Sft |  |  |  | P.Sft
5 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
work of 1st class partal wood 2" x 1"
pasted with classic farmica 18" deep
i/c necessary hinges, catchers handles
sliding windows in doors nalis screws
etc with approved design and shape.
The cost also in/c necessary tools
and plants to be used in making etc
complete as directed by Engineer
| Incharge. |  | 30 | Sft |  |  |  | P.Sft
6 | Providing & Fixing Porcelain Tiles 24”x24”
x1/4 as approved sizes specified
approved quality make design and colour in/c
Jointing in White Cement in/c. Washing of
tiles and filling of joints with Slurry of white
white cement in desired shape with finishing
in/c. cutting of tiles to proper profile i/c
all respect labour and necessary required
material as directed by the Engineer In charge
| etc complete. |  | 504 | Sft |  |  |  | P.Sft
7 | Making & Fixing Judge Table of Oak wood
for court room of size 10'x3' x 2'1/2. top
| oak wood and polish as approved quality |  | 1 | Each |  |  |  | Each
8 | Making & Fixing Large Table of Oak Wood
for court room of size 6'x3'x2-3/4" drawers
under each table i/c spirit polish handles
| locks etc complete |  | 3 | Each |  |  |  | Each
9 | Making & Fixing three box rack of oak
| wood complete in all respect |  | 3 | Each |  |  |  | Each
10 | Making & Fixing 11ftx4ftx2.75 with side rack
all made of oak wood best qulaity spirit
polish with matte finishlacquer etc
| complete |  | 1 | Each |  |  |  | Each
11 | Making & Fixing Almirah of Oak wood
with superior quality spirit polished as
| glasses inside locks handles etc complete |  | 1 | Each |  |  |  | Each
12 | Making & Fixing Two witness box, on each
side and large divider upto width of court
table in/c superior quality spirit polish
| etc complete |  | 1 | Each |  |  |  | Each
13 | P/F Lasani wooden floor size 8'-0x1.50 dado
and wall of approved colour shade paste
with foam as underlay & sovent cement
forgien make pasting i/c panneling as
required as approved by the competent
| authority as well as Engineer Incharge. |  | 1218 | Sft |  |  |  | P.Sft
14 | Supplying & Fixing S.S Sofa Set 3 Seater
| Superior Quality as directed by E.I |  | 10 | Nos |  |  |  | Each
15 | Supplying & Fixing Plastic chair with
| iron pipe frame i/c cartage etc complete |  | 6 | Nos |  |  |  | Each
16 | Providing & Fixing Window Vertical
Blinds Aluminum Double Channel patti
with roller i/c G.I Bracket & steel patti
| @ bottom imported quality. |  | 252 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part (B) W/S & S/F
(i) Schedule Item
1 | S/F fiber glass tank of approved quality
and design and wall thickness as specified
i/c the cost of nuts bolts and fixing in
plateform of cement concrete 1:3:6
and making connection for inlet and
over flow pipe etc complete 250 gallon
| wall thickness 4mm (S.I.No.3-c/P-21) |  | 1 | Nos | 21989 | / | 42 | Each | 21989 | /-
Rupees Twenty One Thousand Nine Hundred Eighty Nine and Forty Two Only
2 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 1 | No | 5088 | / | 20 | Each | 5088 | /-
Rupees Five Thousand Eighty Eight and Twenty Only
3 | Providing and fixing cancealed tee stop cock
superior quality with C.P. head 1/2" dia.
| (S.I.No.12-b page 18) |  | 2 | No | 843 | / | 92 | Each | 1688 | /-
Rupees Eight Hundred Forty Three and Ninty two Only
4 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 1 | No | 4928 | / | 70 | Each | 4929 | /-
Rupees Forty Nine HundredTwenty Eight and Seventy Only
5 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 2 | No | 2042 | / | 43 | Each | 4085 | /-
Rupees Two Thousand Forty Two and Forty three only
6 | Providing & fixing24" x 18" bavelled edge
mirror of belgium glass complete with 1/8"
thick hard board and c.p screws fixed to
| wooden pleat. |  | 1 | No | 1711 | / | 60 | Each | 1712 | /-
Rupees Seventeen Hundred Eleven and Sixty Only
7 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 2 | Nos | 1109 | / | 46 | Each | 2219 | /-
Rupees Eleven Hundred Nine and Forty Six Only
8 | (a) Supplying & Fixing swan type piller cock
| of Superior quality single c.p. head 1/2" dia. |  | 1 | Nos | 795 | / | 0 | Each | 795 | /-
Rupees Seven Hundred Ninty Five Only
9 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 4 | No | 889 | / | 46 | Each | 3558 | /-
Rupees Eight Hundred Eighty Nine and forty six Only
10 | Providing and fixing handle valves (china)
| 1/2" dia |  | 2 | No | 200 | / | 42 | Each | 401 | /-
Rupees Two hundred and forty two only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 46464 | /-
Above Or Below
Total W/S & S/F Sch.Item
Part B-ii W/S & S/F Non-Schedule Item
1 | Providing & fixing Soil & Vent pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 1/2" dia |  | 62 | Rft |  |  |  | P.Rft
| 3/4" dia |  | 24 | Rft |  |  |  | P.Rft
| 4" dia |  | 20 | Rft |  |  |  | P.Rft
2 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Y- Tee |  | 2 | No |  |  |  | Each
| 4" dia Plug Tee |  | 2 | No |  |  |  | Each
| 4" dia Plain Bend |  | 1 | No |  |  |  | Each
| 4" dia Cowel |  | 2 | No |  |  |  | Each
Total NSI
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 20 | No | 1130 | / | 0 | P.Point | 22600 | /-
Rupees Eleven Hundred Thirty Only
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 12 | Nos | 985 | / | 0 | P.Point | 11820 | /-
Rupees Nine Hundred Eighty Five Only
3 | Providing & Fixing Brass Battern Holder |  | 4 | Nos | 70 | / | 0 | P.Point | 280 | /-
Rupees Seventy Only
[8 empty] | Part A(i)Total | 34700 | /-
Above Or Below
Total W/S & S/F Sch.Item
PART - C Electric Item
(ii) Non Schedule Item
1 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 30 | Nos |  |  |  | Each
2 | Providing & fixing Energy saver 18 to 24
| watts approved quality etc complete. |  | 9 | Nos |  |  |  | Each
3 | P/F Exhaust Fan 10” to 12” sweep metal body
| / plastic body i/c. necessary connection etc. |  | 3 | Nos |  |  |  | Each
4 | Providing & fixing bracket Fan
| “Pak/Royal” make i/c necessary connection |  | 8 | Nos |  |  |  | Each
5 | P/F Ceiling Fan 56" sweep Pak/Royal
make necessary connection etc
| complete as approved by Engineer Incharge. |  | 6 | Nos |  |  |  | Each
6 | P/F 2-40 watts tube light complete
with 40-watts 4"-0 long rod chock
starter and putty with flourescent
components i/c necessary electric
connection & fixing on a wall or
ceiling etc as a approved by
| Engineer Incharge. |  | 5 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| PART B-ii | Cost of Non Schedule Item W/S & S/F |  |  |  |  | Rs.
| PART C | Cost of Electric Work Schedule Item |  |  |  |  | Rs.
| PART C-ii | Cost of Non Schedule Item Electric Work |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK NO.20-A OFFICE OF THE SINDH SERVICE TRIBUNAL SINDH SECRETARIAT BLOCK 4-A KARACHI.
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | P/L C.C Topping 3" thick
|  |  |  | 1x20.0x10.0 |  | 200 | Sft
|  |  |  | 1x7.0x8.0 |  | 56 | Sft
[6 empty] | 256 | Sft
2 | P/L Block Masonry
| Mosque Wall |  |  | 2x27.83x0.50x7.0 |  | 194.81 | Cft
| Bath Wall |  |  | 1x8.0x0.50x7.0 |  | 28 | Cft
[6 empty] | 222.81 | Cft
Deduction:
| D |  |  | 1x4.50x7.0 |  | 31.5 | Cft
| D |  |  | 1x3.0x7.0 |  | 21 | Cft
[6 empty] | 52.5 | Cft
[6 empty] | 170.31 | Cft
3 | Cement Plaster
| Out side |  |  | 2x(27.83+20.83)x9.0 |  | 875.88 | Sft
| Bath |  |  | 2x(8.0+7.0)x7.0 |  | 210 | Sft
| " |  |  | 2x(8.0+7.0)x7.0 |  | 210 | Sft
[6 empty] | 1295.88 | Sft
Deduction:
| D |  |  | 1x4.50x7.0 |  | 31.5 | Sft
| V |  |  | 1x1.0x1.50 |  | 1.5 | Sft
[6 empty] | 33 | Sft
[6 empty] | 1262.88 | Sft
4 | P/F G.I Chowkhat
| Inside Mosue |  | 1x(7.0+4.50+7.0) |  |  | 18.5 | Rft
| Court Room |  | 1x(7.0+3.0+7.0) |  |  | 17 | Rft
[6 empty] | 35.5 | Rft
5 | P/F Inposition Door
| Mosque |  | 1x7.0x4.0 |  |  | 28 | Sft
| Court Toom |  | 1x7.0x3.0 |  |  | 21 | Sft
[6 empty] | 49 | Sft
6 | Painitng Doors & Windows
| Double Qty of Item No. 05 |  | 49.0 x 2 |  |  | 98 | Sft
Part A-ii Civil Work Non Schedule Item
1 | P/L matte finish
| Mosque |  | 2x(15.0+10.0)x6.0 |  |  | 300 | Sft
|  |  | 2x(8.0+7.0)x4.0 |  |  | 120 | Sft
|  |  | 2x(27.83+20.83)x2.0 |  |  | 194.64 | Sft
[6 empty] | 614.64 | Sft
2 | P/L Bath room glazed tiles
| Bath Wall of Mosque |  | 2x(8.0+7.0)x6.0 |  |  | 180 | Sft
| bath Floor |  | 1x8.0x7.0 |  |  | 56 | Sft
[6 empty] | 236 | Sft
Deduction:
| Door |  | 1x3.0x6.0 |  |  | 18 | Sft
[6 empty] | 218 | Sft
3 | P/F Fiber Glass Shade
|  |  | 1x28.75x21.75 |  |  | 625.3125 | Sft
4 | P/F Flase Ceiling
|  |  | 1x8.0x7.0 |  |  | 56 | Sft
5 | P/F Wooden Cabinet
|  |  | 1x15.0x2.0 |  |  | 30 | Sft
6 | P/F Porceline Tiles
| Mosque Wall |  | 2x(18.00+18.00)x2.50 |  |  | 180 | Sft
| Floor |  | 1x18.0x18.0 |  |  | 324 | Sft
[6 empty] | 504 | Sft
7 | Making & Fixing Judge Table of Oak wood
for court room of size 10'x3' x 2'1/2. top
|  |  | 1 x 1 |  |  | 1 | No
8 | Making & Fixing Large Table of Oak Wood
for court room of size 6'x3'x2-3/4" drawers
under each table i/c spirit polish handles
| Court Room |  | 1 x 3 |  |  | 3 | No
9 | Making & Fixing three box rack of oak
| Court Room |  | 1 x 3 |  |  | 3 | No
10 | Making & Fixing 11ftx4ftx2.75 with side rack
all made of oak wood best qulaity spirit
polish with matte finishlacquer etc
|  |  | 1 x 1 |  |  | 1 | No
11 | Making & Fixing Almirah of Oak wood
with superior quality spirit polished as
|  |  | 1 x 1 |  |  | 1 | No
12 | Making & Fixing Two witness box, on each
side and large divider upto width of court
table in/c superior quality spirit polish
|  |  | 1 x 1 |  |  | 1 | No
13 | P/F Lasani wooden floor size 8'-0x1.50 dado
and wall of approved colour shade paste
with foam as underlay & sovent cement
| Court Wall |  | 2x1x41.0x9.0 |  |  | 738 | Sft
| Court Wall |  | 2x1x15.0x9.0 |  |  | 270 | Sft
| Court Floor |  | 1x10.0x15.0 |  |  | 150 | Sft
|  |  | 1x15.0x4.0 |  |  | 60 | Sft
[6 empty] | 1218 | Sft
14 | Supplying & Fixing S.S Sofa Set 3 Seater
|  |  | 8 + 2 |  |  | 10 | Nos
15 | Supplying & Fixing Plastic chair with
|  |  | 1 x 6 |  |  | 6 | Nos
16 | Providing & Fixing Window Vertical
Blinds Aluminum Double Channel patti
|  |  | 8x7.0x4.50 |  |  | 252 | Sft
Part B-I Water Supply & Sanitary Fitting
Schedule Items
1 | P/F Fiber glass tank 250 Gal
|  |  | 1 x 1 |  |  | 1 | No
2 | P/F W.C
|  |  | 1 x 1 |  |  | 1 | No
3 | P/F Stop Cock
|  |  | 1 x 2 |  |  | 2 | Nos
4 | P/F Wash Basin
|  |  | 1 x 1 |  |  | 1 | No
5 | P/F Floor Trap
|  |  | 1 x 2 |  |  | 2 | No
6 | P/F Mirror
|  |  | 1 x 1 |  |  | 1 | No
7 | P/F Long Bib Cock
|  |  | 1 x 2 |  |  | 2 | No
8 | P/F Swan Type Piller Cock
|  |  | 1 x 1 |  |  | 1 | No
9 | P/F Concealed Tee Stop Cock
|  |  | 1 x 4 |  |  | 4 | No
10 | P/F Handle Valve 1/2" dia
|  |  | 1 x 2 |  |  | 2 | No
Part B-ii W/S & S/F Non Schedule Item
1 | P/F UPVC Pipe
1/2" dia
|  |  | 1x(7.0+7.0+4.0+4.0+10.+10+20.0) |  |  | 62 | Rft
3/4" dia
|  |  | 1x(3.0+4.0+7.0+10.0) |  |  | 24 | Rft
4" dia
|  |  | 1x(5.0+10.0+5.0) |  |  | 20 | Rft
2 | P/F UPVC Fitting
| 4" dia UPVC Y- Tee |  |  | 1 x 2 |  | 2 | Nos
| 4" dia UPVC Plain Bend |  |  | 1 x 2 |  | 2 | Nos
| 4" dia Plug Tee |  |  | 1 x 1 |  | 1 | Nos
| 4" dia Cowel |  |  | 1 x 2 |  | 2 | Nos
Part C-I Electric Work Schedule Item
1 | Wiring for light or fan Point
|  |  |  | 1 x 20 |  | 20 | Points
2 | Wiring for plug point
|  |  |  | 1 x 12 |  | 12 | Point
3 | P/F Brass Battern Holder
|  |  |  | 1 x 4 |  | 4 | Nos
Part C-ii Electric Work NSI
1 | P/F False Ceiling Light
|  |  |  | 1 x 30 |  | 30 | Nos
2 | P/F Energy Saver
|  |  |  | 1x(1+6+2+1) |  | 9 | Nos
3 | P/F Exhuast Fan
|  |  |  | 1x 3 |  | 3 | Nos
4 | P/F Bracket Fan
|  |  |  | 1 x 8 |  | 8 | Nos
5 | P/F Ceiling Fan
|  |  |  | 1 x 6 |  | 6 | Nos
6 | P/F Tube Light 4'0 long complete
|  |  |  | 1 x 5 |  | 5 | Nos
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.