## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BARRACK No. 86 OFFICE OF THE DIRECTORATE OF LABOUR DEPARTMENT, GOVERNEMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
Part "C" Electric work
| (i) | Schedule Item |  |  |  | 17710 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
[5 empty] | G.Total Rs | 17710 | /-
[5 empty] | Say Rs. | 18000 | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BARRACK No. 86 OFFICE OF THE DIRECTORATE OF LABOUR DEPARTMENT, GOVERNEMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
' SCHEDULE "B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)(i) Schedule Item
1 | Dismantling glazed or encaustic tiles
| S.I.No.55/P-13 |  | 389.5 | Sft | 786 | / | 50 | % Sft | 3063 | /-
Rupees Seven Hundred Eighty Six and Fifty Ps Only
2 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 15.5 | Rft | 228 | / | 90 | P.Rft | 3548 | /-
Rupees Two Hundred TwentyEight and Ninty Ps Only
3 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood
frames and 1-1/2" thick Teak wood ply shutters
of 2nd class deodar wood skeleton (solid )
styles and rails core of partal wood and Teak
ply wood (3-ply) on both sides i/c hold fasts,
hinges, iron tower bolts, handles and cleats
with cord etc. complete.(S.I.No.58 P-65).
| (1077/06- 370.83 = 706.23) |  | 44.25 | Sft | 706 | / | 23 | P.Sft | 31251 | /-
Rupees Seven Hundred Six and Twenty Three PS Pnly
4 | Providing & Fixing approved quality mortice
| Lock.(S.I.No.21/P-60) |  | 4 | No | 1786 | / | 13 | Each | 7145 | /-
Rupees Seventeen Hundred Eighty Six and Thirteen Ps Only
5 | P/L 1:3:6 cement concrete solid block
masonry wall above 6" in thickness set
in 1:6 cement mortar in G.Floor superstructure
including raking out joints & curing etc
| complete. (S.I.No.24/P-19) |  | 336 | Cft | 15771 | / | 1 | % Cft | 52991 | /-
Rupees Fifteen Thousand Seven Hundred Seventy One and One Ps
6 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
| (S.I.No.11(c)P-52) |  | 1284 | Sft | 3015 | / | 76 | % Sft | 38722 | /-
Rupees Three Thousand Fifteen and Seventy Six Ps Only
[8 empty] | Part A(i)Total | 136720 | /-
Above Or Below
Total
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
aluminium double channel Section hanged
with Nails, Hooks, wire to ceiling etc. as
| directed by the Consultant. |  | 800 | Sft |  |  |  | P.Sft
2 | Providing & Fixing Porcelain Tiles 24”x24”
x1/4 as approved sizes specified
approved quality make design and colour in/c
Jointing in White Cement in/c. Washing of
tiles and filling of joints with Slurry of white
white cement in desired shape with finishing
in/c. cutting of tiles to proper profile i/c
all respect labour and necessary required
material as directed by the Engineer In charge
| etc complete. |  | 440 | Sft |  |  |  | P.Sft
3 | Preparing the surface & Applying matte finishpaint of
approved quality & make includingscraping the old
surface, applying sandpaper filling with loppy& ICI or
equivalent& then applying matte finish paint 2 coats
| as directed by Engineer Incharge. |  | 2052 | Sft |  |  |  | P.Sft
4 | P/L Bath room tiles glazed or matt glazed, make
having size 12”x18” Shabbir / Sonex / Karam or equivalent
jointed in white cement and laid over 1:2 grey cement sand
mortar ¾” thick in/c finishing & filling of joints with
slurry of white cement or tile grout in desired shape
| in/c cutting of tiles to proper profile (on floor or facing) |  | 389.5 | Sft |  |  |  | P.Sft
Total NSI
Part (B) W/S & S/F
(i) Schedule Item
1 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 2 | No | 5088 | / | 20 | Each | 10176 | /-
Rupees Five Thousand Eighty Eight and Twenty Ps Only
2 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 2 | No | 4928 | / | 70 | Each | 9857 | /-
Rupees Forty Nine Hundred Twenty Eight and Seventy ps Only
3 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 6 | No | 889 | / | 46 | Each | 5337 | /-
Rupees Eight Hundred Eighty Nine and Forty Six Only
4 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 2 | No | 3432 | / | 0 | Each | 6864 | /-
Rupees Thirty Four Hundred Thirty Two Only
5 | (a) Supplying & Fixing swan type piller cock
| of Superior quality single c.p. head 1/2" dia. |  | 2 | No | 795 | / | 0 | Each | 1590 | /-
Rupees Seven Hundred Ninty Five Only
6 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 4 | No | 2042 | / | 43 | Each | 8170 | /-
Rupees Two Thousand forty two and Forty Three Only
7 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 4 | Nos | 1109 | / | 46 | Each | 4438 | /-
Rupees Eleve Hundred Nine and Forty Six Ps Only
8 | Providing & fixing24" x 18" bavelled edge
mirror of belgium glass complete with 1/8"
thick hard board and c.p screws fixed to
| wooden pleat. |  | 2 | No | 1711 | / | 60 | Each | 3423 | /-
Rupees Seventeen Hundred Eleven and sixty ps only
9 | Construction manhole or inspection chamber
for the required dia of circular sewr and 3'-6'
(1067mm)depth with walls of B.B in cement
mortar 1:3 cement plastered 1:3 1/2" thick
inside of wall and 1" (25mm) thick our benching
and channel including fixing G.I manhole
cover with frame of clear opening 1 1/2" x
1 1/2" (457x457mm) of 1.75 cwt 88.9 KG
embedded in plinth C.C steps 6" (150mm)
wide projecting 4" (100mm) from the face
of wall at 12" (305mm) C/C duly painted etc
complete as per specification and drawing
on DP/I of public health circle southern
zone hyderabad (a) 12" dia 4'-6" x 3'x7'-9"
| (S.I.No.2(b)P/46 |  | 5 | No | 14748 | / | 0 | Each | 73740 | /-
Rupees Fourteen Thousand Seven Hundred Forty Eight
10 | Providing, Laying RCC pipes & Collars of
Class 'A' and fixing in trench i/c cutting, fitting
and jointing with maxphalt composition and
cement mortar (1:1) i/c testing with water to
| a head of 4.5 meter or 15 ft.12" dia |  | 165 | Rft | 246 | / | 0 | P.Rft | 40590 | /-
Rupees Two Hundred Forty Six Only
[8 empty] | Total W/S & S/F | 164185 | /-
Above Or Below
Total W/S & S/F
Part B-ii W/S & S/F Non-Schedule Item
1 | Providing & fixing UPVC pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 1/2" dia |  | 30 | Rft |  |  |  | P.Rft
| 3/4" dia |  | 10 | Rft |  |  |  | P.Rft
| 3" dia |  | 10 | Rft |  |  |  | P.Rft
| 4" dia |  | 15 | Rft |  |  |  | P.Rft
2 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Plug Tee |  | 3 | No |  |  |  | Each
| 4" dia Plain Bend |  | 3 | No |  |  |  | Each
| 4" dia Plain Elbow |  | 2 | No |  |  |  | Each
| 4" dia Cowel |  | 2 | No |  |  |  | Each
Total W/S & S/F Non- S.Item
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 12 | No | 1130 | / | 0 | P.Point | 13560 | /-
Rupees Eleven Hundred Thirty Only
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 4 | Nos | 985 | / | 0 | P.Point | 3940 | /-
Rupees Nine hundred Eighty Five Only
3 | Providing & Fixing Battern Holders |  | 3 | Nos | 70 | / | 0 | Each | 210 | /-
Rupees Seventy Only
[8 empty] | Total Rs. | 17710 | /-
Above Or below
[8 empty] | Total Rs. |  | /-
PART - C Electric Item
(ii) Non Schedule Item
1 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 49 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| PART B-ii | Cost of Non Schedule Item W/S & S/F |  |  |  |  | Rs.
| PART C | Cost of Electric Work Schedule Item |  |  |  |  | Rs.
| PART C-ii | Cost of Non Schedule Item Electric Work |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK No. 86 OFFICE OF THE DIRECTORATE OF LABOUR DEPARTMENT, GOVERNEMENT OF SINDH SINDH SECRETARIAT BLOCK 4-B KARACHI.
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling Glazed Or Encaustic tiles.
|  |  |  | 2x2x(7.0+6.0)x6.50 |  | 338 | Sft
|  |  |  | 2x1x7.0x6.0 |  | 84 | Sft
[6 empty] | 422 | Sft
Deduction:
| D |  |  | 2x2.50x6.50 |  | 32.5 | Sft
[6 empty] | 32.5 | Sft
[6 empty] | 389.5 | Sft
2 | P/F GI Chowkhat
| Main Door |  |  | 1x(6.50+2.50+6.50) |  | 15.5 | Rft
[6 empty] | 15.5 | Rft
3 | P/F 1st Class Deodar wood shutter
|  |  |  | 1x2.50x6.50 |  | 16.25 | Sft
|  |  |  | 1x4.0x7.0 |  | 28 | Sft
[6 empty] | 44.25 | Sft
4 | P/Fixing approved quality mortice lock
|  |  |  | 1 x 4 |  | 4 | Nos
5 | P/L Block Masonry
|  |  |  | 2x7x4.0x0.50x6.0 |  | 168 | Cft
|  |  |  | 2x7x4.0x0.50x6.0 |  | 168 | Cft
[6 empty] | 336 | Cft
6 | P/L Cement Plaster1:4
|  |  |  | 7x2x2x4.0x6.0 |  | 642 | Sft
|  |  |  | 7x2x2x4.0x6.0 |  | 642 | Sft
[6 empty] | 1284 | Sft
Part A-ii Civil Work Non Schedule Item
1 | P/F False Ceiling
|  |  |  | 1x20.0x20.0 |  | 400 | Sft
|  |  |  | 1x20.0x20.0 |  | 400 | Sft
[6 empty] | 800 | Sft
2 | Porceline tiles
|  |  |  | 1x20.0x20.0 |  | 400 | Sft
|  |  |  | 2x(20.0+20.0)x0.50 |  | 40 | Sft
[6 empty] | 440 | Sft
3 | P/L Matte Finish Surface
|  |  |  | 1x2(20.0+20.0)x9.0 |  | 720 | Sft
|  |  |  | 1x2(20.0+20.0)x9.0 |  | 720 | Sft
|  |  |  | 2x(20.0+20.0)x9.0 |  | 720 | Sft
[6 empty] | 2160 | Sft
Deduction:
| D |  |  | 3x4.0x7.0 |  | 84 | Sft
| D |  |  | 2x3.0x4.0 |  | 24 | Sft
[6 empty] | 108 | Sft
[6 empty] | 2052 | Sft
4 | P/L Bath Room glazed Tiles
|  |  |  | Qty same as Schedule Item No 01 |  | 389.5 | Sft
Part B-I W/S & S/F Schedule Item
1 | P/F Squatting type W.C
|  |  |  | 1 x 2 |  | 2 | No
2 | P/F 24" x 18" Lavatory Basin
|  |  |  | 1 x 2 |  | 2 | Nos
3 | P/F Concealed Tee Stop Cock
|  |  |  | 1 x 6 |  | 6 | Nos
4 | P/F Muslim Shower
|  |  |  | 1 x 2 |  | 2 | Nos
5 | P/F Swan Type Piller Cock
|  |  |  | 1 x 2 |  | 2 | Nos
6 | P/F 6" x 2" or 6" x 3" C.I Floor Trap
|  |  |  | 1 x 4 |  | 4 | Nos
7 | P/F Long Bib Cock
|  |  |  | 1 x 4 |  | 4 | Nos
8 | P/F Mirror
|  |  |  | 1 x 2 |  | 2 | Nos
9 | Construction of mainhole or inspection chamber
|  |  |  | 1 x 5 |  | 5 | Nos
10 | P/F R.C.C Pipe 6" dia
|  |  |  | 1x(15+15+15+15+15+15+15+20+20+20+20) |  | 165 | Rft
Part B-II W/S & S/F Non Schedule Item
1 | P/F UPVC Soil & Vent Pipe
| 1/2" dia Pipe |  |  | 1 x 30.00 |  | 30 | Rft
| 3/4" dia |  |  | 1 x 10.00 |  | 10 | Rft
| 3" dia |  |  | 1x10.0 |  | 10 | Rft
| 4" dia |  |  | 1x(10.0+5.0) |  | 15 | Rft
2 | P/F UPVC Fitting
| 4" dia Plug Tee |  |  | 1 x 3 |  | 3 | Nos
| 4" dia Plain Bend |  |  | 1 x 3 |  | 3 | Nos
| 4" dia Plain Elbow |  |  | 1 x 2 |  | 2 | Nos
| 4" dia Cowel |  |  | 1 x 2 |  | 2 | Nos
Part C-iElectric Work Schedule Item
1 | Wiring for light or fan Point
|  |  |  | 1 x 12 |  | 12 | Point
2 | Wiring for Plug Point
|  |  |  | 1 x 4 |  | 4 | Point
3 | P/F Brass Battern Holder
|  |  |  | 1 x 3 |  | 3 | Nos
Part C-ii Electric Work Schedule Item
1 | P/F False Ceiling Light
| Director Office |  |  | 1 x 12 |  | 12 | Nos
| Chamber |  |  | 1 x 2 |  | 2 | Nos
| Bath |  |  | 1 x 1 |  | 1 | Nos
| Ad Room |  |  | 1 x 6 |  | 6 | Nos
| " |  |  | 1 x 8 |  | 8 | Nos
| " |  |  | 1 x 8 |  | 8 | Nos
| Verr |  |  | 1 x 8 |  | 8 | Nos
|  |  |  | 1 x 4 |  | 4 | Nos
[6 empty] | 49 | Nos
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.