## Sch B Service OPD 1397957
| NAME OF WORK: | M&R to Sindh Services Hospital Karachi (OPD block internal & external replacement of external wiring )
Schedule B
A | Schedule Items
S# | DESCRIPTION OF ITEM | Qty |  | RATE | UNIT | Amount
Add diff cost of steel
Add diff cost of cement
Thatta at Karachi
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") channel patti on surface as required (SI 129/p.15) | 87 | No | 910 | P.points | 79170
Rs: nine hundred ten only
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") on surface as required (SI 130/p.15) | 24 | No | 742 | P.points | 17808
Rs: seven hundred forty two only
3 | P/F cirucuit breaker 6,10,15,20, 30,40,50 and 63 SP (TB-5S) on prepared board as required (SI 203/p.31) | 36 | No | 916 | each | 32976
Rs: nine hundred sixteen only
4 | P/F cirucuit breaker 6,10,15,20, 30,40,50 and 63 DP (TB-5S) on prepared board as required (SI 204/p.31) | 6 | No | 2456 | each | 14736
Rs: two thousand four hundred fifty six only
5 | P/F cirucuit breaker 3,5,10,15,20, & 30 Amps TP (XS-30NS (NB)) on prepared board as required (SI 205/p.31) | 5 | No | 5301 | each | 26505
Rs: five thousand three hundred one only
6 | P/F cirucuit breaker 15,20, 30,40,50 & 60 Amps TP (XE-100CS(CB) on prepared board (SI 206/p.31) | 5 | No | 5521 | each | 27605
Rs: five thousand five hundred twenty one
7 | P/F cirucit breaker 15,20,30,40,50,60 & 75 & 100 amp TP (XS-100NS) on prepared board as required (SI 207/p.31) | 2 | No | 9261 | each | 18522
Rs: nine thousand two hundred sixty one
8 | P/F current transformer rating 1200/5Amp (Square /rectangular) RLC-65 as required & as per instruction of EI (SI 278 /p.39) | 1 | No | 3556 | each | 3556
Rs: three thousand five hundred fifty six
9 | Providing fixing bake lite ceiling rose with two terminals (SI 228 /p.33) | 25 | No | 72 | each | 1800
Rs: seventy two only
10 | P/L (Main or submain ) PVC insulated with size 4-7/.064 (16mm2) coper conductor in 1-1/2" dia PVC conduit recesed in the wall or column as required or (SI 42/p.6) | 95 | mtr | 1213 | p.mtr | 115235
| Rs: one thousand two hundred thirteen only |  |  |  |  | 337913
Add % above/below
A
Non Schedule Items
1 | P/F switch 5 Amps imported make i/c plastic board with necessary electric connectin etc complete | 87 | No |  | each
2 | P/F 2 pin 5 Amp plug socket imported make i/c plstic board with neessary electric connection etc complete | 24 | No |  | each
3 | Wiring for main with 2-7/.029 PVC insulted wire in required size caping cassing etc complete | 1470 | Rft |  | P.rft
4 | Wiring for main with 2-7/.044 PVC insulted wire in required size caping cassing etc complete | 528 | rft |  | P.rft
5 | P/F false ceiling spot light fancy type round shape or square shape with glass & 2 holders i/c steel box jali 7 energy saver or tube light 2ft long as approved by the Engineer incharge | 41 | No |  | each
6 | P/F LED tube light 36 watt imported make with metal base with LED chip EPI star 214 i/c necessary connection etc complete | 48 | No
7 | Shifting /Removing of old burnt pannel board i/c removing of old burst wires circuit breakers and rewiring the current of temporary connection and re-instead the electricity the same | 3 | No |  | each
8 | P/F pannel board double shutter to accommodate the circuit breake i/c painting with enameled paint etc complete | 36 | No |  | each
9 | P/F ceiling fan 56 sweep best make approved quality as directed by EI | 27 | No |  | each
10 | P/F wall bracket fan 18" sweep approved quality etc complete | 16 | No |  | each
11 | P/F exhaust fan 10" to 12" sweep i/c necessary electric connection etc complete | 8 | No |  | each
12 | P/F energy saver 18 to 24 watts approved quality etc complete | 95 | No |  | each
13 | P/F light plug fancy type 5 Amp withfancy type board and sheet i/c necessary connection | 30 | No |  | each
14 | P/F LED down light 18 watt suitable for false ceiling with metal base LED chip EPI star 214 i/c necessary connection etc complete | 36 | No |  | each
B
Summary
1 | Cost of Schedule items
2 | Cost of non schedule items
Terms & Conditions
1 | No cartage of any material neither arranged by the contractor himself/themselves or supplied by the Government any shall not be paid seperately.
2 | Contractors shall have to make their own arrangement palatable water for use in work at his/their own cost. In case they request for supply the water by the Govt: , recovery on this account shall be made as per rules on gross amount of the item of the work in which is used.
3 | Contrctor(s) shall be responsible for arrangement to get material posted his/their own cost if directed by the Executive Engineer/Assistant Engineer failing which the tested shall be arrange by the Department and amount will be recovered from his/their bill.
4 | Concrete shall be mixed with mechanically operated concrete mixture with due constrcutions to agregate and water ratio.
5 | All material shall confirm be standard specification.
6 | No premium shall be allowed on non schedule item/offer rates.
7 | Only ran pathani Dhabeji for sand and Mangopir for crush quarry or equivalent approved by the competant authority shall be used in aggregate mortar and concrete.
8 | It may please be noted that where over nomenclature or any item is not elaborated or not clear or any typographical error occurs in the schedule for the tender it should be read strictly as per composite schedule or rates 2012
9 | All buildings debries and surplus stuff not required for use in the connection shll be removed from the site and suitable disposal off by the contractor for which the extra cost of cartage shall be paid.
Contractor
| Assistant Engineer |  |  | Executive Engineer
| Provincial Buildings Elect: Sub Divn-VIII |  |  | Provincial Buildings Division-II
| Karachi |  |  | Karachi