## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BARRACK NO.13 OFFICE OF THE SPECIAL JUDGE ANTI CORRUPTION DEPARTMENT GOVERNMENT OF SINDH SINDH SECRETARIAT BLOCK 4-A KARACHI.
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | 297007 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "C" Electric work
| (i) | Schedule Item |  |  |  | 35849 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
[5 empty] | G.Total Rs | 332856 | /-
[5 empty] | Say Rs. | 333000 | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO.13 OFFICE OF THE SPECIAL JUDGE ANTI CORRUPTION DEPARTMENT GOVERNMENT OF SINDH SINDH SECRETARIAT BLOCK 4-A KARACHI.
' SCHEDULE "B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work) (i) Schedule Item
1 | Providing & laying 1:3:6 cement concrete
solid block masonry set in 1:6 cement sand
mortar in plinth & foundation including
raking out joints & curing etc complete.
| (S.I.No.22/P-19) |  | 72 | Cft | 15771 | / | 1 | % Cft | 30321 | /-
Rupees Fifteen Thousand Seven Hundred Seventy One and One Only
2 | Cement plaster 1:4 upto 20' height
| 3/4" thick.(S.I.No.11-c P-52) |  | 400 | Sft | 3015 | / | 76 | %Sft. | 41271 | /-
Rupees Three Thousand Fifteen and Seventy Six Paisa Only
3 | Providing & Laying 1" thick topping
cement concrete 1:2:4 including surface
finishing and dividing into panels.
| )c) 2" thick.(S.I.no.11©/P-42) |  | 144 | Sft | 3275 | / | 50 | % Sft | 4717 | /-
Rupees Thirty Two Hundred Seventy Five and Fifty Ps Only
4 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 17 | Rft | 228 | / | 90 | P.Rft | 3891 | /-
Rupees Two Hundred Twenty Eight and Ninty Paisa Only
5 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood
frames and 1-1/2" thick Teak wood ply shutters
of 2nd class deodar wood skeleton (solid )
styles and rails core of partal wood and Teak
ply wood (3-ply) on both sides i/c hold fasts,
hinges, iron tower bolts, handles and cleats
with cord etc. complete.(S.I.No.58 P-65).
| (1077/06- 370.83 = 706.23) |  | 28 | Sft | 706 | / | 23 | P.Sft | 19774 | /-
Rupees Seven Hundred Six and Twenty Three Ps Only
6 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 56 | Sft | 1160 | / | 6 | % Sft | 650 | /-
Rupees Eleven Hundred Sixty and Six Paisa Only
7 | Providing & fixing with jute felt paper
of 60 lbs over roof i/c claning of roof
with wire brush and removing dust, applying
bitumen coat at the rate of 34 lbs per % sft
as premix inter coats and then laying felt paper
with 10 % over laps then applying and s
spreading hill sand at the rate of 1 cft per
100 sft the cost also i/c necessary fire
material , kerosene oil wood etc.
| (S.I.No.42/P-39) |  | 1840 | Sft | 106 | / | 73 | P.Sft | 196383 | /-
Rupees One Hundred Six and Seventy Three Paisa Only
[8 empty] | Part A(i)Total | 297007 | /-
Below Or Above
SI) Total
Part (A) Civil Work (ii) Non Schedule Item
1 | P/F cement paving block flooring having red/Grey
size of 197x 197 60mm of city quddra cobble shape
with pigment having strength b/w 5000 psi to 8500 psi
filling joints with hill sand and laying over khakka
&compacting with electric compactor etc
| complete as directed by Enginner Incharge |  | 4060 | Sft |  |  |  | P.Sft
2 | P/Fixing fiber glass shade with fiber glass
2-3mm thick including necessary frame
work of angle iron & G.I Pipe & fixing
sheet with screws in proper design &
| shape as directed by E.I |  | 289 | Sft |  |  |  | P.Sft
3 | P/F Iron Steel Grill of solid square vertical bar
3/8” x 3/8” at 4” center to center and ¾” x 1/4”
flat patti at all around 6-Nos horizontal bar 3/8” x
3/8” in/c red oxide paint and two coats of
| enemmelled paint to the grill at any height. |  | 92 | Sft |  |  |  | P.Sft
4 | Providing and Laying R.C.C Precast Slab
| as approved by the Engineer Incharge. |  | 144 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 18 | No | 1130 | / | 0 | P.Point | 20340 | /-
Rupees Eleven Hundred Thirty Only
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 5 | Nos | 985 | / | 0 | P.Point | 4925 | /-
Rupees Nine Hundred Eighty Five Only
3 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 10 | Nos | 916 | / | 0 | P.No | 9160 | /-
Rupees Nine Hundred Sixteen Only
4 | Providing & Fixing Ceiling Rose
|  |  | 12 | Nos | 72 | / | 0 | P.No | 864 | /-
Rupees Seventy Two Only
5 | Providing & Fixing Brass Battern Holder
|  |  | 8 | Nos | 70 | / | 0 | P.No | 560 | /-
Rupees Seventy Only
[8 empty] | Part A(i)Total | 35849 | /-
Below Or Above
SI) Total
PART - C Electric Item(ii) Non Schedule Item
1 | Providing and fixing fancy type switch
| best make as directed by the Engineer Incharge. |  | 30 | Nos |  |  |  | Each
2 | Providing and fixing fancy type 2 Pin 5 Amps
| plug best make as directed by the Engineer Incharge. |  | 6 | Nos |  |  |  | Each
3 | Providing and fixing fancy type 3 Pin 15 Amps
| plug best make as directed by the Engineer Incharge. |  | 6 | Nos |  |  |  | Each
3 | Providing and fixing Electric Motor Set
| best make as directed by the Engineer Incharge. |  | 1 | Nos |  |  |  | Each
5 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 10 | Nos |  |  |  | Each
6 | Providing & fixing Wall Bracket Fan 18"
| sweep approved quality etc complete. |  | 2 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART A | Cost of Electric Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Electric Work |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK NO.13 OFFICE OF THE SPECIAL JUDGE ANTI CORRUPTION DEPARTMENT GOVERNMENT OF SINDH SINDH SECRETARIAT BLOCK 4-A KARACHI.
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  |  | Quantity
PART (A) Civil Work)(i) Schedule Item
1 | P/L Block Masonry 6" thick
| Record Store |  |  | 1x10.0x0.50x10.0 |  |  | 50 | Cft
| Record Store |  |  | 1x10.0x0.50x10.0 |  |  | 50 | Cft
[7 empty] | 100 | Cft
Deuction:
|  |  |  | 1x4.0x7.0 |  |  | 28 | Cft
[7 empty] | 72 | Cft
2 | Cement Plaster
| Record Store |  |  | 2x2x10.0x10.0 |  |  | 400 | Sft
3 | P/L Topping 2" thick
| Over Roof |  |  | 1x12.0x12.0 |  |  | 144 | Sft
4 | P/F G.I Chowkhat
|  |  |  | 1x(7.0+4.0+7.0) |  |  | 17 | Rft
[7 empty] | 17 | Rft
5 | P/F 1st Class Door Shutter
| D |  |  | 1x4.0x7.0 |  |  | 28 | Sft
[7 empty] | 28 | Sft
6 | Painting Doors & Windows
| Door |  |  | 2x1x4.0x7.0 |  |  | 56 | Sft
[7 empty] | 56 | Sft
7 | P/F Jhute Felt
|  |  |  | 1x80.0x23.0 |  |  | 1840 | Sft
PART A-II
NON SEHEDULE ITEMS
1 | P/F Paving Blocks
| Barrack 13 |  | 1x140.0x25.0 |  |  |  | 3500 | Sft
| Parking Area |  | 1x40.0x14.0 |  |  |  | 560 | Sft
[7 empty] | 4060 | Sft
2 | P/Fixing fiber glass shade with fiber glass
2-3mm thick including necessary frame
|  |  | 1x17.0x17.0 |  |  |  | 289 | Sft
3 | P/F Steel Grill
|  |  | 1x4.0x7.0 |  |  |  | 28 | Sft
|  |  | 1x8.0x4.0 |  |  |  | 32 | Sft
|  |  | 1x8.0x4.0 |  |  |  | 32 | Sft
[7 empty] | 92 | Sft
4 | Providing & Fixing Pre Cast Slab
| Room Slab |  | 1x12.0x12.0 |  |  |  | 144 | Sft
[7 empty] | 144 | Sft
Electrification Works
1 | Wiring for Light or Fan Point
|  |  |  | 1x(7+5+6) |  |  | 18 | Point
2 | Wiring for Plug Point
|  |  |  | 2+2+1 |  |  | 5 | Point
3 | Providing & fixing Circuit braker 6,10,15
| 20,30,40,50&63 amps SP |  |  | 1x6+4 |  |  | 10 | Nos
4 | P/F Ceiling Rose
|  |  |  | 5+5+2 |  |  | 12 | Nos
5 | P/F Brass Battern Holders
|  |  |  | 3+3+2 |  |  | 8 | Nos
Non Schedule Item Electric Work
1 | P/Fixing Switch fancy type
|  |  |  | 10+20 |  |  | 30 | Nos
2 | Providing & Fixing fancy type socket
| Room1,2,3 |  |  | 2+2+2 | ` |  | 6 | Nos
3 | P/F Power Plug
|  |  |  | 3+3 |  |  | 6 | Nos
4 | P/Fixing Electric Motor Set
|  |  |  | 1 x 1 |  |  | 1 | No
5 | P/F False ceiling spot light fancy type
| round shape or square shape with glass |  |  | 5+5 |  |  | 10 | Nos
6 | P/F Wall Bracket Fan 18" Sweep
|  |  |  | 1 x 2 |  |  | 2 | Nos
| Sub-Engineer |  |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.