## SS-5 dist bord breaker etc
| NAME OF WORK: | M&R to Sindh Secretariate No:5 Karachi (P/F distribution board & circuit breaker, cable LED light of ground & 1st floor
ABSTRACT
A | Schedule Items
S# | DESCRIPTION OF ITEM | QUANTITY |  | RATE | UNIT | Amount
Add diff cost of steel
Add diff cost of cement
Thatta at Karachi
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recesed in the wall or column as required (SI 129/p.15) | 100 | Point | 910 | P.point | 91000
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") channel patti on surface as required (SI 130/page 15) | 20 | Point | 742 | P.point | 14840
3 | Providing & laying (Main or submain) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit on surface (SI 3/p.1) | 100 | Mtr | 171 | P.Mtr | 17100
4 | P/L (Main or sub main ) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1" dia PVC conduit on surface (SI 5/p.2) | 100 | Mtr | 305 | P.Mtr | 30500
5 | P/F cirucuit breaker 6,10,15,20, 30,40,50 and 63 SP (TB-5S) on prepared board as required (SI 203/p.31) | 32 | No: | 916 | Nos | 29312
6 | P/F circuit breaker 6,10,15,20 & 63 amp DP (TB-5S) on prepared board as required (SI 204/p.31) | 20 | No: | 2456 | Nos | 49120
7 | P/F circuit breaker 15,20,30,40,50,60 75 & 100 Amp TP(XS-100NS) on prepared board as required (SI 207/p.31) | 2 | No | 9261 | Each | 18522
8 | P/F bake lite ceiling rose with two terminals (SI 228 page 33) | 100 | No | 72 | Each | 7200
9 | P/F channel patti 1" as required as per instruction of EI (SI 296 page 43) | 200 | No | 38 | P.rft | 7600
10 | P/F channel patti 2" as required as per instruction of EI (SI 297 page 43) | 200 | No | 117 | each | 23400
[5 empty] | A | 288594
Non Schedule items
1 | p/F LED light concealed type 9 watt philips or equivalent quality i/c ncessary electric connection & fixing on false ceiling etc complete | 100 | No. | 2600 | each | 260000
2 | P/F LED tube light 1x36 att philips or equivalent make i/c ncessay electric connection 7 fixing on wall as approved by Egineer incharge etc complete | 25 | No. | 3442 | each | 86050
3 | P/F distribution board 16 gauge accommodate the main or sub mains , circuit breaker conecting strips double shutter painting with enamel paint etc complete in all respect as directed by Engineer incharge | 6 | No. | 3240 | each | 19440
4 | P/F fancy type 3 pin 5 amp SP plug socket switch & shoe unit imported quality with board i/c ncessary connection & recesed in the wall etc | 25 | No. | 310 | each | 7750
5 | P/F fancy type switch fancy type 5 to 10 amp SP imported quality with board i/c ncessary connectin recessed in the wall etc | 100 | No. | 146.66 | each | 14666
6 | P/F LED flood light 200 watts voltage AC 85-265V 50-60 Hz flux 1800 LM water proof IP 65 i/c its necessry connection and welding putty for adjustment of fixation etc compelte | 2 | No. | 19800 | each | 39600
7 | P/F capacitor 3.5muf for ceiling fan best quality etc complete | 30 | No. | 151 | each | 4530
8 | P/F phase indication colour lamp fit in panel board with 3/.029 wiring etc complete in all respects as directed by the Engineer incharge | 6 | No. | 120 | each | 720
9 | P/L 95 mm2 PVC/PVC 660/1000 volt 4 core unarmoured cable (Pakistan cable) make with 4" dia PVC pipe i/c excavation of earth & hard rock upto 2ft depth for laying the cable after laying refilling the surplus earthe i/c nec essary connection with required size lux etc as required | 100 | No. | 2994 | each | 299400
10 | P/F GI sheet 20 SWG for covering electrical cables i/c fixing on wall with nails etc complete | 9 | sft | 250 | P.sft | 2250
[5 empty] | Total B | 734406
[5 empty] | Total A | 288594
1023000
Terms & Conditions
1 | No cartage of any material neither arranged by the contractor himself/themselves or supplied by the Government any shall not be paid seperately.
2 | Contractors shall have to make their own arrangement palatable water for use in work at his/their own cost. In case they request for supply the water by the Govt: , recovery on this account shall be made as per rules on gross amount of the item of the work in which is used.
3 | Contrctor(s) shall be responsible for arrangement to get material posted his/their own cost if directed by the Executive Engineer/Assistant Engineer failing which the tested shall be arrange by the Department and amount will be recovered from his/their bill.
4 | Concrete shall be mixed with mechanically operated concrete mixture with due constrcutions to agregate and water ratio.
5 | All material shall confirm be standard specification.
6 | No premium shall be allowed on non schedule item/offer rates.
7 | Only ran pathani Dhabeji for sand and Mangopir for crush quarry or equivalent approved by the competant authority shall be used in aggregate mortar and concrete.
8 | It may please be noted that where over nomenclature or any item is not elaborated or not clear or any typographical error occurs in the schedule for the tender it should be read strictly as per composite schedule or rates 2012
9 | All buildings debries and surplus stuff not required for use in the connection shll be removed from the site and suitable disposal off by the contractor for which the extra cost of cartage shall be paid.
Contractor
| Assistant Engineer |  |  | Executive Engineer
| Provincial Buildings Elect: Sub Divn-VIII |  |  | Provincial Buildings Division-II
| Karachi |  |  | Karachi