## Bid 1
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of exising nonfunctional Toilets & Damaged Boundary Walls of different primary schools in distt: Sanghar.(28 Units) Package-1 Taluka Sanghar @ GBPS:- Town No-1 Sanghar, GGPS:- K.G Sanghar, GGPS:- Chak No: 02 Pathan, GBPS:- Madad Ali Rind, GBPS:- Muhammad Hassan RInd, GBPS:- Soomro Khan Chandio, GGPS:- SIr Syed Sanghar, GBPS:- Janib Lander. Taluka Sanghar (B/Wall & Toilets)
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 392 | 3327 | %Sft | 13041.84
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 23480 | 121 | %Sft | 28410.8
3 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 10 | 142.18 | Each | 1421.8
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 2000 | 3176.25 | %OCft | 6352.5
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 520 | 8694.95 | %Cft | 45213.74
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 2680 | 11948.36 | %Cft | 320216.048
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 2140 | 337 | P.Cft | 721180
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 137 | 5001 | Cwt | 685137
9 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | 5440 | 12346.65 | %Cft | 671657.76
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 32254 | 2206.6 | %Sft | 711716.764
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 32254 | 2197.52 | %Sft | 708788.1008
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 2400 | 3015.76 | %Sft | 72378.24
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 336 | 902.93 | P.Sft | 303384.48
14 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 1424 | 3275.5 | %Sft | 46643.12
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 600 | 4411.82 | %Sft | 26470.92
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 96 | 27679.86 | %Sft | 26572.6656
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 186 | 28299.3 | %Sft | 52636.698
18 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 480 | 726.72 | P.Sft | 348825.6
19 | Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 392 | 34520.31 | %Sft | 135319.6152
20 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 752 | 829.95 | %Sft | 6241.224
21 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 31512 | 859.9 | %Sft | 270971.688
22 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 560 | 2116.41 | %Sft | 11851.896
23 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 816 | 1270 | %Sft | 10363.2
|  |  | G.Total Part A" |  | 5224795.6996
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 16 | 5044.6 | Each | 80713.6
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 160 | 73.21 | P.Rft | 11713.6
| ii) 3/4" dia pipe | 240 | 95.79 | P.Rft | 22989.6
| iii) 1" dia pipe | 80 | 128 | P.Rft | 10240
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 48 | 199.3 | P.Rft | 9566.4
| i) 4" dia | 48 | 146.57 | P.Rft | 7035.36
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 16 | 337.92 | P.No | 5406.72
| 3/4" Thick | 16 | 348.92 | P.No | 5582.72
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 16 | 478.28 | P.No | 7652.48
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 16 | 271.92 | P.No | 4350.72
| 1/2" dia | 16 | 102.95 | P.No | 1647.2
| 1" dia | 8 | 365.42 | P.No | 2923.36
7 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 240 | 160 | P.Rft | 38400
8 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 80 | 166.35 | P.Rft | 13308
9 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 8 | 18470 | P.Rft | 147760
| G.Total Part B" |  |  | Rs: | 369289.76
| G.Total Part A" |  |  | Rs: | 5224795.6996
| Grand Total Part A" + B" |  |  | Rs: | 5594085.4596
| Cost OF Carriage Of Material |  |  | Rs: | 830721.6908
|  |  | G.Total | Rs: | 6424807.1504
|  |  | Say | Rs: | 6.425
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 2
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of Existing Non Fuctional Toilets & Demages Boundary walls Of Different Primary Schools in Distt: Sangar (28-units) Package-2 Taluka Khipro @ GGPS:- Kamil Hingoro, GGPS:- Khahi, GGPS:- Jean Mangrio, GBPS:- Wasand Mari, GGPS:- Haji Ismail Mari, Taluka Khipro ( B/Wall & Toilet ).
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 245 | 3327 | %Sft | 8151.15
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 21675 | 121 | %Sft | 26226.75
3 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 8 | 142.18 | Each | 11.3744
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 1250 | 3176.25 | %OCft | 3970.3125
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 325 | 8694.95 | %Cft | 28258.5875
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1675 | 11948.36 | %Cft | 200135.03
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 1475 | 337 | P.Cft | 497075
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 92.9 | 5001 | Cwt | 464592.9
9 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | 3055 | 12346.65 | %Cft | 377190.1575
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 25434 | 2206.6 | %Sft | 561226.644
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 25434 | 2197.52 | %Sft | 558917.2368
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 1500 | 3015.76 | %Sft | 45236.4
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 210 | 902.93 | P.Sft | 189615.3
14 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 890 | 3275.5 | %Sft | 29151.95
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 375 | 4411.82 | %Sft | 16544.325
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 288 | 27679.86 | %Sft | 79717.9968
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 558 | 28299.3 | %Sft | 157910.094
| Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 416 | 34520.31 | %Sft | 143604.4896
18 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 384 | 726.72 | P.Sft | 279060.48
19 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 470 | 829.95 | %Sft | 3900.765
20 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 23820 | 859.9 | %Sft | 204828.18
21 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 350 | 2116.41 | %Sft | 7407.435
22 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 510 | 1270 | %Sft | 6477
|  |  | G.Total Part A" |  | 3889209.5581
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 9 | 5044.6 | Each | 45401.4
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 100 | 73.21 | P.Rft | 7321
| ii) 3/4" dia pipe | 150 | 95.79 | P.Rft | 14368.5
| iii) 1" dia pipe | 50 | 128 | P.Rft | 6400
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 30 | 199.3 | P.Rft | 5979
| i) 4" dia | 30 | 146.57 | P.Rft | 4397.1
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 10 | 337.92 | P.No | 3379.2
| 3/4" Thick | 10 | 348.92 | P.No | 3489.2
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 10 | 478.28 | P.No | 4782.8
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 10 | 271.92 | P.No | 2719.2
| 1/2" dia | 10 | 102.95 | P.No | 1029.5
| 1" dia | 5 | 365.42 | P.No | 1827.1
7 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 150 | 160 | P.Rft | 24000
8 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 50 | 166.35 | P.Rft | 8317.5
9 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 5 | 18470 | P.Rft | 92350
| G.Total Part B" |  |  | Rs: | 225761.5
| G.Total Part A" |  |  | Rs: | 3889209.5581
| Grand Total Part A" + B" |  |  | Rs: | 4114971.0581
| Cost OF Carriage Of Material |  |  | Rs: | 349772.5399
|  |  | G.Total | Rs: | 4464743.598
|  |  | Say | Rs: | 4.465
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 3
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of exising nonfunctional Toilets & Damaged Boundary Walls of different primary schools in distt: Sanghar.(28 Units) Package-3 Taluka Sinjhoro @ GGPS:- Ali Bux Bhurgari, GGPS:- Deewan Wali Ram, GGPS:- Darya Khan Baladi, GGPS:- Deh-24 Jamarao, GGPS:- Jaffar Khan Leghari, Taluka SInjhoro (B/Wall & Toilets)
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 245 | 3327 | %Sft | 8151.15
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 25675 | 121 | %Sft | 31066.75
3 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 9 | 142.18 | Each | 1279.62
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 1250 | 3176.25 | %OCft | 3970.3125
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 325 | 8694.95 | %Cft | 28258.5875
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1675 | 11948.36 | %Cft | 200135.03
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 1575 | 337 | P.Cft | 530775
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 103 | 5001 | Cwt | 515103
9 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | 2715 | 12346.65 | %Cft | 335211.5475
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 27304 | 2206.6 | %Sft | 602490.064
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 27304 | 2197.52 | %Sft | 600010.8608
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 1500 | 3015.76 | %Sft | 45236.4
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 210 | 902.93 | P.Sft | 189615.3
14 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 890 | 3275.5 | %Sft | 29151.95
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 375 | 4411.82 | %Sft | 16544.325
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 384 | 27679.86 | %Sft | 106290.6624
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 744 | 28299.3 | %Sft | 210546.792
| Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 273 | 34520.31 | %Sft | 94240.4463
18 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 432 | 726.72 | P.Sft | 313943.04
19 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 470 | 829.95 | %Sft | 3900.765
20 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 25820 | 859.9 | %Sft | 222026.18
21 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 350 | 2116.41 | %Sft | 7407.435
22 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 510 | 1270 | %Sft | 6477
|  |  | G.Total Part A" |  | 4101832.218
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 10 | 5044.6 | Each | 50446
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 100 | 73.21 | P.Rft | 7321
| ii) 3/4" dia pipe | 150 | 95.79 | P.Rft | 14368.5
| iii) 1" dia pipe | 50 | 128 | P.Rft | 6400
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 30 | 199.3 | P.Rft | 5979
| i) 4" dia | 30 | 146.57 | P.Rft | 4397.1
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 10 | 337.92 | P.No | 3379.2
| 3/4" Thick | 10 | 348.92 | P.No | 3489.2
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 10 | 478.28 | P.No | 4782.8
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 10 | 271.92 | P.No | 2719.2
| 1/2" dia | 10 | 102.95 | P.No | 1029.5
| 1" dia | 5 | 365.42 | P.No | 1827.1
7 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 150 | 160 | P.Rft | 24000
8 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 50 | 166.35 | P.Rft | 8317.5
9 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 5 | 18470 | P.Rft | 92350
| G.Total Part B" |  |  | Rs: | 230806.1
| G.Total Part A" |  |  | Rs: | 4101832.218
| Grand Total Part A" + B" |  |  | Rs: | 4332638.318
| Cost OF Carriage Of Material |  |  | Rs: | 372606.8953
|  |  | G.Total | Rs: | 4705245.2133
|  |  | Say | Rs: | 4.705
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 4
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of exising nonfunctional Toilets & Damaged Boundary Walls of different primary schools in Distt: Sanghar (28 Units) Package-4 Taluka Shahdadpur @ GBPS Abdal Nagar ,GGPS Qazi Amir Akhtar, GGPS Fazal Bagrani,GBPS Ghazi Khan Brohi,GGPS Sahib Khan Nizamani, GGPS Haji Mataro Rind ,GGPS Ramzan Sindhi
(A- CIVIL WORK )
S.No. | Name of Item | Quantity | Rate | Unit | Amount
1 | Dismentling cement concrete plain 1:2:4(s.i.no 19p-10) | 930 | 3327.5 | %Cft | 30945.75
2 | Dismentling R.C.C sepreting reinf: from concrete cleaing & straight the same(s.i.no20-p-10) | 1130 | 5445 | %Cft | 61528.5
3 | Dismentling pacca brick work or lime cement mortor(s.i.no-13-p-10) | 1230 | 1285.63 | %Cft | 15813.249
4 | Removing of c/plaster from walls(s.i.no-53-p-13 | 5550 | 121 | %sft | 6715.5
5 | Excavation in Foundation of Building Bridges and Other Structures Including Dagbelling Dressing Refilling around Structure with Excavated Earth Watering and Ramming lift upto 5ft (Ordinary soil)(s,I,no 18p-5) | 529 | 3176.25 | %0Cft | 1680.2362
6 | Cement concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:5:10(s.i.no5-p-5) | 430 | 8694.95 | %Cft | 37388.285
7 | Pacca brick work in foundation and plinth in cement sand mortar.(s.i.no4p-24) | 3929 | 11948.36 | %Cft | 469451.0644
8 | Filling watering ramming earth under floor with new earth excavated from outside lead upto one chain and lift upto 5'(s.i.no22-p-4) | 4530 | 3630 | %0Cft | 16443.9
9 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separtely. The rate includes all kinds of forms, moulds, lifting, centering, shuttering, curring rendering and finishing the exposed surface (including screening and washing of shingle). RCC work in roof slab beams, coloumn, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects (i) Ratio 1;2:4 90 Lbs of cement 2 Cft sand and 4 Cft shingle 1/8" to 3/4" guage.(s.i.no6-p-15) | 2850 | 337 | Cft | 960450
10 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastening including cost of binding wire (also removal of rust from bars) (Tor Bars).(s.i.no 7p-20) | 92.15 | 5001 | Cwt | 460842.15
| MS Bars | 25.45 | 4820.2 | Cwt | 122674.09
11 | Pacca brick work in ground floor in cement sand mortar 1:6.(s.i.no5p-21) | 2250 | 12674.36 | %Cft | 285173.1
12 | D.P.C 3"thick with cement sand 1.2.4 ratio i/c two of asphaltic Mixture | 2050 | 4982 | %Cft | 102131
13 | Pacc Brick Work in Other than Building 1.6 ratio(s.i.no-7p-25) | 1194 | 12346.65 | %Cft | 147419.001
14 | Cement plaster 1:6 upto 20' Ft. height (1/2" thick)(s.i.no-13p-57 | 5550 | 2206.6 | %Sft | 122466.3
15 | Cement plaster 1:4 upto 20' Ft height (3/8" thick)(s.i.no-13p-57) | 5550 | 2197.52 | %Sft | 121962.36
16 | Cement plaster 1:4 upto 20' Ft. height (3/4" thick)(s.i.no 13-p-57) | 840 | 3015.76 | %Sft | 25332.384
17 | Extra labour rate for making cement plaster patter pattas/band around straight or covered openings and around the edges of roof slabs, the width not less than 6" with fine finishing as directed by Engineer Incharge.(s.i.no 35p-61) | 340 | 19.36 | Rft | 6582.4
18 | Cement pointing struck joint on walls 1,2,.ratio(s..i.no19p-58) | 2100 | 1287.44 | %Sft | 27036.24
19 | Providing & Laying Hala or Pattern Tile Glazed 8"x8"x1/4" on Wall Facing in required Floor & Pattern of Style specification jointed in White Cement & Pigments over Base of 1:2 Grey Cement Mortar 3/4" Thick etc….(s.i.no-61-p-47) | 672 | 34520.31 | %Sft | 231976.4832
20 | laying floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. (s.i.no2p-42) | 688 | 27678.86 | %Sft | 190430.5568
21 | white glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortor 3/4"thick i/c finishing(s.i.n.o-37p-44) | 1520 | 28297.3 | %Sft | 430118.96
22 | Providing & fixing G.I fixed/Chowkhats of size 7"x2" or 4 1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges an dfixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1"6 and reparing the jambs. The cost also i/c all carriag tools and plants used in making and fixing.(s.i.no28-p-92) | 319 | 228.9 | Rft | 73019.1
23 | Providing & fixing G.I fixed/Chowkhats of size 7"x2" or 4 1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges an dfixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1"6 and reparing the jambs. The cost also i/c all carriag tools and plants used in making and fixing.(s.i.no28-p-92) | 247 | 240.5 | Rft | 59403.5
24 | Supplying and fixing in position iron/steel grill of 3/4" * 1/4" flat iron of approved design including painting 3 coats etc, complete (weight not less than 3.70 Lbs per sq. ft. of finished grill.(s.i.no-26-p-92) | 236 | 180.5 | Sft | 42598
24 | First class deodar wood wrought framed and fixed in place including chowkhats hold fasts, tower bolts, chocks, cleats, handles, cord with hooks and cost of nails and screws, etc (Panelled or panelled and glazed or fully glazed 1-1/2" thick).(s.i.no7p-57) | 320 | 902.93 | Sft | 288937.6
25 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 190 | 726.72 | P-Sft | 138076.8
26 | Providing and laying 1" thick topping of cement concrete (1:2:4) including surface finishing & dividing into pannels.(2" thick)(s.i.no16-p-47) | 1530 | 3275.5 | %Sft | 50115.15
27 | White Washing (Three Coats)(s.i.no-25p-59) | 16130 | 829.95 | %Sft | 133870.935
28 | Colour Washing (s.i.25p-54) | 15550 | 1326.1 | %Sft | 206208.55
29 | Priming coat of chalk under distempering(s.i.no23p-54) | 15230 | 442.75 | %Sft | 67430.825
30 | Distempering (Three coats)(s.i.no-24p-54) | 15230 | 1079.65 | %Sft | 164430.695
31 | Two coats of bitumen laid hot using 34 Lbs %Sft over roof and blinded with sand @ 1Cft %Sft(s.i.no 13p-35) | 3021 | 1887.4 | %Sft | 57018.354
32 | Providing & fixing angle iron vertical posts for barbed wire fencing of size 2"x2"x1/4"embeded in Rcc/ Masanory Pillers i/c making cuts, holders @12" i/c fixing in pillers by chesling & filling with c/sand mortor/ sprying & finshing the surface. (S.I.No: 08 / Page No: 95) | 1050 | 169.18 | P.rft | 177639
33 | Preparing surface and painting doors and windows any type (including edges) Three Coats.(NEW SURFACE)(s.i.no-5p-76) | 920 | 2116.41 | %Sft | 19470.972
| B-OLD SURFACE | 450 | 1662.21 | %Sft | 7479.945
34 | Preparing surface and paitning guard bars gates, iron bars, gratting, railling (including standard braces etc) and similar open work. (Three coat).(New surface)(s.i.no 6p-87) | 490 | 1270.83 | %Sft | 6227.067
| B-OLD SURFACE | 430 | 977.4 | %Sft | 4202.82
35 | Providing & fixing barbed wire fencing with 12 gague 4 points @ 6" apart barbed wire i/c straightening for & fixing in angle iron vertical posts. (S.I.No: 09 / Page No: 96) | 6000 | 8.38 | P.rft | 50280
|  |  | Cost of civil work Rs |  | 5420970.8227
|  |  | Cost of carrage of Material Rs |  | 360508
|  |  | Total | Rs | 5781478.8227
PART- B : PLUMBING WORKS
1 | Providing and fixing squarting type white glazed flushine cistern with internal fittings and flush pipe with bend and making requisite numbers of holes in wall plinth and floor for pipe connection and making good in cement concrete 1:2:4 (s.i.no-1p-1) | 16 | 5044.6 | Each | 80713.6
2 | Providing GI pipes specials and clamps etc including fixing cutting and fittings complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match t(s.i.no1p-12)
| i). 1/2" dia pipe | 150 | 73.21 | P/Rft | 10981.5
| ii). 3/4" dia pipe | 200 | 95.79 | P/Rft | 19158
| ii) 1" | 100 | 128.55 | P/Rft | 12855
3 | Providing RCC Pipes with collor class:b: and diging the trenches to required depth & fixing in position i/c uttinhg & fittinhy & jointing with maxphalt composition & fixing in posituion etc comp:(s.i.no2p-23)
| i). 4" dia pipe | 36 | 146.57 | P/Rft | 5276.52
| ii). 6" dia pipe | 60 | 199.3 | P/Rft | 11958
4 | Supplying and fixing in position long bib cocks with c.p head 1/2"(s.i.no 1-p-16) | 15 | 337.92 | Each | 5068.8
5 | Supplying and fixing in position long bib cocks with c.p head 3/4" | 15 | 348.92 | Each | 5233.8
6 | P/F concelad stop cock sup:quality with c.p head 1/2"dia(s.i.no11-p18) | 15 | 478.28 | Each | 7174.2
7 | s/I pvc stainer B-class of aproved design quality and make i/c necessary scoket etc comp:(F/pipe`(s.i.no9p-43)(PHD) | 80 | 166.35 | Each | 13308
8 | Boring for tube well in all water boring soils ground level upto 100ft or 30.50 meter depth i/c sinking with etc comp(Boring)(s.i.no1p-41(PHD) | 480 | 160 | Each | 76800
9 | Providing and fixing electric motor 1/2" horse power i/c pumping set made 1 H.P etc. (RA) | 8 | 18470 | Each | 147760
10 | P/F in position nyloon connection comp:with 1/2"brass stop cock with pair of brass nuts and llining joints to nyloon connection (s.i.no 1-p-8) | 8 | 447.15 | Each | 3577.2
11 | P/F c.i Floor trap with 4"dia inlet & out let of the approved self cleaning design with a C.I grating with & without vent arm i/c cost of making no:holes in walls & floor for pipe connection(S.I.NO-21P-6) | 8 | 1671.53 | Each | 13372.24
12 | Providing chamber 15x9" insiide dimnation s 24"deep for house meter with 6"thikc c.c. 1.3.6 block set on cement mortor 6"thick c.c. 1.4.8 in foundation 1/2"thick c.c. 1.3. to all inside wall surface & top 1"thick c.c. 1.2.4 flooring complete i/c cost iron cover frame etc fixid in c.c. 12.4. i/curring back ffilling & disposal of earh etc comp:(s.i.no2p-20) | 8 | 5912.22 | Each | 47297.76
13 | Providing and fixing handle volve (china)(s.i.no5p-17)
| i). 1/2" dia | 8 | 102.95 | Each | 823.6
| ii). 3/4" dia | 8 | 271.92 | Each | 2175.36
| ii). 1" dia | 8 | 365.42 | Each | 2923.36
14 | P/F 24X 18"lav basin in white glaze earthen ware comp and i/c cost of plated brass chain 1-1/4" dia malloable iron of brass union and making requiste no of holes in wall floor for pipe connectionmaking good in cement sand 1.2.4 (standared pattern )s.i.no 5p-23) | 8 | 4253.9 | Each | 34031.2
15 | P/F 4" c.i soil vent pipe i/c cutting and fitting to match the colour of building(s.i.no 1p-8) | 7 | 333.19 | Each | 2332.33
16 | Add extra labour for earthen wear pedestal white glazed(s.i..no9p-3) | 9 | 938.47 | Each | 8446.23
17 | P/F towel rail complete with brackets fixing on wooden cleats towel rail 24"long 3/4" round sq"(s.i.no 1p-7) | 7 | 1082.95 | Each | 7580.65
18 | S/F swan type piller cock sup:quality with c.p head 1/2"dia (s.i.no 18p-16) | 8 | 795.3 | Each | 6362.4
19 | P/F 15X12 " Bevelede edge miror of beguim glass comp:with 1/8" thick hard board etc (s.i.no 4p-7) | 7 | 2047.76 | Each | 14334.32
20 | S/F Soap try with c.p screw comp: (s.i.no 5p-8) | 8 | 497.2 | Each | 3977.6
|  |  | Total : |  | 543521.67
|  |  | G:TOTAL Rs |  | 6325000.4927
|  |  | Say | Rs: | 6.325
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 5
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK: REPAIR & MAINTANCE OF EXISTING NEWFUNCATIONAL TOILET & DAMGED BOUNDRY WALL OF DIFFERENT ELEMENTRY PRIMARY SCHOOL IN DISTRICT SANGHAR (28-UNITS) PACKAGE-5 TALUKA TANDO ADAM @GGPS:SINDHI MAIN+GGPS:GHULLAM ALI NIZAMANI + GBPS; PEERAL MAKORANI TALUKA TANDO ADAM DISTRICT SANGHAR.
S.# | Description | Qty | Rate | Unit | Amount
Part-A (Main Building)
1 | Dismentling Cement concrete plain (1:3:6) ratipo (S.No.19 P.No.10). | 20 | 1306.8 | %Cft | 261
2 | Dismateling cement concreat reniforcement seprating reniforcement from concreat cleaning and strenthening the same.1.2.4 (S.I.NO:20/ P.No.11) | 766 | 5445 | %Cft | 41709
3 | Dismentling pacca brick work or lime cement martor (S.NO:11/P.No:10) | 3918 | 1285.63 | %Cft | 50371
4 | Pacca brick work in foundation and plinth in cement sand ratio 1:6. (S.I.No 14 P.24). | 1191 | 11948.36 | %Sft | 142305
5 | Cement concreate brick or stone ballast 1:1/2"to2" guage ratio 1:5:10 (S.I.No.4/ P.No.16). | 60 | 8694.95 | %Cft | 5217
6 | R.C.C work in/c all labour and material except the cost of steel reniforcement and its labour for bending bimding wwich will be paid sepretely. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering washing of shingle surface. (a | 1142 | 337 | P.Cft | 384854
7 | Fabrication of mild steel reniforcement for concreat i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also removal of rust from bars (S.I. No.7. P.20). | 43.94 | 5001.7 | P.Cwt | 219775
8 | Pacca brick work in g/floor i/c in strucking of joints in cement sand ratio 1:6. (S.I.No 5 P.24). | 690 | 12674.36 | %Sft | 87453
9 | Pacca brick work in Other than in building in cement sand ratio 1:6. (S.I.No 5 P.24). | 3910 | 12346.65 | %Sft | 482754
10 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Doors desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all ca | 80 | 228.9 | P.Rft | 18312
11 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Windows desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all |  | 240.5 | P.Rft | 0
12 | S/F in position of iron steel grill of 3/4 x1/4" of size flate iron of desigen i/c panting 3 coats etc complete (weight not to be less tha 37 Ibs /Sft finished grill) (S.I. No. 26 P.97). | 18 | 180.5 | P.Sft | 3249
13 | First class Deodar wood wrought joinery in doors and Windows etc fixed in position i/c chowkates, hold fasts hinges iron tower bolts, Cleads, handles and cords with hooks etc deaodar paneld or paneled and glazed or fully glazed 1: 3/4" thick. (S.I.No.7(b) | 73 | 902.93 | P.Sft | 65914
14 | Cement Plaster 1:6 upto 20"height (b) 1/2" thick.(S.I.No.13(b) P.No.57). | 13802 | 2206.6 | %Sft | 304555
15 | Cement Plaster 1:4 upto 20"height (c) 3/8" thick.(S.I.No.11 P.No.51). | 13802 | 2197.52 | %Sft | 303302
16 | Cement pointing struct joints on walls (1:2).(S.No.:19/P.58) | 1803 | 1287.44 | %Sft | 23213
17 | Extra labour rate making cement plaster pattas/bend around stringht covered opening and around the edges of roof slabes the width not less then 6" with the fine finishing.(S.I.No.35/P.61). | 428 | 19.36 | P.Sft | 8286
18 | M/F steel grated door with 1-1/6"thick i/c sheeting angle fram 3/4" centre to centre with locking arrangement (S.No:24./P97) | 156 | 726.72 | P.Sft | 113368
19 | Cement Plaster 1:4 upto 20"height (c) 3/4" thick.(S.I.No.11 P.No.51). | 214 | 3015.5 | %Sft | 6453
20 | Cement Concrete Plaing 1:3:6 i/c placing compacting finishing curring complete i/c screes and washing of stone agregate with out shuttering. (S.I.No.5(f) P.18). | 30 | 12595 | % Cft | 3779
21 | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. (S.I.No: 23. P/45) | 137 | 27679.86 | %Sft | 37921
22 | white glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortor 3/4"thick i/c finishing(s.i.n.o-37p-44) | 277 | 28253.61 | %Sft | 78262.4997
23 | P/L Hala patern tiles 8"x8"x1/4" on floor or wall facing in required colour and pattern of specification jointed in white cement and pigment over a base of 1:2 greycement mortor 3/4"thick i/c washing and filling of joints with slurry of white cement and p | 63 | 34520.31 | %Sft | 21748
24 | White wash three coatas.(S.I.No.26/P.53). | 300 | 829.95 | %Sft | 2490
25 | Primary coat of chalk under distempring.(S.I.No.23/P.53). | 13802 | 442.75 | %Sft | 61108
26 | Distempering three coats.(S.I.No.23/P.53). | 13802 | 1079.65 | %Sft | 149013
27 | Preparing surface panting Doors and windows any type i/c edges 3 coats.New surface.(S.I.No.06/P.76). | 210 | 2116.41 | %Sft | 4444
28 | Preparing surface panting Guards bars graiting rai;ling i/c standards bracess etc similar open work edges 3 coats.New surface.(S.I.No.06/P.76). | 368 | 977.4 | %Sft | 3597
|  |  | Total : |  | 2623713.4997
Part-D (Water Supply & sanatry Fittings)
1 | Providing and fixing squatting type while glazed of flushing cistern with internal fitting & flush pipe with bend and making requisite numbers of holes in wall plinth & floor for pipe connection & making good in cement concreat 1:2:4 W.C With 4"dia earthen ware trap and plasic thumble. (S.No:1/P.01) | 6 | 5486.8 | P.Rft | 32921
2 | Providing R.C.C pipes and collars of class B and fitting in treach i/c cutting fitting and jointing with maxphalt composition and cement mortor 1:1 i/c testing with water preasure to a head of 4"feet above the top of the height pipe and refilling with ex
a | 4"dia | 70 | 146.57 | P.Rft | 10260
b | 6"dia | 50 | 199.25 | P.Rft | 9963
3 | Providing G.I pipe special and clamps etc i/c fixing cutting and fittings complete with and i/c the cost of breking through walls and roof making good etc painting two coats the collour of the building and testing with water preasure head of 200 feet and
a | 1/2"dia | 150 | 73.21 | P.Rft | 10981
b | 3/4"dia | 150 | 95.79 | P.Rft | 14369
c | 1"dia | 50 | 128.55 | P.Rft | 6428
d | 1-1/4"dia | 270 | 153.19 | P.Rft | 41361
4 | P/F Handel Valves (China). (S.No:07/P,14)
a | 1/2"dia | 6 | 200.42 | Each | 1203
b | 3/4"dia | 3 | 271.92 | Each | 816
5 | P/F Cancealed stop cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 9 | 889.46 | Each | 8005
6 | P/F Cancealed long cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 9 | 1109.46 | Each | 9985
7 | S/F Bathroom Assaseries set 7peces i/c tawal rad etc |  | 10322.4 | Each | 0
8 | P/F In position Nylon connections of complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nylon conection. (S.No:23/P06). | 9 | 447.15 | Each | 4024
9 | Providing and fixing 22"x16"lavatory basin in white glazed earthen ware complete cwith and including the cost of WI or CI cantilever brackets 6"built into walls, pantinted white in two coat of red lead paint a pair of 1/2"dia CI dia chrome (S.I.No:12.P/4) | 3 | 4694.8 | Each | 14084
10 | Add Extera for Labour for providing and fixing earthen ware padistal white or coloured glazed.(S.I.No11.p/3) | 3 | 2533.47 | Each | 7600
11 | P/F 6x"2" or 6"x3" C.I Floor trip of the Approved seld cleaning down etc | 6 | 2024.43 | Each | 12147
12 | Providing and installing hand pump with all accessories 1-1/2"dia coir strainer with wooden shoe i/c boring fitting fixing etc complete.(R.A Approved).
a | Filter Pipe | 30 | 76.05 | P.Rft | 2282
b | Boring Pipe | 270 | 38.95 | P.Rft | 10517
13 | S/F Approved quality motor pump set singel phase motor 1.00 H.P etc Complete 1:2:4 Plate from i/c fitting with C.I nuts and bolts.(R.A Approved). | 3 | 18470 | Each | 55410
14 | S/F jet Shower with rod of superior quality with C.P head 1/2"dia (S.I.No:17/P.15) |  | 1142.24 | Each | 0
15 | P/F 24"x12" beveled edge mirror of Belguim glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat.(a) standard pattern.(S.I.No: 3(a) /P-7) |  | 1171.6 | Each | 0
16 | S/F Swan type Piller Cock of Superior Quality C.P head (S.I.No:18(b) P/16) | 3 | 795.3 | Each | 2386
17 | Providing Chamber 15"x19" inside Dimantion 24" depth for homes meters etc | 6 | 5913.22 | Each | 35479
18 | S/F fiber glass tank of approved quality and desigen and wall thickness as specified i/c cost of nuts bolts and fixing in plateform of cement concreat 1:3:6 and making conection for in-let and over flow in-let out-let flow pipe. c). 250 gallons wall thick |  | 21989.61 | Each | 0
19 | Construction of manhole or inspection chamber for the required dia of circular sewer and 3-6"(1067 mm) depth with wallas of BB in Cement mortor 1:3 cement plaster 1:3 1/2"thick inside of walls and l"(250mm) thick over benching and channel fixing 1"(25. a) | 3 | 14748 | Each | 44244
|  | G.Total | Part B |  | 334465
|  | G.Total | Part A+B |  | 2958178.4997
|  | Cost Of | Carraige |  | 596821
|  | Grand | Total |  | 3554999.4997
|  |  | Say | Rs: | 3.555
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 6
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK : Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Primary Schools in District Sanghar (28-Units) Package-I Taluka Sanghar @ GBPS. Town-I Sanghar (Toilet) GGPS. K.G Sanghar (Toilet) GGPS. Chak No. 02 Pathan (Toilet) GBPS. Madad Ali Rind (Toilet) GBPS. Muhammad Hassan Rind (Toilet) GBPS. Soomro Khan Chandio (Toilet) GGPS. Sir Syed Sanghar (Toilet) GBPS. Janib Lander (Toilet) (Electrification).
S.# | Description | Qty | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 20 | 910 | Each | 18200
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 8 | 742 | Each | 5936
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 125 | 118 | P.Mtr | 14750
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 160 | 213 | P.Mtr | 34080
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 20 | 70 | Each. | 1400
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 20 | 916 | Each. | 18320
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 8 | 2456 | Each. | 19648
|  |  |  | Total | 112334
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 20 | 130 | P.No. | 2600
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 8 | 295 | P.No. | 2360
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 8 | 350 | P.No. | 2800
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 8 | 989 | P.Sft | 7912
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 20 | 600 | P.No. | 12000
27672
|  | G.Total | Part A+B |  | 140006
|  |  | Say | Rs: | 0.14
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 7
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK : Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Primary Schools in District Sanghar (28-Units) Package-2 Taluka Khipro @ GGPS. Kamil Hingoro (Toilet) GGPS. Khahi (Toilet) GGPS. Jean Mangrio (Toilet) GBPS. Wasand Mari (Toilet ) GGPS. Haji Ismail Mari (Toilet ) (Electrification).
S.# | Description | Qty | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 10 | 910 | Each | 9100
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 5 | 742 | Each | 3710
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 70 | 118 | P.Mtr | 8260
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 53 | 213 | P.Mtr | 11289
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 10 | 70 | Each. | 700
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 10 | 916 | Each. | 9160
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 5 | 2456 | Each. | 12280
|  |  |  | Total | 54499
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 10 | 130 | P.No. | 1300
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 5 | 295 | P.No. | 1475
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 5 | 350 | P.No. | 1750
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 5 | 989 | P.Sft | 4945
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 10 | 600 | P.No. | 6000
15470
|  | G.Total | Part A+B |  | 69969
|  |  | Say | Rs: | 0.07
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 8
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK : Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Primary Schools in District Sanghar (28-Units) Package-3 Taluka Sinjhoro @ GGPS. Ali Bux Bhurgri (Toilet) GGPS. Dewan Wali Ram (Toilet) GGPS. Darya Khan Baladi (Toilet) GGPS. Deh 24 Jamrao (Toilet) GGPS. Jaffer Khan Leghari (Toilet) (Electrification).
S.# | Description | Qty | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 10 | 910 | Each | 9100
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 5 | 742 | Each | 3710
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 70 | 118 | P.Mtr | 8260
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 53 | 213 | P.Mtr | 11289
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 10 | 70 | Each. | 700
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 10 | 916 | Each. | 9160
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 5 | 2456 | Each. | 12280
|  |  |  | Total | 54499
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 10 | 130 | P.No. | 1300
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 5 | 295 | P.No. | 1475
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 5 | 350 | P.No. | 1750
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 5 | 989 | P.Sft | 4945
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 10 | 600 | P.No. | 6000
15470
|  | G.Total | Part A+B |  | 69969
|  |  | Say | Rs: | 0.07
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 9
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK : Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Primary Schools in District Sanghar (28-Units) Package-4 Taluka Shahdadpur @ GGPS. Fazal Tahlani (Toilet) GBPS. Ghazi Khan Brohi (Toilet) GGPS. Sahib Khan Nizamani (Toilet) GGPS. Qazi Amir Akhtar (Toilet) GBPS. Abdal Nagar (Toilet) GGPS. Haji Mataro Rind (Toilet) GGPS. Ramzan Sindhi (Toilet) (Electrification).
S.# | Description | Qty | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 21 | 910 | Each | 19110
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 7 | 742 | Each | 5194
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 180 | 118 | P.Mtr | 21240
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 270 | 213 | P.Mtr | 57510
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 21 | 70 | Each. | 1470
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 21 | 916 | Each. | 19236
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 7 | 2456 | Each. | 17192
|  |  |  | Total | 140952
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 21 | 130 | P.No. | 2730
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 7 | 295 | P.No. | 2065
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 7 | 350 | P.No. | 2450
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 7 | 989 | P.Sft | 6923
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 21 | 600 | P.No. | 12600
26768
|  | G.Total | Part A+B |  | 167720
|  |  | Say | Rs: | 0.168
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 10
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK : Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Primary Schools in District Sanghar (28-Units) Package-5 Taluka Tando Adam @ GGPS. Ghulam Ali Nizamani (Toilet) GGPS. Sindhi Main Tando Adam (Toilet) GBPS. Piral Makorani (Toilet) (Electrification).
S.# | Description | Qty | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 8 | 910 | Each | 7280
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 50 | 118 | P.Mtr | 5900
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 68 | 213 | P.Mtr | 14484
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 8 | 70 | Each. | 560
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 8 | 916 | Each. | 7328
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
|  |  |  | Total | 45146
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 8 | 130 | P.No. | 1040
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 3 | 295 | P.No. | 885
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 3 | 350 | P.No. | 1050
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 3 | 989 | P.Sft | 2967
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 8 | 600 | P.No. | 4800
10742
|  | G.Total | Part A+B |  | 55888
|  |  | Say | Rs: | 0.056
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.