## BOS Bid 11
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of Existing Non Fuctional Toilets & Demages Boundary walls Of Different Secondary Schools in Distt: Sangar (21-units) Package-1 Taluka Sanghar GBHS:- Khatoon-E-Fatima, GGLSS:- Chak NO:04, GGHS:- Perumal, GBHS:- Chak No: 40, GGLSS:- Molvi Khair Muhammad, GBLSS:- 18-Mile, GBHS:- Chaudhri Barkat, Taluka & Distt: Sanghar. ( B/Wall & Toilets )
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 343 | 3327 | %Sft | 11411.61
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 27610 | 121 | %Sft | 33408.1
3 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 13 | 142.18 | Each | 1848.34
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 1750 | 3176.25 | %OCft | 5558.4375
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 455 | 8694.95 | %Cft | 39562.0225
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 2345 | 11948.36 | %Cft | 280189.042
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 2285 | 337 | P.Cft | 770045
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 138.38 | 5001 | Cwt | 692038.38
9 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | 3285 | 12346.65 | %Cft | 405587.4525
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 34803 | 2206.6 | %Sft | 767962.998
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 34803 | 2197.52 | %Sft | 764802.8856
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 2100 | 3015.76 | %Sft | 63330.96
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 294 | 902.93 | P.Sft | 265461.42
14 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 1246 | 3275.5 | %Sft | 40812.73
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 525 | 4411.82 | %Sft | 23162.055
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 528 | 27679.86 | %Sft | 146149.6608
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 1062 | 28299.3 | %Sft | 300538.566
18 | Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 196 | 34520.31 | %Sft | 67659.8076
19 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 576 | 726.72 | P.Sft | 418590.72
20 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 658 | 829.95 | %Sft | 5461.071
21 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 32942 | 859.9 | %Sft | 283268.258
22 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 490 | 2116.41 | %Sft | 10370.409
23 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 714 | 1270 | %Sft | 9067.8
|  |  | G.Total Part A" |  | 5406287.7255
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 14 | 5044.6 | Each | 70624.4
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 140 | 73.21 | P.Rft | 10249.4
| ii) 3/4" dia pipe | 210 | 95.79 | P.Rft | 20115.9
| iii) 1" dia pipe | 10 | 128 | P.Rft | 1280
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 42 | 199.3 | P.Rft | 8370.6
| i) 4" dia | 42 | 146.57 | P.Rft | 6155.94
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 14 | 337.92 | P.No | 4730.88
| 3/4" Thick | 14 | 348.92 | P.No | 4884.88
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 14 | 478.28 | P.No | 6695.92
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 14 | 271.92 | P.No | 3806.88
| 1/2" dia | 14 | 102.95 | P.No | 1441.3
| 1" dia | 7 | 365.42 | P.No | 2557.94
7 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 210 | 160 | P.Rft | 33600
8 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 70 | 166.35 | P.Rft | 11644.5
9 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 7 | 18470 | P.Rft | 129290
| G.Total Part B" |  |  | Rs: | 315448.54
| G.Total Part A" |  |  | Rs: | 5406287.7255
| Grand Total Part A" + B" |  |  | Rs: | 5721736.2655
| Cost OF Carriage Of Material |  |  | Rs: | 548287
|  |  | G.Total | Rs: | 6270023.2655
|  |  | Say | Rs: | 6.270 ( M )
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 12
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:-Repair & Maintenance of Existing Non Fuctional Toilets & Demages Boundary walls Of Different Elementary & Secondary Schools in Distt: Sangar (21-units) Package-1 Taluka Khipro @ GGLSS:- Khipro, GBHS:- Khahi, GBLSS:- Haji Faiz Muhammad Hingorjo, Taluka Khipro. ( B/Wall & Toilets)
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 147 | 3327 | %Sft | 4890.69
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 14805 | 121 | %Sft | 17914.05
3 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 6 | 142.18 | Each | 853.08
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 750 | 3176.25 | %OCft | 2382.1875
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 195 | 8694.95 | %Cft | 16955.1525
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1005 | 11948.36 | %Cft | 120081.018
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 1165 | 337 | P.Cft | 392605
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 30.37 | 5001 | Cwt | 151880.37
9 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | 1475 | 12346.65 | %Cft | 182113.0875
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 15434 | 2206.6 | %Sft | 340566.644
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 15434 | 2197.52 | %Sft | 339165.2368
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 950 | 3015.76 | %Sft | 28649.72
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 126 | 902.93 | P.Sft | 113769.18
14 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 534 | 3275.5 | %Sft | 17491.17
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 225 | 4411.82 | %Sft | 9926.595
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 340 | 27679.86 | %Sft | 94111.524
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 636 | 28299.3 | %Sft | 179983.548
18 | Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 387 | 34520.31 | %Sft | 133593.5997
19 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 192 | 726.72 | P.Sft | 139530.24
20 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 282 | 829.95 | %Sft | 2340.459
21 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 15063 | 859.9 | %Sft | 129526.737
22 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 210 | 2116.41 | %Sft | 4444.461
23 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 306 | 1270 | %Sft | 3886.2
|  |  | G.Total Part A" |  | 2426659.95
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 10 | 5044.6 | Each | 50446
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 80 | 73.21 | P.Rft | 5856.8
| ii) 3/4" dia pipe | 120 | 95.79 | P.Rft | 11494.8
| iii) 1" dia pipe | 40 | 128 | P.Rft | 5120
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 24 | 199.3 | P.Rft | 4783.2
| i) 4" dia | 24 | 146.57 | P.Rft | 3517.68
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 10 | 337.92 | P.No | 3379.2
| 3/4" Thick | 10 | 348.92 | P.No | 3489.2
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 10 | 478.28 | P.No | 4782.8
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 10 | 271.92 | P.No | 2719.2
| 1/2" dia | 10 | 102.95 | P.No | 1029.5
| 1" dia | 4 | 365.42 | P.No | 1461.68
7 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 90 | 160 | P.Rft | 14400
8 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 30 | 166.35 | P.Rft | 4990.5
9 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 3 | 18470 | P.Rft | 55410
10 | Fiber class tank approved quality design and wall thickness 500 gallons(S.I.No:03-b P.No:21) | 1 | 37505.42 | Each | 37505.42
| G.Total Part B" |  |  | Rs: | 210385.98
| G.Total Part A" |  |  | Rs: | 2426659.95
| Grand Total Part A" + B" |  |  | Rs: | 2637045.93
| Cost OF Carriage Of Material |  |  | Rs: | 483898
|  |  | G.Total | Rs: | 3120943.93
|  |  | Say | Rs: | 3.121
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 13
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of Existing Non Fuctional Toilets & Demages Boundary walls Of Different Secondary Schools in Distt: Sangar (21-units) Package-3 Taluka Sinjhoro @ GBHS:- Rukkan Burira, GBHS:- Sinjhoro, GGHS:- Rawtiani, GBHS:- Deh-22 Jamarao ( B/W & Toilets ).
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 196 | 3327 | %Sft | 6520.92
2 | Removing cement palster from walls (S.I.No. 53 P-13) | 17170 | 121 | %Sft | 20775.7
3 | Removing Doors with chowakts (S.I.No 33-a- P.No 12) | 6 | 142.18 | Each | 853.08
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 900 | 3176.25 | %OCft | 2858.625
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 260 | 8694.95 | %Cft | 22606.87
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1240 | 11948.36 | %Cft | 148159.664
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 1195 | 337 | P.Cft | 402715
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 77.04 | 5001 | Cwt | 385277.04
9 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | 1825 | 12346.65 | %Cft | 225326.3625
10 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 18799 | 2206.6 | %Sft | 414818.734
11 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 18799 | 2197.52 | %Sft | 413111.7848
12 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 1150 | 3015.76 | %Sft | 34681.24
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 168 | 902.93 | P.Sft | 151692.24
14 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 624 | 3275.5 | %Sft | 20439.12
15 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 275 | 4411.82 | %Sft | 12132.505
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 288 | 27679.86 | %Sft | 79717.9968
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 636 | 28299.3 | %Sft | 179983.548
18 | Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 668 | 34520.31 | %Sft | 230595.6708
19 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 192 | 726.72 | P.Sft | 139530.24
20 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 376 | 829.95 | %Sft | 3120.612
21 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 18799 | 859.9 | %Sft | 161652.601
22 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 280 | 2116.41 | %Sft | 5925.948
23 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 306 | 1270 | %Sft | 3886.2
|  |  | G.Total Part A" |  | 3066381.7019
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 8 | 5044.6 | Each | 40356.8
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 80 | 73.21 | P.Rft | 5856.8
| ii) 3/4" dia pipe | 120 | 95.79 | P.Rft | 11494.8
| iii) 1" dia pipe | 40 | 128 | P.Rft | 5120
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 24 | 199.3 | P.Rft | 4783.2
| i) 4" dia | 24 | 146.57 | P.Rft | 3517.68
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 8 | 337.92 | P.No | 2703.36
| 3/4" Thick | 8 | 348.92 | P.No | 2791.36
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 8 | 478.28 | P.No | 3826.24
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 8 | 271.92 | P.No | 2175.36
| 1/2" dia | 8 | 102.95 | P.No | 823.6
| 1" dia | 3 | 365.42 | P.No | 1096.26
7 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 120 | 160 | P.Rft | 19200
8 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 40 | 166.35 | P.Rft | 6654
9 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 4 | 18470 | P.Rft | 73880
10 | Fiber class tank approved quality design and wall thickness 500 gallons (S.I.No:03-b P.No:21) | 2 | 37505.42 | Each | 75010.84
| G.Total Part B" |  |  | Rs: | 259290.3
| G.Total Part A" |  |  | Rs: | 3066381.7019
| Grand Total Part A" + B" |  |  | Rs: | 3325672.0019
| Cost OF Carriage Of Material |  |  | Rs: | 478897
|  |  | G.Total | Rs: | 3804569.0019
|  |  | Say | Rs: | 3.805
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 14
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- Repair & Maintenance of Existing Non Fuctional Toilets & Demages Boundary walls of Different Secondary Schools in Distt: Sangar (21-units) Package-4 Taluka Shahdadpur @ GBHS Shahpur Chakar ,GBHS Lundo, GBHS Shahdadpur, GBHS (P) Shahdadpur
(A- CIVIL WORK )
S.No. | Name of Item | Quantity | Rate | Unit | Amount
1 | Dismentling cement concrete plain 1:2:4(s.i.no 19p-10) | 49 | 3327.5 | %Cft | 1630.475
2 | Dismentling R.C.C sepreting reinf: from concrete cleaing & straight the same(s.i.no20-p-10) | 231 | 5445 | %Cft | 12577.95
3 | Dismentling pacca brick work or lime cement mortor(s.i.no-13-p-10) | 2701 | 1285.63 | %Cft | 34724.8663
4 | Removing of c/plaster from walls(s.i.no-53-p-13 | 14175 | 121 | %sft | 17151.75
5 | Excavation in Foundation of Building Bridges and Other Structures Including Dagbelling Dressing Refilling around Structure with Excavated Earth Watering and Ramming lift upto 5ft (Ordinary soil)(s,I,no 18p-5) | 198 | 3176.25 | %0Cft | 628.8975
6 | Cement concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:5:10(s.i.no5-p-5) | 51 | 8694.95 | %Cft | 4434.4245
7 | Pacca brick work in foundation and plinth in cement sand mortar.(s.i.no4p-24) | 832 | 11948.36 | %Cft | 99410.3552
8 | Filling watering ramming earth under floor with new earth excavated from outside lead upto one chain and lift upto 5'(s.i.no22-p-4) | 4530 | 3630 | %0Cft | 16443.9
9 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separtely. The rate includes all kinds of forms, moulds, lifting, centering, shuttering, curring rendering and finishing the exposed surface (including screening and washing of shingle). RCC work in roof slab beams, coloumn, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects (i) Ratio 1;2:4 90 Lbs of cement 2 Cft sand and 4 Cft shingle 1/8" to 3/4" guage.(s.i.no6-p-15) | 408 | 337 | Cft | 137496
10 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastening including cost of binding wire (also removal of rust from bars) (Tor Bars).(s.i.no 7p-20) | 11.14 | 5001 | Cwt | 55711.14
| MS Bars | 3.66 | 4820.2 | Cwt | 17641.932
11 | Pacca brick work in ground floor in cement sand mortar 1:6.(s.i.no5p-21) | 320 | 12674.36 | %Cft | 40557.952
12 | D.P.C 3"thick with cement sand 1.2.4 ratio i/c two of asphaltic Mixture | 514 | 4982 | %Cft | 25607.48
13 | Pacc Brick Work in Other than Building 1.6 ratio(s.i.no-7p-25) | 429 | 12346.65 | %Cft | 52967.1285
14 | Cement plaster 1:6 upto 20' Ft. height (1/2" thick)(s.i.no-13p-57 | 25095 | 2206.6 | %Sft | 553746.27
15 | Cement plaster 1:4 upto 20' Ft height (3/8" thick)(s.i.no-13p-57) | 25095 | 2197.52 | %Sft | 551467.644
16 | Cement plaster 1:4 upto 20' Ft. height (3/4" thick)(s.i.no 13-p-57) | 655 | 3015.76 | %Sft | 19753.228
17 | Extra labour rate for making cement plaster patter pattas/band around straight or covered openings and around the edges of roof slabs, the width not less than 6" with fine finishing as directed by Engineer Incharge.(s.i.no 35p-61) | 1064 | 19.36 | Rft | 20599.04
18 | Cement pointing struck joint on walls 1,2,.ratio(s..i.no19p-58) | 4260 | 1287.44 | %Sft | 54844.944
19 | Providing & Laying Hala or Pattern Tile Glazed 8"x8"x1/4" on Wall Facing in required Floor & Pattern of Style specification jointed in White Cement & Pigments over Base of 1:2 Grey Cement Mortar 3/4" Thick etc….(s.i.no-61-p-47) | 240 | 34520.31 | %Sft | 82848.744
20 | laying floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. (s.i.no2p-42) | 175 | 27678.86 | %Sft | 48438.005
21 | white glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortor 3/4"thick i/c finishing(s.i.n.o-37p-44) | 410 | 28297.3 | %Sft | 116018.93
22 | Providing & fixing G.I fixed/Chowkhats of size 7"x2" or 4 1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges an dfixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1"6 and reparing the jambs. The cost also i/c all carriag tools and plants used in making and fixing.(s.i.no28-p-92) | 32 | 228.9 | Rft | 7324.8
23 | Providing & fixing G.I fixed/Chowkhats of size 7"x2" or 4 1/2"x3" for Doors using 20 gauge G.I sheet i/c welded hinges an dfixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1"6 and reparing the jambs. The cost also i/c all carriag tools and plants used in making and fixing.(s.i.no28-p-92) | 8 | 240.5 | Rft | 1924
24 | Supplying and fixing in position iron/steel grill of 3/4" * 1/4" flat iron of approved design including painting 3 coats etc, complete (weight not less than 3.70 Lbs per sq. ft. of finished grill.(s.i.no-26-p-92) | 15 | 180.5 | Sft | 2707.5
24 | First class deodar wood wrought framed and fixed in place including chowkhats hold fasts, tower bolts, chocks, cleats, handles, cord with hooks and cost of nails and screws, etc (Panelled or panelled and glazed or fully glazed 1-1/2" thick).(s.i.no7p-57) | 103 | 902.93 | Sft | 93001.79
25 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 91 | 726.72 | P-Sft | 66131.52
26 | Providing and laying 1" thick topping of cement concrete (1:2:4) including surface finishing & dividing into pannels.(2" thick)(s.i.no16-p-47) | 573 | 3275.5 | %Sft | 18768.615
27 | White Washing (Three Coats)(s.i.no-25p-59) | 170 | 829.95 | %Sft | 1410.915
28 | Colour Washing (s.i.25p-54) | 72329 | 1326.1 | %Sft | 959154.869
29 | Priming coat of chalk under distempering(s.i.no23p-54) | 7447 | 442.75 | %Sft | 32971.5925
30 | Distempering (Three coats)(s.i.no-24p-54) | 7447 | 1079.65 | %Sft | 80401.5355
31 | Two coats of bitumen laid hot using 34 Lbs %Sft over roof and blinded with sand @ 1Cft %Sft(s.i.no 13p-35) | 571 | 1887.4 | %Sft | 10777.054
32 | Providing & fixing angle iron vertical posts for barbed wire fencing of size 2"x2"x1/4"embeded in Rcc/ Masanory Pillers i/c making cuts, holders @12" i/c fixing in pillers by chesling & filling with c/sand mortor/ sprying & finshing the surface. (S.I.No: 08 / Page No: 95) | 784 | 169.18 | P.rft | 132637.12
33 | Preparing surface and painting doors and windows any type (including edges) Three Coats.(NEW SURFACE)(s.i.no-5p-76) | 105 | 2116.41 | %Sft | 2222.2305
| B-OLD SURFACE | 159 | 1662.21 | %Sft | 2642.9139
34 | Preparing surface and paitning guard bars gates, iron bars, gratting, railling (including standard braces etc) and similar open work. (Three coat).(New surface)(s.i.no 6p-87) | 265 | 1270.83 | %Sft | 3367.6995
| B-OLD SURFACE | 240 | 977.4 | %Sft | 2345.76
35 | Providing & fixing barbed wire fencing with 12 gague 4 points @ 6" apart barbed wire i/c straightening for & fixing in angle iron vertical posts. (S.I.No: 09 / Page No: 96) | 11676 | 8.38 | P.rft | 97844.88
|  |  | Cost of civil work Rs |  | 3480335.8509
|  |  | Cost of carrage of Material Rs |  | 257466
|  |  | Total | Rs | 3737801.8509
PART- B : PLUMBING WORKS
1 | Providing and fixing squarting type white glazed flushine cistern with internal fittings and flush pipe with bend and making requisite numbers of holes in wall plinth and floor for pipe connection and making good in cement concrete 1:2:4 (s.i.no-1p-1) | 12 | 5044.6 | Each | 60535.2
2 | Providing GI pipes specials and clamps etc including fixing cutting and fittings complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match t(s.i.no1p-12)
| i). 1/2" dia pipe | 110 | 73.21 | P/Rft | 8053.1
| ii). 3/4" dia pipe | 185 | 95.79 | P/Rft | 17721.15
| ii) 1" | 25 | 128.55 | P/Rft | 3213.75
3 | Providing RCC Pipes with collor class:b: and diging the trenches to required depth & fixing in position i/c uttinhg & fittinhy & jointing with maxphalt composition & fixing in posituion etc comp:(s.i.no2p-23)
| i). 4" dia pipe | 48 | 146.57 | P/Rft | 7035.36
| ii). 6" dia pipe | 84 | 199.3 | P/Rft | 16741.2
4 | Supplying and fixing in position long bib cocks with c.p head 1/2"(s.i.no 1-p-16) | 15 | 337.92 | Each | 5068.8
5 | Supplying and fixing in position long bib cocks with c.p head 3/4" | 15 | 348.92 | Each | 5233.8
6 | P/F concelad stop cock sup:quality with c.p head 1/2"dia(s.i.no11-p18) | 15 | 478.28 | Each | 7174.2
7 | s/I pvc stainer B-class of aproved design quality and make i/c necessary scoket etc comp:(F/pipe`(s.i.no9p-43)(PHD) | 40 | 166.35 | Each | 6654
8 | Boring for tube well in all water boring soils ground level upto 100ft or 30.50 meter depth i/c sinking with etc comp(Boring)(s.i.no1p-41(PHD) | 320 | 160 | Each | 51200
9 | Providing and fixing electric motor 1/2" horse power i/c pumping set made 1 H.P etc. (RA) | 4 | 18470 | Each | 73880
10 | P/F in position nyloon connection comp:with 1/2"brass stop cock with pair of brass nuts and llining joints to nyloon connection (s.i.no 1-p-8) | 8 | 447.15 | Each | 3577.2
11 | P/F c.i Floor trap with 4"dia inlet & out let of the approved self cleaning design with a C.I grating with & without vent arm i/c cost of making no:holes in walls & floor for pipe connection(S.I.NO-21P-6) | 8 | 1671.53 | Each | 13372.24
12 | Providing chamber 15x9" insiide dimnation s 24"deep for house meter with 6"thikc c.c. 1.3.6 block set on cement mortor 6"thick c.c. 1.4.8 in foundation 1/2"thick c.c. 1.3. to all inside wall surface & top 1"thick c.c. 1.2.4 flooring complete i/c cost iron cover frame etc fixid in c.c. 12.4. i/curring back ffilling & disposal of earh etc comp:(s.i.no2p-20) | 4 | 5912.22 | Each | 23648.88
13 | Providing and fixing handle volve (china)(s.i.no5p-17)
| i). 1/2" dia | 4 | 102.95 | Each | 411.8
| ii). 3/4" dia | 4 | 271.92 | Each | 1087.68
| ii). 1" dia | 4 | 365.42 | Each | 1461.68
14 | P/F 24X 18"lav basin in white glaze earthen ware comp and i/c cost of plated brass chain 1-1/4" dia malloable iron of brass union and making requiste no of holes in wall floor for pipe connectionmaking good in cement sand 1.2.4 (standared pattern )s.i.no 5p-23) | 4 | 4253.9 | Each | 17015.6
15 | P/F 4" c.i soil vent pipe i/c cutting and fitting to match the colour of building(s.i.no 1p-8) | 8 | 333.19 | Each | 2665.52
16 | Add extra labour for earthen wear pedestal white glazed(s.i..no9p-3) | 4 | 938.47 | Each | 3753.88
17 | P/F towel rail complete with brackets fixing on wooden cleats towel rail 24"long 3/4" round sq"(s.i.no 1p-7) | 4 | 1082.95 | Each | 4331.8
18 | S/F swan type piller cock sup:quality with c.p head 1/2"dia (s.i.no 18p-16) | 4 | 795.3 | Each | 3181.2
19 | P/F 15X12 " Bevelede edge miror of beguim glass comp:with 1/8" thick hard board etc (s.i.no 4p-7) | 4 | 2047.76 | Each | 8191.04
20 | S/F Soap try with c.p screw comp: (s.i.no 5p-8) | 4 | 497.2 | Each | 1988.8
|  |  | Total : |  | 347197.88
|  |  | G:TOTAL Rs |  | 4084999.7309
|  |  | Say | Rs: | 4.085
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 15
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- Repair & Maintenance of Existing Non Fuctional Toilets & Demages Boundary walls of Different Secondary Schools in Distt: Sangar (21-units) Package-5 Taluka Tando Adam @ GBHS Jamia Millia GBHS: Mir Hassan Mari, GBHS: Baker Khan Nizamani
S.No. | Name of Item | Quantity | Rate | Unit | Amount
1 | Dismentling pacca brick work or lime cement martor (S.NO:11/P.No:10) | 3241 | 1285.63 | %Cft | 41667
2 | Dismateling cement concreat reniforcement seprating reniforcement from concreat cleaning and strenthening the same.1.2.4 (S.I.NO:20/ P.No.11) | 1064 | 5445 | %Cft | 57935
3 | Dismateling cement concreat plane 1:3:6 ratio.(S.I.No19© /P.11) |  | 1806.8 | %Cft | 0
4 | Apply flooting coat of cement 1-1/32"thick (S.No;14/p>52) | 660 | 8694.95 | %Cft | 57387
5 | Removing cement plaster or lime martor | 11113 | 121 | %Cft | 13447
6 | Pacca brick work in foundation and plinth in cement sand ratio 1:6. (S.I.No 14 P.24). | 2133 | 11948.36 | %Sft | 254859
7 | R.C.C work in/c all labour and material except the cost of steel reniforcement and its labour for bending bimding wwich will be paid sepretely. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering washing of shingle surface. (a) R.C.C work in roof slabs. Beams, collums, rafts, lintels and other structural members laid situ or precast laid in position ,complete in all respects ratio 1:2:4 (S.I.No.6(A) P.No.16). | 1735 | 337 | P.Cft | 584695
8 | Fabrication of mild steel reniforcement for concreat i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also removal of rust from bars (S.I. No.7. P.20). | 69.97 | 5001.7 | P.Cwt | 349969
9 | Pacca brick work in other then building (S.I.No 7(e) P.21). | 5981 | 12346.65 | %Cft | 738453
10 | Pacca brick work in g/floor i/c in strucking of joints in cement sand ratio 1:6. (S.I.No 5 P.24). | 93 | 12674.36 | %Sft | 11787
11 | Cement Plaster 1:6 upto 20"height (b) 1/2" thick.(S.I.No.13(b) P.No.57). | 25935 | 2206.6 | %Sft | 572282
12 | Cement Plaster 1:4 upto 20"height (c) 3/8" thick.(S.I.No.11 P.No.51). | 25935 | 2197.52 | %Sft | 569927
13 | Cement pointing struct joints on walls (1:2).(S.No.:19/P.58) | 6360 | 1287.55 | %Sft | 81888
14 | P/F G.I ftames/chowkets of size 7"x2" or 4 1/2 "x3" for Doors desigen 20 guage G.I sheet G.I sheet i/c welded hinges and fixing at stie with necessary bold fasts, filling with cement sand salry of ratio 1:6 and reparing the jambs. The cost also i/c all ca | 48 | 228.9 | P.Rft | 10987
15 | Extra labour rate making cement plaster pattas/bend around stringht covered opening and around the edges of roof slabes the width not less then 6" with the fine finishing.(S.I.No.35/P.61). | 1462 | 19.36 | P.Sft | 28304
16 | First class Deodar wood wrought joinery in doors and Windows etc fixed in position i/c chowkates, hold fasts hinges iron tower bolts, Cleads, handles and cords with hooks etc deaodar paneld or paneled and glazed or fully glazed 1: 3/4" thick. (S.I.No.7(b). P.No.65). | 62 | 902.93 | P.Sft | 55982
17 | Cement Plaster (1:4)upto 20" hight 3/4"thick (S.No:11/P,55) | 731 | 3015.76 | %Sft | 22045
18 | M/F steel grated door with flate 2"x3/8" and 3/4" sq: bars at 4" cc. (S.No:25(b)P.91) | 190 | 726.72 | P.Sft | 138077
19 | P/L Hala patern tiles 6"x6"x1/4" on floor or wall facing in required colour and pattern of specification jointed in white cement and pigment over a base of 1:2 greycement mortor 3/4"thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No.61. P.No.54). | 167 | 47651.56 | %Sft | 79578
20 | Cement Concrete Plaing 1:2:4i/c placing compacting finishing curring complete i/c screes and washing of stone agregate with out shuttering. (S.I.No.5(f) P.18). | 22 | 14429 | %Cft | 3174
21 | Laying floor of approved with glazed tile 1/4"thick in white cement 1.2.over 3/4"thick cement mortor 1.2. complete (s.i.n.o24p-42) | 136 | 27679.86 | %Sft | 37645
22 | White glazed tiles 1/4" thick dado jointed in white cement and liad over 1.2. cement sand mortor 3/4"thick i/c finishing (s.i.no-37-p-44) | 131 | 28299.3 | %Sft | 37072
23 | Providing & fixing barbed wire fencing with 12 gauge -4 points @ 6" apart barbed wire I/c straightening & fixing in angle iron vertical posts. (S.I No.09/P-95) | 1300 | 8.38 | P.Sft | 10894
24 | Providing & fixing angle iron vertical plsts for barbed wire fencing of size 2" x 2" 1/4" embedded in RCC /Masonry pillars I/c Making cuts/ holders @ 12" I/c fixing in pillars by chiseling and filling the with cement sand mortar, saprining & finishing the surface. (S.I No.08/P-95) | 104 | 169.18 | P.Sft | 17595
25 | White wash three coatas.(S.I.No.26/P.53). | 227 | 829.95 | %Sft | 1884
26 | Colour Wash Two coatas.(S.I.No.26/P.53). |  | 1303.39 | %Sft | 0
27 | Primary coat of chalk under distempring.(S.I.No.23/P.53). | 25935 | 442.75 | %Sft | 114827
28 | Distempering three coats.(S.I.No.23/P.53). | 25935 | 1079.65 | %Sft | 280007
29 | Preparing surface panting Doors and windows any type i/c edges 3 coats.New surface.(S.I.No.06/P.76). | 353 | 2116.41 | %Sft | 7471
30 | Preparing surface panting Doors and windows any type i/c edges 3 coats.New surface.(S.I.No.06/P.76). | 240 | 1277 | %Sft | 3065
|  | G.Total Part (A) |  |  | 4182903
Part-B (Water Supply & sanatry Fittings)
1 | Providing and fixing squatting type while glazed of flushing cistern with internal fitting & flush pipe with bend and making requisite numbers of holes in wall plinth & floor for pipe connection & making good in cement concreat 1:2:4 W.C With 4"dia earthen ware trap and plasic thumble. (S.No:1/P.01) | 5 | 5044.6 | P.Rft | 25223
2 | Providing G.I pipe special and clamps etc i/c fixing cutting and fittings complete with and i/c the cost of breking through walls and roof making good etc painting two coats the collour of the building and testing with water preasure head of 200 feet and
a | 1/2"dia | 120 | 73.21 | P.Rft | 8785
b | 3/4"dia | 140 | 95.79 | P.Rft | 13411
3 | 1"dia | 42 | 128.55 | P.Rft | 5399
a | 1-1/4"dia | 190 | 153.19 | P.Rft | 29106
b | Providing R.C.C pipes and collars of class B and fitting in treach i/c cutting fitting and jointing with maxphalt composition and cement mortor 1:1 i/c testing with water preasure to a head of 4"feet above the top of the height pipe and refilling with ex
c | 4"dia | 140 | 146.57 | P.Rft | 20520
d | 6"dia | 140 | 199.25 | P.Rft | 27895
4 | P/F Cancealed stop cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 7 | 889.46 | Each | 6226
a | P/F Cancealed long cock of superior quality with c.p head 1/2"dia. (S.No:13(a)/P.15). | 7 | 1109.46 | Each | 7766
b | P/F Handel Valves (China). (S.No:07/P,14)
5 | 1/2"dia | 4 | 200.42 | Each | 802
6 | 3/4"dia | 4 | 271.92 | Each | 1088
7 | Boring for tube well in wall bearing nails fro ground level upto 100ft for 30.50 meter depth i/c making and with drawing of costing pipe (PHE S.I No.01/P-36) |  | 160 | P.Rft | 0
8 | P/F In position Nylon connections of complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nylon conection. (S.No:23/P06). | 8 | 447.15 | Each | 3577
9 | Providing and fixing 22"x16"lavatory basin in white glazed earthen ware complete cwith and including the cost of WI or CI cantilever brackets 6"built into walls, pantinted white in two coat of red lead paint a pair of 1/2"dia CI dia chrome (S.I.No:12.P/4). | 3 | 4694.8 | Each | 14084
10 | Add Extera for Labour for providing and fixing earthen ware padistal white or coloured glazed.(S.I.No11.p/3) | 3 | 2533.47 | Each | 7600
11 | P/F 6x"2" or 6"x3" C.I Floor trip of the Approved seld cleaning down etc | 3 | 2024.43 | Each | 6073
a | Providing and installing hand pump with all accessories 1-1/2"dia coir strainer with wooden shoe i/c boring fitting fixing etc complete.(R.A Approved).
b | Filter Pipe | 30 | 76.05 | P.Rft | 2282
12 | Boring Pipe | 190 | 38.95 | P.Rft | 7401
13 | S/F Approved quality motor pump set singel phase motor 1.00 H.P etc Complete 1:2:4 Plate from i/c fitting with C.I nuts and bolts.(R.A Approved). | 3 | 18470 | Each | 55410
14 | S/F Swan type Piller Cock of Superior Quality C.P head (S.I.No:18(b) P/16) | 4 | 795.3 | Each | 3181
15 | Providing Chamber 15"x19" inside Dimantion 24" depth for homes meters etc | 3 | 5913.22 | Each | 17740
|  | G.Total Part (B) |  |  | 263569
|  | Total Part A + B |  |  | 4446472
|  | Cost Of Carriage |  |  | 290204
|  | G.TOTAL |  |  | 5000245
|  |  | Say | Rs: | 5
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 16
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Elementary & Secondary Schools in District Sanghar (21-Units) Package-1 Taluka Sanghar @ GBHS. Khatoon-E-Fatima (Toilet) GGLSS. Chak No. 04 (Toilet) GGHS. Perumal (Toilet) GBHS. Chak No. 40 (Toilet) GGLSS.Molvi Khair Muhammad (Toilet) GBLSS. 18 mile (Toilet) GBHS. Choudhry Barkat Ali (Toilet) (Electrification).
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 16 | 910 | Each | 14560
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 7 | 742 | Each | 5194
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 79 | 118 | P.Mtr | 9322
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 120 | 213 | P.Mtr | 25560
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 16 | 70 | Each. | 1120
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 16 | 916 | Each. | 14656
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 7 | 2456 | Each. | 17192
|  |  |  | Total | 87604
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 16 | 130 | P.No. | 2080
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 7 | 295 | P.No. | 2065
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 8 | 350 | P.No. | 2800
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 8 | 989 | P.Sft | 7912
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 16 | 600 | P.No. | 9600
|  |  |  | Total | 24457
|  |  | Total A+ B |  | 112061
|  |  | Say | Rs: | 0.112
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 17
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Elementary & Secondary Schools in District Sanghar (21-Units) Package-2 Taluka Khipro @ GGLSS. Khipro (Toilet) GBHS. Khahi (Toilet) GBLSS. Haji Faiz M. Hingorjo (Toilet) (Electrification).
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 12 | 910 | Each | 10920
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 98 | 118 | P.Mtr | 11564
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 124 | 213 | P.Mtr | 26412
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 12 | 70 | Each. | 840
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
|  |  |  | Total | 70322
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 12 | 130 | P.No. | 1560
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 3 | 295 | P.No. | 885
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 3 | 350 | P.No. | 1050
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 3 | 989 | P.Sft | 2967
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 12 | 600 | P.No. | 7200
|  |  |  | Total | 13662
|  |  | Total A+ B |  | 83984
|  |  | Say | Rs: | 0.084
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 18
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Elementary & Secondary Schools in District Sanghar (21-Units) Package-3 Taluka Sinjhoro @ GBHS. Rukan Burira (Toilet) GBHS. Sinjhoro (Toilet) GGHS. Rawtiani (Toilet) GBHS. Deh 22 Jamrao (Toilet) (Electrification)
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 16 | 910 | Each | 14560
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 4 | 742 | Each | 2968
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 122 | 118 | P.Mtr | 14396
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 170 | 213 | P.Mtr | 36210
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 16 | 70 | Each. | 1120
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 16 | 916 | Each. | 14656
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 4 | 2456 | Each. | 9824
|  |  |  | Total | 93734
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 16 | 130 | P.No. | 2080
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 4 | 295 | P.No. | 1180
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 4 | 350 | P.No. | 1400
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 4 | 989 | P.Sft | 3956
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 16 | 600 | P.No. | 9600
|  |  |  | Total | 18216
|  |  | Total A+ B |  | 111950
|  |  | Say | Rs: | 0.112
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 19
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Elementary & Secondary Schools in District Sanghar (21-Units) Package-4 Taluka Shahdadpur @ GBHS. Shahpur Chaker (Toilet) GBHS. Lundo (Toilet) GBHS. Shahdadpur (Toilet) GB. Provincial H.S Shahdadpur (Toilet) (Electrification).
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 25 | 910 | Each | 22750
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 12 | 742 | Each | 8904
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 172 | 118 | P.Mtr | 20296
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 288 | 213 | P.Mtr | 61344
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 25 | 70 | Each. | 1750
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 25 | 916 | Each. | 22900
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 4 | 2456 | Each. | 9824
|  |  |  | Total | 147768
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 25 | 130 | P.No. | 3250
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 12 | 295 | P.No. | 3540
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 4 | 350 | P.No. | 1400
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 4 | 989 | P.Sft | 3956
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 25 | 600 | P.No. | 15000
|  |  |  | Total | 27146
|  |  | Total A+ B |  | 174914
|  |  | Say | Rs: | 0.175
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 20
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- Repair & Maintenance of existing nonfunctional Toilets & damaged Boundary Walls of different Elementary & Secondary Schools in District Sanghar (21-Units) Package-5 Taluka Tando Adam @ GBHS. Jamia Millia T.Adam (Toilet) GBHS. Mir Hassan Mari (Toilet) GBHS. Bakar Nizamani (Toilet) (Electrification).
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 10 | 910 | Each | 9100
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 6 | 742 | Each | 4452
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 50 | 118 | P.Mtr | 5900
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 94 | 213 | P.Mtr | 20022
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 10 | 70 | Each. | 700
6 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 10 | 916 | Each. | 9160
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
|  |  |  | Total | 56702
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 10 | 130 | P.No. | 1300
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 6 | 295 | P.No. | 1770
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 3 | 350 | P.No. | 1050
4 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 3 | 989 | P.Sft | 2967
5 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 10 | 600 | P.No. | 6000
|  |  |  | Total | 13087
|  |  | Total A+ B |  | 69789
|  |  | Say | Rs: | 0.07
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 21
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- (ADP.No. 153) Early Childhood Education (ECE) Intervention Shaheed Benazirabad Division (08-Units) District Sanghar (02-Units) @ GGPS. Urdu Main Tando Adam (Civil Work).
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 1414 | 3176.25 | %OCft | 4491.2175
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 484 | 8694.95 | %Cft | 42083.558
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1355 | 11948.36 | %Cft | 161900.278
4 | Filling watering and ramming earth from Foudation lead upto one chain and lift upto 5' feet (S.I.No. 21 P-04). | 641 | 1512.5 | %0Cft | 970
5 | Filling watering and remming earth ground floor with new earth excavated from out side lead upto 1 chain and lift upto 5' feet (S.I.No. 22 P-4) | 656 | 3630 | %0Cft | 2381
6 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 556 | 337 | P.Cft | 187372
7 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16)
| (A) Tor Bar. | 27.3 | 5001 | P.Cwt | 136527.3
| (B) Mild Steel. | 2.48 | 4820.2 | P.Cwt | 11954.096
8 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) | 1372 | 12674.36 | %Cft | 173892
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 3160 | 2206.6 | %Sft | 69728.56
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 3160 | 2197.52 | %Sft | 69441.632
11 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) Shutters. | 160 | 1273.36 | P.Sft | 203737.6
12 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) | 37 | 180.5 | P.Sft | 6678.5
13 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 776 | 3275.5 | %Sft | 25417.88
14 | Laying floor of approved white tiles 1/4" thickl laid in white cement & pigment on a bed of 3/4' thick cement morter (S.I.No 25 P.No 42) | 106 | 27747.06 | %Sft | 29412
15 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 121 | 28299.3 | %Sft | 34242.153
16 | Making noitce board with cement (S.I.No 1 P.No 100) | 24 | 58.11 | P.Sft | 1394.64
17 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 694 | 829.95 | %Sft | 5759.853
18 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 2645 | 442.75 | %Sft | 11711
19 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | 2645 | 1079.65 | %Sft | 28557
20 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 320 | 2116.41 | %Sft | 6772.512
21 | Providing & Laying floor of verona Marble tiles of size 12"x12"x3/4" fihe dressed on the surface with out winding set in white cement laid over 3/4" thick bed of 1:2 gery cement mortar setting the tilese with gery cement slurry Jointing and washing the tiles with slurry of white cement and pigment to match the colour of the tile includingcurring grinding rubbing and chemical polishing etc complete i.c cutting tiles to proper profile | 394 | 310.43 | P.Sft | 122309.42
|  |  | G.Total Part A" |  | 1336734.1995
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F squating type white glazsed earthen ware W.C. pan with I/c cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4.(a) W.C. pan of not less than 23" clear opening between flushing rims and 3 gallons flushing tank (i) with 4@ dia C.I. trape.(S.I.No.1(b-i)/P-1). | 1 | 4820 | Each | 4820
2 | P/F 6"x2" or 6"x3" C.I floor trap of the approved self cleaning designe with a C.I screwed down gratting with or without a vent arm complete with & I/c making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1:2:4 (S.I.No. 20/P-6). | 1 | 2024 | Each | 2024
3 | P/F 4" dia C.I Soil vent pipe i/c cutting & fitting and painting to a match the colour of the building (S.I.No. 01 P.No. 09). | 6 | 333.29 | P.Rft | 2000
4 | S/F 4" dia C.I termical guard i/c extra painting t match the colour of the building (S.I.No 11 P.No 10) | 1 | 389.7 | Each | 390
5 | Providing and fixing 4" x4" x4 dia C.I branch of the required degree with access door. Rubber washer 3/8" thick and builts & nuts and extra painting to match the colour of the building.(S.I.No.5/P-09) | 1 | 702.6 | Each | 703
6 | P/F concealed stop cock or superior quality with C.P head 1/2" dia (S.I.No. 12(a) P/19). | 2 | 889.46 | Each | 1779
7 | P/F Concealed long bib cock or superior quality with C.P head 1/2" dia (S.I.No. 13 (a) P/18). | 3 | 1109.46 | Each | 3328
8 | P/F handle volves china (S.I.No. 7 P.No. 14)
| 1/2" dia. | 2 | 200.42 | Each | 401
9 | Supplying & fixing fiber glass tank of approved quality and desing and wall thickness as specified I/c cost of nuts, bolts and fixing in plateform of cement concrete 1:3:6 and making connections for in let out let & over flow inlet outlet flow pipes etc. complete .(S.I.No.3(a)/P-21) | 1 | 21990 | Each | 21990
10 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 4" dia | 80 | 146.57 | P.Rft | 11725.6
11 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling (S.I.No. 2 P/12).
| a) 1/2" dia | 30 | 73.21 | P.Rft | 2196.3
| b)- 3/4" dia | 30 | 86.36 | P.Rft | 2590.8
12 | P/F 24"x18" Lav: Bassin in white Glazed orthen ware complete with & I/cthr cost of W.I or C.I contilever breakete 6" built into walls painted white in coats after a primary coat of red laid 1-1/2" dia rubber washer and making requisete Nos of holes for pipe connection and making good in cement concrete 1:2:4 (Standrd Pattern) (S.I No:8/P-3). | 1 | 4254 | Each | 4254
13 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed | 1 | 938.47 | Each | 938
14 | Providing& Fixing 24"x18x8" white glazed fire clay sinks complete with 6 inches built into walls 1/2" dia rubber plug & chrome plated brass chain 1/2" cp brass washer 1-1/2" etc Sno 17 p No 05 | 1 | 4391 | Each | 4391
15 | Providing PVC Pipes of Class "D" (equivalent) in trenches I/c cutting fitting and jointing with "Z" joints with one rubber ring I/c testing with water to a head of 122 meters or 400 feet (25 mm) 1" dia (S.I.No.3/P-23). | 250 | 28 | P.Rft | 7000
16 | Providing and fixing water pimping set 1/2 Hp Mono Block Single Phase 220 Volts with 1"x4" suctionand delivery 50 ft head 1/c making C C 1:3:6 Plate form of requred size and fixing with nuts and bolts (Local made) (R.A) | 1 | 4417.7 | Each | 4418
| G.Total Part B" |  |  | Rs: | 74948.7
| G.Total Part A" |  |  | Rs: | 1336734.1995
| Grand Total Part A" + B" |  |  | Rs: | 1411682.8995
| Cost OF Carriage Of Material |  |  | Rs: | 223317
|  |  | G.Total | Rs: | 1634999.8995
|  |  | Say | Rs: | 1.635
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR
Note on E25: Anwer ali:

## 22
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- (ADP.No. 153) Early Childhood Education (ECE) Intervention Shaheed Benazirabad Division (08-Units) District Sanghar (02-Units) @ GGPS. Urdu Main Tando Adam (Electrification).
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 18 | 910 | Each | 16380
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 4 | 742 | Each | 2968
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 49 | 118 | P.Mtr | 5782
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 33 | 213 | P.Mtr | 7029
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 14 | 70 | Each. | 980
6 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 4 | 72 | Each. | 288
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 4 | 916 | Each. | 3664
8 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
9 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
10 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 30 | 375 | P.Mtr | 11250
11 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 4 | 3185 | Each. | 12740
|  |  |  | Total | 64536
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 18 | 130 | P.No. | 2340
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 4 | 295 | P.No. | 1180
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 2 | 350 | P.No. | 700
4 | P/F fan dimmer 220/240 volts fancy type imported make with necessary connection etc complete (China make). | 4 | 350 | P.No. | 1400
5 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 1.5 | 989 | P.Sft | 1483.5
6 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 14 | 600 | P.No. | 8400
|  |  |  | Total | 15503.5
|  |  | Total A+ B |  | 80039.5
|  |  | Say | Rs: | 0.08
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 23
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- (ADP.No. 153) Early Childhood Education (ECE) Intervention Shaheed Benazirabad Division (08-Units) District Sanghar (02-Units) @ GGPS. Khipro-I (Civil Work).
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 1414 | 3176.25 | %OCft | 4491.2175
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 484 | 8694.95 | %Cft | 42083.558
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1355 | 11948.36 | %Cft | 161900.278
4 | Filling watering and ramming earth from Foudation lead upto one chain and lift upto 5' feet (S.I.No. 21 P-04). | 641 | 1512.5 | %0Cft | 970
5 | Filling watering and remming earth ground floor with new earth excavated from out side lead upto 1 chain and lift upto 5' feet (S.I.No. 22 P-4) | 656 | 3630 | %0Cft | 2381
6 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 556 | 337 | P.Cft | 187372
7 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16)
| (A) Tor Bar. | 27.3 | 5001 | P.Cwt | 136527.3
| (B) Mild Steel. | 2.48 | 4820.2 | P.Cwt | 11954.096
8 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) | 1372 | 12674.36 | %Cft | 173892
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 3160 | 2206.6 | %Sft | 69728.56
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 3160 | 2197.52 | %Sft | 69441.632
11 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) Shutters. | 160 | 1273.36 | P.Sft | 203737.6
12 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) | 37 | 180.5 | P.Sft | 6678.5
13 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 776 | 3275.5 | %Sft | 25417.88
14 | Laying floor of approved white tiles 1/4" thickl laid in white cement & pigment on a bed of 3/4' thick cement morter (S.I.No 25 P.No 42) | 106 | 27747.06 | %Sft | 29412
15 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 121 | 28299.3 | %Sft | 34242.153
16 | Making noitce board with cement (S.I.No 1 P.No 100) | 24 | 58.11 | P.Sft | 1394.64
17 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 694 | 829.95 | %Sft | 5759.853
18 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 2645 | 442.75 | %Sft | 11711
19 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | 2645 | 1079.65 | %Sft | 28557
20 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 320 | 2116.41 | %Sft | 6772.512
21 | Providing & Laying floor of verona Marble tiles of size 12"x12"x3/4" fihe dressed on the surface with out winding set in white cement laid over 3/4" thick bed of 1:2 gery cement mortar setting the tilese with gery cement slurry Jointing and washing the tiles with slurry of white cement and pigment to match the colour of the tile includingcurring grinding rubbing and chemical polishing etc complete i.c cutting tiles to proper profile | 394 | 310.43 | P.Sft | 122309.42
|  |  | G.Total Part A" |  | 1336734.1995
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F squating type white glazsed earthen ware W.C. pan with I/c cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4.(a) W.C. pan of not less than 23" clear opening between flushing rims and 3 gallons flushing tank (i) with 4@ dia C.I. trape.(S.I.No.1(b-i)/P-1). | 1 | 4820 | Each | 4820
2 | P/F 6"x2" or 6"x3" C.I floor trap of the approved self cleaning designe with a C.I screwed down gratting with or without a vent arm complete with & I/c making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1:2:4 (S.I.No. 20/P-6). | 1 | 2024 | Each | 2024
3 | P/F 4" dia C.I Soil vent pipe i/c cutting & fitting and painting to a match the colour of the building (S.I.No. 01 P.No. 09). | 6 | 333.29 | P.Rft | 2000
4 | S/F 4" dia C.I termical guard i/c extra painting t match the colour of the building (S.I.No 11 P.No 10) | 1 | 389.7 | Each | 390
5 | Providing and fixing 4" x4" x4 dia C.I branch of the required degree with access door. Rubber washer 3/8" thick and builts & nuts and extra painting to match the colour of the building.(S.I.No.5/P-09) | 1 | 702.6 | Each | 703
6 | P/F concealed stop cock or superior quality with C.P head 1/2" dia (S.I.No. 12(a) P/19). | 2 | 889.46 | Each | 1779
7 | P/F Concealed long bib cock or superior quality with C.P head 1/2" dia (S.I.No. 13 (a) P/18). | 3 | 1109.46 | Each | 3328
8 | P/F handle volves china (S.I.No. 7 P.No. 14)
| 1/2" dia. | 2 | 200.42 | Each | 401
9 | Supplying & fixing fiber glass tank of approved quality and desing and wall thickness as specified I/c cost of nuts, bolts and fixing in plateform of cement concrete 1:3:6 and making connections for in let out let & over flow inlet outlet flow pipes etc. complete .(S.I.No.3(a)/P-21) | 1 | 21990 | Each | 21990
10 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 4" dia | 80 | 146.57 | P.Rft | 11725.6
11 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling (S.I.No. 2 P/12).
| a) 1/2" dia | 30 | 73.21 | P.Rft | 2196.3
| b)- 3/4" dia | 30 | 86.36 | P.Rft | 2590.8
12 | P/F 24"x18" Lav: Bassin in white Glazed orthen ware complete with & I/cthr cost of W.I or C.I contilever breakete 6" built into walls painted white in coats after a primary coat of red laid 1-1/2" dia rubber washer and making requisete Nos of holes for pipe connection and making good in cement concrete 1:2:4 (Standrd Pattern) (S.I No:8/P-3). | 1 | 4254 | Each | 4254
13 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed | 1 | 938.47 | Each | 938
14 | Providing& Fixing 24"x18x8" white glazed fire clay sinks complete with 6 inches built into walls 1/2" dia rubber plug & chrome plated brass chain 1/2" cp brass washer 1-1/2" etc Sno 17 p No 05 | 1 | 4391 | Each | 4391
15 | Providing PVC Pipes of Class "D" (equivalent) in trenches I/c cutting fitting and jointing with "Z" joints with one rubber ring I/c testing with water to a head of 122 meters or 400 feet (25 mm) 1" dia (S.I.No.3/P-23). | 250 | 28 | P.Rft | 7000
16 | Providing and fixing water pimping set 1/2 Hp Mono Block Single Phase 220 Volts with 1"x4" suctionand delivery 50 ft head 1/c making C C 1:3:6 Plate form of requred size and fixing with nuts and bolts (Local made) (R.A) | 1 | 4417.7 | Each | 4418
| G.Total Part B" |  |  | Rs: | 74948.7
| G.Total Part A" |  |  | Rs: | 1336734.1995
| Grand Total Part A" + B" |  |  | Rs: | 1411682.8995
| Cost OF Carriage Of Material |  |  | Rs: | 223317
|  |  | G.Total | Rs: | 1634999.8995
|  |  | Say | Rs: | 1.635
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR
Note on E25: Anwer ali:

## 24
SCHEDULE OF PRICES (BOQ)
NAME OF WORK:- (ADP.No. 153) Early Childhood Education (ECE) Intervention Shaheed Benazirabad Division (08-Units) District Sanghar (02-Units) @ GGPS. Khipro - I (Electrification).
S.No. | Name of Item | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 18 | 910 | Each | 16380
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 4 | 742 | Each | 2968
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 49 | 118 | P.Mtr | 5782
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 33 | 213 | P.Mtr | 7029
5 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 14 | 70 | Each. | 980
6 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 4 | 72 | Each. | 288
7 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 4 | 916 | Each. | 3664
8 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
9 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
10 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 30 | 375 | P.Mtr | 11250
11 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 4 | 3185 | Each. | 12740
|  |  |  | Total | 64536
PART" B"
1 | Providing and fixing flush type fancy type switch 10 Amps i/c plastic board imported made etc complete. | 18 | 130 | P.No. | 2340
2 | Providing and fixing flush type 2- pin plug socket 10 amps with fancy type board and sheet i/c necessary connection | 4 | 295 | P.No. | 1180
3 | Providing and fixing flush type 3- pin plug socket 15 amps with fancy type board and sheet i/c necessary connection | 2 | 350 | P.No. | 700
4 | P/F fan dimmer 220/240 volts fancy type imported make with necessary connection etc complete (China make). | 4 | 350 | P.No. | 1400
5 | Providing and fixing pannel board 3'x4" double shuter for accommodate circuit bracker and buss bar i/c painting with enameled paint | 1.5 | 989 | P.Sft | 1483.5
6 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 14 | 600 | P.No. | 8400
|  |  |  | Total | 15503.5
|  |  | Total A+ B |  | 80039.5
|  |  | Say | Rs: | 0.08
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 25
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- (ADP-NO-255) Up gradation of Middle School to High School & High School to Higher Secondary Schools in Sindh 2007-08 Programme @ GBMP. Rais Brohi (B/work) Taluka Shahdadpur District Sanghar
S.No | Name Of Item | Quantity | Rate | Unit | Amount
PART -A CIVIL WORK
1 | Supplying and fixing in position iron/steel grill of 3/4" * 1/4" flat iron of approved design including painting 3 coats etc, complete (weight not less than 3.70 Lbs per sq. ft. of finished grill.(s.i.no-26-p-92) | 131 | 180.5 | Sft | 23645.5
2 | laying white marble flooring fine drssed on the the surface without winding set laying in mortor 1.2 ratio i/c rubbing polishing of the joints(S.item no-28-p-42) | 1984 | 567.48 | %Sft | 1125880.32
3 | P/F 3/8"Thick white marble of approved quality colour & shade size 8x4" in dado skirting and facing removal & tucking of existing plaster over 1/2" thick base of cement mortor i/c jointing of washing the tiles with white cement slurry finishing & & polishing comp(S.item no-68p-48 | 217 | 186.04 | %Sft | 40370.68
| G.Total Part A" |  |  | Rs: | 1189896.5
| Cost of Carriage of Material |  |  | Rs: | 9620
|  |  | G.Total | Rs: | 1199516.5
|  |  | Say | Rs: | 1.2
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR

## 26
SCHDULE OF PRICES ( BOQ )
(Description and rate of items based on composite schdule of Rates)
NAME OF WORK:- (ADP.No. 208) Rehabilitation / Renovation to existing Pry / Elementary Schools in Taluka Sanghar/Jam Nawaz Ali/ Shahdadpur District Sanghar 2011-12 Programme (09-Units) @ GBPS. Muhammad Hassan Lander (Ext. Development) Taluka Sanghar.
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) | 54 | 5445 | %Cft | 2940.3
2 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | 20 | 3327 | %Sft | 665.4
3 | Removing cement palster from walls (S.I.No. 53 P-13) | 636 | 121 | %Sft | 769.56
4 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) | 195 | 1285.63 | %Cft | 2506.9785
5 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 113 | 11948.36 | %Cft | 13501.6468
6 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 120 | 337 | P.Cft | 40440
7 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 6.3 | 5001.7 | Cwt | 31510.71
8 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 988 | 2206.6 | %Sft | 21801.208
9 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 988 | 2197.52 | %Sft | 21711.4976
10 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 229 | 3015.76 | %Sft | 6906.0904
11 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 1690 | 3275.5 | %Sft | 55355.95
12 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 432 | 4411.82 | %Sft | 19059.0624
13 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 84 | 829.95 | %Sft | 697.158
14 | Colour wash 2 coats ( S.I.No 25 P.No 54) | 1314 | 859.9 | %Sft | 11299.086
15 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 70 | 2116.41 | %Sft | 1481.487
16 | preparing surface and painting guard bars gates, iron bars, gratting, railling (i/c standard braces etc,) and similar open work. ( three coat) (NEW Surface) ( S.I.No: 05 - P.No: 70) | 172 | 1270 | %Sft | 2184.4
|  |  | G.Total Part A" |  | 229890.2347
PART B" WATER SUPPLY & SANITARY FITTING
S.No | Name Of Item | Quantity | Rate | Unit | Amount
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 1 (ii) P.No: 1) | 2 | 5044.6 | Each | 10089.2
2 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 80 | 73.21 | P.Rft | 5856.8
| ii) 3/4" dia pipe | 130 | 95.79 | P.Rft | 12452.7
3 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No: 3 P.No: 21)
| i) 6" dia | 6 | 199.3 | P.Rft | 1195.8
| i) 4" dia | 3 | 146.57 | P.Rft | 439.71
4 | Providing & Fixing brass bib cock superior quality ( S.I.No: 1 P.No: 16)
| 1/2"Thick | 2 | 337.92 | P.No | 675.84
| 3/4" Thick | 2 | 348.92 | P.No | 697.84
5 | S/F: concaled stop cock of superior quality with C.P head 1/2" dia (S.I.No: 7 (a) P.15)
| 3/4" dia | 2 | 478.28 | P.No | 956.56
6 | Providing and Fixing handle valves (Chaina) (S.I.No 5 P.No 17)
| 3/4" dia | 2 | 271.92 | P.No | 543.84
| 1/2" dia | 2 | 102.95 | P.No | 205.9
| 1" dia | 1 | 365.42 | P.No | 365.42
7 | P/F 24"x1" lavatory basin in white glazed earthen ware complete with and i/c cost of W.I or c.I cantilever brackets 6" inch bolts walls painted white in two coat after primary coat etc complete (S.8 P.3) | 1 | 4253.9 | Each | 4253.9
8 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed | 1 | 938.47 | Each | 938.47
9 | S/F swan type piler cock of superior quality single with C.P head 1/2" dia (S.I.No 18 P.No 16) | 1 | 795.3 | Each | 795.3
10 | P/F 15"x12" bell edge mirrio of belgium glass completew with 1/8" thick hard board & C.P screws fixed to wooden plate (S 4(a) P.7) | 1 | 1161.6 | Each | 1161.6
11 | P/F chorom plated brass towel rail complete with brackets fixing on wooden glass with 1" long C.P brass screws 3/4" dia round square (S.I.No 1 P.No 7) | 1 | 1269.95 | Each | 1269.95
12 | S/F Soap Tray Earthenware with CP screw etc complet (S.I.NO 5 P.7) | 1 | 497.2 | Each | 497.2
13 | Add: Extra labour for cancelled G.I. pipe and fitting i/c making reces in the wall for the pipe and making good in cement morter etc complete (S.I.No 2 P.No 11)
| i) 1/2" dia | 40 | 7.82 | P.Rft | 312.8
| i) 3/4" dia | 50 | 8.45 | P.Rft | 422.5
14 | Boring for tube well in all waters boring soils ground level upto 100ft or 30.5 meter depth i.c sinking & with drawing of casing pipe ( S.I.No: 9 P.NO: 43) | 80 | 160 | P.Rft | 12800
15 | S/F PVC Stainer B-classof approved design quality & make i/c necessary socket etc comp ( S.I.No: 9 . P.No: 43) | 10 | 166.35 | P.Rft | 1663.5
16 | S/F AC morot 1 HP phase i/c boring & fixing with G.I nuts bolts etc fixing at 1:2:4 cc.plate form (R.A) | 1 | 18470 | P.Rft | 18470
| G.Total Part B" |  |  | Rs: | 76064.83
| G.Total Part A" |  |  | Rs: | 229890.2347
| Grand Total Part A" + B" |  |  | Rs: | 305955.0647
| Cost of Carriage of Material |  |  | Rs: | 61191.0129
|  |  | G.Total | Rs: | 367146.0776
|  |  | Say | Rs: | 0.367
Note: Any variation in the description on item quantities, Rates if any as per Sanctioned Estimate will be accepted.
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR