Work No: 59

SPPRA BIDDING DOCUMENT

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS

(For Contracts costing up to Rs: 2.50 Millions)

Standard Bidding Documents is intended as a model for admeasurements (Percentage Rate / Unit price for unit rates in a bill of quantities). Type of Contract. The main text refers to admeasurements contracts.

Draft Biding documents for works up to       Millions

BIDDING DATA

(This section should be filled in by the Engineer / Procuring Agency before issuance of the Bidding Documents)

a) Name of Procuring Agency: 		MUNICIPAL COMMITTEE GAMBAT

b) Brief Description of Works: 	REPAIRING / RENOVATION OF M.C OFFICE GAMBAT IN TALUKA GAMBAT

c) Procuring Agencies Address: 	OFFICE OF THE CHAIRMAN MUNICIPAL COMMITTEE GAMBAT DISTRICT KHAIRPUR MIR’S

d) Estimated Cost:		 			997,300. 00

e) Amount of Bid Security: 				30,000. 00

f) Period of Bid validity (days): 			(90 Days)

g) Security Deposit: 						8%

h) Percentage, if any, to be deducted from bills: 		7.5% I.Tax

I) Deadline from submission of bids along with time: 		2.00 PM

j) Venue, Time & date of Bid Opening: 	@MUNICIPAL COMMITTEE GAMBAT OFFICE DATED ON 3.00 PM

k) Time for completion from written order of commence: 			12 Months

L) Liquidity Damages: 					N/A

M) Deposit receipt No: Date Amount:  (in words & figures)			N/A

(Executive Engineer / Authority Issuing Bidding Documents)

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk

Draft Biding documents for works up to       Millions

BILL OF QUANTITIES

(A) Description and rate of based on composite schedule of Rates

| Item No: | Qty. | Description of item to be executed at site at site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
|  | 660.00 | Dismantling Cement Plaster (CSI.No.20 P.No. 10) | 121.00 | P. Sft. | 799 |
|  | 330.00 | Excavation in foundation building bridges and other structures i/c dig belling dressing refilling around structures with excavated earth watering rimming lead up to on chain and lift up to 5’ ft. (CSI.No.18,P.No.4) | 3176.25 | P% Cft. | 1048 |
|  | 120.00 | Cement concrete Bricks or stone ballast without Shuttering. (CSI.No.8 P.No.18).Ratio 1:4:8 | 9416.28 | P%0 Cft. | 11300 |
|  | 232.18 | Pacca brick work in foundation and plinth in cement Mortar 1:6 (CSI.No.4 P.No.25). | 11948.36 | P% Cft | 27742 |
|  | 84.36 | RCC work in roof slab beams columns rafts lintels and other structural members laid in site or precuts laid in position complete in all respect. (CSI.No.6 (a), P.No.19). | 337.00 | P. Cft | 28429 |
|  | 3.38 | Fabrication of M.S Reinforcement for C.C. I/c cutting bending lying in position making joints and fastening I/c cost of binding wire also I/c removal of rust from bars. (CSI.No. (ii), P.No.20). | 4820.00 | P.Cwt | 16292 |
|  | 668.80 | Pacca brick work in ground floor in cement Mortar 1:6 (CSI.No.3 P.No.26). | 12674.36 | P%Cft | 84766 |
|  | 9.00 | RCC work in roof slab beams columns rafts lintels and other structural members laid in site or precuts laid in position complete in all respect. (CSI.No.6 (a), P.No.19). | 337.00 | P. Cwt | 3033 |
|  | 0.36 | Fabrication of M.S Reinforcement for C.C. I/c cutting bending lying in position making joints and fastening I/c cost of binding wire also I/c removal of rust from bars. (CSI.No. (ii), P.No.20). | 4820.00 | P.Cwt | 1735 |
|  | 24.37 | Pacca brick work in ground floor in cement Mortar 1:6 (CSI.No.3 P.No.26). | 12674.36 | P%Cft | 3089 |
|  | 4.92 | Providing and fixing guarder 4x8 of approved quality (SRMI NO: 140 (a) P-57) | 3850.00 | Cwt | 18942 |
|  | 5.09 | Providing and fixing T-iron of approved quality (SRMI NO: 144 P-10) | 3575.00 | Cwt | 18197 |
|  | 238.62 | Second class tiles roofing consisting of 4” earth and 1” mud plaster with gobri leaping over ½” thick cement plaster 1:6 with 34 lbs of hot bitumen coating sand blinded providing over one layer of 12” x 6” x 2” tiles laid in 1:6 cement mortar including (1:2) curing complete. | 7607.25 | Sft | 18152 |
|  | 200.00 | Supply and Filling sand under floor plugging in to wall (CSI No: P-58) | 1141.25 | P%Cft | 2283 |
|  | 66.00 | Cement concrete Bricks or stone ballast without Shuttering. (CSI.No.8 P.No.18).Ratio 1:4:8 | 9416.28 | P%0 Cft. | 6215 |
|  | 74.56 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without Shuttering. (CSI.No.4 P.No.18).Ratio 1:2:4 | 14429.25 | P%Cft | 10758 |
|  | 2550.50 | Cement Plaster ½” thick 1:6 up to 20’ ft height (CSI, No: 13 P-52) | 2122.12 | P. Sft | 54140 |
|  | 2550.50 | Cement Plaster ½” thick 1:6 up to 20’ ft height (CSI, No: 13 P-52) | 2197.52 | P. Sft | 56048 |
|  | 33.50 | Making and fixing steel grated doors complete with locking arrangement angel with iron frame 2” x 2” 3/8” & ¾” squire bars 4” Centre to Centre (CSI, No: 23 P/92) | 594.57 | P. Sft | 24080 |

Continued……

|  | 67.00 | First Class deodar wood wrought joinery in door and windows any type including fixing in position only shelter less (CSI, No: 07 P-57) | 933.93 | P. Sft | 62561 |
| --- | --- | --- | --- | --- | --- |
|  | 7901.75 | White washing two coat (CSI, No: 26 (a) P-54) | 425.84 | P. Sft | 33649 |
|  | 7901.75 | Distempering with two coats (CSI, No: 24 P-54) | 1043.90 | P. Sft | 82486 |
|  | 388.25 | Laying floor of approved with glazed tile ¼” thick in white cement 1:2 over ¾” thick cement mortar 1:2 complete (CSI, No: 24 P-42) | 27678.86 | P. Sft | 107463 |
|  | 210.00 | White glazed tile ¼” thick dado jointed in cement and laid over 1:2 cement sand mortar ¾” thick including finishing (CSI, No: 37 P-44) | 28253.00 | Sft | 59333 |
|  | 581.06 | Painting new surface preparing surface painting door & windows any types two coats (CSI, No: 4(c) P-68) | 1160.06 | Sft | 6740 |
| TOTAL |  |  |  |  | 739280 |

Amount Total (a)

……………………………………..% above / below on the rates of CSR.

Amount to be added / deducted on the basis

Of premium quoted

Total (A) = a + b in words & figure

CONTRACTOR					EXECUTIVE ENGINEER / PROCURING AGENCY

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk

Draft Biding documents for works up to       Millions

BILL OF QUANTITIES

(B) DESCRIPTION AND RATE OF ITEMS BASED ON MARKET (OFFERED RATES)

| Item No: | Quantities | Description of item to be executed at site at site |  | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- | --- |
|  | 8.00 |  | Supply office Chair 1st class deodar wood for offices | 3450.00 | Each | 27600 |
|  | 03.00 |  | Supply office peon benches 1st class deodar wood for offices | 3140.00 | Each | 9420 |
|  | 1650.00 |  | Colored Gresham for wall | 45.50 | P.Sft | 75075 |
|  | 2.00 |  | Revolving chairs for offices | 20000.00 | Each | 40000 |
| TOTAL |  |  |  |  |  | 152095 |

Total (B) in words & figures:

Contractor							Executive Engineer/Procuring Agency

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk

Summary of Bill of Quantities.

Cost of Bid 								Amount

- (A) Cost based on Composite Schedule of Rates.				Rs: 739,280/=

2. (B) Cost based on Non/Offered Schedule of Rates.				Rs: 152,095/=

Total A+ B	Rs: 891,375/=

TOTAL COST OF BID (C) = Total (A) + Total (B)

Contractor						Executive Engineer/Procuring Agency

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk