Work No: 14

SPPRA BIDDING DOCUMENT

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS

(For Contracts costing up to Rs: 2.50 Millions)

Standard Bidding Documents is intended as a model for admeasurements (Percentage Rate / Unit price for unit rates in a bill of quantities). Type of Contract. The main text refers to admeasurements contracts.

Draft Biding documents for works up to       Millions

BIDDING DATA

(This section should be filled in by the Engineer / Procuring Agency before issuance of the Bidding Documents)

a) Name of Procuring Agency: 		MUNICIPAL COMMITTEE GAMBAT

b) Brief Description of Works: 	SURFACE DRAINS @SHAFQAT SHAH MOHALLA WARD NO:04 GAMBAT

c) Procuring Agencies Address: 	OFFICE OF THE CHAIRMAN MUNICIPAL COMMITTEE GAMBAT DISTRICT KHAIRPUR MIR’S

d) Estimated Cost:		 			999,600. 00

e) Amount of Bid Security: 				30,000. 00

f) Period of Bid validity (days): 			(90 Days)

g) Security Deposit: 						8%

h) Percentage, if any, to be deducted from bills: 		7.5% I.Tax

I) Deadline from submission of bids along with time: 		2.00 PM

j) Venue, Time & date of Bid Opening: 	@MUNICIPAL COMMITTEE GAMBAT OFFICE DATED ON 3.00 PM

k) Time for completion from written order of commence: 			12Months

L) Liquidity Damages: 					N/A

M) Deposit receipt No: Date Amount:  (in words & figures)			N/A

(Executive Engineer / Authority Issuing Bidding Documents)

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk

Draft Biding documents for works up to       Millions

BILL OF QUANTITIES

(A) Description and rate of based on composite schedule of Rates

| Item No: | Qty. | Description of item to be executed at site at site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
|  | 46.68 | Dismantling RCC Cement Concrete Re-enforced separating re-enforcement concrete cleaning and strengthening the same (CSI.No.20 P.No. 10) | 5445.00 | P% Cft. | 2542 |
|  | 12.50 | Dismantling brick work lime or cement mortar (CSI.No.13 P.No. 10) | 1285.63 | P% Cft. | 1446 |
|  | 3342.25 | Excavation in foundation building bridges and other structures i/c dig belling dressing refilling around structures with excavated earth watering rimming lead up to on chain and lift up to 5’ ft. (CSI.No.18,P.No.4) | 3176.25 | P% Cft. | 10616 |
|  | 830.50 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without Shuttering. (CSI.No.5 P.No.18).Ratio 1:4:8 | 11288.75 | P%0 Cft. | 93753 |
|  | 2879.73 | Pacca brick work in foundation and plinth in cement Mortar 1:6 (CSI.No.4 P.No.25). | 11948.36 | P% Cft | 344081 |
|  | 800.00 | Construction of Standard of open Drains curette block of cement concrete 1:2:4 in situ to design to profile i/c cost of mould as per drawing i/c applying floting coat of cement 1/32” thick to the exposed face finished smooth curing etc complete as per detail drawing (PHSI No: D (i) P No: 58) Type-I | 94.00 | P% Cft | 75200 |
|  | 350.00 | Construction of Standard of open Drains curette block of cement concrete 1:2:4 in situ to design to profile i/c cost of mould as per drawing i/c applying floting coat of cement 1/32” thick to the exposed face finished smooth curing etc complete as per detail drawing (PHSI No: D (i) P No: 58) Type-II | 174.00 | P. Rft. | 60900 |
|  | 2781.00 | Cement plaster (1:4) up to 20’ height ½” thick. (CSI.No.11 (b), P.No.58). | 2283.93 | P. Rft. | 63516 |
|  | 115.39 | RCC work in roof slab beams columns rafts lintels and other structural members laid in site or precuts laid in position complete in all respect. (CSI.No.6 (a), P.No.19). | 337.00 | P. Cwt | 38886 |
|  | 4.63 | Fabrication of M.S Reinforcement for C.C. I/c cutting bending lying in position making joints and fastening I/c cost of binding wire also I/c removal of rust from bars. (CSI.No. (ii), P.No.20). | 4820.00 | P.Cwt | 22318 |
|  | 14.00 | Providing laying UPVC Pipe of class “B” fixing in trench including cutting, fitting and jointing with solvent cement i/c testing with water to a head of 61 meter of 200ft. (CSI.No. 04 P.No. 23) 100mm Pipe 4” dia | 136.00 | P. Cft | 1904 |
|  | 12.00 | Providing laying UPVC Pipe of class “B” fixing in trench including cutting, fitting and jointing with solvent cement i/c testing with water to a head of 61 meter of 200ft. (CSI.No. 04 P.No. 23) 100mm Pipe 6” dia | 259.00 | P. Cft | 3108 |
|  | 5.00 | Providing laying UPVC Pipe of class “B” fixing in trench including cutting, fitting and jointing with solvent cement i/c testing with water to a head of 61 meter of 200ft. (CSI.No. 04 P.No. 23) 100mm Pipe 8” dia | 397.00 | P. Cft | 1985 |

Continued………..N/Page

|  | 76.30 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without Shuttering. (CSI.No.4 P.No.18).Ratio 1:2:4 | 14429.25 | P% Cft | 11010 |
| --- | --- | --- | --- | --- | --- |
| TOTAL |  |  |  |  | 731265 |

Amount Total (a)

……………………………………..% above / below on the rates of CSR.

Amount to be added / deducted on the basis

Of premium quoted

Total (A) = a + b in words & figure

CONTRACTOR					EXECUTIVE ENGINEER / PROCURING AGENCY

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk