Work No: 23

SPPRA BIDDING DOCUMENT

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS

(For Contracts costing up to Rs: 2.50 Millions)

Standard Bidding Documents is intended as a model for admeasurements (Percentage Rate / Unit price for unit rates in a bill of quantities). Type of Contract. The main text refers to admeasurements contracts.

Draft Biding documents for works up to       Millions

BIDDING DATA

(This section should be filled in by the Engineer / Procuring Agency before issuance of the Bidding Documents)

a) Name of Procuring Agency: 		MUNICIPAL COMMITTEE GAMBAT

b) Brief Description of Works: 	Paver Blocks from Pir Mohalla waya Eid Gah to Vegra Bazar Ward No: 07 Taluka Gambat

c) Procuring Agencies Address: 	OFFICE OF THE CHAIRMAN MUNICIPAL COMMITTEE GAMBAT DISTRICT KHAIRPUR MIR’S

d) Estimated Cost:		 			998,800. 00

e) Amount of Bid Security: 				30,000. 00

f) Period of Bid validity (days): 			(90 Days)

g) Security Deposit: 						8%

h) Percentage, if any, to be deducted from bills: 		7.5% I.Tax

I) Deadline from submission of bids along with time: 		2.00 PM

j) Venue, Time & date of Bid Opening: 	@MUNICIPAL COMMITTEE GAMBAT OFFICE DATED ON 3.00 PM

k) Time for completion from written order of commence: 			12 Months

L) Liquidity Damages: 					N/A

M) Deposit receipt No: Date Amount:  (in words & figures)			N/A

(Executive Engineer / Authority Issuing Bidding Documents)

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk

Draft Biding documents for works up to       Millions

BILL OF QUANTITIES

(A) Description and rate of based on composite schedule of Rates

| Item No: | Qty. | Description of item to be executed at site at site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
|  | 4125.00 | Supplying and Filling under floor and plugging in well (CSI No:05 P.No:30) | 1141.25 | P% Cft | 47078 |
|  | 4125.00 | Laying Earth in 6” layers Leveling & Dressing complete (CSI, No: 13 (a) P-03) | 263.00 | P%0 Cft | 1085 |
|  | 1089.00 | Cement concrete bricks or stone ballast ½” to 2”guage (CSI.No.4 P.No.18).Ratio 1:4:8 | 9416.28 | P% Cft | 102544 |
|  | 3300.00 | P&F cement paving block flooring having size of 197x97x80(mm) of city/quid cobble shape with painting having strength b/w 5000phi filling the joints with hill sand, white powder for dressing and laying in specified manner /patter and design i/c L.C etc. complete (SI No: 72 P-49) | 199.77 | P. Sft. | 659241 |
|  | 68.47 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without Shuttering. (CSI.No.6 P.No.16).Ratio 1:2:4 | 14429.25 | P% Cft | 9881 |
|  | 4125.00 | Extra for every 50’ ft additional lead or part there of (CSI, No: 8 P/03) Total lead (2600-100) = 50 Leads @Rs: 30/840n per lead 1520/= %0 Cft. | 5039.00 | P% Cft | 20786 |
|  | 56.25 | Pacca brick work in foundation and plinth in cement Mortar 1:6 (CSI.No.4 P.No.25). | 11948.36 | P% Cft | 6721 |
|  | 20.00 | Providing laying U.P.V.C Pipe of class “B” fixing in trench including cutting, fitting and jointing with solvent cement i/c testing with water to a head of 61 meter of 200ft. (CSI.No. 04 P.No. 23) 100mm Pipe 4” dia | 136.00 | P.Cft | 2720 |
|  | 10.00 | Providing laying U.P.V.C Pipe of class “B” fixing in trench including cutting, fitting and jointing with solvent cement i/c testing with water to a head of 61 meter of 200ft. (CSI.No. 04 P.No. 23) 150mm Pipe 6” dia | 259.00 | P.Cft | 2590 |
| TOTAL |  |  |  |  | 852,646 |

Amount Total (a)

……………………………………..% above / below on the rates of CSR.

Amount to be added / deducted on the basis

Of premium quoted

Total (A) = a + b in words & figure

CONTRACTOR					EXECUTIVE ENGINEER / PROCURING AGENCY

Sindh Public Procurement Regulatory Authority    www.pprasindh.gov.pk