PART-II               OXIDATION POND 100’’X50 I/C SUMP WELL & INTER CONNECTION

- Excavation for pipe line in trenches and 
pits in soft soil i/c trimming and dressing sides 
to true alignment and shape leveling of beds of
tranches to correct level and grade cutting joints 
holes and Disposal of surplus earth within one 
chain as directed by Engineer incharge providing 
fence guards, lights flages and temporary crossing 
for non vehicular traffic where ever required lift 
up to 5ft: (1.50m) and lead up to one chain (30.50).
(PHSI: No. 18, P-67)

Qty: 14481.5 cft:		@ Rs. 3000.00		P‰ cft:		Rs. 43444/=

- Excavation for pipe line in trenches and 
pits in wet soil i/c trimming and dressing sides 
to true alignment and shape leveling of beds of
tranches to correct level and grade cutting joints 
holes and Disposal of surplus earth within one 
chain as by Engineer incharge providing 
fence directed guards, lights flages and temporary crossing 
for non vehicular traffic where ever required lift 
up to 5ft: (1.50m) and lead up to one chain (30.50).
(PH SCHI: No. 14, P-74)

Qty: 11193.0 cft:		@ Rs. 4800.00		P‰ cft:		Rs. 53726/=

- Earth work compaction (Soft ordinary/ Hard soil) 
laying 6” layers leveling and dressing watering etc 
complete. (CSI No: 13, P-3)

Qty: 15936.0 cft:		@ Rs. 354/=			P‰ cft:		Rs. 5641/=

- Cement concrete brick or stone ballast ½ to 2 gauge Ratio 1:4:8 (CSI No.6 P.No.16).

Qty: 22.07 cft:		@ Rs. 9416.28		P‰ cft:		Rs. 2078/=

- RCC work in roof slabs, beams, columns, 
rafts, lintels and other structure  members 
laid in situ or precost laid in position making 
complete in all respect Ratio: 1:2:4 90 Lbs of 
cement cft of sand 4 cft of shingle ½ to ¾ 
gauge (CSI No: 6 P-No: 18).

Qty: 84.28 cft:		@ Rs. 337/=			P cft:			Rs. 28402/=

- Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastering i/c cost of binding wire also i/c removal of rust from bars (CSI No.8(b) P.NO.17)

Qty: 3.01 cwt:		@ Rs. 5001.70/=		P .cwt			Rs. 15055/=

- Providing RCC Pipe (ASTM) C-76-72 T.C 76/70

Qty: 56.00 rft		@ Rs. 412.00			P .rft			Rs. 23072/=

- Refilling the excavated stuff in trenches 6” thick 
layer i/c watering ramming to full compaction etc 
complete (PHSI No: 24, P-77)

Qty: 604.80 cft:		@ Rs.2760.00			P‰ cft:		Rs.1669/=

Total 	Rs. 173087/=

|  | GENERAL ABSTRACT OF COST |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PART- 1 |  |  |  | SURFACE DRAIN |  |  |  |  | RS. |  | 439411/- |  |
|  |  | PART- 2 |  |  |  | OXIDATION POND 100’’X50 I/C SUMP WELL & INTER CONNECTION |  |  |  |  | RS. |  | 173087/- |  |
|  |  |  |  |  |  |  |  |  |  |  | G TOTAL |  | 612498/- |  |
|  | C O N D I T I O N S 01. Any error / omission in the description of items of work rate original schedule will correct accordingly under executive engineer Public Health Engineering division II khairpur @ Ranipur . 02. premium will be allowed as non , schedule items. 03. The work will be carried out as per P.W.D. specification and approval details working estimate . |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Contractor Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |  |  |  |  |  |  |  |  |  |  |  |  |  |