(Tender Form Fees Rs.500/-(Non Refundable) 											TENDER FORM

TENDER INQUIRY NO.  20 /2016-17                                									 DUE ON  09-06-2017

Supply, Installation and Testing of Telecom System

Time of  issuance of Tender form upto 08-06-2017 at 02:00 P.M

Time of Submission of Tender on 09-06-2017 at 11.00 A.M

Time of Opening of Tender on 09-06-2017 at 11.30 A.M

.

| PABX with the following configuration: |  |
| --- | --- |
| • Analogue Trunk interface with CLI | As req |
| • ISDN PRI Circuit | As req |

| • IP Extension / exten licenses | As req |
| --- | --- |
| • Digital Set for Operator Console with 40 keys add on module | 01 |
| • IP Phone Sets with Display | As req |
| • SIP Trunks | As req |
| • MDF with Fuse and Rack/ wall Mount Frame for all Users (it should also include cabling from PABX to system end MDF and connectivity with building MDF) | Included |
| • Call Logging Software | Included |
| • Automated Attendant | Included |
| • Voice mail (for all exten) | Included |
| • Battery Back-up with maintenance free batteries for 2-3 Hrs. Autonomy | Included |
| • 27U Server Rack 600x800 with H-48", W-24" and D-34", With 4 Fans,2 Fix Trays,1 Moving tray, Front Glass door, Black, external Gauge 18, Floor standing | 01 |
| • Tele-Maintenance Access to remotely maintain the system | For all Users |
| TRAINING |  |
| • Operations training to Operator • Operations training to Staff | Included |
| Installation ,Commissioning & Services: |  |
| • Installation of System and Battery Backup • System Programming and Commissioning |  |

Compliance Sheet for PABX

|  | Type of PABX | ( Digital+ VoIP) |
| --- | --- | --- |
|  |  | Supported |
|  | Digital Extensions | Supported |
|  | IP Extensions | Supported |
|  | SIP Extensions | Supported |
|  | Analog Trunks | Supported |
|  | Dect Phones | Supported |
|  | WLAN phones | Supported |
|  | PRI Trunks | Supported |
|  | BRI Trunks | Supported |
|  | Softphones | Support over Android/I-phone |
|  | Extension over mobile phones | Supported |
| 2 | General Features |  |
|  | Proposed Model (Country of Origin) | Europe or USA |
|  | Authorization Letter | Bidder should attach |
|  | ISO Certificate | ISO Certificate (9001/14001) or equivalent |
|  | CDR/Call logging | Integrated CDR/Call logging for Incoming and outgoing |
|  | Integrated Automatic Attendant | System should have the feature of auto attendant System |
| 3 | Reliability |  |
|  | System backup | System should store backup on hard disk and MO/Flash drive |
| 4 | Future Requirement |  |
|  | Architecture | Open Architecture for future implementation |
|  | TDM To IP Compression Support | Bidder should specify the no. of channel support |
|  | Manage the traffic efficiency | Support |
|  | Extension Capacity | System should be expandable up to 200 lines for future requirement |
|  | Trunks capacity | System should support at least 50 trunk lines |
|  | PRI (30B+2D) Trunks | System should support at least 5 PRI's |
| 5 | IP Services and features |  |
|  | G.711 voice encoding |  |
|  | G.723, G.729 compression algorithm |  |
|  | 802.3 compliant ports |  |
|  | Unified messaging (voice mail, fax, email on PC) |  |
|  | QO: IEEE802.1p/q , TOS, Diffserv | Support |
| 6 | Features support of PABX |  |
|  | Automatic call back on busy |  |
|  | call forwarding |  |
|  | music on call hold |  |
|  | call by name |  |
|  | Video Conferencing |  |
|  | Call identification Line (CLI) |  |
|  | conference Call (should support at least 4 party conference) |  |
|  | External call restriction |  |
|  | External call diversion |  |
|  | Call timer for limited conversation |  |

Note:

1.Responding Organization(s) may quote quantity / Price of these items after site visit.

2.Responding Organization(s) are welcome to add any other item(s), which they feel necessary and are not covered in the above mention list. But they should provide detailed justifications of adding those items/charges in the technical proposals.

| NATIONAL TAX No…………………………….. GST No: ……………………………………………. C.N.I.C No: …………………………………………. | SIGNATURE ……………………………………… NAME OF CONTRACTOR ………………….…… ADDRESS ……………….…………………. CELL NO …………………..……………………….. |
| --- | --- |

I N S T R U C T I O N S.

1.The tender should be accompanied with pay order / demand draft of 2.5% of quoted amount as security Deposit  in the name of Sindh Institute of Ophthalmology & Visual Sciences (SIOVS) Hyderabad.

2.The Income Tax / GST/SST will be deducted according to rules of Govt: of Sindh / Pakistan

3.The tenderer will be responsible to deliver the tendered items on his own cost at SIOVS HYDERABAD

4.In case of short/late supply it will be purchased  from open Market and difference if any will be recovered from the Contractor.

5.Conditional/ Incomplete Tenders will not be accepted.

6.Sample of all dry items should be provided at the time of opening of tender otherwise tender will be rejected.

7.For alternate offer separate tender purchase receipt must be enclosed.

8.The tenderer should be fulfilling all requirements as per Government rules.

9.Minimum Two(02) Hundred Thousands turn over with Bank Certificate.

10.Minimum Three(03) Years Experience in relevant field with documentary proof.

11.Three Years(03) Income Tax Return (Photo Copy Must Enclosed.

12. Bid Validity 90 Days

Director,

Sindh Institute of Ophthalmology

& Visual Sciences, Hyderabad