|  |
| --- |
| **BILL OF QUANTITIES** |
| Description & Rate of items based on Schedule/ Market (offered Rates). |

**SHIFTING OF RHC / TALUKA HOSPITAL KOT DIJI OPP: GIRD STATION KOT DIJI/ KOT BUNGALOW**

**TALUKA KOT DIJI DISTRICT KHAIRPUR .**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S#** | **Name of Item** | **Qty:** | **Rate** | **Unit** | **Amount** |

**PART “A” MAIN BUILDINGS SCHEDULE ITEMS.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1- | Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4) | 14765.31 cft | 3176.25 | %0cft | 46898 |
| 2- | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15) | 7906 cft | 8694.95 | % cft | 687423 |
| 3- | Random Rubble masonry (Un-Coursed )including hammer dressing in cement /sand mortar Ratio (1:6).(S.NO: 1 (iv)P26) | 6616 CFT | 17723/- | % Cft | 1172554 |
| 4- | Coursed Rubble Masonry including hammer dressing in cement sand mortar Ratio (1:6). (S.I NO: P.NO: ) | 7213 Cft | 25321/- | % Cft | 1826404 |
|  | R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17) | 10530 cft | 337/- | P.Cft | 3548610 |
|  | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20) | 564.0 cwt | 5001.70 | P.cwt | 2820959 |
|  | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift jupto 5 feet(S.I NO" 21 P5-). | 9843 Cft | 1512.60 | %0Cft | 14888 |
|  | Supplying & Fixing sand under floor plugging in to wall. (S.I NO: P.No: ). | 57474 cft | 1141.25 | % Cft | 655922 |
|  | Add: Extra for leqad 3—0 Miles | 57474 Cft | 579.41 | % Cft | 333010 |
|  | Pacca Brick work in Ground Floor in cement sand mortar (1:6) (S.I No:5 P-25). | 12232 Cft | 12674.65 | % Cft | 1550363 |
|  | Providing & fixing G.I frames/chowkhats size 7”x2” or 4 ½”x3” for door using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio (1:6) and repairing the jambs. The cost also i/c all carriage, tools and plants used in making & fixing.(S.I.No 29 P.No.93) | 686 Rft | 240.50 | P.Rft | 164983 |
|  | Providing and fixing G.I frames/chowkhats of size 7”x2” or 4½”x3” for windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No. 28 Page No. 93) | 960 Rft | 228.90 | P.Rft | 219744 |
|  | First class deodar wood wrought joinery in doors & windows etc fixed in position including hold fasts hinges iron tower bolts chock, cleats handles and cords with hooks etc complete.(S.I No: 54 P.NO: 65). | 1435.22 Sft | 902.92 | P.Sft | 1295889 |
|  | Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b) P:NO:52 ) | 34035 Sft | 2206.60 | % Sft | 751016 |
|  | Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52 ) | 34035 Sft | 2197.52 | % Sft | 747926 |
|  | Priming coat of chalk (S.I NO: P.NO: ) | 46807 Sft | 442.75 | % Sft | 207238 |
|  | Distempering 03 three coat (S.I No: 24(c) P.No:54 ). | 34035 Sft | 1043.90 | % Sft | 355291 |
|  | Cement pointing struck joints on walls.(S.I NO: 19 (b)P.NO: 56) Ratio 1:3 | 3618 Sft | 1213.58 | % Sft | 43907 |
|  | Colour washing two coats (S.I NO: 25 P.NO 57) | 3618 Sft | 859.90 | % Sft | 31111 |
|  | Painting New Surface Painting doors & windows any type 03 coats. (S.I No: 4(c)P.No:68 ). | 3442 Sft | 2116.41 | % Sft | 72847 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S#** | **Name of Item** | **Qty:** | **Rate** | **Unit** | **Amount** |
|  | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. (S.I NO:5 (f)P-17)Ratio 1:2:4 | 2171 Cft | 14429.25 | % Cft | 313259 |
|  | laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortar 1:2. (S.I NO: 25 P.NO: 4) | 12772 Sft | 27747.06 | % Sft | 3543854 |
|  | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick including finishing.(S.I NO: 38 P.NO: 47) | 1418 Sft | 28299.30 | % Sft | 401284 |
|  | Supplying & fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design including painting 3 coats etc. complete (weight not to be less than 3.7 Lbs./Sq . Foot of finished grill).(S.I NO: 26 P.NO: 97) | 320.61 Sft | 180.50 | P.Sft | 57870 |
|  | Galvanized wire gauze fixed to chowkats with 3/4" deodar stips and screws.(S.I NO: P.NO" 62) | 320.61 Sft | 190.72 | P.Sft | 61147 |
|  |  | ======================================== | | | |
|  |  | **Total** |  |  | **20897285/-** |
|  |  |  |  |  |  |

% Above/Below (Amount to be added/deducted).

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

|  |
| --- |
| **BILL OF QUANTITIES** |
| Description & Rate of items based on Schedule/ Market (offered Rates). |

**SHIFTING OF RHC / TALUKA HOSPITAL KOT DIJI OPP: GIRD STATION KOT DIJI/ KOT BUNGALOW**

**TALUKA KOT DIJI DISTRICT KHAIRPUR .**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S#** | **Name of Item** | **Qty:** | **Rate** | **Unit** | **Amount** |

**PART “B” COMPOUND WALL**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1- | Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4) | 4192 cft | 3176.25 | %0cft | 13315 |
| 2- | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15) | 1048 cft | 8694.95 | % cft | 91123 |
| 3- | Random Rubble masonry (Un-Coursed )including hammer dressing in cement /sand mortar Ratio (1:6).(S.NO: 1 (iv)P26) | 2250 CFT | 17723/- | % Cft | 398768 |
| 4- | Coursed Rubble Masonry including hammer dressing in cement sand mortar Ratio (1:6). (S.I NO: P.NO: ) | 5000 Cft | 25321/- | % Cft | 1266050 |
|  | R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17) | 824 cft | 337/- | P.Cft | 277688 |
|  | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20) | 36.785 cwt | 5001.70 | P.cwt | 183988 |
|  | Pacca brick work other than building including striking of joints upto 20 feet height in:Cement sand mortar. 1:6(s.i no: 7(e) p-24) | 3222 Cft | 12346.65 | % Cft | 397809 |
|  | Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b) P:NO:52 ) | 5217 Sft | 2206.60 | % Sft | 115118 |
|  | Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52 ) | 5217 Sft | 2197.52 | % Sft | 114645 |
|  | Cement pointing struck joints on walls.(S.I NO: 19 (b)P.NO: 56) Ratio 1:3 | 4000 Sft | 1213.58 | % Sft | 48543 |
|  | Colour washing two coats (S.I NO: 25 P.NO 57) | 4000 Sft | 859.90 | % Sft | 34396 |
|  | Primary Coat of Chalk Under Distempering (S.I NO: P.NO: ) | 5217 Sft | 442.75 | % Sft | 223098 |
|  | Distempering 03 three coat (S.I No: 24(c) P.No:54 ). | 5217 Sft | 1043.90 | % Sft | 54460 |
|  | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangemtnt. (S.I NO: 24 P-96) | 140 Sft | 726.72 | P.Sft | 101741 |
|  | Painting New Surface Painting doors & windows any type 03 coats. (S.I No: 4(c)P.No:68 ). | 280 Sft | 2116.41 | % Sft | 5926 |
|  |  | ======================================== | | | |
|  |  | **Total** |  |  | **3126668/-** |
|  |  |  |  |  |  |

% Above/Below (Amount to be added/deducted).

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S#** | **Name of Item** | **Qty:** | **Rate** | **Unit** | **Amount** |

**PART “C” Guard Room**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1- | Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4) | 293 cft | 3176.25 | %0cft | 930 |
| 2- | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15) | 239 cft | 8694.95 | % cft | 20781 |
| 3- | Random Rubble masonry (Un-Coursed )including hammer dressing in cement /sand mortar Ratio (1:6).(S.NO: 1 (iv)P26) | 290 CFT | 17723/- | % Cft | 51396 |
| 4- | Coursed Rubble Masonry including hammer dressing in cement sand mortar Ratio (1:6). (S.I NO: P.NO: ) | 645 Cft | 25321/- | % Cft | 163320 |
|  | R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17) | 373 cft | 337/- | P.Cft | 125701 |
|  | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20) | 16.651 cwt | 5001.70 | P.cwt | 83283 |
|  | Supplying and filling sand under floor and plugging in walls.(S.I NO: 29 P- 28) | 1686 Cft | 1141.25 | % Cft | 19241 |
|  | Pacca Brick work in Ground Floor in cement sand mortar (1:6) (S.I No:5 P-25). | 997 Cft | 12674.65 | % Cft | 126366 |
|  | Providing & fixing G.I frames/chowkhats size 7”x2” or 4 ½”x3” for door using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio (1:6) and repairing the jambs. The cost also i/c all carriage, tools and plants used in making & fixing.(S.I.No 29 P.No.93) | 136 Rft | 240.50 | P.Rft | 32640 |
|  | Providing and fixing G.I frames/chowkhats of size 7”x2” or 4½”x3” for windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No. 28 Page No. 93) | 51.50 Rft | 228.90 | P.Rft | 11788 |
|  | First class deodar wood wrought joinery in doors & windows etc fixed in position including hold fasts hinges iron tower bolts chock, cleats handles and cords with hooks etc complete.(S.I No: 54 P.NO: 65). | 139.38 Sft | 902.92 | P.Sft | 125849 |
|  | Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b) P:NO:52 ) | 1548 Sft | 2206.60 | % Sft | 34158 |
|  | Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52 ) | 1548 Sft | 2197.52 | % Sft | 34018 |
|  | Cement pointing struck joints on walls.(S.I NO: 19 (b)P.NO: 56) Ratio 1:3 | 1089 Sft | 1213.58 | % Sft | 13215 |
|  | Colour washing two coats (S.I NO: 25 P.NO 57) | 1089 Sft | 859.90 | % Sft | 9364 |
|  | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. (S.I NO:5 (f)P-17)Ratio 1:2:4 | 57 Cft | 14429.25 | % Cft | 8225/- |
|  | Primary Coat of Chalk Under Distempering (S.I NO: P.NO: ) | 1548 Sft | 442.75 | % Sft | 6854 |
|  | Distempering 03 three coat (S.I No: 24(c) P.No:54 ). | 1548 Sft | 1043.90 | % Sft | 16160 |
|  | Painting New Surface Painting doors & windows any type 03 coats. (S.I No: 4(c)P.No:68 ). | 169 Sft | 2116.41 | % Sft | 3577 |
|  |  | ======================================== | | | |
|  |  | **Total** |  |  | **3126668/-** |
|  |  |  |  |  |  |

**PART- B WATER SUPPLY & SANITARY FITTING .**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1- | P/F squatting type white glazed of flushing cistern with internal fitting and flush pipe with band and making requisite Nos. of holes in wall plinth & floor for pipe connections and making good in cement concrete 1:2:4. (A) W.C pan of not less than 23” clear opening between flashing rims and 3 gallons flushing tank. With 4” dia C.I. tape. (S.I.NO.1(A) P.No.1) | | 14 NO’s | 4802.60 | each | 67236 |
| 2- | P/F 24”x16” lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I cantilever brackets 6” built into wall painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1-1/2” dia rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or c.p brass traps malleable iron or brass union & making requisite number of holes in walls plinth & floor for pipe connection and making good in cement concrete 1:2:4 (standard pattern). Add extra for labour for providing & fixing of earthenware pedestal white or coloured glazed (Standard pattern) . (S.I.NO. 8 P. No.3) | | 14 No | 4253.70 | each | 59552 |
| 3- | Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) . (S.I.NO. 9 P. No.3) | | 14 No’s | 938.47 | each | 13139 |
| 4- | Providing G.I pipes special & clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling | | ¾” Dia 400 rft | 95.79 | p.rft | 38316 |
| 5- | P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connections & making good in CC 1:2:4. (S.I. No. 20 P. No.5) | | 14 No | 2024.43 | each | 28594 |
| 6- | Providing & Fixing Nylon connection complete with ½” dia Brass stop cock with pair of brass nuts and lining joints to nylon connection (S.I No:23 P-6). | | 28 No | 447.15 | each | 12520 |
| 7- | Supplying and fixing long bib-cock of superior quality with C.P. head ½” dia. (S.I.NO.15(a) P. No.15) | | 14 No | 1109.46 | each | 15532 |
| 8- | Supplying and fixing canceled stop cock of superior quality with C.P. head ½” dia. (S.I.NO.15(a) P. No.15) | | 14 No | 509.74 | each | 7136 |
| 9- | Supplying & fixing jet shower with rod of superior quality single c.p head 1/2" dia.(S.I NO: 15 P.NO: ) | | 14 Nos | 1142.24 | each | 15991 |
|  | Providing F.C. pressure pipe with collar (Dedex or equivalent) I/c digging the trenche to required deoth and fixing in position and jointing with rubber rings including testing to water pressure head of 200 feet.(S.I NO: 3 P.NO: 25) | |  |  |  |  |
|  | (4” Dia) | | 200 Rft | 188.44 | P.Rft | 37688 |
|  | (6” Dia) | | 200 Rft | 299.06 | P.Rft | 59812 |
| 10- | S/Fixing concealed tee-stop cock of superir quality with c.p head 1/2" dia. | | 28 Nos | 843.92 | each | 23630 |
| 11 | Providing and fixing handle valves (china) | ¾” Dia | 20 Nos | 271.92 | each | 5438 |
| 1” Dia | 10 Nos | 365.42 | each | 3654 |
| 1 ¼” dia | 10 Nos | 475.42 | each | 4754 |
| 12 | Providing G.I pipes special & clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling | 1” Dia | 250 Rft | 116.20 | P.Rft | 29050 |
| 1 ¼” Dia | 250 Rft | 155.27 | P.Rft | 38817 |
|  |  |  |  |  |
| 13 | Supplying & fixing C.P Muslim Showeer with double Bib cock & ring Pipe etc complete(S.I NO: 19 P.NO: ) | | 14 Nos | 3432/- | each | 40348 |
| 14 | S/F wash basin mixture of superior quality with C.P head ½” dia S.I NO:” 14 (a0P-19() | | 14 Nos | 2882/- | each | 40348 |
| 15 | Providing & fixing steel sinks stainless local make complete with cast iron or wraught iron brackets 6 inches built in wall, 1-1/2" c.p bubber plug chrome plated brass chain, 1-1/2" c.p brass waste, with 1-1/2" P.V.C. waste pipe & making requisite number of holes in wall & plinth & floor for pipe connection & making good in cement concrete 1 : 2: 4.(c) Steel sink stainless sized 33" x 18" local make (Standard Pattern.)(S.I NO: 19 (c)P.NO: 6) | | 14 NOs | 5712.30 | each | 79972 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 16 | Providing & Laying RCC Pipe & Collars of Class “A” & fixing in trenches including cutting, fitting and jointing with maxphalt composition and cement mortar (1:1) including testing with water to head of 4.5 meter etc | 4” Dia | 300 Rft | 370.75 | P.Rft | 111225 |
| 6” Dia | 300 Rft | 465.90 | P.Rft | 139770 |
| 9 ¼” dia | 200 Rft | 469.90 | P.Rft | 93980 |
| 17 | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3'-6" (1067 mm) depth with walls of B.B in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2' x1-1/2' (457x457 mm) of 1.75 cwt. (88.9 kg) embaded in plain C.C 1:2:4 and fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc. Complete as per standard specification and drawing. | | 20 Nos | 14748/- | each | 294960 |
| 18 | Boring for tube well in all water bearing soils from ground level upto 100 ft. or 30.5 meter depth i/c sinking and with drawing of casing pipe.(S.I NO: 1 (b)P.NO: 27) | | 150 Rft | 242/- | P.Rft | 36300 |
| 19 | Providing & Fixing Pumping set 2 HP etc complete | | 02 Nos | 20000/- | each | 40000 |
| 20 | Construction of wheel valve chambers. | | 04 No’s | 4103/- | each | 16412 |
| 21 | Fiber Glass Tank | | 04 NO’s | 21989.16 | each | 87957/- |
|  |  | |  | ================================= | | |
|  |  | | Total |  |  | 1449831/- |

% Above/Below (Amount to be added/deducted).

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART- External Development**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S#** | **Name of Item** | **Qty:** | **Rate** | **Unit** | **Amount** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Supplying & Fixing sand under floor plugging in to wall. (S.I NO: P.No: ). | 30000 cft | 1141.25 | % Cft | 342375/- |
| 2 | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15) | 5000 cft | 8694.95 | % cft | 434747 |
| 3 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. (S.I NO:5 (f)P-17)Ratio 1:2:4 | 1700 Cft | 14429.25 | % Cft | 245297 |
| 4 | Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with pigmented, having strength b/w 5000 psi to 8500 psi I/c filling the joints with hill sand and laying in specified manner/ pattern and design etc: complete.(S.I NO:72 P.NO: ) | 10000 Sft | 223.97 | P.Sft | 2239700/- |
|  |  | Ded: 20% below except item NO; 4 | | | 447940 |
|  |  | =================================== | | | |
|  |  | Total |  |  | 2814215 |

% Above/Below (Amount to be added/deducted).

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |