## 01 (6)
ESTIMATE FOR SHIFTING OF RURAL HEALTH CENTRE / TALUKA HOSPITAL KOT DIJI OPPOSITE GRID STATION KOT DIJI / KOT BANGLOW TALUKA KOT DIJI DISTRICT KHAIRPUR (ELECTRIFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 178 | Nos | 1130 | p.point | 201140
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recreased in the walls or columns as required (S.I.NO:126 P.NO:15). | 40 | Nos | 985 | p.point | 39400
3 | Providing and fixing curcuit breaker 6,10,15,20,30,40,50, and 63 amps a.p (TB-5a). | 50 | Nos | 916 | p.no | 45800
4 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 15 | Nos | 2456 | p.no | 36840
5 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 6 | Nos | 9261 | p.no | 55566
6 | Providing and fixing on-e way s.p 5amps switch flush type (S.I. NO:219 P.NO:33) | 178 | Nos | 54 | p.no | 9612
7 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 40 | Nos | 83 | p.no | 3320
8 | Providing and fixing three pin 15amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 15 | Nos | 162 | p.no | 2430
9 | Providing and fixing bakelite ceiling Rose with two terminals (S.I NO:228 P.NO:33) | 20 | Nos | 72 | p.no | 1440
10 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recreased in the walls or columns as required (S.I NO:10 P.NO:2) | 300 | Mtr | 222 | p.mtr | 66600
11 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/044 (6mm2) copper conduter in 3/4 dia pvc conduit recreased in the walls or columns as required (S.I NO:12 P.NO:2) | 350 | Mtr | 341 | p.mtr | 119350
12 | Providing and laying (Main or Sub Main ) Pvc insulated pvc sheeted with single core copper conductor 300/500 volte size 2-7/064 P.NO:57 P.NO:7 | 300 | Mtr | 524 | p.mtr | 157200
13 | Providing and fixing celling fan 56"sweep (Good Quilty) (S.I NO:235 P.NO:54) | 30 | Nos | 3185 | p.no | 95550
14 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 60 | Nos | 70 | p.no | 4200
15 | Providing and fixing Junction box as per following specification size of box 8'x6"x4 Ms plate 16swg thick clamp screw painting two ceats of rust preventive red eride and two coasts of IGI oil paint as per site requirement and instruciton of EI (S.I NO:158 P.NO:24) | 30 | Nos | 800 | p.no | 24000 | 862448
16 | Providing & laying (Main of Sub Main) PVC insulated with size 4-7 /. 064 (16mm2) copper conduator in 1 1/2 PVC conduit on surface (S.I. No:35 P.NO: 5) | 60 | Mtr | 1169 | p.mtr | 70140
17 | Providing & laying (Main of Sub Main) PVC sheeted with 4 core copper conductor 600/1000 Volts size 25mm2 (S.I. No:103 P.NO: 12) | 100 | Mtr | 1909 | p.mtr | 190900
18 | providing & fixing MS tabular pole 31ft long burled in the ground as per following specification 20ft(6"dia)X 5.5ft(5" dia) x (4"Dia)= 31ft wall thick ness 8SWG base plate 16"x16"x1/4 two coats red oxide as rust preventive two soats oil pait excavatin of hard /soft soil 2x2x6' lean sixe2x 2x6' 1:4:8 ratio: C.C work 1:3:6 cast in situ in one mould of (1 1/2" dia) i/c form work rodding curing, etc complete with CC collor about 2ft from ground level duly plastered as per site requriement & instuction of El (S.No: 137 P-17) | 10 | Nos | 26956 | p.no | 269560
19 | constrcution of Rcc foundation as per following specification & instruction of El for 31ft/40ft long tubular pole excavation of soft/hard soil 3'x3'x 5.5' stone soiling 3'x3'x6" making lean in the ratio: 1:4:8 length of MS bolts 6 1/2" (3/4" dia ) 4 Nos & Making thread on Ms rod template 16"x 16"x1/4" rings 1/4' dia round bar4 nos to the welded with MS rod Rcc foundation ratio 1:2:4 with approprate size 2'x2'x 6.5' (S.I.No: 139 P-No: 19 | 10 | Nos | 15168 | P.NO | 151680
20 | Providing & fixing of street light 250 watts (SON-T) having IP65 classification with 250 W lamp , choke ,capacitor & internal wiring coplete in all repect at the height with the help of hudraullic crane as per site requirement and instruction EI (S.I.No: 162 P-No:25) | 10 | Nos | 16100 | p.no | 161000
|  |  | Part "A" Total Amount |  |  | 1705728
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 400 | Nos | 497 | each | 198800
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 25 | Sft | 1426.33 | p.sft | 35658.25
3 | S/F of A.C ceilling fan regulator on metal board recreased in the walls or columns and covered with plastic sheet (S.I NO:(A)3 P.NO:14) | 23 | Nos | 124.3 | each | 2858.9
5 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 10 | Nos | 3610 | each | 36100
6 | Providing and Fixing Fancy light (Suprior Qualigy) | 40 | Nos | 497 | each | 19880
|  |  | Part "B" Total Amount |  |  | 293297 | 273417.15
A B S T R A C T
1) Part "A" Total Rs: |  | 1705728
2) Part "B" Total Rs: |  | 293297
| Grant Total | 1999025
| Say Rs | 2000000
| SUB ENGINEER | ASSISTANT ENGINEER
BUILDING (ELECTRIC) SUB- DIVISION
KHAIRPUR

## 01 (5)
SHIFTING OF RURAL HEALTH CENTRE / TALUKA HOSPITAL KOT DIJI OPPOSITE GRID STATION KOT DIJI / KOT BANGLOW TALUKA KOT DIJI DISTRICT KHAIRPUR (ELECTRIFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 178 | Nos | 1130 | p.point | 201140
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recreased in the walls or columns as required (S.I.NO:126 P.NO:15). | 40 | Nos | 985 | p.point | 39400
3 | Providing and fixing curcuit breaker 6,10,15,20,30,40,50, and 63 amps a.p (TB-5a). | 50 | Nos | 916 | p.no | 45800
4 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 15 | Nos | 2456 | p.no | 36840
5 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 6 | Nos | 9261 | p.no | 55566
6 | Providing and fixing on-e way s.p 5amps switch flush type (S.I. NO:219 P.NO:33) | 178 | Nos | 54 | p.no | 9612
7 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 40 | Nos | 83 | p.no | 3320
8 | Providing and fixing three pin 15amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 15 | Nos | 162 | p.no | 2430
9 | Providing and fixing bakelite ceiling Rose with two terminals (S.I NO:228 P.NO:33) | 20 | Nos | 72 | p.no | 1440
10 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recreased in the walls or columns as required (S.I NO:10 P.NO:2) | 300 | Mtr | 222 | p.mtr | 66600
11 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/044 (6mm2) copper conduter in 3/4 dia pvc conduit recreased in the walls or columns as required (S.I NO:12 P.NO:2) | 350 | Mtr | 341 | p.mtr | 119350
12 | Providing and laying (Main or Sub Main ) Pvc insulated pvc sheeted with single core copper conductor 300/500 volte size 2-7/064 P.NO:57 P.NO:7 | 300 | Mtr | 524 | p.mtr | 157200
13 | Providing and fixing celling fan 56"sweep (Good Quilty) (S.I NO:235 P.NO:54) | 30 | Nos | 3185 | p.no | 95550
14 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 60 | Nos | 70 | p.no | 4200
15 | Providing and fixing Junction box as per following specification size of box 8'x6"x4 Ms plate 16swg thick clamp screw painting two ceats of rust preventive red eride and two coasts of IGI oil paint as per site requirement and instruciton of EI (S.I NO:158 P.NO:24) | 30 | Nos | 800 | p.no | 24000 | 862448
16 | Providing & laying (Main of Sub Main) PVC insulated with size 4-7 /. 064 (16mm2) copper conduator in 1 1/2 PVC conduit on surface (S.I. No:35 P.NO: 5) | 60 | Mtr | 1169 | p.mtr | 70140
17 | Providing & laying (Main of Sub Main) PVC sheeted with 4 core copper conductor 600/1000 Volts size 25mm2 (S.I. No:103 P.NO: 12) | 100 | Mtr | 1909 | p.mtr | 190900
18 | providing & fixing MS tabular pole 31ft long burled in the ground as per following specification 20ft(6"dia)X 5.5ft(5" dia) x (4"Dia)= 31ft wall thick ness 8SWG base plate 16"x16"x1/4 two coats red oxide as rust preventive two soats oil pait excavatin of hard /soft soil 2x2x6' lean sixe2x 2x6' 1:4:8 ratio: C.C work 1:3:6 cast in situ in one mould of (1 1/2" dia) i/c form work rodding curing, etc complete with CC collor about 2ft from ground level duly plastered as per site requriement & instuction of El (S.No: 137 P-17) | 10 | Nos | 26956 | p.no | 269560
19 | constrcution of Rcc foundation as per following specification & instruction of El for 31ft/40ft long tubular pole excavation of soft/hard soil 3'x3'x 5.5' stone soiling 3'x3'x6" making lean in the ratio: 1:4:8 length of MS bolts 6 1/2" (3/4" dia ) 4 Nos & Making thread on Ms rod template 16"x 16"x1/4" rings 1/4' dia round bar4 nos to the welded with MS rod Rcc foundation ratio 1:2:4 with approprate size 2'x2'x 6.5' (S.I.No: 139 P-No: 19 | 10 | Nos | 15168 | P.NO | 151680
20 | Providing & fixing of street light 250 watts (SON-T) having IP65 classification with 250 W lamp , choke ,capacitor & internal wiring coplete in all repect at the height with the help of hudraullic crane as per site requirement and instruction EI (S.I.No: 162 P-No:25) | 10 | Nos | 16100 | p.no | 161000
|  |  | Part "A" Total Amount |  |  | 1705728
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 400 | Nos | 497 | each | 198800
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 25 | Sft | 1426.33 | p.sft | 35658.25
3 | S/F of A.C ceilling fan regulator on metal board recreased in the walls or columns and covered with plastic sheet (S.I NO:(A)3 P.NO:14) | 23 | Nos | 124.3 | each | 2858.9
5 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 10 | Nos | 3610 | each | 36100
6 | Providing and Fixing Fancy light (Suprior Qualigy) | 40 | Nos | 497 | each | 19880
|  |  | Part "B" Total Amount |  |  | 293297 | 273417.15
A B S T R A C T
1) Part "A" Total Rs: |  | 1705728
2) Part "B" Total Rs: |  | 293297
| Grant Total | 1999025
| Say Rs | 2000000
_________________%Aboe / Below (Amount to be added / deducted). Rs.___________________
Grant Total Rs.___________________
Total Amount in word: __________________________________________________________________
Note:- Quantities and rates are provisional and may be changed as per / according to the Technical
Sanction by the competent authority.
| CONTRACTOR | EXECUTIVE ENGINEER
BUILDINGS DIVISION
KHAIRPUR

## Sheet2
F A C E S H E E T
FUND HEAD:-
MAJOR HEAD:-
MINOR HEAD:- |  | ESTIMATE FOR SHIFTING OF RURAL HEALTH CENTRE / TALUKA HOSPITAL KOT DIJI OPPOSITE GRID STATION KOT DIJI / KOT BANGLOW TALUKA KOT DIJI DISTRICT KHAIRPUR (ELECTRIFICATION)
SERVICE HEAD:-
DEPTT:HEAD:-
This estimate has been framed in the office of the Executive Engineer
Building Division Khairpur for the Expenditure that wil be incurred on the above subjected work.
|  |  |  | AMOUNT TO RS: | 2000000
…………………………………