## Schedule-B
BILL OF QUANTITIES
Tender No. |  | 1
NIT No:MC/J/G.B/33 Dated:17/05/2017
Scheme No: ( 01 )
(B) Description and rate of Item based on Market (Offered Rates).
NAME OF WORK:- |  | PROVIIDNG & INSTALLING SOLAR ENERGY SYSTEM FOR TOWN COMMITTEE OFFICE JOHI
Sr: No. | Item of work | Quantity |  | Rate | Unit | Amount
1 | Solar Pannel (PV) 300 Weight efficiency cell 20 years Warranty cell poly crustal line providing installing testing Connection and commissioning solar PV modules cell type Polyer stalling PV module efficiency to design 15 KVA solar (to run 15 KVA motor) PV arrat modules cells must be Protected with IP 65 ompliance and must confirm to The latest addition of Q sele (made in Germany) and Intentional standard with all accessories as required Upto the satisfaction of the Engineer incharge. | 10 | Plate | 0 | Each | 0
2 | Solar mounted MS pipe framing square 2x2x3/16 Providing installing connecting 15 KVA PV arrays. The structure design shall be designed to sustain worst Weather condition. | 10 | Plate | 0 | Each | 0
3 | Solar Cable DC flexible 10 mm pure copper for hole System supply connection termination of DC cable From PV modules of inventor to UPS system ratings Volts/ ampers copper grid to be laid to PVC conduct Across the dsoute with the all accessories and material Required from completion of job. | 1 | Plate | 0 | Each | 0
4 | Solar convertor UPS providing installing testing and Commissioning of (Daikan made in USA) or inverse 15 KVA Single phase of AC out of voltage 220 V, 50 HZ efficiency 97% or higher completer with reverse current protuction, DC over voltage protection, power control module, Grid monitoring and AC/DC connectors for input / Output voltage complete with all accessories as required Upto satisfaction of the Engineer inchargae. | 1 | Plate | 0 | Each | 0
5 | 4 G (Battery 240 one year warranty) | 4 | Nos | 0 | Each | 0
6 | Barkers and breaker box, junction box (Teraskai made in Germany) | 2 | Nos | 0 | Each | 0
7 | PVC Cable protection pipe bend for cable (10 mm DC widre) and Lux, Ties, Nut & Bolts | 1 | No | 0 | Each | 0
8 | Transpiration of goods loading and unloading at site | 1 | No | 0 | Each | 0
9 | Installation, testing and commission of the System at site i/c fixing inc C.C foundation | 1 | No | 0 | Each | 0
TOTAL
Contractor
MUNICIPAL ENGINEER MUNICIPAL COMMITTEE JOHI