## T.M & Distri
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
Name of Work |  | REPAIR OF TRUNK MAIN, DISTRIBUTION SYSTEM & TRANSFORMER FOR RURAL WATER SUPPLY SCHEME FATOOHAL ZARDARI TALUKA SAKRAND DISTRICT SHAHEED BENAZIR ABAD
PART-A |  | REPAIR OF TRUNK MAIN & DISTRIBUTION SYSTEM
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
1 | Excavation for pipe line in trenches and pits in soft soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-60) | [5 empty] | P: %0 Cft: | 3521 | 3600 | 12675.6
2 | Excavation for pipe line in trenches and pits in Wet soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 14 P-66) | [5 empty] | P: %0 Cft: | 3521 | 5400 | 19013.4
3 | Providing Laying Jointing PVC Pipe of class ‘B’ fixing in trenches i/c cutting fitting jointing with “Z” joint with one rubber Ring i/c testing with water to head of 61 meter or 200 ft: (PHSI No. 1 P-22).
|  |  |  | (i) | 6" dia |  | P: Rft: | 330 | 262 | 86460
|  |  |  | (ii) | 4" dia |  | P: Rft: | 150 | 137 | 20550
|  |  |  | (iii) | 3" dia |  | P: Rft: | 80 | 90 | 7200
4 | Supplying of PVC specials for PVC pipe (standard-weight) for PVC pipe ‘B’ class (SMI No. 10 P-12)
|  |  |  | (i) | G. Joint 6" dia |  | Each | 2 | 1062.5 | 2125
|  |  |  | (ii) | G. Joint 4" dia |  | Each | 2 | 731.25 | 1462.5
|  |  |  | (iii) | G. Joint 3" dia |  | Each | 2 | 568.75 | 1137.5
|  |  |  | (iv) | D/End 4" dia |  | Each | 5 | 425 | 2125
|  |  |  | (v) | D/End 3" dia |  | Each | 5 | 368.75 | 1843.75
5 | Refilling the excavated stuff in 6” thick layers watering ramming to full compaction etc complete (PHSI No: 24 P-77) | [5 empty] | P: %0 Cft: | 6337.8 | 2760 | 17492.328
[9 empty] | TOTAL | 172085.078
|  |  | CONTRACTOR |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Suc..& Dev..
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-B |  | SUCTION & DELIVERY
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
1 | Manufacturing installing M.S Pipe 3" & 4" made out M.S sheet 3/16” (4.8 mm thick) i/c cutting folding proper curvature shape i/c welding etc complete (R.A approved Based on Schedule rates)
[6 empty] | 4" dia | P: Rft: | 44 | 506.6 | 22290.4
[6 empty] | 6" dia | P: Rft: | 84 | 749.34 | 62944.56
2 | Manufacturing installing M.S Flanged 3/8” (12 mm thick) M.S sheet of required size drilling holes i/c cutting bending to correct shape welding etc complete (R.A approved Based on Schedule rates)
[6 empty] | 4" dia | Each | 8 | 596.75 | 4774
[6 empty] | 8" dia | Each | 20 | 804.77 | 16095.4
3 | C.I Sluice valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 2 (b) P-12)
[6 empty] | 4" dia | Each | 8 | 5460 | 43680
4 | C.I Reflex valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 6 (b) P-12)
[6 empty] | 4" dia | Each | 4 | 1706.25 | 6825
5 | C.I Bend with flanged and with holes i/c turning and facing of flanges for all sizes (PHSI No. 8 P-12)
[5 empty] | Bend 4" dia |  | P: Kg | 73.48 | 120 | 8817.6
6 | C.I Tee flanged and with holes i/c turning and facing of flanges for all size (PHSI No. 12 P-13)
[6 empty] | 4" dia | P: Kg | 22.9 | 120 | 2748
7 | Supplying of C.I specials for A.C pressure pipe (standard-weight) for ACIL ‘B’ class (SMI No: 9 P-15)
|  |  |  | Reducer |  |  | Each | 2 | 893.75 | 1787.5
8 | Providing internal electric wiring for main switch 3-7/0.52 (10mm) PVC insulated wire 660 volts grade in 25 mm (1”) PVC conduit on surface as required (ESI No. 30 P-3). | [5 empty] | Meter | 150 | 606 | 90900
9 | Jointing C.I.M.S Flanged pipe and specials flanged and inside a trenches nuts and bolts with washer etc and other is required for joining and testing joints to the specified pressure etc complete (PHSI No.1 P-40)
[6 empty] | 6" dia | P: Joint | 24 | 938 | 22512
[6 empty] | 4" dia | Each | 15 | 513 | 7695
[6 empty] | 3" dia | P: Joint | 6 | 499 | 2994
[9 empty] | TOTAL | 294063.46
|  |  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Trans
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-C |  | REPAIR OF TRANSFORMER 25 KVA
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
1 | Repair of Transformer
[5 empty] | (a) | HT Coils | Each | 3 | 15000 | 45000
[5 empty] | (b) | LT Coils | Each | 3 | 10000 | 30000
2 | Supply of Transformer Oil | [5 empty] | P: Liter | 30 | 150 | 4500
3 | Labour charges for dismantling, removing & re-erecting the Transformer | [5 empty] | P: Job | 1 | 5000 | 5000
[9 empty] | TOTAL | 84500
|  | 2 | x | 84500 | = | 169000
| Total Part-A |  | Rs. | 172085
| Total Part-B |  | Rs. | 294063
| Total Part-C |  | Rs. | 169000
| TOTAL (a) |  | Rs. | 635148
--------- | % above/ below on the rates of CSR. |  |  |  | Amount to be added/ deducted on the basis of
[5 empty] | of premium quoted |  |  | Total (b) | _______________
Total (A) = a + b in words & figures
|  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD