SCHEDULE “B”

NAME OF WORK: -        Proposed Restoration/ Provision of Wash Room & Boundry Wall

faciliteis  in selected 50 schools of District Badin

@ GBPS Mirza Mukhtiar   Tal: S.F.Rahu

| S.No | Description | Qnty |
| --- | --- | --- |

01. 	Dismantling RCC reinforcement  andcement concrete  and strightings

(SINO13 P-11)

= 40.0			 @ 5445.0      	%Sft 		Rs: 2178/-

(Rupees Five thousand four hundred forty five & Ps Zero) Only

- Dismantling brick work in cement mortar  ratio 1:6 (SINO13 P-11)

= 226.0		 @ 1285.63      	%Sft 		Rs: 2906/-

(Rupees One thousand two hundred eighty five & Ps Sixty three) only

03.	RCC work i/c all labour and material except the cosat of steel reinforcement

i/c cutting bending and binding which will be paid sepeterelly This rate also i/c all kinds of moulds lifting shuttering curing rendering and finishing exposed surface i/c screening and washing of shingle (a) R.C work in roof slab, beems colums rafts lintels and other structural members laid in situe or precast complete in all respect ratio 1:2:4 (S.I No. 6 P-19)

= 736.0		@ 337.0		P.Cft		Rs: 248032/-

(Rupees Three hundred thirty seven & Ps zero ) only

04.	Fabrication of mild steel and reinforcement cement corcret i/c cutting bending lying in position and making joints and fastenings i/c the cost of binding wire also

removal of rust from bars (S.I.No. 7 P.No. 4)

(A)Tor Steel.

= 36.14		@ 5001.70		P.Cwt		 Rs. 180761/-

(Rupees Five thousand one & Ps seventy ) only

05.	Paccabrick work in ground floor  i/c strucking of joints in c s ratio 1:6

= 226.0		@ 12674.36		%Cft		Rs: 28644/-

(Rupees twelve thousand six hundred seventy four & Ps thirty six) Only

06.       Pacca Brick work in foundation and plinth in cement sand ratio 1:6

(S.I.No. 4 P-19)

= 371.0 		@ 11948.36		%Cft		Rs: 44328/-

(Rupees Eleven thousands nine hundred forty eight & Ps thirty six) only

| S.No | Description | Qnty |
| --- | --- | --- |

07.	Pacca brick work in other than building i/c stricking joints in cement sand

ratio 1:6 (S.I.No:7-P-21)

= 546.0		@ 12346.65		%Cft		Rs: 67413/-

(Rupees twelve thousand three hundred forty six & Ps sixty five ) only

08.	Applying floating Coat .

= 3000.0		@ 660.0		%Cft		Rs: 19800/-

(Rupees Six hundred sixty & Ps zero) only

09. 	Cement plaster 1:6  upto 20’ height 1/2” thick  (S.I.No. 11-a-P-52)

= 3491.0		@ 2206.60		%Sft		Rs: 77032/-

(Rupees Two thousand two hundred six & Ps sixty ) only

10. 	Cement plaster 1:4 upto 20’ height 3/8” thick  (S.I.No. 11-a-P-52)

= 3491			@ 2197.52		%Sft		Rs: 76715 /-

(Rupees Two thousand one hundred  ninety seven ) only

11.	Cement Pointing struck of joints on wall ratio 1:2 (S.I.No:19/P-52)

= 3785.0		@ 1287.44		% Sft		Rs. 48730/-

(Rupees One thousand two hundred eighty seven & Ps forty four  ) only

12.	P/L 2” thick topping cement concert 1:2:4 i/c surface finishing and dividing

in to panels (S.I.No. 16 P.No. 41)

= 61.0		@ 3275.50		% Sft		Rs. 1998/-

(Rupees Three thousands two hundred seventy five & Ps Fifty  ) only

13.	M/F Steel Grated Door with 1/16” sheeting i/c angle iron frame 2”x2”x3/8”

& ¾ square bars 4” centre to center with loocking araijment.(S.I.No:24/P-91)

= 60.0			@ 726.72		P.Sft		Rs: 43603/-

(Rupees Seven  hundred Twenty six & Ps seventy two) only

| S.No | Description | Qnty |
| --- | --- | --- |

14.	Ist class deodar wood wrought joinery doors and windows etc fixed in

Postion i/c chowkets, hold fasts, iron tower bolts, handles and cords with

Hooks etc deodar paneled and glazed or gully glazed 1 ¾” thick (only shutters)

(S.I.No. 7-b-P-58)

= 41.0			@ 1273.76		P.Sft		Rs. 52224/-

(Rupees One thousand tweo hundred seventy three & Ps  seventy six)only

15.	Primary coats of chalks under distempering (S.I.No. 23 P.No. 53)

= 3332.0		@ 442.75		%Sft		Rs: 14752/-

(Rupees Four hundred forty two & Ps seventy five ) only

16.	Distempering three coats (S.I.No. 24 P.No. 53)

= 3332.0		@ 1079.65		%Sft		Rs: 35974/-

(Rupees One thousand seventy nine & Ps sixty five) only

17.	Painting New Surface Painting door & windows any type (S.I.No 5(C) P-69)

= 82.0			@ 2116.41		%Sft 		Rs: 1735/-

(Rupees Two Thousand one hundred sixteen & Ps forty one) only

18.	Painting new surface painting guard bars .gates iron bars grating railing i/c standerds

bracess (etc) and similar open work three coats.(S.I.No. 5 P.No. 76)

= 120.0		@ 1270.83		% Sft		Rs. 1525/-

(Rupees one thousand two hundred seventy & Ps eighty three  ) only

___________

Total Rs:	 924931/-

P A R T-B  Water Supply & S/Fitting

01.	P/F squatting type white glazed of flushing elstern with internal fitting and

flush pipe with band & making req: No.of holes in walls & plinth floor for pipe

connection and making good in CC 1:2:4 (1) W.C are not less than 19” clear

opening between flushing rims & 3 gallons flushing tanks with 4 dia c.i trap &

c.i thumble (S.I.No. 1-B P.No. 1)

= 2.0			@ 4802.60		P.No.		Rs.9605/-

(Rupees four thousand eight hundred two & Ps sixty) only

| S.No | Description | Qnty |
| --- | --- | --- |

02.	Providing RCC pipes with colours class B digging the trenches to required plinth

& fixing in position cutting fitting & jointing with max phalt composition &

cement mortar ratio 1:1 & testing with water presser to hand of 4’ ft above the to

of heights pipe & refilling with excavated stuff (S.I.No. 2 P.No. 21)

G.I Pipe	= 60.0			@ 146.57		P.Sft		Rs. 8794/-

(Rupees one hundred forty six & Ps fifty seven) only

03.	Providing G.I pipes specials & clamps etc i/c fixing cutting & fitting complete

with & i/c the cost of breaking through walls & roofs making good etc paintings

2 coats after cleaning the pipe etc with zine paint with pigment to match the

colour of the building & testing with water to presser head of 200’ ft & handling

(S.I.No. 1 P.No. 11)

½” dia

= 155.0		@ 73.21		P.Rft		Rs. 11348/-

(Rupees seventy three & Ps twenty one) 	only

¾” dia

= 150.0		@ 86.36		P.Rft		Rs. 12954/-

(Rupees eighty six & Ps thirty six) only

04.	Providing & fixing 4x4x4x C.I Branches. (S.I.No. 7 P.No.15)

= 1.0			@ 702.60		P.Rft		Rs. 703/-

(Rupees Seven hundred two & Ps sixty) Only

05.	Full way gunmental valves with wheels threaded of flanged ends. (S.I.No. 7 P.No.15)

½” dia

= 2.0			@ 200.42		P.Rft		Rs. 400/-

(Rupees Two Hundred & Ps forty two) only

06.	S/F fiber glass tank to approved quality & design & walls thickness as

specified i/c cost of nuts builts & fixing in plate form of cement concert

1:3:6 ratio and making connection for in let and outlet and over flow pipes

etc complete (a) 400 gallons wall thickness (3.5 mm) (S.I.No. 3-A P.No. 20)

= 1.0			@ 21989.61		P.No.		Rs. 21990/-

(Rupees Twenty one thousand nine hundred eighty nine & Ps Sixty one) only

_________

Total Rs: 66296/-

| S.No | Description | Qnty |
| --- | --- | --- |

Non Schedule Item

01.	P/F Water pumping set 1 h.p 2800 RPM single phase 220 volts 1”x1” 40 feet

Head i/c base plate and also making CC 1:3:6 Plate form of required size and

Fixing with nuts & bults complete in all respects (Electric S.I.No:11 P/-30)

= 1.0			@ 14417.70		P.No		Rs: 14418/-

(Rupees Fourteen thousand four hundred seventeen & Ps seventy) Only

_________

Total  Rs:	14418/-

CONTRACTOR 					EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

BADIN.