SCHEDULE “B”

NAME OF WORK: -        Proposed Restoration/ Provision of Wash Room & Boundry Wall

faciliteis  in selected 50 schools of District Badin @ GGPS Golarchi

Tal: S.F.Rahu.

| S.No | Description | Qnty |
| --- | --- | --- |

- Dismantling brick work in cement mortar  ratio 1:6 (SINO13 P-11)

= 688.0		 @ 1285.63      	%Sft 		Rs: 8840/-

(Rupees One thousand two hundred eighty five & Ps Sixty three) only

02.	Removing Cement or lime plaster 1:6 (S.I.No: 53-P-14)

= 1510.0		@ 121.0		%Cft		Rs: 1827/-

(Rupees One hundred Twenty one & Ps Zeero) only

03. 	Dismantling RCC reinforcement  andcement concrete  and strightings

(SINO13 P-11)

= 72.0			@ 5445.0      		%Sft 		Rs: 3920/-

(Rupees Five thousand four hundred forty five & Ps Zero) Only

04.	Paccabrick work in other than building  i/c strucking of joints in c s ratio 1:6

= 688.0		 @ 12346.65      	%Sft 		Rs: 84945/-

(Rupees Twelve thousand three hundred forty six & Ps sixty five) only

05. 	Cement plaster 1:6  upto 20’ height 1/2” thick  (S.I.No. 11-a-P-52)

= 3570.0		@ 2206.60		%Sft		Rs: 78776/-

(Rupees Two thousand two hundred six & Ps sixty ) only

06. 	Cement plaster 1:4 upto 20’ height 3/8” thick  (S.I.No. 11-a-P-52)

= 3570.0		@ 2197.52		%Sft		Rs: 78451/-

(Rupees Two thousand one hundred  ninety seven ) only

| S.No | Description | Qnty |
| --- | --- | --- |

07.	RCC work i/c all labour and material except the cosat of steel reinforcement

i/c cutting bending and binding which will be paid sepeterelly This rate also i/c all kinds of moulds lifting shuttering curing rendering and finishing exposed surface i/c screening and washing of shingle (a) R.C work in roof slab, beems colums rafts lintels and other structural members laid in situe or precast complete in all respect ratio 1:2:4 (S.I No. 6 P-19)

= 72.0			@ 337.0      		%Sft 		Rs: 24264/-

(Rupees Three hundred thirty seven & Ps zero ) only

08.	Fabrication of mild steel and reinforcement cement corcret i/c cutting bending lying in position and making joints and fastenings i/c the cost of binding wire also

removal of rust from bars (S.I.No. 7 P.No. 4)

(A)Tor Steel.

= 3.536		@ 5001.70		P.Cwt		 Rs. 17685/-

(Rupees Five thousand one & Ps seventy ) only

09.	M/F Steel greated door with 11/6” thick sheeting i/c angle iron frame

2” x2” x3/8” & ¾” square bars 4” centre to centre (S.I.No: 24/P-92)

Main Gate			1x10.0x6.0					= 60.0

= 60.0			@ 726.72		P.Rft		Rs: 43783/-

(Rupees seven hundred twenty six & Ps seventy two) only

10.	Cement Pointing  struck joints on walls 1:2  (S.I.No: 19 P-No:52)

= 3000.0		@ 1287.44		%Sft		Rs: 38623/-

(Rupees One thousand two hundred eighty seven & Ps forty four) only

11.	Primary coats of chalks under distempering (S.I.No. 23 P.No. 53)

= 3570.0		@ 442.75		%Sft		Rs: 15806/-

(Rupees Four hundred forty two & Ps seventy five ) only

12.	Distempering three coats (S.I.No. 24 P.No. 53)

= 3570.0		@ 1079.65		%Sft		Rs: 38544/-

(Rupees One Thousand Seventy nine & Ps sixty five ) only

| S.No | Description | Qnty |
| --- | --- | --- |

13.	Painting  new Surface Painting guard bars any type (S.I.No 5(C) P-69)

= 120.0		@ 1270.83		%Sft 		Rs:1525 /-

(Rupees One thousand two hundred seventy & Ps eighty three)

14.	Colour Washing two coats. (S.I.No: 25 P-No:60)

= 3000.0		@ 859.90		%Sft		Rs: 25797/-

(Rupees Eight hundred fifty nine & Ps ninety) only

___________

Total    Rs: 462486/-

P A R T-B W/S  &  S/F

01.	P/F squatting type white glazed of flushing elstern with internal fitting and

flush pipe with band & making req: No.of holes in walls & plinth floor for pipe

connection and making good in CC 1:2:4 (1) W.C are not less than 19” clear

opening between flushing rims & 3 gallons flushing tanks with 4 dia c.i trap &

c.i thumble (S.I.No. 1-B P.No. 1)

= 2.0			@ 4802.60		P.No.		Rs.9605/-

(Rupees four thousand eight hundred two & Ps sixty) only

02.	Providing & fixing 4x4x4x C.I Branches. (S.I.No. 7 P.No.15)

= 2.0			@ 702.60		P.Rft		Rs. 1405/-

(Rupees Seven hundred two & Ps sixty) Only

03.	S/F C.P bib cock of of superior quality ½” dia.

= 2.0			@ 1109.46		P.No:		Rs: 2219/-

(Rupees One thousand one hundred nine & Ps forty six) only

04.	S/F fiber glass tank to approved quality & design & walls thickness as

specified i/c cost of nuts builts & fixing in plate form of cement concert

1:3:6 ratio and making connection for in let and outlet and over flow pipes

etc complete (a) 500 gallons wall thickness (3.5 mm) (S.I.No. 3-A P.No. 20)

= 1.0			@ 37505.42		P.No.		Rs. 37505/-

(Rupees Thirty Seven thousand five hundred five & Ps forty two) only

| S.No | Description | Qnty |
| --- | --- | --- |

05.	Providing RCC pipes with colours class B digging the trenches to required plinth

& fixing in position cutting fitting & jointing with max phalt composition &

cement mortar ratio 1:1 & testing with water presser to hand of 4’ ft above the to

of heights pipe & refilling with excavated stuff (S.I.No. 2 P.No. 21)

= 24.0			@ 146.57		P.Sft		Rs. 3518/-

(Rupees one hundred forty six & Ps fifty seven) only

06.	Providing G.I pipes specials & clamps etc i/c fixing cutting & fitting complete

with & i/c the cost of breaking through walls & roofs making good etc paintings

2 coats after cleaning the pipe etc with zine paint with pigment to match the

colour of the building & testing with water to presser head of 200’ ft & handling

(S.I.No. 1 P.No. 11)

½” dia

= 150.0		@ 73.21		P.Rft		Rs. 10982/-

(Rupees seventy three & Ps twenty one) 	only

¾” dia

= 100.0		@ 86.36		P.Rft		Rs. 8636/-

(Rupees eighty six & Ps thirty six) only

_________

Total Rs: 73870/-

Non Schedule Item

01.	P/F Water pumping set 1 h.p 2800 RPM single phase 220 volts 1”x1” 40 feet

Head i/c base plate and also making CC 1:3:6 Plate form of required size and

Fixing with nuts & bults complete in all respects (Electric S.I.No:11 P/-30)

= 1.0			@ 14417.70		P.No		Rs: 14418/-

(Rupees Fourteen thousand four hundred seventeen & Ps seventy) Only

_________

Total  Rs:	14418/-

CONTRACTOR 					EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

BADIN.