| M/R TO PUBLIC COMPLAINT CELL @ C.M HOUSE (ELECTRIC) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SCHEDULE B |  |  |  |  |  |
| S# | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  | (NON- SCHEDULE ITEMS) |  |  |  |  |
| 1 | S/ Installation of Split Air Conditioner (New wall mounted capacity of 2.0 ton inner & outer unit Kenwood/ Mitsubishi make or equivalent | Each | 2.00 |  |  |
| 2 | S/F of Telephone Cable wire 20 Pair | Coil | 1.00 |  |  |
| 3 | P/L of Copper Piping size 1/2 x 3/8 for capacity of 2.0 ton, 1.5ton, 1.0 ton split a/c complete in all respect | RFT | 150.00 |  |  |
| 4 | universal light multiplug amp imported quality i/c necessary electric connection etc complete | Each | 50.00 |  |  |
| 5 | S/F of Fancy Switch Socket with Board as approved quality by incharge etc complete | Each | 5.00 |  |  |
| 6 | P/F of Ceiling Light 4" i/c saver bulb round / square shape i/c necessary electric connection complete | Each | 40.00 |  |  |
| 7 | P/L wire 2-7/029i/c necessary electric connection as approved | Meter | 50.00 |  |  |
| 8 | P/L wire 2-7/044 i/c necessary electric connection as approved | Meter | 60.00 |  |  |
| 9 | P/L wire 4-7/064 i/c necessary electric connection as approved | meter | 50.00 |  |  |
| 10 | P/L main or sub main PVC insulated with size RJ 7 wire copper conductor in 1" | Meter | 70.00 |  |  |
| 11 | P/L Cat -6 Cable for internet connections i/c necessary electric connection as approved | Meter | 75.00 |  |  |
| 12 | S/F of Internet Witch Socket with board as approved quality by the incharge etc complete | Each | 10.00 |  |  |
|  | TOTAL NON SCHEDULE ITEMS |  |  |  |  |

Assistant Engineer

C.M Sectt/ House