M/R TO CHIEF MINISTER HOUSE (DAY TO DAY COMPLAINTS)

SCHEDULE B

| S. No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | PART A SCHEDULE ITEMS |  |  |  |  |
| 1 | P/F circuit breaker 6,10,15,20,30 40,50,&63 amp TP EX(100)CS (CB) on Prepared board as required.(S.I.31/204) | 12-Nos | 2456/- | P.No | 29472/- |
| 2 | P/L main or Sub main PVC insulated with size 2-7/044 (6mm2) copper conductor in 1” dia PVC conduit on surface.(S.I.5/1) | 95 Meter | 305/- | P.Meter | 28975/- |
|  | TOTAL PART A SCHEDULE ITEMS |  |  | TOTAL | 58447/- |
|  | PART B NON-SCHEDULE ITEMS |  |  |  |  |
| 1 | Servicing of Split Air Conditioners Condensors with chemical finishing & system inner & outer unit i/c leakage etc. | 20 -Nos |  | Each |  |
| 2 | Refixing of Split AC indoor and outdoor i/c aeroflex etc | 15 Nos. |  | Each |  |
| 3 | Repairing & Refixing of PCB Card for Split AC capacity of 1.5 & 2.0 ton | 10 Nos. |  | Each |  |
| 4 | S/F of new Compressor for Split Unit 2.0 Ton | 04 Nos. |  | Each |  |
| 5 | P/F of new capacitor for outer 45 uf, 50uf, 60 uf for split unit 1.5 & 2.0 ton complete in all respect | 06 Nos. |  | Each |  |
| 6 | Supply of American Re-Gas Charging of Split Unit AC’s 1.5 & 2.0 Ton complete in all respect | 20 -Nos |  | Each |  |
| 7 | Supply of Cooling Coil of Split AC’s 1.5 & 2.0 Ton complete in all respect | 03-Nos |  | Each |  |
| 8 | Providing & Laying Copper Piping size 1/2x4/8 for the capacity of 2.0 & 4.0 ton Floor Mounted AC complete in all respect as directed by the Engineer Incharge.. | 50-RFT |  | RFT |  |
|  | TOTAL PART-B NON SCHEDULE ITEMS |  |  | TOTAL |  |
|  | Grand Total |  |  | Rs. |  |

Assistant Engineer,

Chief Minister’s Secretariat,

Karachi