M/R TO CHIEF MINISTER HOUSE (DAY TO DAY COMPLAINTS)

SCHEDULE B

| S. No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Servicing of Split Air Conditioners Condensors with chemical finishing & system inner & outer unit i/c leakage etc. | 40 -Nos |  | Each |  |
| 2 | Repair of Water Coolers | 03 Nos. |  | Each |  |
| 3 | Refixing of Split AC indoor and outdoor i/c aeroflex etc | 25 Nos. |  | Each |  |
| 4 | Repairing & Refixing of PCB Card for Split AC capacity of 1.5 & 2.0 ton | 20 Nos. |  | Each |  |
| 5 | S/F of new Compressor for Split Unit 2.0 Ton | 06 Nos. |  | Each |  |
| 6 | P/F of new capacitor for outer 45 uf, 50uf, 60 uf for split unit 1.5 & 2.0 ton complete in all respect | 25 Nos. |  | Each |  |
|  | GRAND TOTAL |  |  | Rs. |  |

Assistant Engineer,

Chief Minister’s Secretariat,

Karachi