M/R TO CHIEF MINISTER HOUSE (DAY TO DAY COMPLAINTS)

SCHEDULE B

| S. No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of American Re-Gas Charging of Split Unit AC’s 1.5 & 2.0 Ton complete in all respect | 75 -Nos |  | Each |  |
| 2 | Supply of Cooling Coil of Split AC’s 1.5 & 2.0 Ton complete in all respect | 06-Nos |  | Each |  |
| 3 | Supply of Outdoor unit motor of Split AC’s 1.5 & 2.0 Ton | 05 Nos. |  | Each |  |
| 4 | Supply of indoor unit motor of Split AC’s 1.5 & 2.0 Ton | 05 Nos. |  | Each |  |
|  | GRAND TOTAL |  |  | Rs. |  |

Assistant Engineer,

Chief Minister’s Secretariat,

Karachi