M/R TO CHIEF MINISTER HOUSE (REPLACEMENT OF FLOOR MOUNTED & SPLIT AC’S)

SCHEDULE B

| S. No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | PART A SCHEDULE ITEMS |  |  |  |  |
| 1 | P/F circuit bracker 6,10,15,20,30 40,50,&63 amp TP EX(100)CS (CB) on Prepared board as required.(S.I.31/204) | 3-Nos | 2456/- | P.No | 7368/- |
| 2 | P/L main or Sub main PVC insulated with size 2-7/044 (6mm2) copper conductor in 1” dia PVC conduit on surface.(S.I.5/1) | 90 Meter | 305/- | P.Meter | 27450/- |
|  | Total |  |  |  | 34818/- |
|  | Part B NON SCHEDULE ITEMS |  |  |  |  |
| 1 | S/Installation of (New Floor Mounted Capacity of 2.00-ton Mitsubishi/ Acson or equivalent quality i/c insulation / Aero Flex & necessary electric connection rate i/c all cost of material labour & cartage.i/c | 2-No |  | Each |  |
| 2 | Removing of Split Air Conditioner (New Wall Mounted Capacity of 2.0 -ton inner & Outer Unit Mitsubishi make | 1-Nos |  | Each |  |
| 3 | Removing of Floor Mounted Air Conditioner Capacity of 2.0 -ton inner & Outer Unit Mitsubishi/Gree make | 1-No |  | Each |  |
| 4 | Providing & Laying Copper Piping size 1/2x4/8 for the capacity of 2.0 & 4.0 ton Floor Mounted AC complete in all respect as directed by the Engineer Incharge.. | 90-Rft |  | Rft |  |
|  | Total B |  |  |  |  |
|  | GRAND TOTAL |  |  | Rs. |  |

Assistant Engineer,

Chief Minister’s Secretariat,

Karachi