PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Supplying & Fixing of Hand Pumps in various villages of UC Narejani (40 Nos) (Phase-I) (Sr. No. 1)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 40 Nos | Supplying of Hand Pump Machine 6ft: long 3" dia M.S Pipe and Brass Glass with handle etc, complete (M.R). | 5000.00 | Each | 200,000 |
| 2. |  | Boring & Fixing 1½" dia pressure pipe (G.S.I. No. 26 P-102) |  |  |  |
| (a) | 400.00 | In Ordinary Soil | 53.44 | P. Rft | 21,376 |
| (b) | 1830.00 | In Clay | 98.82 | P. Rft | 180,841 |
| 3. | 2000.00 | PVC Pressure pipes of class "C" I/c testing with water to a head 91 meter or 300 ft" (PHSI No. 3 P-92) | 44.00 | P. Rft | 88,000 |
| 4. | 40 Nos | Fixing Hand Pump Machine only (G.S.I. No. 28 P-102) | 217.80 | Each | 8,712 |

| Total Amount | Rs. 498,929.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Supplying & Fixing of Hand Pumps in various villages of UC Narejani (40 Nos) (Phase-II) (Sr. No. 2)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 40 Nos | Supplying of Hand Pump Machine 6ft: long 3" dia M.S Pipe and Brass Glass with handle etc, complete (M.R). | 5000.00 | Each | 200,000 |
| 2. |  | Boring & Fixing 1½" dia pressure pipe (G.S.I. No. 26 P-102) |  |  |  |
| (a) | 400.00 | In Ordinary Soil | 53.44 | P. Rft | 21,376 |
| (b) | 1830.00 | In Clay | 98.82 | P. Rft | 180,841 |
| 3. | 2000.00 | PVC Pressure pipes of class "C" I/c testing with water to a head 91 meter or 300 ft" (PHSI No. 3 P-92) | 44.00 | P. Rft | 88,000 |
| 4. | 40 Nos | Fixing Hand Pump Machine only (G.S.I. No. 28 P-102) | 217.80 | Each | 8,712 |

| Total Amount | Rs. 498,929.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Supplying & Fixing of Hand Pumps in various villages of UC Narejani (40 Nos) (Phase-III) (Sr. No. 3)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 40 Nos | Supplying of Hand Pump Machine 6ft: long 3" dia M.S Pipe and Brass Glass with handle etc, complete (M.R). | 5000.00 | Each | 200,000 |
| 2. |  | Boring & Fixing 1½" dia pressure pipe (G.S.I. No. 26 P-102) |  |  |  |
| (a) | 400.00 | In Ordinary Soil | 53.44 | P. Rft | 21,376 |
| (b) | 1830.00 | In Clay | 98.82 | P. Rft | 180,841 |
| 3. | 2000.00 | PVC Pressure pipes of class "C" I/c testing with water to a head 91 meter or 300 ft" (PHSI No. 3 P-92) | 44.00 | P. Rft | 88,000 |
| 4. | 40 Nos | Fixing Hand Pump Machine only (G.S.I. No. 28 P-102) | 217.80 | Each | 8,712 |

| Total Amount | Rs. 498,929.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Installation of Hand Pumps at various villages of Ward-2 (Sr. No. 30)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 40 Nos | Supplying of Hand Pump Machine 6ft: long 3" dia M.S Pipe and Brass Glass with handle etc, complete (M.R). | 5000.00 | Each | 200,000 |
| 2. |  | Boring & Fixing 1½" dia pressure pipe (G.S.I. No. 26 P-102) |  |  |  |
| (a) | 400.00 | In Ordinary Soil | 53.44 | P. Rft | 21,376 |
| (b) | 1830.00 | In Clay | 98.82 | P. Rft | 180,841 |
| 3. | 2000.00 | PVC Pressure pipes of class "C" I/c testing with water to a head 91 meter or 300 ft" (PHSI No. 3 P-92) | 44.00 | P. Rft | 88,000 |
| 4. | 40 Nos | Fixing Hand Pump Machine only (G.S.I. No. 28 P-102) | 217.80 | Each | 8,712 |

| Total Amount | Rs. 498,929.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Installation of Hand Pumps at various villages of Ward-3 (Sr. No. 34)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 40 Nos | Supplying of Hand Pump Machine 6ft: long 3" dia M.S Pipe and Brass Glass with handle etc, complete (M.R). | 5000.00 | Each | 200,000 |
| 2. |  | Boring & Fixing 1½" dia pressure pipe (G.S.I. No. 26 P-102) |  |  |  |
| (a) | 400.00 | In Ordinary Soil | 53.44 | P. Rft | 21,376 |
| (b) | 1830.00 | In Clay | 98.82 | P. Rft | 180,841 |
| 3. | 2000.00 | PVC Pressure pipes of class "C" I/c testing with water to a head 91 meter or 300 ft" (PHSI No. 3 P-92) | 44.00 | P. Rft | 88,000 |
| 4. | 40 Nos | Fixing Hand Pump Machine only (G.S.I. No. 28 P-102) | 217.80 | Each | 8,712 |

| Total Amount | Rs. 498,929.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Installation of Hand Pumps at various villages of Ward-4 (Sr. No. 39)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 40 Nos | Supplying of Hand Pump Machine 6ft: long 3" dia M.S Pipe and Brass Glass with handle etc, complete (M.R). | 5000.00 | Each | 200,000 |
| 2. |  | Boring & Fixing 1½" dia pressure pipe (G.S.I. No. 26 P-102) |  |  |  |
| (a) | 400.00 | In Ordinary Soil | 53.44 | P. Rft | 21,376 |
| (b) | 1830.00 | In Clay | 98.82 | P. Rft | 180,841 |
| 3. | 2000.00 | PVC Pressure pipes of class "C" I/c testing with water to a head 91 meter or 300 ft" (PHSI No. 3 P-92) | 44.00 | P. Rft | 88,000 |
| 4. | 40 Nos | Fixing Hand Pump Machine only (G.S.I. No. 28 P-102) | 217.80 | Each | 8,712 |

| Total Amount | Rs. 498,929.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency