PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T.No.PHE/TC/1897, Dated:21-07-2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING & TESTING RISING MAIN FOR WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.1) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGINEERING DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing Rising main For Water Supply Scheme Hayat Khaskheli for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.700 Million |
| (e) | Amount of Bid Security:- | Rs:-62,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10%) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING RISING MAIN FOR WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” RISING MAIN

1,	Excavation for pipe line in trenches and pits in Hard Soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

###### 61875.00 Cft   	 	@ Rs.3900/-		P: %0 Cft		Rs.241313/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64)

###### 22500 Cft  	 	 	@ Rs.24150/-		P: %0 Cft		Rs.543375/-

3,	Providing Laying and Fixing in trenches i/c fitting, jointing and testing etc complete in all respect the high density polythylene P.E Pipe (HDPE-100) for water supply confirming ISO 4427/DIN 8074/8075 B.S 3580 and PSI 3051 etc complete.

3” dia

###### 10000.00 Rft: 		  	@ Rs.148/-		P: Rft			Rs.1480000/-

4,		C.I Special for P.E Pipe.

i.	Bend 900

3”Dia

6 Nos				@ Rs.570/-		Each			Rs. 3420/-

ii.	Air Valve

7 Nos				@ Rs.4000/-		Each			Rs. 28000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5,	Supplying & Installing M.S Pipe of various dia metre out of M.S Sheet 3/16” thick i/c welding to curvature and shape i/c welding etc complete.

###### 3”dia

###### 500 Rft.		  	 @ Rs.385/89		P: Rft			Rs.192945/-

6,	Manufacturing and Furnishing M.S Flanged Pipe 3” dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete..

###### 3”dia

###### 100 Nos.		  	 @ Rs.500/89		Each			Rs.50089/-

7,	Jointing C.I/M.S flanged pipe and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc complete (P.H.S.I.No. M (I) P/40)

###### 3”dia

###### 50 Joints.	 	 	 @ Rs.499/-		P: Joint		Rs.24950/-

8,	Provision for Nai Crossing of Protection of Pipe.

- Cement Concrete brick or Stone Ballast 1 ½” to 2” guage Ratio (1:4:8) etc complete..

###### 594.00 Cft		  	 @ Rs.9416/28	P% Cft			Rs.55933/-

- Cement Concrete Plain i/c placing compacting finishing and curing complete i/c screening and washing at stone aggregate without shuttering Ratio (1:2:4) (GSINo.5 P/15).

###### 450.00 Cft		  	 @ Rs.14429/25	P% Cft			Rs.64932/-

9,	Providing Chamber 2-1/3’x1 ½” (750x750mm) inside dimension 4 ½ (1372mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt-1 cwt 3 sq) fixed in RCC 1:2 Slab 4”dia (102mm) thick with 5 Ibs steel per Cft 9” (299mm) thick brick masonry walls set in 1:6 cement motor 6” (152mm) 1:2:4 flooring ½” (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at very one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus etc.

(P.H.S.I.No:     : P: 90).

###### 7 Nos.	  		 	 @ Rs.18820/-		Each			Rs.131740/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

10,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

###### 75937.50 Cft: 	 	 	 @ Rs.2760/-		P:%0 Cft		Rs.209588/-

______________

Total	Rs.3026285/-

A  B  S   T   R   A   C   T

| Group ‘A’ Rising Main |  | Rs: 30,26,285/- |
| --- | --- | --- |
| Total |  | Rs: 30,26,285/- |

Amount Total (a)+(b) Rs:	__30,26,285/-  .

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF STORAGE TANK SIZE (80X60) I/C PUMP HOUSE (2 NO) AND RCC SUMP WELL WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (WORK NO.2) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Storage Tank size (80x60) i/c Pump House (2 No) and RCC Sump Well Water Supply Scheme Hayat Khaskheli for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.800 Million |
| (e) | Amount of Bid Security:- | Rs:-76,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF STORAGE TANK SIZE (80X60) I/C PUMP HOUSE (2 NO) AND RCC SUMP WELL WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  STORAGE TANK

1. 	Excavation for tank and reservoirs in Hard Soil i/c trimming dressing side to true alignment shape design section profile and leveling of beds of tank to coorect level grade i/c laying of earth in 6” layers for construction of bank and dressing to disposal of surplus excavated earth within one chain as driected by Enigneer incharge. (P.H.S.I.NO: 3 P/68).

23316.00 Cft			@ Rs:- 3300/-	  P%0 Cft		Rs:- 76943/-

2. 	Excavation for tank and reservoirs in Hard Rock where blasting is not practicable or is prohibited by the hammering and chiselling disintigrated rock by blasting i/c trimming and dressing sides to true alignment / design section / profiles and shape leveling of bed of trenches to correct level and grade cutting i/c laying of earth in 6” layer for construction of banks and dressing and disposal of surplus earth (PHSINO:10 P/72).

7299.00 Cft			@ Rs:- 23550/-	  P%0 Cft		Rs:- 171891/-

3.	Extra for 50’ft additional lead or part there of for                  earth work (Soft Ordinary or Hard and very Hard) (G.S.I.No.8 (a) P/2)

24492 Cft			@ Rs:- 3828/50	  P%0 Cft		Rs:- 93768/-

- Cement Concrete brick or stone ballast ½” to 2” guage (Ratio” 1:4:8)  (G.S.I.NO: 4 (b)  P/14)

3282.00 Cft			@ Rs:- 9416/28	  P% Cft		Rs:-309042/-

- Course Rubble Masonary hammer dressed in cement sand mortor in foundation and plinth Ratio ( 1:6) (G.S.I.NO: 2 /d iv P-26)

6300 Cft		@ Rs:- 25321/-	  	 P% Cft		Rs:- 1595223/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	Cement Concrete plain i/c placing compacting             finishing the curing complete i/c screening and washing stone aggregate with out shuttering (Ratio: 1:2:4)  (G.S.I.NO: 5 (f) P-15)

1307 Cft		   @ Rs.14429/25		P%Cft			Rs.188590/-

7.	Errection and Removal of centering for RCC work cement concrete plain for partal wood (G.S.I.No.18 P/21)

143.00 Sft		@ Rs.3127/41	 	P:% Sft		Rs.4472/-

8.	Cement Plaster (1:4) upto 12’ft height 3/4” thick in cement sand mortor (G.S.I.NO: II/b P- 51)

2380.00 Sft  		@ Rs.3015/76		P%Sft			Rs.71770/-

9.	Pointing flush on stone work (Raisd) in cement sand mortor Ratio (1:3) (G.S.I.No.20 P/53)

730.00 Sft		 @ Rs.1758/08 		P: %Sft		Rs.12834/-

INTER CONNECTION

10.	Excavation for pipe line in trenches and pits in                            Hard Soil i/c trimming and dressing side to true alignment and shape leveling of bed of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer Incharge. (P.H.S.I.No.3 P/68)

560.00 Cft		@ Rs.3900/- 			P:%0 Cft		Rs.2184/-

11.	Providing Laying RCC Pipes of ASTM C-76/62 T/C 76-70 of Class-II wall B and fixing in trenc i/c cutting fitting and jointing with rubber ring i/c testing with water to specified pressure  (P.H.S.I.No.B (I) P/17)

40.00 Rft		  @ Rs.412/- 			P: Rft			Rs.16480/-

12.	Refilling the excavated stuff in trenches 6” layer i/c watering ramming to full compaction etc complete (P.H.S.I.No.24 P/77)

504.00 Cft		 @ Rs.2760/- 		P:% Cft		Rs.1391/-

-------------------

Total	Rs:2544588/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “B”  RCC SUMP WELL

1,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4  ).

###### 502.72 Cft:   	 		@ Rs. 3176/25	P%0Cft		Rs. 1597/-

2,	Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4: 8) 	(G.S.I.No 4/d  : P:  14 )

###### 37.70 Cft:   	 		@ Rs. 9416/28	P%Cft			Rs. 3550/-

3,	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley.This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.

(G.S.I.No  6/I : P: 15 )

###### 141.77 Cft:   	 		@ Rs. 337/-		P: Cft			Rs. 47776/-

4,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars Tor Bars.

(G.S.I.No:  8  : P/ 16  ).

5.696 Cwt			@ Rs. 5001/70 	P/Cwt			Rs. 28490/-

5,	Cement Concrete Plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:2:4)  (G.S.I.No: 5  P: 15 ).

7.00 Cft			@ Rs. 14429/25 	P%Cft			Rs. 1010/-

6,	Cement planter 1:4 upto 12’ft height ½”thick ratio (1:4).

(G.S.I.No: 11 : P : 51 ).

292.20 Sft			@ Rs.2283/93 	P%Sft			Rs.6676/-

------------------

Total	Rs.89099/-

GROUP: “C” PUMP HOUSE (02 NOS)

1,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4   ).

###### 245.00 Cft:   	 	@ Rs. 3176/25		P%0Cft		Rs. 778/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2,	Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4: 8) .  (G.S.I.No 4  : P:  14  )

###### 106.00 Cft:   	 	@ Rs. 9416/28		P%0 Cft		Rs. 9981/-

3,	Coursed rubble masonary i/c hammer dressing in cement sand mortor 1: 6 in foundation and plinth.                   (GSINo: 2d (iii) P/ 26 ).

###### 257.24 Cft:   	 	@ Rs. 25321/-			P%Cft			Rs. 65136/-

4,	D.P.C with cement sand and shingle concrete 1:2:4 including 2 coats of asphaltic mixture (b) 2” thick. (GSINo: 28: P:18 ).

74.00 Sft			@ Rs. 4982/18 		P% Sft			Rs.3687/-

5,	Coursed rubble masonary i/c hammer dressing in cement sand mortor (1:6) in super structure.

(G.S.I.No: 4d (iii) P/ 27  )

###### 562.81 Cft:   	 	@ Rs. 26288/46		P% Cft			Rs. 147954/-

6,	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley. This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.

(G.S.I.No  6-1 : P: 18 )

###### 113 Cft:   	 	@ Rs. 337/-			P/Cft			Rs. 37744/-

7,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from Tor bar.

(G.S.I.No:  7 (ii)  : P/ 16 ).

4.50 Cwt			@ Rs. 5001/70	 	P/Cwt			Rs. 22508/-

8,	Making and fixing steel grated door with 1/16”thick sheeting i/c angle iron frame 2”x2”x3/8” and ¾” square bars 4” center to center with looking arragement.

(G.S.I.No: 24 : P : 9 ).

28.00 Sft			@ Rs. 726/72	 		P/Sft			Rs. 20348/-

9,	Providing & fixing steel grated window of ‘Z’ section ¾”x3/4”x1/8” partly fixed or partly openable i/c glased with glass fitting painting coasts etc complete

(H.S.I)

###### 2.03 Cwt:   	 	@ Rs. 3098/54		P: Cwt			Rs. 6290/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

10,	Supplying and fixing in position iron steel grill of ¼”x1/4” size flate iron of approved design i/c painting 3 coats etc complete weight net to be less than 3.7 Ibs/sq foot of finished grill  (G.S.I.No. 26 : P: 97 )

###### 24.00 Sft:   	 	@ Rs. 180/50			P/Sft			Rs. 4332/-

11,	Painting New Surface:-

c) Preparing surface and painting of doors and windows only type i/c edges (3 costs) (G.S.I.No: 5 : P : 76  ).

104.00 Sft		@ Rs. 1489/68 		P%Sft			Rs. 1549/-

12,	Cement planter 1:4 upto 20’ft height ½”thick ratio (1:4).

(G.S.I.No: 11 : P : 57 ).

399.0 Sft			@ Rs. 2283/93	 	P% Sft			Rs. 9113/-

13,	Providing laying 1”thick topping cement concrete 1:2:4 i/c surface finishing and dividing into panels 2”thick .

(G.S.I.No. 16  P/  46).

###### 120.00 Sft:   	 	@ Rs. 3275/50		P%Sft			Rs. 3941/-

14,	Pointing flush on stone work in cement sand mortor (1:3)

(G.S.I.No. 20 : P: 58 )

###### 636.00 Sft:   	 	@ Rs. 1758/08		P%Sft			Rs. 11181/-

15,	White Washing (3 Coats)

(G.S.I.No: 26 : P : 59 ).

571.00 Sft		@ Rs. 829/95 			P%Sft			Rs. 4739/-

16,	Colour Washing (2 Coats)

451.00 Sft		@ Rs. 859/90 			P%Sft			Rs. 3878/-

------------------

Total	Rs. 353149/-

A  B  S   T   R   A   C   T

| Group ‘A’ Storage Tank |  | Rs: 25,44,588/- |
| --- | --- | --- |
| Group ‘B’ RCC Sump Well |  | Rs: 89,099/- |
| Group ‘B’ Pump House |  | Rs:7,78,968/- |
| Total |  | Rs: 34,12,646/- |

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Amount Total (a) +(b)+(c) Rs:_	34,12,646/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + c in works & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING & TESTING 8”DIA P.E. PIPE RISING MAIN FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.3) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing 8”dia P.E. Pipe Rising main for Water Supply Scheme Golo Dal (Part-I) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.120 Million |
| (e) | Amount of Bid Security:- | Rs:62500/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING 8”DIA P.E. PIPE RISING MAIN FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  RISING MAIN

1.	Excavation for pipe line  in trenches and pits in Soft Soil i/c triming and dressing side to true alingment / design section / profiles and shape leveling of bed of trenches to correct level and grade i/c laying of earth in 6” layer for construction of tanks and dressing and disposal of surplus earth within one chain as directed by Engineer In charge (P.H.S.I.No.3 P/60)

34650 Cft  		@ Rs. 3600/- 		P%0 Cft		Rs. 124740/-

2,	Excavation for pipe line in trenches and pits in Hard Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

12600.00 Cft   	 @ Rs.3900/-			P: %0 Cft		Rs.49140/-

3.	Providing Laying Jointing in trenches i/c fitting and testing etc complete in all respect the high density polythelene P.E Pipe (HDPE-100) for w/s confirming ISO 4427/DIN 8074/8075 B.S 3580 PSI (PN-8) (PHSINo.F (I) P/25)

8”dia Pipe (200mm)

3600 Rft	 	@ Rs. 691/- 	 		P: Rft.			Rs.2487600/-

4.	P.E Special ‘B’ Class test pressure 122 meter or 400’ft water head etc complete.

- 900  Bend 8” dia

3 Nos	 		@ Rs. 5431/-		 	 Each			Rs. 16293/-

- Air valve double acting conal (SMINo.8 P/12)

8” dia

- Nos	 		@ Rs. 4000/-			 Each			Rs. 8000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5.	Butt fusion Joints (SMINo.14 P/10).

8" DIA

5 Joints. 	 	@ Rs. 1400/-	 		P: Joint 		Rs. 7000/-

6.	Supplying & Installing M.S Pipe of Various dia made out of M.S Sheet 3/16” thick cutting of welding to curvature and shape etc complete    (Rate Approved).

8" DIA

200 Rft. 	 	@ Rs.980/20	 		P: Rft 			Rs. 196040/-

7.	Manufacturing and furnishing M.S Flanged pipe 8” dia madeout of              M.S Sheet 3/8” thick i/c drilling holes and welding etc complete              (Rate Approved).

8" DIA

40 Nos. 	 		@ Rs.1002/44	 		Each 			Rs. 40098/-

8.	Jointing C.I M/S Flanged Pipe and specials flanged and inside at trenches i/c supplying rubber packing of the required thickness  nuts and bolts with washer etc and other tools required for jointing and testing the joints to the specified pressure etc complete.   (P.H.S.I. No: 1 P/40)

8" DIA

22 Joints		@ Rs: 940/-			 P/ Joints		Rs: 20680/-

9,	Providing chamber -2 -1/3”  x 1 ½”  ( 7 11x 457mm) inside dismension 4  (137mm) deep as per approved design for S.V 3” to 12” dia with 18” (457mm) dia inside C.I Cover and frame (wt = 1 sq ) fixed in R.C.C 1:2:4 alab 4” (102mm) thick brick machinery walls set in 1:6 cement C.C 1:3:6 in foundation (25mm) thick cement 1:2:4 flooring ½”dia (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing & fixing M.S foot rest every one foot beyond 2 ½” ft depth curring excavation back filling and disposal of surplus etc complete.  (P.H.S.I.No: 1 P/ 40)

2 Nos:			@ Rs. 18820/- 		Each			Rs. 37640/-

10.	Refilling the excavated staff in trenches in 6” thick layers i/c watering and ramming to full compaction etc complete (P.H.S.I No. 22 P/47)

42525  Cft 		@ Rs. 2760/- 			P%0 Cft 		Rs. 117369/-

--------------------

Total 	Rs:31,04,600/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Rising Main |  | Rs: 31,04,600/- |
| --- | --- | --- |
| Total |  | Rs: 31,04,600/- |

Amount Total (a)  Rs:_	31,04,600/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a  in words & Figures__________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING & TESTING 8”DIA P.E. PIPE DELIVERY MAIN FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (Work No.4) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing 8”dia P.E. Pipe Delivery main for Water Supply Scheme Golo Dal (Part-I) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 6.085 Million |
| (e) | Amount of Bid Security:- | Rs:-122,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING 8”DIA P.E. PIPE DELIVERY MAIN FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S                    TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” DELIVERY MAIN

1,	Excavation for pipe line in trenches and pits in Soft Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

###### 47025.00 Cft   	 	@ Rs.3600/-		P: %0 Cft		Rs.169290/-

2,	Excavation for pipe line in trenches and pits in Hard Soil i/c trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/61).

###### 17100 Cft  	 	 	@ Rs.3900/-		P: %0 Cft		Rs.66690/-

3,	Providing Laying Jointing in trenches i/c fitting, jointing and testing etc complete in all respect the high density polythenic P.E Pipe (HDPE-100) for w/s confirming ISO 4427/DIN 8074/8075 B.S 3580 PSI 3051 (PHSINo.F (i) P/25) (PN-8)

8” dia

###### 7600.00 Rft: 		  	@ Rs.691/-		P: Rft			Rs.5251600/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4,		C.I Special for P.E Pipe (S.M.I.No. 14 P/14)

i.	Bend 900

8”Dia

2 Nos				@ Rs.3312/-		Each			Rs. 6624/-

ii.	Bend 450

8”Dia

4 Nos				@ Rs.2356/25		Each			Rs. 9425/-

iii.	Air Valve

5 Nos				@ Rs.4000/-		Each			Rs. 20000/-

iv.	Tee Un-Equal 8”x8”x4” dia

4 Nos				@ Rs.4012/-		Each			Rs. 16048/-

v.	Tee Un-Equal 8”x8”x3” dia

4 Nos				@ Rs.3900/-		Each			Rs. 15600/-

vi.	Tail Piece 8” dia

4 Nos				@ Rs.1056/25		Each			Rs. 4225/-

vii.	Tee Equal 8” dia

2 Nos				@ Rs.5250/-		Each			Rs. 10500/-

5,	C.I Sluice valve heavy pattenr test pressure 21Lbs/sq cum or 300 Lb/sq cum etc complete

###### 8”dia

###### 2 Nos.		  		 @ Rs.17940/-		Each			Rs.35880/-

6,	Supplying & Installing M.S Pipe of various dia metre out of M.S Sheet 3/16” thick i/c welding to curvature and shape i/c welding etc complete.

###### 8”dia

###### 100 Rft.		  	 @ Rs.980/20		P: Rft			Rs.98020/-

7,	Manufacturing and Furnishing M.S Flanged Pipe 8” dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete..

###### 8”dia

###### 20 Nos.		  	 @ Rs.1002/44	Each			Rs.20049/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

8,	Jointing C.I/M.S flanged pipe and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc complete (P.H.S.I.No. M (I) P/40)

###### 8”dia

###### 16 Joints.	 	 	 @ Rs.940/-		P: Joint		Rs.15040/-

9,	Providing Chamber 2-1/3’x1 ½” (750x750mm) inside dimension 4 ½ (1372mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt-1 cwt 3 sq) fixed in RCC 1:2 Slab 4”dia (102mm) thick with 5 Ibs steel per Cft 9” (299mm) thick brick masonry walls set in 1:6 cement motor 6” (152mm) 1:2:4 flooring ½” (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at very one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus etc.

(P.H.S.I.No:     : P: 90).

###### 7 Nos.	  		 	 @ Rs.18820/-		Each			Rs.131740/-

10.	Bult Fusion Joints (SMINo.14 P/10)

8” dia

10 Joints			@ Rs.1400/-		P: Joint		Rs. 14000/-

11,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

###### 57713.00 Cft: 	 	 	 @ Rs.2760/-		P:%0 Cft		Rs.159287/-

------------------

Total	Rs.60,12,370/-

Amount Total (a)   Rs:_	60,12,370/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a   in words & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF COMPOUND WALL WATER SUPPLY SCHEME HAYAT KHASKHELI FOR FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.5) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Compound Wall Water Supply Scheme Hayat Khaskheli for for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 2.096 Million |
| (e) | Amount of Bid Security:- | Rs:-42,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF COMPOUND WALL WATER SUPPLY SCHEME HAYAT KHASKHELI FOR FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  COMPOUND WALL

1,	Excavation in foundation of building brides and others structure i/c deg belling dressing refilling around the structure with excavated earth water and remaining lift upto 5 ft and lead upto one chain (in ordinary soil) etc  (G.S.I No.18 P/ 4)

###### 3142.00 Cft: 	  	@ Rs. 3176/25		P%0Cft		Rs. 9980/-

2,	Cement concrete or stone Ballast 1 ½” gauge ratio (1:4:8)  (GSI No. 4   P-  14  )

###### 781.00 Cft:   	 	@ Rs. 9416/28		P%Cft			Rs. 73541/-

3,	Coursed rubble masonry i/c harmer dressing in cement sand motor (1:6) in foundation and plinth etc (G.S.I No. 2  P- 26   )

4053.00 Cft		@ Rs. 25321/- 		P%Cft			Rs.1026260/-

4,	D.P.C with cement sand shingle concrete                   Ratio (1:2:4) and cost of asphaltic mixture              (G.S.I No. 28  P- 18 )

1158.00 Cft		@ Rs. 4982/18 		P%Sft			Rs. 57694/

5,	Providing & layng (1:3:6) cement concrete solid                  block masonry wall 6” and below in thickness set in   (1:6) cement mortar in ground floor super-structure including raking out joints & curing etc complete.             (G.S.I No. 22  P- 18 )

###### 1984.00 Cft:   	 	@ Rs. 14268/53		P%Cft			Rs. 283088/-

6,	Cement Plaster ½” thick upto 12’ft height in cement sand mortor (1:4) (G.S.I No. 11/B  P- 51 )

###### 7442 Sft:   	 	@ Rs. 2283/93		P%Sft			Rs.169970/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7,	Pointing Flush on Stone work (Raised) i/c cement sand mortar (1:3)  G.S.I No. 20  P- 52 )

3088.00 Sft		@ Rs. 1758/08	 	P%Sft			Rs. 54290/-

8,	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structure member laid in situ or precast laid in position in all respect ratio (1:2:4) (G.S.I.No. 6 P/15)

66.50 Cft			@ Rs. 337/- 			P: Cft			Rs. 22411/-

9,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                                          (G.S. I No. 8 P/16 )

###### 2.671 Cwt:   	 	@ Rs. 5001/70		P: Cwt			Rs.13360/-

10,	Making & Fixing Steel Grated Doors with 1/16” thick shuttering including angle iron frame 2” x 2” 3/8” and and 3/4” sq bars 4” centre to centre with locking arrangement  G.S.I No. 24  P- 91)

###### 72.00 Sft:   	 	@ Rs. 726/72			P:% Sft		Rs. 52324/-

11,	White Wash or Colour Wash  G.S.I No. 54/a  P- 15)

6562 Sft			@ Rs. 425/84			 P%Sft			Rs. 27944/-

12,	Painting New Surface

Preparing Surface and Painting of doors and  windows in any type i/c edges (02 Coats)

144.00 Sft		@ Rs.1489/68		 	P%Sft			Rs. 2145/-

13,	Colour washing (02 Coat (G.S.I No.25  P- 59)

###### 6562.00 Sft:    	@ Rs. 859/90			P: Sft			Rs. 56427/-

__________

Total	Rs: 1849434/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Compound Wall |  | Rs:18,49,434/- |
| --- | --- | --- |
| Total |  | Rs: 18,49,434/- |

Amount Total (a)  Rs:_18,49,434/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a  in works & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated:21-07/2017 |
| --- | --- |

| Name of Work:- | SUPPLYING AND INSTALLING PUMPING MACHINERY I/C SUCTION DELIVERY LINES WATER SUPPLY SCHEME TANDO HAFIZ SHAH (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.6) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Supplying and Installing Pumping Machinery i/c Suction Delivery lines Water Supply Scheme Tando Hafiz Shah (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 0.570 Million |
| (e) | Amount of Bid Security:- | Rs:-12,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 03 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	SUPPLYING AND INSTALLING PUMPING MACHINERY I/C SUCTION DELIVERY LINES WATER SUPPLY SCHEME TANDO HAFIZ SHAH (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

“GROUP: “A”  PUMPING MACHINERY @ SOURCE

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme TANDO HAFIZ SHAH Electric Pumping Machinery 5.50 BHP Coupled with Centrifugal pump (KSB) ETA Norm 80-200 Size   3 x 2 1/2” mounted on common steel base plate capable of discharging of 105 gallons per minute to a head of 85’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

2.0 Sets		@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

2 Nos.		 	 @ Rs.				Each			Rs.

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

2.0 Nos	 	@ Rs.				 Each.  	         	Rs.

4.	Supplying C.I foot valve heavy pattern with cone type gate                      (M.S.I.No. 4 P/10) (Imported)

2.0 Nos	 	@ Rs				 Each.  	         	Rs.

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

40.02 Kg 		@ Rs. 				 P:Kg	 		Rs.

7.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (Rate Approved).

10.50 Kg 		@ Rs				P:Kg	 		Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

8.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

10.50 Kg 		@ Rs.				 P:Kg	 		Rs.

9.	Supplying & Instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved)

49.00 Rft 		@ Rs.				 P:Rft	 		Rs.

10.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved)

28.00  Nos.		  @ Rs. 	 		Each			Rs.

11.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

22 Joints		@ Rs. 				P: Joint		Rs.

----------------------

Total	Rs:

Amount Total (a)) Rs:_			/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a  in words & Figures___________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 1897,Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING AND TESTING P.E. PIPE DISTRIBUTION SYSTEM WATER SUPPLY SCHEME TANDO HAFIZ SHAH (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.7). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing and Testing P.E. Pipe Distribution System Water Supply Scheme Tando Hafiz Shah (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 2.153 Million |
| (e) | Amount of Bid Security:- | Rs:-43,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost) Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING AND TESTING P.E. PIPE DISTRIBUTION SYSTEM WATER SUPPLY SCHEME TANDO HAFIZ SHAH (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” DISTRIBUTION SYSTEM

1,	Excavation for pipe line in trenches and pits in Hard Soil               of murum i/c trimming an dressing sides to ture alignment and shape leveling  of beds joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards light flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft and lead upto one chain  (P.H.S.I.No:  1  P/60).

###### 42281.00 Cft:  		@ Rs. 3900/-			P%0Cft		Rs. 164896/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 15375.00 Cft  	  	@ Rs.24150/-			P: %0 Cft		Rs.371306/-

3,	Providing P.V.C Pipe class “B” equvalant make fixing in trenches i/c cutting fitting and jointing with “Z” joint with rubber ring i/c testing with water to lead of 61  miter or 200ft (PHSINo.E(I) P/22)

6”dia Pipe:-

1500 Rft			@ Rs. 262/-	 		P/Rft			Rs.393000/-

4”dia Pipe:-

2000 Rft			@ Rs. 137/-	 		P/Rft			Rs.274000/-

3”dia Pipe:-

4000 Rft			@ Rs. 90/-	 		P/Rft			Rs.360000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4, 	PVC Specials for P.V.C Pipe (M-R).

Bend 90o

6”dia 	4 Nos:			@ Rs. 2500/-	 	Each			Rs. 1000/-

Bend 900

4”dia   	4 Nos:			@ Rs. 850/-	 	Each			Rs. 3400/-

Bend 900

3”dia	8 Nos:			@ Rs. 475/-	 	Each			Rs. 3800/-

Tee Equal

6”dia	2 Nos:			@ Rs. 1446/-	 	Each			Rs. 2892/-

Tee Equal

4”dia	4 Nos:			@ Rs. 725/-	 	Each			Rs. 2900/-

Tee Equal

3”dia	8 Nos:			@ Rs. 361/-	 	Each			Rs. 2888/-

Tee Un-Equal 8”x8”x6”

4 Nos:			@ Rs. 3687/50	Each			Rs. 14750/-

Tee Un-Equal 6”x6”x4”

4 Nos:			@ Rs. 1375/-		Each			Rs. 5500/-

Tee Un-Equal 4”x4”x3”

4 Nos:			@ Rs. 956/25		Each			Rs. 3825/-

Short Piece 6” dia

8 Nos:			@ Rs. 1056/25	Each			Rs. 8450/-

Short Piece 4” dia

8 Nos:			@ Rs. 487/50		Each			Rs. 3900/-

Short Piece 3” dia

14 Nos:		@ Rs. 375/-		Each			Rs. 5250/-

C.I Dead End 6” dia

3 Nos:			@ Rs. 731/25		Each			Rs. 2194/-

C.I Dead End 4” dia

4 Nos:			@ Rs. 425/-		Each			Rs. 1700/-

C.I Dead End 3” dia

10 Nos:		@ Rs. 368/75		Each			Rs. 3688/-

5,	Supplying C-I Sluice valve heavy pattern test pressure 21 Ibs/sq:cum or 300 Ibs/inch etc.

6”dia 4 Nos:			@ Rs. 9360/- 		Each			Rs. 37440/-

4”dia 4 Nos:			@ Rs. 5460/- 		Each			Rs. 21840/-

3”dia 7 Nos:			@ Rs. 4290/- 		Each			Rs. 30030/-

6,	Providing chamber -2 -1/3”  x 1 ½”  ( 7 11x 457mm) inside dismension 4  (137mm) deep as per approved design for S.V 3” to 12” dia with 18” (457mm) dia inside C.I Cover and frame (wt = 1 sq ) fixed in R.C.C 1:2:4 alab 4” (102mm) thick brick machinery walls set in 1:6 cement C.C 1:3:6 in foundation (25mm) thick cement 1:2:4 flooring ½”dia (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing & fixing M.S foot rest every one foot beyond 2 ½” ft depth curring excavation back filling and disposal of surplus etc complete.  (P.H.S.I.No: 1 P/ 40)

15 Nos:			@ Rs. 18820/-	 		Each			Rs.282300/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

51890.00 Cft		@ Rs. 2760/-			 P%0Cft		Rs. 143216/-

------------------

Total	Rs: 21,44,150/-

A  B  S   T   R   A   C   T

| Group ‘A’ Distribution System |  | Rs: 21,44,150/- |
| --- | --- | --- |
| Total |  | Rs: 21,44,150/- |

Amount Total (a) 	 Rs:_	21,44,150/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a 	 in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated:21-07/2017 |
| --- | --- |

| Name of Work:- | REPAIR OF STORAGE TANK AND PUMP HOUSE I/C 12”DIA INTAKE MAIN WATER SUPPLY SCHEME TANDO HAFIZ SHAH (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (Work No.8). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Repair of Storage Tank and Pump House i/c 12”dia Intake main Water Supply Scheme Tando Hafiz Shah (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta.. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 2.458 Million |
| (e) | Amount of Bid Security:- | Rs:-50,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2016 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	REPAIR OF STORAGE TANK AND PUMP HOUSE I/C 12”DIA INTAKE MAIN WATER SUPPLY SCHEME TANDO HAFIZ SHAH (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” INTAKE MAIN

1,	Providing R.C.C. Pipes for ASTM C-76-62 T/C-76-70 Class it wall ‘B’ and fixing in trench i/c wall ‘B’ and fixing in trench i/c cutting fitting and jointing with rubber rings i/c testing with water is specified pressure (P.H.S.I.No.     P/    )

###### 120.00 Rft:   	 	@ Rs. 412/-			P:Rft			Rs. 49440/-

2,	Excavation for pipe lines in trenches and pits in Soft soil i/c trimming and dressing sides to true alignment and shape leveling o beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards                   light flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft and lead upto one chain (P.H.S.I.No 5 P/ 38)

###### 144.00 Cft:   	 	@ Rs. 3600/-			P%0Cft		Rs. 5184/-

3,	Refilling the excavated stuff in trenches in 6” thick layers i/c watering to full compaction etc complete (P.H.S.I.No.    P/     )

1296.00 Cft		@ Rs.2760/- 			P%0 Cft		Rs.3577/-

4,	Excavation in foundation of building bridges other structures i/c dag belling dressing refilling around the structures with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In ordinary Soil) (G.S.I.No.   P/    )

316.00 Cft 		@ Rs. 3176/25		P%0Cft		Rs. 1004/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5.	Cement Concrete brick or Stone Ballast 1 ½” to 2” guage (Ratio: 1:4:8) (G.S.I.No. 4 P/16)

37.00 Cft		@ Rs.9416/28 		P% Cft			Rs. 3484/-

6,	Pacca brick work in foundation and plinth (1:6) (G.S.I.No.    P/      )

230.00 Cft		@ Rs. 11948/36		 P%Cft			Rs. 27481/-

7,	Cement Concrete plain i/c placing compacting finishing and curring complete i/c screening washing of stone aggregate without shuttering (Ratio: 1:2:4) etc complete (G.S.I.No.    P/     )

18.00 Cft			@ Rs. 14429/25		 P%Cft			Rs. 2597/-

8,	Cement plaster ½” thick upto 20’ft height in cement sand mortor (1:4) (G.S.I.No.      P/       )

2.52 Sft			@ Rs. 2283/93		 P%Sft			Rs. 5756/-

----------------

Total	Rs: 98523/-

GROUP: “B”  REPAIR OF STORAGE TANK

- Excavation for tanks and reservoir in SOFT SOIL i/c Trimming and dressing sides to true alignment / design section profiles and shape leveling of beds of tanks to correct level and grade i/c laying in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer in charge i/c providing fence guards, lights flags wherever required lift upto 5 Ft: and lead up to one chain etc.: Complete (P.H.S.I. No: 1P/47).

2415.00 Cft		@ Rs. 3000/-			P%0 Cft	 	Rs.7245/-

2.	C.C. (1:4:8) Stone Ballast (GSINo.4 G-14).

4028.00 Cft		@ Rs. 9416/28 		P%Cft 			Rs. 379288/-

3.	Coursed rubble masonary i/c hammer dressing in cement sand mortor 1: 6 in super structure.

(G.S.I.No: 4d (iii) P/ 32  ).

2760.00 Cft		@ Rs. 25321/- 		P%Cft 			Rs. 698860/-

4,	Pucca Brick Work other then Building (1:6)                      (G.S.I.No: 7 (i) C. P/25)

3129.0 Cft.		@ Rs.12346/65		P%Cft 			Rs. 386327/

5,	Earth work excavation undressed head upto single through of Kassi Pawrah or Shavel in ordinary soil (G.S.I.No. I (B) P-I)

18125.0 Sft.		@ Rs 1361/25			P%Cft 			Rs.24673/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	D.P.C with cement sand shingle concrete ratio 1:2:4 and cost of asphaltic mixture (G.S.I No. 98 P/102)

594.00 Sft.		@ Rs 4982/18			P%Sft 			Rs.29594/-

7,	Cement Plaster (1:4) 1/2” thick (GSINo.II P/51)

2828.0 Sft		@ Rs.2283/93			P%Sft			Rs.64590/-

8,	C.C. Plain (1:2:4)

1813.0 Cft		@ Rs.14429/25		P%Cft			Rs. 261602/-

9.	Colour Washing 2 Coats.

2010.00 Sft		@ Rs. 425/84 			P%Sft			Rs.8559/-

-----------------

Total	Rs.1860738/-

GROUP: “B”  REPAIR OF PUMP HOUSE

- Dismantling of Cement reinforcement separation reinforcement from concrete claming straighten the same (GSINo.20 P/10)

Top Slab

91.00 Cft		@ Rs. 5445/-			P% Cft		 	Rs.4955/-

- R.C.C work i.e. all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i.e. all kinds forms modules lifting shutting curing remarking and finishing the exposed surface i.e. screening and washing of shingle (a) R.C. work in roof slab beams columns rafts lintel and other structural member laid in Situ or pre-cast laid in position in the respect ratio 1:2:4 etc complete (G.S.I No. 6/a P/18)

91.00 Cft		@ Rs. 337/- 			P%Cft 			Rs.30667/-

- Fabrication of mild steel reinforcement for cement concrete i.e. cutting bending laying in position making joints & fastening i.e. cost of binding wire also i.e. removal of rust from bars (G.S.I No. 7 ii(a) P/19).

3.65 Cwt		@ Rs. 4820/20 		P: Cwt 			Rs.17594/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Cement Plaster (1:4) upto 12’ height in cement sand mortor ½” thick (GSINo.11 (b) P/51).

910.00 Sft		@ Rs. 2283/93 		P% Sft 		Rs.20784/-

5,	Cement Concrete Plain i/c placing compacting finishing curing complete i/c screening and washing of stone aggregate without shuttering Ratio (1:2:4)

30.00 Cft.		@ Rs.14429/25		P% Cft 		Rs. 4329/-

6,	Making and Fixing steel greated doorwith 1/16”thick sheeting i/c angle iron frame 2”x2”x3/8” and ¾” square bars 4” center to center with looking arrangement (GSINo.24 P/91).

28.00 Sft.		@ Rs 726/72			P: Sft 			Rs.20348/-

6,	Fabrication of heavy steel (HSI).

2.03 Cwt.		@ Rs.4928/49			P: Cwt 			Rs.10005/-

2.03 Cwt.		@ Rs.271/04			P: Cwt 			Rs.550/-

7,	Supplying and fixing in position iron steel grill of ¼” x ¼” size flate iron of approved design i/c painting 8 Coats etc complete weight net to be less than 3.7 Ibs/sq foot of finished grill (GSINO.26 P/92).

24.0 Sft		@ Rs.180/50			P: Sft			Rs.4332/-

8,	Pointing New Surface

Preparing surface and painting doors and windows and any type (i/c edges) (G.S.I No. 5/C P/76)

80.00 Sft		@ Rs.2116/40			P%Sft			Rs. 1693/-

9.	White Washing 3 Coats (GSINo.26 (c) P/53).

571.00 Sft		@ Rs. 829/95 			P%Sft			Rs.4739/-

-----------------

Total	Rs.112785/-

A  B  S   T   R   A   C   T

| Group ‘A’ Intake Main |  | Rs: 98,523/- |
| --- | --- | --- |
| Group ‘B’ Repair of Storage Tank |  | Rs: 18,60,738/- |
| Group ‘C’ Repair of Pump House |  | Rs:1,12,785 /- |
| Total |  | Rs: 20,72,091/- |

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Amount Total (a) + (b) + (c) Rs:_	20,72,091/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + (c) in words & Figures__________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING AND TESTING P.E. PIPE 6”, 4” AND 3”DIA DISTRIBUTION SYSTEM FOR WATER SCHEME (REHABILITATION) VILLAGE OUNGAR FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.09). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing and Testing P.E. Pipe 6”, 4” and 3”dia Distribution System for Water Scheme (Rehabilitation) Village Oungar for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 2.153 Million |
| (e) | Amount of Bid Security:- | Rs:-43,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING AND TESTING P.E. PIPE 6”, 4” AND 3”DIA DISTRIBUTION SYSTEM FOR WATER SCHEME (REHABILITATION)  VILLAGE OUNGAR FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	DISTRIBUTION SYSTEM

1,	Excavation for pipe line in trenches and pits in Hard Soil               of murum i/c trimming an dressing sides to ture alignment and shape leveling  of beds joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards light flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft and lead upto one chain  (P.H.S.I.No:  1  P/60).

###### 42281.00 Cft:  		@ Rs. 3900/-			P%0Cft		Rs. 164896/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 15375.00 Cft  	  	@ Rs.24150/-			P: %0 Cft		Rs.371306/-

3,	Providing P.V.C Pipe class “B” equvalant make fixing in trenches i/c cutting fitting and jointing with “Z” joint with rubber ring i/c testing with water to lead of 61  miter or 200ft (PHSINo.E(I) P/22)

6”dia Pipe:-

1500 Rft			@ Rs. 262/-	 		P/Rft			Rs.393000/-

4”dia Pipe:-

2000 Rft			@ Rs. 137/-	 		P/Rft			Rs.274000/-

3”dia Pipe:-

4000 Rft			@ Rs. 90/-	 		P/Rft			Rs.360000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4, 	PVC Specials for P.V.C Pipe (M-R).

Bend 90o

6”dia 	4 Nos:			@ Rs. 2500/-	 	Each			Rs. 1000/-

Bend 900

4”dia   	4 Nos:			@ Rs. 850/-	 	Each			Rs. 3400/-

Bend 900

3”dia	8 Nos:			@ Rs. 475/-	 	Each			Rs. 3800/-

Tee Equal

6”dia	2 Nos:			@ Rs. 1446/-	 	Each			Rs. 2892/-

Tee Equal

4”dia	4 Nos:			@ Rs. 725/-	 	Each			Rs. 2900/-

Tee Equal

3”dia	8 Nos:			@ Rs. 361/-	 	Each			Rs. 2888/-

Tee Un-Equal 8”x8”x6”

4 Nos:			@ Rs. 3687/50	Each			Rs. 14750/-

Tee Un-Equal 6”x6”x4”

4 Nos:			@ Rs. 1375/-		Each			Rs. 5500/-

Tee Un-Equal 4”x4”x3”

4 Nos:			@ Rs. 956/25		Each			Rs. 3825/-

Short Piece 6” dia

8 Nos:			@ Rs. 1056/25	Each			Rs. 8450/-

Short Piece 4” dia

8 Nos:			@ Rs. 487/50		Each			Rs. 3900/-

Short Piece 3” dia

14 Nos:		@ Rs. 375/-		Each			Rs. 5250/-

C.I Dead End 6” dia

3 Nos:			@ Rs. 731/25		Each			Rs. 2194/-

C.I Dead End 4” dia

4 Nos:			@ Rs. 425/-		Each			Rs. 1700/-

C.I Dead End 3” dia

10 Nos:		@ Rs. 368/75		Each			Rs. 3688/-

5,	Supplying C-I Sluice valve heavy pattern test pressure 21 Ibs/sq:cum or 300 Ibs/inch etc.

6”dia 	 4 Nos:			@ Rs. 9360/- 		Each			Rs. 37440/-

4”dia 	 4 Nos:			@ Rs. 5460/- 		Each			Rs. 21840/-

3”dia 	 7 Nos:			@ Rs. 4290/- 		Each			Rs. 30030/-

6,	Providing chamber -2 -1/3”  x 1 ½”  ( 7 11x 457mm) inside dismension 4  (137mm) deep as per approved design for S.V 3” to 12” dia with 18” (457mm) dia inside C.I Cover and frame (wt = 1 sq ) fixed in R.C.C 1:2:4 alab 4” (102mm) thick brick machinery walls set in 1:6 cement C.C 1:3:6 in foundation (25mm) thick cement 1:2:4 flooring ½”dia (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing & fixing M.S foot rest every one foot beyond 2 ½” ft depth curring excavation back filling and disposal of surplus etc complete.  (P.H.S.I.No: 1 P/ 40)

15 Nos:		@ Rs. 18820/-	 		Each			Rs.282300/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

51890.00 Cft		@ Rs. 2760/-			 P%0Cft		Rs. 143216/-

---------------------

Total	Rs: 21,44,165/-

A  B  S   T   R   A   C   T

| Group ‘A’ Distribution System |  | Rs: 21,44,165/- |
| --- | --- | --- |
| Total |  | Rs: 21,44,165/- |

Amount Total (a) )  Rs:_	21,44,165	/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | SUPPLYING AND INSTALLING PUMPING MACHINERY I/C SUCTION & DELIVERY LINES FOR WATER SUPPLY SCHEME ONGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.10). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Supplying and Installing Pumping Machinery i/c Suction & Delivery lines for Water Supply Scheme Ongar (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 2.043 Million |
| (e) | Amount of Bid Security:- | Rs:-41,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	SUPPLYING AND INSTALLING PUMPING MACHINERY I/C SUCTION & DELIVERY LINES FOR WATER SUPPLY SCHEME ONGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	PUMPING MACHINERY @ SOURCE

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme ONGAR Electric Pumping Machinery 25 BHP Coupled with Centrifugal pump (KSB) ETA Norm 80-200 Size  4 x 3” mounted on common steel base plate capable of discharging of 410 gallons per minute to a head of 110’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

2.0 Sets		@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

2 Nos.		 	 @ Rs. 			Each			Rs.

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

4.	Supplying C.I foot valve heavy pattern with cone type gate                      (M.S.I.No. 4 P/10) (Imported)

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

80.10 Kg 		@ Rs. 				 P:Kg	 		Rs.

7.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (Rate Approved).

02.82 Kg 		@ Rs. 				P:Kg	 		Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

8.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

14.50 Kg 		@ Rs.				 P:Kg	 		Rs.

9.	Supplying & Instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved)

49.00 Rft 		@ Rs.				 P:Rft	 		Rs

10.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved)

14.00  Nos.		  @ Rs		 		Each			Rs.

11.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

22 Joints		@ Rs. 				P: Joint		Rs.

---------------------

Total	Rs:

GROUP: “B”	PUMPING MACHINERY @ W/WORKS

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme ONGAR Electric Pumping Machinery 25 BHP Coupled with Centrifugal pump (KSB) ETA Norm 100-315 Size 4 x 3” mounted on common steel base plate capable of discharging of 410 gallons per minute to a head of 105’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

2.0 Set			@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

2 Nos.		 	 @ Rs.  			Each			Rs.

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

4.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/10)

6”dia

2.0 Nos	 	@ Rs. 1381/25		 Each.  	         	Rs.2763/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

80.10 Kg 		@ Rs. 				 P:Kg	 		Rs.

6.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (SMINO.9 P/11).

20.82 Kg 		@ Rs. 				P:Kg	 		Rs.

7.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

14.50 Kg 		@ Rs.				 P:Kg	 		Rs.

8.	Supplying instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved)

49.00 Rft 		@ Rs.				 P:Rft	 		Rs.

9.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved)

14.00  Nos.		  @ Rs. 	 		Each			Rs.

10.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

22 Joints		@ Rs. 				P: Joint		Rs.

-------------------										Total	Rs:

A  B  S   T   R   A   C   T

| Group ‘A’ Pumping Machinery @ Source |  | Rs: |
| --- | --- | --- |
| Group ‘B’ Pumping Machiner @ W/Works |  | Rs: |
| Total |  | Rs: |

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Amount Total (a) + (b)  Rs:_				/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1843,Dated:10-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF SCREENING CHAMBER 5’X8’ PROVIDING LAYING JOINTING & TESTING SEWER LINE & CONSTRUCTION SURFACE DRAINS I/C C.C.PAVEMENT FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA. (Work No.11). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Screening Chamber 5’x8’ Providing Laying Jointing & Testing Sewer Line & Construction Surface Drains i/c C.C.Pavement for Rehabilitation of Drainage Scheme Ghulamullah District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 4.500 Million |
| (e) | Amount of Bid Security:- | Rs:-90,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF SCREENING CHAMBER 5’X8’ PROVIDING LAYING JOINTING & TESTING SEWER LINE & CONSTRUCTION SURFACE DRAINS I/C C.C.PAVEMENT FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  SCREENING CHAMBER

1,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)   (G.S.I.No:  18   P/ 4   )

###### 748.00 Cft:   	 	@ Rs. 3176/25		P%0Cft		Rs. 2376/-

2,	Extra for Wet earth work etc complete.

###### 440.00 Cft:   	 	@ Rs. 1058/75		P%0 Cft		Rs. 466/-

3,	Cement Concrete Brick or Stone Ballast 1 ½” to 2 guage Ratio:1:4:8

###### 66.00 Cft:   	 	@ Rs. 9416/28		P% Cft			Rs. 6215/-

4,	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley. This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.

(G.S.I.No  6-1 : P: 15 )

###### 236.40 Cft:   	 	@ Rs. 337/-			P/Cft			Rs. 79667/-

5,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars.

(G.S.I.No:  8 (ii)  : P/ 16 ).

9.49 Cwt			@ Rs. 5001/70 		P/Cwt			Rs. 47466/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	Pucca Brick work in foundation and plinth etc complete.

36.00 Sft			@ Rs. 2283/93 		P% Sft			Rs. 822/-

7,	Providing Construction joint in Cement work etc complete.

30.00 Rft			@ Rs. 86/-	 		P: Rft			Rs. 2580/-

7,	Providing & Fixing in C.C. Foundation (1:3:6) M.S angle iron etc complete.

10.00 Rft			@ Rs. 799/-	 		P: Rft			Rs. 7990/-

7,	Fabrication of heavy steel work with angle iron tee flate iron etc complete.

1.36 Cwt			@ Rs. 4928/49 		P: Cwt			Rs. 6703/-

9,	Errection and fixing in position of iron trusses staging of water tank etc.

###### 1.36 Cwt:   	 	@ Rs. 271/04		P: Cwt			Rs. 369/-

10	Providing & Fixing C.I Man hole cover with frame i/c cost of material etc complete.

1.75 Cwt			@ Rs. 6985/-	 		P: Cwt			Rs. 12224/-

------------------

Total	Rs. 1,69,308/-

GROUP: “B”  RCC SEWER LINE

1.	Excavation for Tanks and reservoir in Soft Rock i/c trimming and dressing side to true alignment / design section / profiles and shape leveling of bed of trenches to correct level and grade i/c laying of earth in 6” layer for construction of tanks and dressing and disposal of surplus earth, excavated earth within a one chain as directed by Engineer In charge (P.H.S.I.No.10 P/72)

17500 Cft 		@ Rs.3600/-	 		  P %0  Cft 		Rs. 63000/-

2. 	Supplying of Clear Screened (River or Pit) Sand within 5 Chain i/c etc complete.

3500 Cft		@ Rs:- 420/-			  P% Cft		Rs:- 14700/-

3. 	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)   (G.S.I.No:  18   P/ 4   ).

3391.20 Cft		@ Rs:- 7260/-		P%0 Cft		Rs:- 10771/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4,	Cement Concrete brick or stone ballast (1:4:8) 1 ½” to 2” guage  (G.S.I.No. 4 P/16)

###### 282.78 Cft.  	 	 @ Rs. 9416/28		P% Cft			Rs. 26627/-

5.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be aid separately.  This rates also i/c all kinds forms moduls lifitting shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts linkes and other structural member laid in or precost laid in position in all respect ratio 1:2:4 etc complete.              (G.S.I.No.6/I P/18)

Ratio: (1:2:4)

944.52 Cft		@ Rs:-337/-			P: Cft			Rs:318303/-

6.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints & fastening i/c cost of binding wire also i/c removal of rust from bars (G.S.I.No.7 P/18)

39.94  Cwt		@ Rs:-5001/70		 P: Cwt		Rs.189812/-

7.	Cement concrete plain i/c placing compacting finishing and curring complete i/c screening and washing of stone aggrgate without shuttering etc complete (G.SI No.4 P/14)

Ratio: 1:2:4

196.80 Cft		 @ Rs:-14429/25		 P:% Cft		Rs:28397/-

8.. 	Errection and removal of Centering for R.C.C or Plain Cement Concrete works of Deodar Wood (2ND Class) (Vertical) (GSINo.19 P/18).

240 Sft			@ Rs:- 7000/-			P% Sft			Rs:- 16800/-

9,	Providing C.I Man holes frame i/c cost of material etc complete. (P.H.SI.No. J (I) P/35)

###### 35.00 Cft  		@ Rs. 6985/-			P:  Cwt		Rs.244475/-

10.	Refilling the excavated stuff in trenches 6” thick i/c watering ramming to full compaction etc               (P.H.S.I.NO: 24 P/77)

15750 Cft		@ Rs:- 2760/-	  	P%0 Cft		Rs:- 43470/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

11,	Manufacutring and Supplying RCC Man Hole Cover (R.A.Approved Based on Schedule)

###### 20.00 Nos  		@ Rs.1881/18			Each			Rs.37624/-

------------------

Total	Rs.1611979/-

GROUP: “C”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In

4710 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 14960/-

2. 	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

880.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:99341/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

2625 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:313644/-

4.	Cement Plaster ½” thick upto 12”height in cement sand

3660 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:83592/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

500 Rft 		@ Rs: 94/-			P/Rft			Rs: 47000/-

Type – II

500 Rft		@ Rs: 309/-			P/Rft			Rs: 154500/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

173.91 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 58610/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

6.13 Cwt		@ Rs: 40001/70		P/Cwt			Rs:     30660/-

Total	Rs: 802307/-

GROUP: “C”  CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

27600 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:58443/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

27600 Cft			@ Rs.354/ 		  P%Cft		Rs: 9770/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

6072 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 571757/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

4600 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 663745/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5. 	Erection & removal of centering (G.S.I.No.    P/   ).

1035.00  Sft 			@ Rs: 2127/41	P%Sft			Rs:  32369/-

6. 	Cartage of 100 Cft / Stone of all material like stone aggregate etc lead (2 Miles)

27600 Cft 			@ Rs: 502/13	P% Cft		Rs:  138585/-												-----------------

Total	Rs: 1474670/-

A  B  S   T   R   A   C   T

| Group ‘A’ Screening Chamber |  | Rs: 1,69,308/- |
| --- | --- | --- |
| Group ‘B’ RCC Sewer Line |  | Rs: 16,11,979/- |
| Group ‘C’ Surface Drain & C.C Pavement |  | Rs: 22,78,977/- |
| Total |  | Rs: 40,58,264/- |

Amount Total (a) + (b) + (c) Rs:_40,58,264/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + c in words & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T.No.PHE/TC/1897, Dated:21-07-2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING & TESTING OF PVC RISING MAIN FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA (Work No.12). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing of PVC Rising Main for Rehabilitation of Drainage Scheme Ghulamullah District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.120 Million |
| (e) | Amount of Bid Security:- | Rs:-22,500/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING OF PVC RISING MAIN FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  RISING MAIN

1.	Excavation for Pipe Line.in trenches and pits in Soft Soil by hammering and chiseling where blasting is not practicable or prohibited i/c trimming and dressing sides to true alignment and shape leveling of  trencher to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards. Lift. Flags and temporary crossing for non vehicular traffic wherever required lift upto 5 ft (1.52) and lead upto one chain (30.5m)

6” dia

27562.50 Cft			@Rs: 3600/-			P:%0 Cft		Rs: 99225/-

2.	Providing Laying P.V.C Pipe pressure pipe of Class B (equivalent make) i/c Fixing in Trencher i/c Cutting Fitting Jointing i/c Testing Water etc complete (P.H.SI.No.6-1 P/22)

6” dia

2500 Rft			@Rs: 262/-			P: Rft			Rs:917000/-

3.	Supplying PVC Special for PVC pressure pipe billers.

6”dia

Bend 900

6.00 Nos			@ Rs. 1913/-		 	Each	 		Rs.11478/-

Fiber Hydrant Tee  6” dia

1.00 No			@ Rs. 1375/-			Each	 		Rs.1375/-

4.	Air valve (Double Acting)

6”dia

1 No.		 	 	@ Rs.4000/- 			Each			Rs.4000/-

5.	Reffling excavated the stuff in trenches 6” thick layers i/c watering ramming to full compaction etc complete (P.H.S.NO: 324/ P54)

6”dia

24806.25 Cft			@ Rs.2760/-			 P%0 Cft.  	         	Rs.68465/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	Providing chamber 21/2x21/2 (750x750 mm) inside dimension 4 ½” (1372mm) deepas per approved design sluice valve 3” to 12” with 18” (457mm) dia inside cost of iron cover and fame (wt: 1cwt3sq) fixed in RCC (1:2:4) 102 mm) thick with 5 lbs steel per cft 9” 299mm thick brick masonry wall set in (1:6) cement mortar 6” (1152mm) thick c.c (1:3:6) in foundation cement plaster (1:30 total insid wall surface and to top i/c p/f m.s foot rest at everyone foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus earth etc complete(PHS I No: 1 P/40)

1 No.	 		@ Rs. 18820/-			 Each	 			Rs.18820/-

-------------------

Total 	Rs:11,20,363/-

A  B  S   T   R   A   C   T

| Group ‘A’ Rising Main |  | Rs: 11,20,363/- |
| --- | --- | --- |
| Total |  | Rs: 11,20,363/- |

Amount Total (a)   Rs:_	11,20,363	/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a   in words & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 1897,Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF OXIDATION POND & SURFACE DRAIN I/C C.C.PAVEMENT FOR DRAINAGE SCHEME BUHARA TALUKA MIRPUR SAKRO DISTRICT THATTA.. (Work No.13). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Oxidation Pond & Surface Drain i/c C.C.Pavement for Drainage Scheme Buhara Taluka Mirpur Sakro District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.865 Million |
| (e) | Amount of Bid Security:- | Rs:-37,500/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 03 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF OXIDATION POND & SURFACE DRAIN I/C C.C.PAVEMENT FOR DRAINAGE SCHEME BUHARA TALUKA MIRPUR SAKRO DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	 OXIDATION POND

1.	Excavation for tank and reservoir in Soft Soil  i/c trimming and dressing sides to ture alignment and shape leveling  of beds of trenches to correct level andgrade i/c laying ofearth in 6” layer for suction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guard lights flags where ever required lift upto 5’ft (1.52m) and lead upto chain (30.50m) (PHSINo.1 P/67).

1162.67 Cft 		@ Rs.3000/-	 		  P %0  Cft 		Rs.34988/-

2.	Excavation for tank and reservoir in Wet Soil  i/c trimming and dressing sides to ture alignment and shape leveling  of beds of trenches to correct level andgrade i/c laying ofearth in 6” layer for suction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guard lights flags where ever required lift upto 5’ft (1.52m) and lead upto chain (30.50m) (PHSINo.14 P/74).

718.40 Cft 		@ Rs.4800/-	 		  P %0  Cft 		Rs. 3448/-

3. 	Earth work compaction (Soft ordinary or hard soil) laying earth 6” layers leveling dressing and watering for compaction etc complete (PHSINo.13  P/3)

51820.31 Cft 		@ Rs.354/-	 		  P %0  Cft 		Rs. 18344/-

4. 	Providing RCC Pipes ASTM C-76-62 T/C – 76-70 Class-II wall B and fixing in trenches i/c cutting fitting and jointing rubber rings i/c testing with water to a specified pressure (PHSINo.1 P/18).

128.00 Rft 		@ Rs.618/-	 		  P: Rft 		Rs. 79104/-

5. 	Cement Concrete Plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering (GSINo.1 P/17)

25.12 Cft 		@ Rs.11288/75	 	  P:% Cft 		Rs. 2836/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6. 	R.C.C work i.e. all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i.e. all kinds forms modules lifting shutting curing remarking and finishing the exposed surface i.e. screening and washing of shingle (a) R.C. work in roof slab beams columns rafts lintel and other structural member laid in Situ or pre-cast laid in position in the respect ratio 1:2:4 etc complete (G.S.I No. 11/b P/58)

187.37 Cft 		@ Rs.337/-	 		  P: Cft 		Rs. 63144/-

4. 	Fabrication of mild steel reinforcement for cement concrete i.e. cutting bending laying in position making joints & fastening i.e. cost of binding wire also i.e. removal of rust from bars (G.S.I No. 7 P/20).

7.53 Cwt 		@ Rs.5001/70	 		  P: Cwt 		Rs. 37654/-

-----------------

Total	Rs.239518/-

GROUP: “B”	 OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

2502.00 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 9747/-

2. 	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

513.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:57911/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

1350.00 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:161303/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

2388.00 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:54540/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

600 Rft 		@ Rs: 94/-			P/Rft			Rs: 56400/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Type – II

200 Rft		@ Rs: 147/-			P/Rft			Rs: 34800/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

127.94 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs:43116/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

4.56 Cwt		@ Rs: 5001/70		P/Cwt			Rs:     22808/-

Total	Rs: 440625/-

GROUP: “C”	 CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

16800 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:35574/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

16800 Cft			@ Rs.263/ 		  P%Cft		Rs: 5947/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

3696 Cft			@ Rs. 9416/28 	  P%Cft		Rs:348026/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

2800 Cft			  @ Rs:-14429/25	  P%Cft		Rs:404019/-

5. 	Erection & removal of centering (G.S.I.No.    P/   ).

315.50  Sft 			@ Rs: 3127/91	P%Sft			Rs:  9851/-

6. 	Cartage of 100 Cft / Stone of all material like stone aggregate etc lead (2 Miles)

16800 Cft 			@ Rs: 502/13	P% Cft		Rs: 84358/-

----------------												Total	Rs:887774/-

A  B  S   T   R   A   C   T

| Group ‘A’ Oxidation Pond |  | Rs: 2,39,518/- |
| --- | --- | --- |
| Group ‘B’ Open Surface Drains |  | Rs: 4,40,625/- |
| Group ‘C’ C.C.Pavement |  | Rs: 8,87,774/- |
| Total |  | Rs: 15,67,917/- |

Amount Total (a) + (b) + (c) Rs:_	15,67,917	/-		,

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + c in words & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF STORM WATER DRAINS FOR REHABILITATION OF DRAINAGE SCHEME MIRPUR SAKRO DISTRICT THATTA.(Work No.14). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Storm Water Drains for Rehabilitation of Drainage Scheme Mirpur Sakro District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.778 Million |
| (e) | Amount of Bid Security:- | Rs:-66,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF STORM WATER DRAINS FOR REHABILITATION OF DRAINAGE SCHEME MIRPUR SAKRO DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	 STORM WATER DRAINS

1. 	Excavation in foundation of building bridges and other structure i/c dag bolling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:   18   P/ 4    ).

14000 Cft		@ Rs. 3176/25 		  P%0 Cft		Rs: 44467/-

2.	Cement Concrete Plain i/c pacing compacting finishing and curing complete i/c screening and washing of aggregate whtout shuttering  (G.S.I.No. 5 P/17)

2625 Cft 	    	@ Rs. 11288/75 		P:% Cft		Rs. 296330/-

3.	R.C.C work i/c all labor and material except the cost of steel; reinforcement and its labor for bending and binding which will be paid separately. This rates also i/c all kinds form modules lifting shuttering; curing rendering and finishing the exposed surface i/c screening and washing of shingle (a)  R.C.C work in roof slab beam coloums raft lintels and other structural members laid in situ or precast laid in position in all respect ratio (1 : 2 : 4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete etc                                        (G.S.I.NO: 6 P/18)

5690.99 Cft 		@ Rs. 337/-	 		P:Cft.			Rs. 1917864/-

4.	Fabrication of mild steel reinforcement for c.c i/c cutting bending laying in position making joints and fastening i.c cost of binding wire also i/c removal of rust from bars etc (GSINO: 7  P-19)

228.65 Cwt 		@ Rs. 5001/70	 	P:Cwt.			Rs.1143639/-

5.	Precast reinforce Cement Concrete in Columns beams,                   Ratio (1:2:4).

84.00 Cft     		@ Rs. 309/78 			P:Cft			Rs. 26022/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	Fabrication of mild steel for precast etc complete.

3.00 Cwt     		@ Rs. 5001/70 		P:Cwt		Rs. 15005/-

7.	Errection and fixing in position precast cement concrete or stone slabs in roof luitels etc complete lift upto 20ft i/c all charges (G.S.I.No: 6 (c) P/19)

81.00 Sft     		@ Rs. 41/77	 		P: Sft		Rs. 3383/-

8.	Small Iron work such as gusset knee bends strops etc i/c cutting drilling handling assembling and fixin g(GSINo.   P/91).

3.62 Cwt     		@ Rs. 6420/61	 	P: Cwt		Rs. 23243/-

8.	Errection and Filling in position of iron trusses straging of water tanks etc (GSINO.3 P/91)

3.62 Cwt     		@ Rs. 271/04	 		P: Cwt		Rs. 981/-

---------------------

Total	Rs: 3470934/-

A  B  S   T   R   A   C   T

| Group ‘A’ Storm Water Drains |  | Rs: 34,70,934/- |
| --- | --- | --- |
| Total |  | Rs: 34,70,934/- |

Amount Total (a) ) Rs:_	34,70,934/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a  in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF OPEN SURFACE TYPE-I & II I/C C.C.PAVEMENT FOR REHABILITATION OF URBAN DRAINAGE SCHEME MIRPUR SAKRO DISTRICT THATTA (PART-I). (Work No.15). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Open Surface Type-I & II i/c C.C.Pavement for Rehabilitation of Urban Drainage Scheme Mirpur Sakro District Thatta (Part-I) |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.160 Million |
| (e) | Amount of Bid Security:- | Rs:-63,200/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF OPEN SURFACE TYPE-I & II I/C C.C.PAVEMENT FOR REHABILITATION OF URBAN DRAINAGE SCHEME MIRPUR SAKRO DISTRICT THATTA (PART-I)

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

10280 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs:32652/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

226847 Cft		@ Rs.11288/75 	  	P:% Cft		Rs:226847/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

6450 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:770669/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

8904 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:203361/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1500 Rft 		@ Rs: 94/-			P/Rft			Rs:141000/-

Type – II

700 Rft		@ Rs: 147/-			P/Rft			Rs: 121800/-

Type – III   1 x 500     =	 500  Rft

500 Rft		@ Rs: 309/-			P/Rft			Rs: 154500/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

271.91 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs:91971/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

9.75 Cwt		@ Rs: 5001/70		P/Cwt			Rs:     48766/-

Total 	Rs: 1791566/-

GROUP: “B”	CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

\

1674 Cft			@ Rs. 2117/50 	  P:%0Cft		Rs:35447/-

2,	Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

1674 Cft			@ Rs.354/ 		  P%Cft		Rs:5926/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

3682 Cft			@ Rs. 9416/28 	  P%Cft		Rs:346783/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

2990 Cft			  @ Rs:-14429/25	  P%Cft		Rs:402576/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

376.75  Sft 			@ Rs: 3127/41	P%Sft			Rs:11782/-

7. 	Cartage of 100 Cft / Stone of all material like stone aggregate etc lead (2 Miles)

1395 Cft 			@ Rs: 502/13	P% Cft		Rs: 7010/-

-----------------

Total	Rs:809524/--

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains |  | Rs: 17,91,566/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 8,09,524/- |
| Total |  | Rs: 26,01,090/- |

Amount Total (a) )+(b)  Rs:_	26,01,090/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1897, Dated 21-07-2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF OPEN SURFACE TYPE-I & II I/C C.C.PAVEMENT FOR REHABILITATION OF URBAN DRAINAGE SCHEME MIRPUR SAKRO DISTRICT THATTA (PART-II). (Work No.16). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-2000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Open Surface Type-I & II i/c C.C.Pavement for Rehabilitation of Urban Drainage Scheme Mirpur Sakro District Thatta (Part-II) |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.560 Million |
| (e) | Amount of Bid Security:- | Rs:-71,200/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 10-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 10-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF OPEN SURFACE TYPE-I & II I/C C.C.PAVEMENT FOR REHABILITATION OF URBAN DRAINAGE SCHEME MIRPUR SAKRO DISTRICT THATTA (PART-II)

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

9570 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs:30397/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

1788.50 Cft		@ Rs.11288/75 	  	P:% Cft		Rs:201899/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

5250 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:627315/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

3894 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:88936/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1000 Rft 		@ Rs: 94/-			P/Rft			Rs:94000/-

Type – II

500 Rft		@ Rs: 147/-			P/Rft			Rs:87000/-

Type – III

700 Rft		@ Rs: 309/-			P/Rft			Rs:216300/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

327.97 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs:110526/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

11.71 Cwt		@ Rs: 5001/70		P/Cwt			Rs:     58570/-

Total 	Rs:1514943/-

GROUP: “B”	CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

26400 Cft			@ Rs. 2117/50 	  P:%0Cft		Rs:55902/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3

26400 Cft			@ Rs.354/ 		  P%Cft		Rs:9346/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

5808 Cft			@ Rs. 9416/28 	  P%Cft		Rs:546898/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

4400 Cft			  @ Rs:-14429/25	  P%Cft		Rs:634887/-

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

490.00  Sft 			@ Rs: 3127/41	P%Sft			Rs:15324/-

7. 	Cartage of 100 Cft / Stone of all material like stone aggregate etc lead (2 Miles)

26400 Cft 			@ Rs: 502/13	P% Cft		Rs: 13266/-

Total	Rs:1395022/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains |  | Rs: 15,14,943/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 13,95,022/- |
| Total |  | Rs: 29,09,965/- |

Amount Total (a) )+(b)  Rs:_	29,09,965 ,/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |