KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARTMENT

Tender Reference No.KMC/CM/ED/  72  /2017-18

BILL OF QUANTITIES

REPAIR & MAINTENANCE OF BATH ROOMS OF PATHLOGICAL LABORATORY AT ABBASI SHAHEED HOSPITAL

NOTE: The Condition of contract will be available on KMC website (www.karachicity.gov.pk).

Estimate Cost:            Rs.9,90,000/-

n

Bid Security:-             Rs.20,000/-

Tender Cost:-		Rs.2,500/-

BIDDING DATE

(This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents).

| a) | Name of Procuring Agency: | Karachi Metropolitan Corporation (KMC). |
| --- | --- | --- |
| b) | Brief Description of Work | REPAIR & MAINTENANCE OF BATH ROOMS OF PATHLOGICAL LABORATORY AT ABBASI SHAHEED HOSPITAL |
| c) | Procuring Agency Address: | Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi. |
| d) | Estimated Cost: | Rs.9.90.000/- (Tender Cost.Rs.2500/-) |
| e) | Amount of Bid Security: | Rs.19,800/- |
| f) | Period of Bid validity(days): | 90 Days |
| g) | Security Deposit(Including bid security): | 10% of the total cost (2% of bid amount plus 8% from the bill) |
| h) | Percentage, if any, to be deducted from bills: | 8% |
| i) | Deadline for submission of bid along with time: | As per NIT |
| J) | Venue, Time and date of bid Opening: | Office of the Director Account, Engineering Department, KMC Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi 16-08-2017 at 2.30 P.M. |
| k) | Liquidity damages: | Rs.2,500/- per day |
| l) | Deposit Receipt No. Date & Amount. | _____________________ |

|  | KARACHI METROPOLITAN CORPORATION ENGINEERING DEPARTMENT |
| --- | --- |

Subject:- 	REPAIR & MAINTENANCE OF BATH ROOMS OF PATHLOGICAL LABORATORY AT ABBASI SHAHEED HOSPITAL.

Estimated Cost:-     Rs.9.90.000/-

Bid Security:           Rs.   19,800/-

Tender Cost: -	         Rs.2500/-

| S# | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (in Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1. | SCHEDULE ITEMS Providing and laying tiles glazed 6”x6” ¼” on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾” thick including washing and filling of joints with slaurry of white cement nd pigment in desired shape with finishing cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. | 1435.62 | %sft | 30509.77 | 357405.00 |
| 2. | Dismantling of Tile | 1148.50 | %Cft | 786,50 | 9033.00 |
| 3. | Cartage of excavated material earth work wet silt building material rubbish murrum earth including loading and unloading lead upto 10 miles. | 3433.00 | %Cft | 1058.00 | 36321.00 |
| 4. | S/Fixing canceled tee stop cock of superior quality with crystal head ½” dia. | 24 | Each | 889.5 | 21347.00 |
| 5. | Supply & fixing surgical pillars cock with Elbow action C.P. red etc. complete | 4 | Each | 6358.0 | 25432.00 |
| 6. | P/F Glazed W.C. at any colour of approved make and quality including the cost all fittings and accessories a) Englsh best type commode with same quality flushing. | 12 | Each | 11477.4 | 137728.80 |
| 7. | Supplying & fixing long bib-cock of crystal head with c.p. head ½” dia. | 24 | Each | 1384.24 | 33221.80 |
| 8. | P/F 24”x18” lavatory basin in any colour glazed earthen ware complete with and i/c cost of WI ^ CI cantilever brackets 6” built into wall painted white in two coats aftera primary coat of red oxide paint ½ dia. Chrome plated mixer 1. ¼” inches dia malleable iron or CP brass traps malleable iron or bass union and floor for pipe connection and making good in c.c. 1:2:4 oreign (Porta make) or Equivalent. | 5 | Each | 4928.00 | 24640.00 |
| 9. | Extra over item No.30 for P/F best available (Pakistani make) any colour glazed earthern ware pedestal. | 5 | Each | 2533.47 | 12667.40 |
| 10 | Supplying & fixing wash basin mixture of superior quality with c.p. head ½” dia. | 11 | Each | 3179.00 | 34969.00 |
|  | NON-SCHEDULE RATE ITMES Total:- 685765.00 |  |  |  |  |
| 11 | P&F best quality RAK graNIUTTO or WHITE HORSE made porcelain tiles of size 24”x24” of approved colour and deisgn in walls and Floors (Ground Floor). | 310.00 | %Sft | 325.00 | 108500.00 |
| 12 | P/L & jointing PVC Valves (AGM or Equivalent standard). Including all accessories and fittings etc complete. - ½” Dia PVC Pipe - ¾” Dia PVC Pipe - 1” Dia PVC Pipe - 3” Dia PVC Pipe - 4” Dia PVC Pipe | 96 60 20 60 60 | Each Each Each Each Each | 75 125 250 600 850 | 7200.00 7500.00 5000.00 36000.00 51000.00 |
| 13 | Providing & Making P-Trap | 10 | Each | 500.00 | 5000.00 |
| 14 | Providing and fixing Jali P-Trap | 10 | Each | 300.00 | 3000.00 |
| 15 | P/F ¾” thick marble slab (top) setting with white cement slurry jointing, washing, polishing (chemical) upto 18 square feet i/c making nose as required or as per instruction of Engineer Incharge. | 90 | Each | 900.00 | 81000.00 |
| Total:- |  |  |  |  | 304200.00 |

KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARTMENT

Subject:- 	REPAIR & MAINTENANCE OF BATH ROOMS OF PATHLOGICAL LABORATORY AT ABBASI SHAHEED HOSPITAL.

Estimated Cost:-     Rs.9.90.000/-

Bid Security:           Rs.   19,800/-

Tender Cost: -	         Rs.2500/-

I/We hereby quoted as follows:

| 1. | PART-A: (Items Based on S/R) amounting to Rs.9.90.000/- ___________%Above/Below the S/R | Rs.___________________ |
| --- | --- | --- |
| 2. | PART-B: (Items Based on O/R) | Rs.___________________ |
| Total A+B |  | Rs.___________________ |

Total amount is Rs._____________________ (Rupees____________________

(In Figure)                                     (In Words)

_________________________________________________) for complete job.

I/We have attached a pay order bearing No.__________________ Dated ________________ issued from ________________________________

Bank amounting to Rs._________________ as per NIT.

Time Limit: 90 Days

Penalty per day: Rs.2500/-

Note:

- Tender must be quoted in figure & words both otherwise liable to be cancelled.

- All over-writing & correction if any must be initialed & stamped by the bidder.

- All prevailing rules regarding condition of contract will be applicable.

Signature of the Contractor with Stamp

Address:________________________

_______________________________

Checked By: