KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARATMENT

Tender Reference No.KMC/CM/ED/ 47 /2015-16(Re-invite)

BILL OF QUANTITIES

REPAIRING OF OFFICIAL ACCOMMODATION OF BUNGALOW NO.3 OLD

D.C OFFICE BLOCK-14, GULSHAN-E-IQBLA, KARACHI.

NOTE: The Condition of contract will be available on KMC website (www.karachicity.gov.pk).

| Estimate Cost: - | Rs.8,21,000/= |
| --- | --- |
| Bid Security: - | Rs.16,500/= |
| Tender Cost: - | Rs.2,500/= |

BIDDING DATA

(This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents).

| a) | Name of Procuring Agency: | Karachi Metropolitan Corporation(KMC). |
| --- | --- | --- |
| b) | Brief Description of Works: | Repairing of Official Accommodation of Bungalow No.3 Old D.C Office Block-14, Gulshan-e-Iqbla, Karachi(re-invite). |
| c) | Procuring Agency Address: | Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi. |
| d) | Estimated Cost: | Rs.8,21,000/= (Tender Cost Rs.2,500/=) |
| e) | Amount of Bid Security: | Rs.16,500/= (2%) |
| f) | Period of Bid validity(days): | 90 days. |
| g) | Security Deposit (Including bid security): | 10% of the total cost (2% of bid amount plus 8% from the bill). |
| h) | Percentage, if any, to be deducted from bills: | 8% |
| i) | Deadline for submission of bid along with time: | As per NIT |
| j) | Venue, Time and date of bid Opening: | Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi 16-08-2017 at 2.30 P.M. |
| k) | Liquidity damages: | Rs.2,500/= per day |
| l) m) | Method of Procurement: Deposit Receipt No Date & Amount: | Single Stage One Envelope Method. ___________________________ |

MINIMUM QUALIFICATION / ELIGIBILITY CRITERIA

The evidence / documents of the following minimum qualification / eligibility criteria will be checked during opening process of tender & if anyone is missing then the tender will be summarily rejected at the moment by the tender opening committee.

Eligibility / Minimum Qualification Criteria:

- NTN Certificate.

- Valid Professional TAX.

- Registered with Sindh Revenue Board.

- Statement of Turnover at least 3 years with minimum amount of Rs.1.0 Million.

- Having minimum Experience of 3 years in relevant field.

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- Proof of previous experience of works of similar nature.

Signature of the Bidder with Stamp

KARACHI METROPOLITAN CORPORATIN

ENGINEERING DEPARTMENT

| Subject:- | REPAIRING OF OFFICIAL ACCOMMODATION OF BUNGALOW NO.3 OLD D.C OFFICE BLOCK-14, GULSHAN-E-IQBLA, KARACHI(RE-INVITE). |
| --- | --- |

Estimated Cost:  Rs.8,21,000/=

Earnest Money:  Rs.16,500/=

Tender Cost:       Rs.2,500/=

| S.No. | DESCRIPTION | QTY | UNIT | Rate (in figure) | Rate (in figure) | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Providing & laying 3” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. | 188 | % Sft | 4411.82 | Forty Four Hundred Eleven & Eighty Two Paisa Only. | 8,294 |
| 2. | P/F in position doors wood frames 1 ½” thick. | 48 | P/Sft | 1182.56 | Eleven Hundred Eighty Two & Paisa Fifty Six Only. | 56,762 |
| 3. | Supplying & fixing position Aluminum channel / sliding framing with 5mm thick doors with all respect. | 120 | P/Sft | O/R |  |  |
| 4. | P/L Porcelain tiles 34”x24’ on the ground floor over 1 ½” thick c.c bed (imported Italian make or equivalent). | 275 | P/Sft | O/R |  |  |
| 5. | Providing and laying tiles glazed 6”x6”x ¼” on floor or wall facing n required color and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾” thick including washing and filing of joints with slaury of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. | 370 | % Sft | 30,509.77 | Thirty Thousand Five Hundred Nine & Seventy Seven Paisa Only. | 1,12,886 |
| 6. | P/F ¾” thick lasani sheet cabinet shutters required size with all accessories etc complete. | 100 | P/Sft | O/R |  |  |
| 7. | Expended metal ½” to 3/6’ mesh 16 gauge fixed with 1” cover teak wood from 2”x2”. | 168 | P/Sft | 928.37 | Nine Hundred Twenty Eight & Paisa Thirty Seven Only. | 1,55,966 |
| 8. | Nylon wire gauge 144 meshes per 5 inches. | 168 | P/Sft | 193.53 | One Hundred Ninety Three & Fifty Three Paisa Only. | 32,513 |
| 9. | Applying chemical polish on existing mosaic floor. | 324 | P/Sft | 36.60 | Thirty Six Rupees & Sixty Paisa Only. | 11,858 |
| 10. | P/L UPVC Pipe & Fitting Class ‘D’. |  |  |  |  |  |
|  | 1” dia | 60 | P/Rft | 27.00 | Twenty Seven Rupees Only | 1620 |
|  | ½” dia | 50 | P/Rft | 12.00 | Twelve Rupees Only | 600 |
|  | 4” dia | 40 | P/Rft | 226.00 | Two Hundred Twenty Six Only. | 9,040 |
|  | 3” dia | 40 | P/Rft | 136.00 | One Hundred & Thirty Six Only. | 5,440 |
|  | Class ‘E’ 1” Tee | 5 | Each | 52.00 | Fifty Two Rupees Only. | 260 |
|  | 1” Socket | 10 | Each | 25.00 | Twenty Five Rupees Only. | 250 |
|  | 1” Band | 6 | Each | 90.00 | Ninety Rupees Only. | 540 |
|  | ½” dia Tee | 5 | Each | 18.50 | Eighteen Rupees Fifty Paisa Only. | 93 |
|  | ½” Socket | 6 | Each | 10.00 | Ten Rupees Only. | 60 |
|  | ½” dia Band | 6 | Each | 35.00 | Thirty Five Rupees Only. | 210 |
|  | Class ‘E’ 4” Tee | 03 | P/Rft | 725.00 | Seven Hundred Twenty Five Only. | 2,175 |
|  | 4” Socket | 4 | Each | O/R |  |  |
|  | 4” Band | 4 | Each | 850.00 | Eighty Hundred & Fifty Rupees Only. | 3400 |
|  | 3” Tee | 4 | Each | 561.00 | Five Hundred Sixty One Only. | 1,444 |
|  | 3” Socket | 3 | Each | 125.00 | One Hundred & Twenty Five Rupees Only. | 375 |
|  | Class ‘D’ 3” Band | 4 | Each | 600.00 | Rupees Six Hundred Only. | 2400 |
|  | 4” P-Trap | 1 | Each | O/R |  |  |
|  | 3” P-Trap | 2 | Each | O/R |  |  |
|  | 1” Valve | 2 | Each | 365.42 | Rupees Three Hundred Sixty Five & Paisa Forty Two Only. | 731 |
|  | ½” Valve | 4 | Each | 200.42 | Rupees Two Hundred & Paisa Forty Two Only. | 802 |
| 11. | P/F 22” x 16” lavatory basin in white glazed earthen ware. | 1 | Each | 4694.80 | Forty Six Hundred Ninety Four & Eighty Paisa Only. | 4695 |
| 12. | Extra for pedestal. | 1 | Each | 2533.47 | Rupees Twenty Five Hundred Thirty Three & Paisa Forty Seven Only. | 2533 |
| 13. | S/F Muslim Shower. | 1 | Each | 3432.00 | Rupees Thirty Four Hundred & Thirty Two Only. | 3,432 |
| 14. | S/F Sink Mixture. | 3 | Each | 2745.60 | Twenty Seven Hundred Forty Five & Sixty Paisa Only. | 8,237 |
| 15. | S/F long life cock. | 4 | Each | 1109.46 | Rupees Eleven Hundred Nine & paisa Forty Six Only. | 4,438 |
| 16. | Concealed CP fitting. | 8 | Each | 478.28 | Rupees Four Hundred Seventy Eight & Paisa Twenty Eight Only. | 3,826 |
| 17. | S/F Bath Room Accessories (7 pieces). | 1 | Each | 8122.40 | Rupees Eighty One Hundred Twenty Two & Paisa Forty Only. | 8122 |
| 18. | P/L RCC pipe & collar in trenches class ‘C’ 12” dia. | 100 | P/Rft | 330.00 | Rupees Three Hundred & Thirty Only. | 33,000 |
| 19. | Excavation for pipe. | 600 | % 0 Cft | 3176.25 | Thirty One Hundred Seventy Six & Twenty Five Paisa Only. | 1906 |
| 20. | P/F squatting type W.C. | 1 | Each | 5044.60 | Five Thousand Forty Four & Sixty Paisa Only. | 5045 |
| 21. | Scraping paint. | 4225 | % Sft | 226.88 | Two Hundred Twenty Six & Eighty Eight Paisa Only. | 9,586 |
| 22. | Distempering. | 2505 | % Sft | 1079.65 | One Thousand Seventy Nine & Sixty Five Paisa Only. | 27,045 |
| 23. | Preparing paint with matt finish. | 4225 | % Sft | 1772.38 | Rupees Seventeen Hundred Seventy Two & Paisa Thirty Eight Only. | 74,883 |
| 24. | Painting doors and windows any type. | 957 | % Sft | 1160.06 | Eleven Hundred Sixty & Six Paisa Only. | 11,102 |
| 25. | Cement Plaster ½” thick. | 208 | % Sft | 2283.93 | Twenty Two Hundred Eighty Three & Ninety Three Paisa Only. | 4,683 |
| 26. | P/L 1:3:6 cement concrete block masonry wall. | 33 | % Cft | 15771.01 | Fifteen Thousand Seven Hundred & Seventy One & One Paisa Only. | 5,205 |

KARACHI METROPOLITAN CORPORATION ENGINEERING DEPARTMENT

| Subject: | REPAIRING OF OFFICIAL ACCOMMODATION OF BUNGALOW NO.3 OLD D.C OFFICE BLOCK-14, GULSHAN-E-IQBLA, KARACHI(RE-INVITE). |
| --- | --- |

| Estimated Cost:- | Rs. 8,21,000/= |
| --- | --- |
| Bid Security:- | Rs. 16,500/= |
| Tender Cost: - | Rs.2,500/= |

I / We hereby quoted as follows:

| 1. | PART – A: (Items Based on S/R) amounting to Rs.6,15,454/= ________% Above / Below / At Par the S/R. | Rs.____________________ |
| --- | --- | --- |
| 2. | PART – B: (Items Based on O/R) | Rs.____________________ |
| GRAND TOTAL (A+B) |  | Rs.____________________ |

The total amount is Rs.__________________ (Rupees_____________________________

(in Figure)						(In Words)

______________________________________________________ for complete job.

I / We have attached a pay order bearing No. _____________dated ____________issued from

____________________________________ amounting to Rs. ______________ as per NIT.		(Name of Bank)

Completion Time : 90 Days

Penalty per day: Rs. 2,500/=

Note:

- All rates quoted including the total amount of the bid shall be in figures & words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the 	authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized Person, if other than the signatory of the firm.

- 20% below is the maximum ceiling on schedule items No. 2 & 5 by the authority.

Signature of the Contractor with Stamp

Address: _________________________

_________________________________

Checked By:-