KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARATMENT

Tender Reference No.KMC/CM/ED/ 149 /2013-14(Re-invite).

BILL OF QUANTITIES

REPAIR / MAINTENANCE WORK AT FLAT NO.4-A OFFICER FLATS

BEAUMONT ROAD PIDC KARACHI.

NOTE: The Condition of contract will be available on KMC website (www.karachicity.gov.pk).

| Estimate Cost: - | Rs.9,45,980/= |
| --- | --- |
| Bid Security: - | Rs.19,000/= |
| Tender Cost: - | Rs.2,500/= |

BIDDING DATA

(This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents).

| a) | Name of Procuring Agency: | Karachi Metropolitan Corporation(KMC). |
| --- | --- | --- |
| b) | Brief Description of Works: | Repair/Maintenance work at Flat No. 4-A, Officer Flats Beaumont Road PIDC Karachi (Re-invite). |
| c) | Procuring Agency Address: | Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi. |
| d) | Estimated Cost: | Rs.9,45,980/= (Tender Cost Rs.2,500/=) |
| e) | Amount of Bid Security: | Rs.19,000/= (2%) |
| f) | Period of Bid validity(days): | 90 days. |
| g) | Security Deposit (Including bid security): | 10% of the total cost (2% of bid amount plus 8% from the bill). |
| h) | Percentage, if any, to be deducted from bills: | 8% |
| i) | Deadline for submission of bid along with time: | As per NIT |
| j) | Venue, Time and date of bid Opening: | Plot No.512 JM, New M.A. Jinnah Road near Islamia College Karachi 16-08-2017 at 2.30 P.M. |
| k) | Liquidity damages: | Rs.2,500/= per day |
| l) | Deposit Receipt No Date & Amount: | ___________________ |

MINIMUM QUALIFICATION / ELIGIBILITY CRITERIA

The evidence / documents of the following minimum qualification / eligibility criteria will be checked during opening process of tender & if anyone is missing then the tender will be summarily rejected at the moment by the tender opening committee.

Eligibility:

- NTN Certificate.

- Valid Professional TAX.

- Registered with Sindh Revenue Board.

- Bank Statement of the Firm.

Minimum Qualification Criteria:

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures & words (both).

- All corrections / overwriting shall be clearly re-written with 	initials 	& duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized Person, if other than the signatory of the firm.

- Proof of previous experience of works of similar nature.

Signature of the Bidder with Stamp

KARACHI METROPOLITAN CORPORATIN

ENGINEERING DEPARTMENT

| Subject:- | REPAIR / MAINTENANCE WORK AT FLAT NO.4-A, OFFICER FLATS BEAUMONT ROAD PIDC KARACHI(RE-INVITE). |
| --- | --- |

Estimated Cost:  Rs.9,45,980/=

Earnest Money:  Rs.19,000/=

Tender Cost:       Rs.2,500/=

| S.No. | DESCRIPTION | QTY | UNIT | Rate (in figure) | Rate (in figure) | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation in foundation of Building and other structures in ordinary soil. | 256 | % 0 Cft | 3554.38 | Thirty Five Hundred Fifty Four & Thirty Eight Only | 910 |
| 2. | C.C plain 1:4:8 i/c placing compacting. | 32 | % Cft | 11288.75 | Eleven Thousand Two Hundred Eighty Eight & Seventy Five Paisa Only. | 3,612 |
| 3. | RCC work laid in situ or pre-cast in all respect ratio 1:2:4. | 240 | P/Cft | 337.00 | Three Hundred Thirty Seven Only | 80,880 |
| 4. | Fabrication of mild Steel reinforcement for cement concrete including cutting bending lying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars). | 10.5 | P/Cwt | 5001.70 | Five Thousand One & Seventy Paisa Only. | 52,518 |
| 5. | Cement plaster 1:4 up to 20’ height ½” thick. | 1052 | % Sft | 2283.93 | Twenty Two Hundred Eighty Three & Ninety Three Paisa Only. | 24,027 |
| 6 (a) | Removing wood door with chowkat. | 6 | Each | 142.18 | One Hundred Forty Two & Eighteen Paisa Only. | 853 |
| 6 (b) | Removing window with chowkat. | 3 | Each | 102.85 | One Hundred Two & Eighty Five Paisa Only. | 309 |
| 7. | M/F Aluminum Metal Chowkats of size 7” x 2” | 195 | P/Rft | 240.50 | Two Hundred Forty & Fifty Paisa Only. | 46,898 |
| 8. | first class deodar wood joining door window etc fixed in position i/c chowkat hold fasts hinges iron tower bolts, chocks cleats handle etc 1 ½”. | 134 | P/Sft | 1273.76 | Twelve Hundred Seventy Three & Seventy Six Paisa Only. | 1,70,684 |
| 9. | S/F in position aluminum channels framing for hinged window with 5mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks i/c handles, stoppers etc. | 144 | P/Sft | 1647.69 | Sixteen Hundred Forty Seven & Sixty Nine Paisa Only. | 2,37,267 |
| 10. | Preparing surface and painting D window any type i/c edge three coats. | 276 | % Sft | 2116.41 | Twenty One Hundred Sixteen & Forty One Paisa Only. | 5,841 |
| 11. | S/F in position iron / steel grill ¼” x ¼” size flat iron of approved design. | 204 | P/Sft | 231.60 | Two Hundred Thirty One & Sixty Paisa Only. | 47,246 |
| 12. | Scraping ordinary distemper oil bond distemper or paint on walls. | 3223 | % Sft | 226.88 | Two Hundred Twenty Six & Eighty Eight Paisa Only. | 7,312 |
| 13. | Distempering three coats. | 3711 | % Sft | 1079.65 | One Thousand Seventy Nine & Sixty Five Paisa Only. | 40,066 |
| 14. | P/F wash basin mixture. | 3 | Each | 3179.00 | Thirty One Hundred Seventy Nine Only. | 9,537 |
| 15. | P/F 4” dia C.I. vent pipe. | 26 | P/Rft | 333.29 | Three Hundred Thirty Three & Twenty Nine Paisa Only. | 8,666 |
| 16. | S/F in position brass bib cock ¾”. | 3 | Each | 337.92 | Three Hundred Thirty Seven & Ninety Two Paisa Only. | 1,014 |
| 17. | Dismantling RCC 1:2:4. | 44 | % Cft | 5445.00 | Fifty Four Hundred Forty Five Only. | 2,396 |
| 18. | Dismantling glazed or encaustic tiles etc. | 318 | % Sft | 786.50 | Seven Hundred Eighty Six & Fifty Only | 2,501 |
| 19. | Laying floor of approved glazed tiles ¼” thick over ¾” thick bed 1:2:4. | 318 | % Sft | 27678.86 | Twenty Seven Thousand Six Hundred Seventy Eighty & Eighty Six Paisa Only. | 88,019 |
| 20. | Providing and laying 2” thick CC 1:2:4 flooring. | 227 | % Sft | 3275.50 | Thirty Two Hundred Seventy Five & Fifty Paisa Only. | 7,435 |
| 21. | Cartage of all material 15 miles. | 380 | % Cft | 1065.01 | One Thousand Sixty Five & One Paisa Only. | 4,047 |
| 22. | P/L granite full porcelain matt finish floor tiles grade-I 600 x 600 cm Italian made. | 715 | P/Sft | O/R |  |  |
| 23. | P/F cabinet shutters made ¾” thick chipboard sheet fixed Formica over sheet i/c deodar as wood frame i/c catcher etc complete as required. | 34 | P/Sft | O/R |  |  |

KARACHI METROPOLITAN CORPORATION ENGINEERING DEPARTMENT

| Subject: | REPAIR / MAINTENANCE WORK AT FLAT NO.4-A, OFFICER FLATS BEAUMONT ROAD PIDC KARACHI(RE-INVITE). |
| --- | --- |

| Estimated Cost:- | Rs. 9,45,980/= |
| --- | --- |
| Bid Security:- | Rs. 19,000/= |
| Tender Cost: - | Rs.2,500/= |

I / We hereby quoted as follows:

| 1. | PART – A: (Items Based on S/R) amounting to Rs.8,42,038/= ________% Below the S/R. | Rs.____________________ |
| --- | --- | --- |
| 2. | PART – B: (Items Based on O/R) | Rs.____________________ |
| TOTAL A+B |  | Rs.____________________ |

The total amount is Rs.__________________ (Rupees_____________________________

(in Figure)						(In Words)

______________________________________________________ for complete job.

I / We have attached a pay order bearing No. _____________dated ____________issued from

____________________________________ amounting to Rs. ______________ as per NIT.		(Name of Bank)

Completion Time : 120 Days

Penalty per day: Rs. 2,500/=

Note:

- Tender must be quoted in figure & in words both otherwise liable to be cancelled.

- All over writing & correction if any must be initialed & stamped by the bidder.

- All prevailing rules regarding condition of contract will be applicable.

- 20% below is the maximum ceiling on schedule items 2012 by the authority.

Signature of the Contractor with Stamp

Address: _________________________

_________________________________

Checked By:-