PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF COMPOUND WALL AND RCC LOW SERVICE RESERVOIR FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.1) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGINEERING DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Compound Wall and RCC Low Service Reservoir for Water Supply Scheme Oungar (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.300 Million |
| (e) | Amount of Bid Security:- | Rs:-66000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10%) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF COMPOUND WALL AND RCC LOW SERVICE RESERVOIR FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” COMPOUND WALL

1,	Excavation in foundation of building brides and others structure i/c deg belling dressing refilling around the structure with excavated earth water and remaining lift upto 5 ft and lead upto one chain (in ordinary soil) etc  (G.S.I No.18 P/ 4)

###### 3982.00 Cft: 	  	@ Rs. 3176/25		P%0Cft		Rs.12648/-

2,	Cement concrete or stone Ballast 1 ½” gauge ratio (1:4:8)  (GSI No. 4   P-  14  )

###### 991.00 Cft:   	 	@ Rs. 9416/28		P%Cft			Rs. 93315/-

3,	Coursed rubble masonry i/c harmer dressing in cement sand motor (1:6) in foundation and plinth etc (G.S.I No. 2  P- 26   )

5155.50 Cft		@ Rs. 25321/- 		P%Cft			Rs.1305424/-

4,	D.P.C with cement sand shingle concrete                   Ratio (1:2:4) and cost of asphaltic mixture              (G.S.I No. 28  P- 18 )

1473.00 Cft		@ Rs. 4982/18 		P%Sft			Rs. 73388/-

5,	Providing & layng (1:3:6) cement concrete solid                  block masonry wall 6” and below in thickness set in   (1:6) cement mortar in ground floor super-structure including raking out joints & curing etc complete.             (G.S.I No. 22  P- 18 )

###### 2524.00 Cft:   	 	@ Rs. 14268/53		P%Cft			Rs. 360138/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	Cement Plaster ½” thick upto 12’ft height in cement sand mortor (1:4) (G.S.I No. 11/B  P- 51 )

###### 9467 Sft:   	 	@ Rs. 2283/93		P%Sft			Rs.216220/-

7,	Pointing Flush on Stone work (Raised) i/c cement sand mortar (1:3)  G.S.I No. 20  P- 52 )

3928.00 Sft		@ Rs. 1758/08	 	P%Sft			Rs. 69057/-

8,	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structure member laid in situ or precast laid in position in all respect ratio (1:2:4) (G.S.I.No. 6 P/15)

66.50 Cft		@ Rs. 337/- 			P: Cft			Rs. 22411/-

9,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                                          (G.S. I No. 8 P/16 )

###### 2.671 Cwt:   	 	@ Rs. 5001/70		P: Cwt			Rs.13360/-

10,	Making & Fixing Steel Grated Doors with 1/16” thick shuttering including angle iron frame 2” x 2” 3/8” and and 3/4” sq bars 4” centre to centre with locking arrangement  G.S.I No. 24  P- 91)

###### 72.00 Sft:   	 	@ Rs. 726/72			P:% Sft		Rs. 52324/-

11,	White Wash or Colour Wash  G.S.I No. 54/a  P- 15)

8347 Sft			@ Rs. 425/84			 P%Sft			Rs. 35545/-

12,	Painting New Surface

Preparing Surface and Painting of doors and  windows in any type i/c edges (02 Coats)                 G.S.I No. 5  P-68 )

144.00 Sft		@ Rs.1489/68		 	P%Sft			Rs. 2145/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

13,	Colour washing (02 Coat (G.S.I No.25  P- 59)

###### 8347.00 Sft:    	@ Rs. 859/90			P: Sft			Rs. 71776/													----------------------

Total	Rs: 2327751/-

GROUP: “B” LOW SERVICE RESERVOIR

1.	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4   )

323.00 Cft  		@ Rs. 3176/25		 P% Cft		Rs. 737/-

2.	Cement Concrete or Stone Ballast 1 ½” guage Ratio (1:4:8) (G.S.I.No.4 P/14)

39.00 Cft  		@ Rs. 9416/28 		P% Cft			Rs. 3672/-

Ratio: 1:5:10

97.00 Cft  		@ Rs. 8694/95 		P% Cft			Rs. 8434/-

3.	Coursed Rubble Masonry i/c hammer dressing in cement sand motor ratio (1:6) in foundation and plinth (G.S.I.No.2 P/25)

138.44 Cft 		@ Rs. 25321/- 		P% Cft.		Rs. 34943/-

4.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be aid separately.  This rates also i/c all kinds forms moduls lifitting shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts linkes and other structural member laid in or precost laid in position in all respect ratio 1:2:4 etc complete.              (G.S.I.No.6 P/15)

2.12 Cft 		@ Rs. 337/- 			P: Cft.			Rs. 67737/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                (GSINo.  P/ )

8.07 Cwt 		@ Rs. 5001/70 		P: Cwt.			Rs. 40364/-

6.	Providing and Laying (1:3:6) cement concrete solid block masonry set (1:6) cement mortor in plinth and foundation i/c raking out joints and curing etc complete (GSINo. 22 P/18)

81.00 Cft 		@ Rs. 14268/53		P:% Cft.		Rs. 11558/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7.	Providing Construction Joint in Cocnrete work of 9” wide (1:6) corrugated PVC water stopper with bulbs i/c cutting costs of materila and labour (G.S.I.No.B (2) P/43)

32.99 Rft 		@ Rs. 86/-	 		P: Rft.			Rs. 2752/-

8.	Cement Plaster ¾” thick in cement sand mortor (1:4) upto 12’ft height (GSINo. 11 P/51)

¾” Thick

609.49 Sft 		@ Rs. 3015/76 		P% Sft			Rs. 18366/-

½” Thick

181.33 Sft 		@ Rs. 2283/93 		P:% Sft		Rs.4157/-

9.	Supplying of Dampoo (P.S.I.No.11 P/23)

55.50 Kg 		@ Rs. 60/- 			P: Kg.			Rs.3360/-

10.	Supplying and fixing C.I main holes cover with frame i/c cost            of material etc (P.S.I.No. J (i) P/35)

1.75 Cwt 		@ Rs. 6985/-	 		P: Cwt			Rs. 12224/-

11.	Providing G.I Pipe and special and climbs, etc i/c fixing cutting and fitting complete with an i/c the cost of breaking through walls and roof making good etc painting 2 Coats after cleaning the pipe and etc with white / zine paint with pigment to match the color and testing with water to a pressure head of 200ft and handing.

3”dia

20 Rft	 		@ Rs. 229/98 			P: Rft.			Rs.4600/-

12.	Manufacturing and supplying M.S Flanges of different dia made out of M.S Sheet of 3/8” thickness i/c cutting welding holes and welding of flange with M.S Pipe etc complete.

3”dia

26.74 Kg		@ Rs. 111/30 			P: Kg.			Rs.2976/-

13.	C.I Tail pieces with one flanged and spigot of the other end all sizes (S.S.No.   P/    )

3”dia

26.72 Kg 		@ Rs. 111/30	 		P: Kg.			Rs.2975/-

14.	C.I Bend with one flanged and with holes i/c trimming and facing of flanges for all sizes (S.S.I No.   P/   )

26.72 Kg		@ Rs. 111/30	 		P: Kg			Rs. 2976/-

15.	Providing and fixing C.I Ventilator (weight not be less than 90 Ibs/each in tank of roof or approved design with water light joint i/c painting etc complete (P.H.S.I.No. 4 P/55)

1 No.	 		@ Rs. 4870/-	 		Each			Rs.4870/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

16.	Providing and fixing in position in cement concrete foundation (1:3:6) M.S Leader of MS angle iron 2” x 2” x ¼” x 1’-0” a part painting 3 coats of anticorrosive paint etc complete (P.H.S.I.No.3 P/55)

10.00 Rft 		@ Rs. 799/-	 		Each			Rs. 7990/-

17.	Jointing C.I/M.S Flanged pipes and special flanged and inside a  trenches i/c supplying rubber packing of the required thickness nuts an d bolts with washer etc and other tools required for jointing and testing the joint to the specified pressure etc complete (P.H.S.I.No. M (I) P/40)

9.00 Nos 		@ Rs. 499/- 			P: Joint		Rs.4491/-

18.	Providing G.I Pipe in Standard length with cone type gate socket each pipe length (S.O.M.I.No.   P/    )

24 Rft 			@ Rs. 136/05 			P: Rft.			Rs.3265/-

19.	Bib Cock bar Standard pattern (S.S.V.No.  P/    )

¾” dia

12 Nos. 		@ Rs. 300/-			P: Bag.			Rs. 3600/-

20.	M.I Sluice Valve heavy pattern (S.M.I. No.  P/    )

3”dia

1.00 No. 		@ Rs. 4290/-			Each.			Rs. 4290/-

21.	Cement Concrete Plain i/c pacing compacting finishing and curying complete i/c screening and washing of stone aggregate wihtout shuttering ratio (1:2:4) (G.S.I.No. 5 P/15)

35.32 Cft 		@ Rs. 14429/25		P% Cft			Rs.5050/-

------------------

Total	Rs: 253922/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Rising Main |  | Rs: 23,27,751/- |
| --- | --- | --- |
| Group ‘B’ Low Service Reservoir |  | Rs: 2,53,922/- |
| Total |  | Rs: 25,81,676/- |

Amount Total (a)+(b) Rs:	__25,81,676_/-  .

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | REPAIR OF STORAGE TANK, PUMP HOUSE AND COMPOUND WALL FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (WORK NO.2) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Repair of Storage Tank, Pump House and Compound Wall for Water Supply Scheme Oungar (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.065 Million |
| (e) | Amount of Bid Security:- | Rs:-22000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	REPAIR OF STORAGE TANK, PUMP HOUSE AND COMPOUND WALL FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  Repair of Storage Tank

- Earth work excavation in ashes send soft soil or silt clearness undressed lead upto 60’ft (GSINo.2 P/1)

33000.00 Cft		@ Rs.1663/75			P%0 Cft	 	Rs.54904/-

- Bailing or pumping out sub soil water during excavated concreting cost in situ concrete or masonary work in foundation etc complete (PHSINO.18 P/52).

33000.00 Cft		@ Rs.139/60			P%0 Cft	 	Rs.46068/-

3.	Cement Plaster upto 12’ft height in Cement Sand Mortor (1:4) ½” thick (GSINo.11 P/57)

5440.00 Cft		@ Rs. 2283/93 		P%Cft 			Rs.124246/-

4,	Cement Concrete Plain i/c placing compacting finishing curing complete i/c screening washing of stone aggregate without shuttering Ratio (1:2:4) (GSINo.5 P/17).

3300.00 Cft.		@ Rs.14429/25		P%Cft 			Rs.476165/-

-------------------

Total	Rs.701383/-

GROUP: “B”  Repair of Pump House

- Dismantling of Cement reinforcement separation reinforcement from concrete claming straighten the same (GSINo.20 P/10)

Top Slab

88.00 Cft		@ Rs. 5445/-			P% Cft		 	Rs.4792/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- R.C.C work i.e. all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i.e. all kinds forms modules lifting shutting curing remarking and finishing the exposed surface i.e. screening and washing of shingle (a) R.C. work in roof slab beams columns rafts lintel and other structural member laid in Situ or pre-cast laid in position in the respect ratio 1:2:4 etc complete (G.S.I No. 6/a P/18)

88.00 Cft		@ Rs. 337/- 			P%Cft 			Rs.29656/-

- Fabrication of mild steel reinforcement for cement concrete i.e. cutting bending laying in position making joints & fastening i.e. cost of binding wire also i.e. removal of rust from bars (G.S.I No. 7 ii(a) P/19).

3.53 Cwt		@ Rs. 4820/20 		P: Cwt 			Rs.17015/-

4.	Cement Plaster (1:4) upto 12’ height in cement sand mortor ½” thick (GSINo.11 (b) P/51).

260.00 Sft		@ Rs. 2283/93 		P% Sft 		Rs.5938/-

5,	Cement Concrete Plain i/c placing compacting finishing curing complete i/c screening and washing of stone aggregate without shuttering Ratio (1:2:4)

82.00 Cft.		@ Rs.14429/25		P% Cft 		Rs. 11832/-

6,	Pointing New Surface

Preparing surface and painting doors and windows and any type (i/c edges) (G.S.I No. 5/C P/76)

104.00 Sft		@ Rs.1662/21			P%Sft			Rs. 1729/-

----------------

Total	Rs.69082/-

GROUP: “B”  Repair of Compound Wall

- Pacca brick work in other then building i/c stricking of joints upto 20’ft Cement Sand Mortor (1:6) etc complete (GSINo.4/c P/19).

148.00 Cft		@ Rs. 12346/65		P% Cft		 	Rs.18273/-

- Cement Plaster upto 12’ft height (1:4) ½” thick (GSINo.11 P/51)

4119.00 Sft		@ Rs. 2283/93 		P% Sft 		Rs.94075/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- Making & Fixing Steel greated doors with 1/16” thick shuttering including angle iron frame 2” x 2” x 3/8” and ¾” sq bars 4” centre to with locking arrangement (GSINo.24 P/97).

72.00 Sft		@ Rs. 726/72 			P:% Sft 		Rs.52324/-

4.	Preparing Surface New Painting Doors Windows any type             (03 Coats) (GSINo.5/c P/69).

144.00 Sft		@ Rs.2116/41 		P% Sft 		Rs.3048/-

--------------

Total	Rs.167720/-

A  B  S   T   R   A   C   T

| Group ‘A’ Repair of Storage Tank |  | Rs: 701383/- |
| --- | --- | --- |
| Group ‘B’ Repair Pump House`` |  | Rs: 69082/- |
| Group ‘B’ Repair of Compound Wall |  | Rs:167720/- |
| Total |  | Rs: 9,38,185/- |

Amount Total (a) +(b)+(c) Rs:_	9,38,185/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + c in works & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING & TESTING 6”DIA DELIVERY MAIN AND DISTRIBUTION SYSTEM AND CONSTRUCTION OF LOW SERVICE RESERVIOR (2 NOS) 3000 GALLONS CAPACITY FOR WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA (Work No.3) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing 6”dia Delivery main and Distribution System and Construction of Low Service Reservior (2 Nos) 3000 Gallons capacity for Water Supply Scheme Hayat Khaskheli for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.560 Million |
| (e) | Amount of Bid Security:- | Rs:32000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING 6”DIA DELIVERY MAIN AND DISTRIBUTION SYSTEM AND CONSTRUCTION OF LOW SERVICE RESERVIOR (2 NOS) 3000 GALLONS CAPACITY FOR WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  DELIVERY MAIN

1,	Excavation for pipe line in trenches and pits in Hard Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

###### 12375.00 Cft   	 	@ Rs.3900/-		P: %0 Cft		Rs.48263/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 4500 Cft  	 	 	@ Rs.24150/-		P: %0 Cft		Rs.108675/-

3,	Providing P.V.C Pipe of Class “B” (equivalent make) fixing in trench i/c cutting fitting and jointing with “Z” joint with one rubber rings i/c testing with water to head of 61 meter or 200 Rft etc (P.H.S.I.No. 1 P/22)

###### 2000.00 Rft: 		  	@ Rs.90/-		P: Rft			Rs.180000/-

4,		PVC Special for PVC Pipe (S.M.I.No. 14 P/14)

i.	Bend 900

3”Dia

2 Nos				@ Rs.475/-		Each			Rs. 960/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

ii.	Tee Equal

3”Dia

2 Nos				@ Rs.361/-		Each			Rs. 722/-

iii.	Air Valve

1 No				@ Rs.4000/-		Each			Rs. 4000/-

iv.	Tail Piece 3” dia

6 Nos				@ Rs.375/-		Each			Rs. 2250/-

5,	C.I Sluice valve heavy pattenr test pressure 21Lbs/sq cum or 300 Lb/sq cum etc complete

###### 3”dia

###### 2 Nos.		  		 @ Rs.4290/-		Each			Rs.8580/-

6,	Supplying & Installing M.S Pipe of various dia metre out of M.S Sheet 3/16” thick i/c welding to curvature and shape i/c welding etc complete.

###### 3”dia

###### 100 Rft.		  	 @ Rs.385/89		P: Rft			Rs.38589/-

7,	Manufacturing and Furnishing M.S Flanged Pipe 3” dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete..

###### 3”dia

###### 20 Nos.		  	 @ Rs.500/89		Each			Rs.10018/-

8,	Jointing C.I/M.S flanged pipe and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc complete (P.H.S.I.No. M (I) P/40)

###### 3”dia

###### 16 Joints.	 	 	 @ Rs.499/-		P: Joint		Rs.7984/-

9,	Providing Chamber 2-1/3’x1 ½” (750x750mm) inside dimension 4 ½ (1372mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt-1 cwt 3 sq) fixed in RCC 1:2 Slab 4”dia (102mm) thick with 5 Ibs steel per Cft 9” (299mm) thick brick masonry walls set in 1:6 cement motor 6” (152mm) 1:2:4 flooring ½” (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at very one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus etc.

(P.H.S.I.No:     : P: 90).

###### 3 Nos.	  		 	 @ Rs.18820/-		Each			Rs.56460/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

10,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

###### 15187.50 Cft: 	 	 	 @ Rs.2760/-		P:%0 Cft		Rs.41918/-

______________

Total	Rs.508419/-

GROUP: “B”  DISTRIBUTION SYSTEM

1,	Excavation for pipe line in trenches and pits in Hard Soil               of murum i/c trimming an dressing sides to ture alignment and shape leveling  of beds joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards light flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft and lead upto one chain  (P.H.S.I.No:  1  P/60).

###### 12375 Cft:  		@ Rs. 3900/-			P%0Cft		Rs. 48263/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 4500 Cft  	 	 	@ Rs.24150/-			P: %0 Cft		Rs.108675/-

3,	Providing P.V.C Pipe class “B” equvalant make fixing in trenches i/c cutting fitting and jointing with “Z” joint with rubber ring i/c testing with water to lead of 61  miter or 200ft (PHSINo.E(I) P/22)

3”dia Pipe:-

2000 Rft			@ Rs. 90/-	 		P/Rft			Rs.180000/-

4, 	PVC Specials for P.V.C Pipe (M-R).

Bend 90o

3”dia

8 Nos:			@ Rs. 731/-	 		Each			Rs. 5848/-

Tec equal

3”dia

4 Nos:			@ Rs. 900/-		 	Each			Rs. 3600/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Short Piece

3”dia

8 Nos:			@ Rs. 568/-		 	Each			Rs. 4544/-

Dead End 3” dia

3”dia

8 Nos:			@ Rs. 368/75		 	Each			Rs. 2950/-

5,	Supplying C-I Sluice valve heavy pattern test pressure 21 Ibs/sq:cum or 300 Ibs/inch etc.

3”dia

4 Nos:			@ Rs. 4290/-	 		Each			Rs. 17160/-

6,	Providing chamber -2 -1/3”  x 1 ½”  ( 7 11x 457mm) inside dismension 4  (137mm) deep as per approved design for S.V 3” to 12” dia with 18” (457mm) dia inside C.I Cover and frame (wt = 1 sq ) fixed in R.C.C 1:2:4 alab 4” (102mm) thick brick machinery walls set in 1:6 cement C.C 1:3:6 in foundation (25mm) thick cement 1:2:4 flooring ½”dia (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing & fixing M.S foot rest every one foot beyond 2 ½” ft depth curring excavation back filling and disposal of surplus etc complete.  (P.H.S.I.No: 1 P/ 40)

4 Nos:			@ Rs. 18820/-	 		Each			Rs.75280/-

7,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

15187.50 Cft		@ Rs. 2760/-			 P%0Cft		Rs. 41918/-

CARTAGE:

Cartage of P.V.C Pipe of any class by animal transport i/c Loading and staking at the site (P.H.S.I.No: 4 (c) P/ 15)

P.V.C Pipe from Kararchi (lead 110 Miles)

3” dia

2000 Rft			@ Rs.622/96 			P%Rft			Rs. 12459/-

_____________

Total	Rs: 500697/-

GROUP: “B”  LOW SERVICE RESERVOIR

1.	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4   ).

323.00 Cft  		@ Rs. 3176/25		 P% Cft		Rs. 737/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2.	Cement Concrete or Stone Ballast 1 ½” guage Ratio (1:4:8) (G.S.I.No.4 P/14)

39.00 Cft  		@ Rs. 9416/28 		P% Cft			Rs. 3672/-

Ratio: 1:5:10

97.00 Cft  		@ Rs. 8694/95 		P% Cft			Rs. 8434/-

3.	Coursed Rubble Masonry i/c hammer dressing in cement sand motor ratio (1:6) in foundation and plinth (G.S.I.No.2 P/25)

138.44 Cft 		@ Rs. 25321/- 		P% Cft.		Rs. 34943/-

4.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be aid separately.  This rates also i/c all kinds forms moduls lifitting shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts linkes and other structural member laid in or precost laid in position in all respect ratio 1:2:4 etc complete.              (G.S.I.No.6 P/15)

2.12 Cft 		@ Rs. 337/- 			P: Cft.			Rs. 67737/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                (GSINo.  P/ )

8.07 Cwt 		@ Rs. 5001/70 		P: Cwt.			Rs. 40364/-

6.	Providing and Laying (1:3:6) cement concrete solid block masonry set (1:6) cement mortor in plinth and foundation i/c raking out joints and curing etc complete (GSINo. 22 P/18)

81.00 Cft 		@ Rs. 14268/53		P:% Cft.		Rs. 11558/-

7.	Providing Construction Joint in Cocnrete work of 9” wide (1:6) corrugated PVC water stopper with bulbs i/c cutting costs of materila and labour (G.S.I.No.B (2) P/43)

32.99 Rft 		@ Rs. 86/-	 		P: Rft.			Rs. 2752/-

8.	Cement Plaster ¾” thick in cement sand mortor (1:4) upto 12’ft height (GSINo. 11 P/51)

¾” Thick

609.49 Sft 		@ Rs. 3015/76 		P% Sft			Rs. 18366/-

½” Thick

181.33 Sft 		@ Rs. 2283/93 		P:% Sft		Rs.4157/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

9.	Supplying of Dampoo (P.S.I.No.11 P/23)

55.50 Kg 		@ Rs. 60/- 			P: Kg.			Rs.3360/-

10.	Supplying and fixing C.I main holes cover with frame i/c cost            of material etc (P.S.I.No. J (i) P/35)

1.75 Cwt 		@ Rs. 6985/-	 		P: Cwt			Rs. 12224/-

11.	Providing G.I Pipe and special and climbs, etc i/c fixing cutting and fitting complete with an i/c the cost of breaking through walls and roof making good etc painting 2 Coats after cleaning the pipe and etc with white / zine paint with pigment to match the color and testing with water to a pressure head of 200ft and handing.

3”dia

20 Rft	 		@ Rs. 229/98 			P: Rft.			Rs.4600/-

12.	Manufacturing and supplying M.S Flanges of different dia made out of M.S Sheet of 3/8” thickness i/c cutting welding holes and welding of flange with M.S Pipe etc complete.

3”dia

26.74 Kg		@ Rs. 111/30 			P: Kg.			Rs.2976/-

13.	C.I Tail pieces with one flanged and spigot of the other end all sizes (S.S.No.   P/    )

3”dia

26.72 Kg 		@ Rs. 111/30	 		P: Kg.			Rs.2975/-

14.	C.I Bend with one flanged and with holes i/c trimming and facing of flanges for all sizes (S.S.I No.   P/   )

26.72 Kg		@ Rs. 111/30	 		P: Kg			Rs. 2976/-

15.	Providing and fixing C.I Ventilator (weight not be less than 90 Ibs/each in tank of roof or approved design with water light joint i/c painting etc complete (P.H.S.I.No. 4 P/55)

1 No.	 		@ Rs. 4870/-	 		Each			Rs.4870/-

16.	Providing and fixing in position in cement concrete foundation (1:3:6) M.S Leader of MS angle iron 2” x 2” x ¼” x 1’-0” a part painting 3 coats of anticorrosive paint etc complete (P.H.S.I.No.3 P/55)

10.00 Rft 		@ Rs. 799/-	 		Each			Rs. 7990/-

17.	Jointing C.I/M.S Flanged pipes and special flanged and inside a  trenches i/c supplying rubber packing of the required thickness nuts an d bolts with washer etc and other tools required for jointing and testing the joint to the specified pressure etc complete (P.H.S.I.No. M (I) P/40)

9.00 Nos 		@ Rs. 499/- 			P: Joint		Rs.4491/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

18.	Providing G.I Pipe in Standard length with cone type gate socket each pipe length (S.O.M.I.No.   P/    )

24 Rft 			@ Rs. 136/05 			P: Rft.			Rs.3265/-

19.	Bib Cock bar Standard pattern (S.S.V.No.  P/    )

¾” dia

12 Nos. 		@ Rs. 300/-			P: Bag.			Rs. 3600/-

20.	M.I Sluice Valve heavy pattern (S.M.I. No.  P/    )

3”dia

1.00 No. 		@ Rs. 4290/-			Each.			Rs. 4290/-

21.	Cement Concrete Plain i/c pacing compacting finishing and curying complete i/c screening and washing of stone aggregate wihtout shuttering ratio (1:2:4) (G.S.I.No. 5 P/15)

35.32 Cft 		@ Rs. 14429/25		P% Cft			Rs.5050/-

______________

Total	Rs: 253922/-

A  B  S   T   R   A   C   T

| Group ‘A’ Delivery Main |  | Rs: 5,08,419/- |
| --- | --- | --- |
| Group ‘B’ Distribution System |  | Rs: 5,00,697/- |
| Group ‘B’ Low Service Reservoir |  | Rs: 2,53,922/- |
| Total |  | Rs: 12,63,038/- |

Amount Total (a) + (b)  + (c) Rs:_	12,63,038/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + (c) in words & Figures__________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | SUPPLYING AND INSTALLING PUMPING MACHINERY I/C SUCTION DELIVERY LINES FOR WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (Work No.4) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Supplying and Installing Pumping Machinery i/c Suction Delivery lines for Water Supply Scheme Hayat Khaskheli for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.200 Million |
| (e) | Amount of Bid Security:- | Rs:-24,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	SUPPLYING AND INSTALLING PUMPING MACHINERY I/C SUCTION DELIVERY LINES FOR WATER SUPPLY SCHEME HAYAT KHASKHELI FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” PUMPING MACHINERY @ SOURCE

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Hayat Khaskheli Electric Pumping Machinery             10 BHP Coupled with Centrifugal pump (KSB) ETA Norm 80-200 Size             3 x 2.5” mounted on common steel base plate capable of discharging of 70 gallons per minute to a head of 225’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

1.0 Set			@Rs: 				P:Set			Rs:

2.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Hayat Khaskheli Diesel Engine Pumping Set            16 BHP Coupled with Centrifugal pump (KSB) ETA Norm 80-200 Size             3” x 2.5” mounted on common steel base plate capable of discharging of 70 gallons per minute to a head of 225’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

1.0 Set			@Rs: 				P:Set			Rs:

3.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

2 Nos.		 	 @ Rs. 			Each			Rs.

4.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

2.0 Nos	 	@ Rs				 Each.  	         	Rs.

5.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/10)

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

40.08 Kg 		@ Rs. 				 P:Kg	 		Rs.

7.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (Rate Approved).

12.41 Kg 		@ Rs				P:Kg	 		Rs.

8.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

10.50 Kg 		@ Rs.				 P:Kg	 		Rs.

9.	Supplying instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved)

118.00 Rft 		@ Rs.				 P:Rft	 		Rs.

10.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved)

18.00  Nos.		  @ Rs. 	 		Each			Rs.

11.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

20 Joints		@ Rs. 				P: Joint		Rs.

-----------------------

Total	Rs:

GROUP: “A” PUMPING MACHINERY @ WATER WORKS

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Hayat Khaskheli Electric Pumping Machinery             5.50 BHP Coupled with Centrifugal pump (KSB) ETA Norm 100-315 Size 3 x 25” mounted on common steel base plate capable of discharging of 73 gallons per minute to a head of 115’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

2.0 Set			@Rs: 				P:Set			Rs:

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

2 Nos.		 	 @ Rs				Each			Rs

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

4.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/10)

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

40.08 Kg 		@ Rs. 				 P:Kg	 		Rs.

6.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (SMINO.9 P/11).

12.41 Kg 		@ Rs. 				P:Kg	 		Rs.

7.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

10.50 Kg 		@ Rs.				 P:Kg	 		Rs.

8.	Supplying instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved)

118.00 Rft 		@ Rs.				 P:Rft	 		Rs.

9.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved)

18.00  Nos.		  @ Rs. 	 		Each			Rs.

10.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

23 Joints		@ Rs. 				P: Joint		Rs.

______________

Total	Rs:

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Pumping Machinery @ Source |  | Rs: |
| --- | --- | --- |
| Group ‘B’ Pumping Machinery @ W/Works |  | Rs: |
| Total |  | Rs: |

Amount Total (a) + (b)  Rs:_			/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b  in words & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING & TESTING PVC PIPE DISTRIBUTION SYSTEM I/C CONSTRUCTION OF LOW SERVICE RESERVIOR (2 NO) 3000 GALLONS CAPACITY FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.. (Work No.5) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing PVC Pipe Distribution System i/c Construction of Low Service Reservior (2 No) 3000 Gallons Capacity for Water Supply Scheme Golo Dal (Part-I) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 4.800 Million |
| (e) | Amount of Bid Security:- | Rs:-96,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING PVC PIPE DISTRIBUTION SYSTEM I/C CONSTRUCTION OF LOW SERVICE RESERVIOR (2 NO) 3000 GALLONS CAPACITY FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  RCC LOW SERVICE RESERVOIR

1.	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4   ).

323.00 Cft  		@ Rs. 3176/25		 P% Cft		Rs. 1026/-

2.	Cement Concrete or Stone Ballast 1 ½” guage Ratio (1:4:8) (G.S.I.No.4 P/14)

39.00 Cft  		@ Rs. 9416/28 		P% Cft			Rs. 3672/-

Ratio: 1:5:10

97.00 Cft  		@ Rs. 8694/95 		P% Cft			Rs. 8434/-

3.	Coursed Rubble Masonry i/c hammer dressing in cement sand motor ratio (1:6) in foundation and plinth (G.S.I.No.2 P/25)

138.44 Cft 		@ Rs. 25321/- 		P% Cft.		Rs. 35054/-

4.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be aid separately.  This rates also i/c all kinds forms moduls lifitting shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts linkes and other structural member laid in or precost laid in position in all respect ratio 1:2:4 etc complete.              (G.S.I.No.6 P/15)

201.41 Cft 		@ Rs. 337/- 			P: Cft.			Rs. 67875/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                (GSINo.  P/ )

8.07 Cwt 		@ Rs. 5001/70 		P: Cwt.			Rs. 40364/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	Providing and Laying (1:3:6) cement concrete solid block masonry set (1:6) cement mortor in plinth and foundation i/c raking out joints and curing etc complete (GSINo. 22 P/18)

81.00 Cft 		@ Rs. 14268/53		P:% Cft.		Rs. 11558/-

7.	Providing Construction Joint in Cocnrete work of 9” wide (1:6) corrugated PVC water stopper with bulbs i/c cutting costs of materila and labour (G.S.I.No.B (2) P/43)

32.99 Rft 		@ Rs. 86/-	 		P: Rft.			Rs. 2837/-

8.	Cement Plaster ¾” thick in cement sand mortor (1:4) upto 12’ft height (GSINo. 11 P/51)

¾” Thick

609.49 Sft 		@ Rs. 3015/76 		P% Sft			Rs. 18381/-

½” Thick

181.33 Sft 		@ Rs. 2283/93 		P:% Sft		Rs.4141/-

9.	Supplying of Dampoo (P.S.I.No.11 P/23)

55.50 Kg 		@ Rs. 60/- 			P: Kg.			Rs.3330/-

10.	Supplying and fixing C.I main holes cover with frame i/c cost            of material etc (P.S.I.No. J (i) P/35)

1.75 Cwt 		@ Rs. 6985/-	 		P: Cwt			Rs. 12224/-

11.	Providing G.I Pipe and special and climbs, etc i/c fixing cutting and fitting complete with an i/c the cost of breaking through walls and roof making good etc painting 2 Coats after cleaning the pipe and etc with white / zine paint with pigment to match the color and testing with water to a pressure head of 200ft and handing.

27 Rft	 		@ Rs. 338/17 			P: Rft.			Rs.9131/-

12.	Manufacturing and supplying M.S Flanges of different dia made out of M.S Sheet of 3/8” thickness i/c cutting welding holes and welding of flange with M.S Pipe etc complete.

12.00 Nos		@ Rs. 500/89 			Each			Rs.6011/-

13.	C.I Tail pieces with one flanged and spigot of the other end all sizes (S.S.No.   P/    )

4.00 Nos		@ Rs. 375/-	 		Each			Rs.1500/-

14.	C.I Bend with one flanged and with holes i/c trimming and facing of flanges for all sizes (S.S.I No.   P/   )

26.72 Kg		@ Rs. 120/-	 		P: Kg			Rs. 3206/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

15.	Providing and fixing C.I Ventilator (weight not be less than 90 Ibs/each in tank of roof or approved design with water light joint i/c painting etc complete (P.H.S.I.No. 4 P/55)

1 No.	 		@ Rs. 4870/-	 		Each			Rs.4870/-

16.	Providing and fixing in position in cement concrete foundation (1:3:6) M.S Leader of MS angle iron 2” x 2” x ¼” x 1’-0” a part painting 3 coats of anticorrosive paint etc complete (P.H.S.I.No.3 P/55)

20.00 Rft 		@ Rs. 799/-	 		Each			Rs. 15980/-

17.	Jointing C.I/M.S Flanged pipes and special flanged and inside a  trenches i/c supplying rubber packing of the required thickness nuts an d bolts with washer etc and other tools required for jointing and testing the joint to the specified pressure etc complete (P.H.S.I.No. M (I) P/40)

22.00 Joints 		@ Rs. 499/- 			P: Joint		Rs.10978/-

18.	Providing G.I Pipe in Standard length with cone type gate socket each pipe length (S.O.M.I.No.   P/    )

24 Rft 			@ Rs. 136/05 			P: Rft.			Rs.3265/-

19.	Bib Cock bar Standard pattern (S.S.V.No.  P/    )

¾” dia

12 Nos. 		@ Rs. 300/-			P: Bag.			Rs. 3600/-

20.	M.I Sluice Valve heavy pattern (S.M.I. No.  P/    )

3”dia

1.00 No. 		@ Rs. 4290/-			Each.			Rs. 4290/-

21.	Cement Concrete Plain i/c pacing compacting finishing and curying complete i/c screening and washing of stone aggregate wihtout shuttering ratio (1:2:4) (G.S.I.No. 5 P/15)

35.32 Cft 		@ Rs. 14429/25		P% Cft			Rs.5050/-

______________

Total	Rs: 271907/

GROUP: “B”  DISTRIBUTION SYSTEM

1,	Excavation for pipe line in trenches and pits in Hard Soil               of murum i/c trimming an dressing sides to ture alignment and shape leveling  of beds joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards light flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft and lead upto one chain  (P.H.S.I.No:  1  P/60).

###### 87670 Cft:  		@ Rs. 3600/-			P%0Cft		Rs. 315612/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 32000.00 Cft  	  	@ Rs.3900/-			P: %0 Cft		Rs.124800/-

3,	Providing P.V.C Pipe class “B” equvalant make fixing in trenches i/c cutting fitting and jointing with “Z” joint with rubber ring i/c testing with water to lead of 61  miter or 200ft (PHSINo.E(I) P/22)

4”dia Pipe:-

5500 Rft			@ Rs. 137/-	 		P/Rft			Rs.753500/-

3”dia Pipe:-

10500 Rft			@ Rs. 90/-	 		P/Rft			Rs.945000/-

4, 	PVC Specials for P.V.C Pipe (M-R).

Bend 900

4”dia   4 Nos:		@ Rs. 850/-	 		Each			Rs. 3400/-

Bend 900

3”dia	8 Nos:		@ Rs. 475/-	 		Each			Rs. 3800/-

Tee Equal

4”dia	4 Nos:		@ Rs. 725/-	 		Each			Rs. 2900/-

Tee Equal

3”dia	8 Nos:		@ Rs. 361/-	 		Each			Rs. 2888/-

Tee Un-Equal 4”x4”x3”

4 Nos:		@ Rs. 956/25			Each			Rs. 3825/-

Short Piece 4” dia

8 Nos:		@ Rs. 487/50			Each			Rs. 3900/-

Short Piece 3” dia

20 Nos:	@ Rs. 375/-			Each			Rs. 7500/-

C.I Dead End 4” dia

4 Nos:		@ Rs. 425/-			Each			Rs. 1700/-

C.I Dead End 3” dia

10 Nos:	@ Rs. 368/75			Each			Rs. 3688/-

5,	Supplying C-I Sluice valve heavy pattern test pressure 21 Ibs/sq:cum or 300 Ibs/inch etc.

4”dia 4 Nos:		@ Rs. 5460/- 			Each			Rs. 21840/-

3”dia 10 Nos:		@ Rs. 4290/- 			Each			Rs. 42900/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	Providing chamber -2 -1/3”  x 1 ½”  ( 7 11x 457mm) inside dismension 4  (137mm) deep as per approved design for S.V 3” to 12” dia with 18” (457mm) dia inside C.I Cover and frame (wt = 1 sq ) fixed in R.C.C 1:2:4 alab 4” (102mm) thick brick machinery walls set in 1:6 cement C.C 1:3:6 in foundation (25mm) thick cement 1:2:4 flooring ½”dia (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing & fixing M.S foot rest every one foot beyond 2 ½” ft depth curring excavation back filling and disposal of surplus etc complete.  (P.H.S.I.No: 1 P/ 40)

15 Nos:			@ Rs. 18820/-	 		Each			Rs.282300/-

7,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

107703 Cft		@ Rs. 2760/-			 P%0Cft		Rs. 297260/-

_____________

Total	Rs:2816813/-

A  B  S   T   R   A   C   T

| Group ‘A’ RCC Low Service Reservoir |  | Rs:2,71,907/- |
| --- | --- | --- |
| Group ‘B’ Distribution System |  | Rs:28,16,813/- |
| Total |  | Rs: 30,88,720/- |

Amount Total (a) + (b) Rs:_30,88,720	/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF COMPOUND WALL AROUND WATER WORKS I/C HUT TYPE QUARTER FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (Work No.6) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Compound Wall around Water Works i/c Hut Type Quarter for Water Supply Scheme Golo Dal (Part-I) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 5.00 Million |
| (e) | Amount of Bid Security:- | Rs:-100,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 06 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF COMPOUND WALL AROUND WATER WORKS I/C HUT TYPE QUARTER FOR WATER SUPPLY SCHEME GOLO DAL (PART-I) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

“GROUP: “A”  COMPOUND WALL

1,	Excavation in foundation of building brides and others structure i/c deg belling dressing refilling around the structure with excavated earth water and remaining lift upto 5 ft and lead upto one chain (in ordinary soil) etc  (G.S.I No.18 P/ 4)

###### 5982.00 Cft: 	  	@ Rs. 3176/25		P%0Cft		Rs.19000/-

2,	Cement concrete or stone Ballast 1 ½” gauge ratio (1:4:8)  (GSI No. 4   P-  14  )

###### 1491.00 Cft:   	 	@ Rs. 9416/28		P%Cft			Rs. 140397/-

3,	Coursed rubble masonry i/c harmer dressing in cement sand motor (1:6) in foundation and plinth etc (G.S.I No. 2  P- 26   )

7780.50 Cft		@ Rs. 25321/- 		P%Cft			Rs.1970100/-

4,	D.P.C with cement sand shingle concrete                   Ratio (1:2:4) and cost of asphaltic mixture              (G.S.I No. 28  P- 18 )

2223.00 Cft		@ Rs. 4982/18 		P%Sft			Rs. 110754/-

5,	Providing & layng (1:3:6) cement concrete solid                  block masonry wall 6” and below in thickness set in   (1:6) cement mortar in ground floor super-structure including raking out joints & curing etc complete.

###### 3832.00 Cft:   	 	@ Rs. 14268/53		P%Cft			Rs. 546770/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	Cement Plaster ½” thick upto 12’ft height in cement sand mortor (1:4) (G.S.I No. 11/B  P- 51 )

###### 14293 Sft:   	 	@ Rs. 2283/93		P%Sft			Rs.326442/-

7,	Pointing Flush on Stone work (Raised) i/c cement sand mortar (1:3)  G.S.I No. 20  P- 52 )

5928.00 Sft		@ Rs. 1758/08	 	P%Sft			Rs. 104219/-

8,	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structure member laid in situ or precast laid in position in all respect ratio (1:2:4) (G.S.I.No. 6 P/15)

66.50 Cft			@ Rs. 337/- 			P: Cft			Rs. 22411/-

9,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                                          (G.S. I No. 8 P/16 )

###### 2.671 Cwt:   	 	@ Rs. 5001/70		P: Cwt			Rs.13360/-

10,	Making & Fixing Steel Grated Doors with 1/16” thick shuttering including angle iron frame 2” x 2” 3/8” and and 3/4” sq bars 4” centre to centre with locking arrangement  G.S.I No. 24  P- 91)

###### 72.00 Sft:   	 	@ Rs. 726/72			P:% Sft		Rs. 52324/-

11,	White Wash or Colour Wash  G.S.I No. 54/a  P- 15)

12597 Sft		@ Rs. 425/84			 P%Sft			Rs. 53643/-

12,	Painting New Surface

Preparing Surface and Painting of doors and  windows in any type i/c edges (02 Coats)                 G.S.I No. 5  P-68 )

144.00 Sft		@ Rs.1489/68		 	P%Sft			Rs. 2145/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

13,	Colour washing (02 Coat (G.S.I No.25  P- 59)

###### 12597 Sft:   	 	@ Rs. 859/90			P: Sft			Rs. 108322/-

__________

Total	Rs: 3469887/-

“GROUP: “B”  STAFF QUARTER

1. 	Excavation in foundation of building and other structure i/c dag belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 5)

299.00 Cft		@ Rs. 3176/25 	  P:%0 Cft			Rs: 950/-

2,	Cement concrete brick or stone ballast ½” to 2” guage         Ratio:1:4:8 (G.S.I.No. 4 (B) P/17)

211.34 Cft			@ Rs.9416/28 	  P% Cft		Rs 19900/-

3. 	Coursed Rubble Masonry i/c hammer dressed in Cement Sand mortor (1:6) in foundation and plinth

395.06 Cft			@ Rs.25321/- 	  P% Cft		Rs 100033/-

4. 	D.P.C with Cement Sand & Shingle Concrete (1:2:4) i/c 2 Coats of Asphaltic Mixture 2” thick. (G.S.I.No.27 C P/23)

82.87 Sft			@ Rs.  3912/85 	  P:% Sft		Rs: 3243/-

6. 	Filling Watering and ramming earth in floor with surplus               earth from foundation lead upto one chain and lift upto 5ft (G.S.I.No: 21 P/5)

227.65 Cft			@ Rs.  1512/50 	  P:%0 Cft		Rs: 344/-

6. 	Coursed Rubble Masonry i/c hammer dressed in Cement Sand mortor (1:6) in super structure etc complete.

554.38 Cft			@ Rs.  26288/46 	  P:% Cft		Rs: 145738/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre              cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6 (a)  P 19).

215.51 Cft			@ Rs. 337/- 	 	 P/Cft			Rs: 72627/-

8,	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P20 ).

8.65 Cwt			@ Rs: 5001/-		P/Cwt			Rs: 43265/-

10,	First Class Deodar wood wrought joinery in door and windows etc fixed in position i/c chowkats hold fasts dinges iron towers bolts chowkats cleats handles and cords with hocks  etc deodar paneled or glazed or fully glazed 1-3/4” thick (G.S.I.No: 7  P-65).

48.50 Sft			@ Rs: 1273/76		P: Sft		Rs: 61777/-

12,	Cement Plaster (1:4) upto 12’ height ¾” thick                 (G.S.I.No: 11 (b) P/55)

454.50 Sft			@ Rs: 3015/76	P:% Sft		Rs: 13707/-

13,	Providing and Laying 1” thick Topping Cement Concrete (Ratio: 1:2:4) i/c Surface Finishing and dividing in to panels.

2” Thick

571.50 Sft			@ Rs: 3275/50	P:% Sft		Rs: 18719/-

14,	Pointing flush on stone work (Raised) in Cement Sand mortor (1:3)

470.00 Sft			@ Rs: 1758/08	P:% Sft		Rs: 8263/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

13,	White Washing (3 Coats)

777.00 Sft			@ Rs: 829/95	P:% Sft		Rs: 6449/-

14,	Colour  Washing (2 Coats)

777.00 Sft			@ Rs: 859/90	P:% Sft		Rs: 6681/-

15,	Pointing New Surface

Preparing Surface and Painting of Doors and Windows only type.

97.00 Sft			@ Rs: 2116/41	P:% Sft		Rs: 2053/-

-------------------

Total	Rs: 4,43,749/-

A  B  S   T   R   A   C   T

| Group ‘A’ Compound Wall |  | Rs: 34,69,887/- |
| --- | --- | --- |
| Group ‘B’ Staff Quarter |  | Rs: 4,43,749/- |
| Total |  | Rs: 39,13,636/- |

Amount Total (a) + (b) Rs:_	39,13,636	/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b  in words & Figures___________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF OPEN SURFACE DRAINS TYPE-I, II & III I/C CEMENT CONCRETE PAVEMENT FOR DRAINAGE SYSTEM BAGHAN CITY U.C. KETI BUNDER (PART-I) DISTRICT THATTA. (Work No.7). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Open Surface Drains Type-I, II & III i/c Cement Concrete Pavement for Drainage System Baghan City U.C. Keti Bunder (Part-I) District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 5.000 Million |
| (e) | Amount of Bid Security:- | Rs:-100,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost) Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF OPEN SURFACE DRAINS TYPE-I, II & III I/C CEMENT CONCRETE PAVEMENT FOR DRAINAGE SYSTEM BAGHAN CITY U.C. KETI BUNDER (PART-I) DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” OPEN SURFACE DRAINS

1.	Excavation in foundation of building bridges and others structure i/c  Dag Belling Dressing refilling around the structure with excavated earth watering ramming lift upto 5 Ft and lead upto one chain (ordinary Soil)     (G.S.I No: 18/B P/5).

8102.00 Cft		@Rs:3176/25 			P:%0Cft		Rs:25734/-

2.	Cement Concrete Plain i/c placing compacting finishing and during complete i/c washing of stone aggregate without shuttering etc complete (Ratio 1:4:8) (GSINo.  P/16)

1465.00 Cft		@Rs:11288/75 		P:% Cft		Rs:165437/-

3.	Pucca brick work in foundation & plinth in Cement Sand Mortor (Ratio 1:6) (GSINo.45 P/21)

4350 Cft		@ Rs.11948/36 		P% Cft			Rs.519754/-

4.	Cement plaster (1:6) upto 20’ft height ½” thick (G.S.I.NO: 13/b P/57)

5300.0 Cft	 	@ Rs.2283/93 		P% Cft.  	         	Rs.121048/-

5.	Construction of Standard Open Drains Cunette block of Cement Concrete (1:2:4) in situ to the design profiles i/c cost of modules as per drawing i/c supplying florating coast of cement 1/3" thick to the expensed surface finishing smooth curing etc as per detailed drawing (PHSINo. E P/44)

Type-I

600.0 Rft	 	@ Rs.94/-			 P: Rft  	         	Rs.56400/-

Type-II

700.0 Rft	 	@ Rs.174/-			 P: Rft  	         	Rs.121800/-

Type-III

500.0 Rft	 	@ Rs.309/-			 P: Rft  	         	Rs.154500/-

5.	R.C.C work i.e. all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i.e. all kinds forms modules lifting shutting curing remarking and finishing the exposed surface i.e. screening and washing of shingle (a) R.C. work in roof slab beams columns rafts lintel and other structural member laid in Situ or pre-cast laid in position in the respect ratio 1:2:4 etc complete (G.S.I No. 6/a P/18)

839.25 Cft	 	@ Rs.337/-	 		P: Cft.  	         	Rs.282827/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	Fabrication of mild steel reinforcement for cement concrete i.e. cutting bending laying in position making joints & fastening i.e. cost of binding wire also i.e. removal of rust from bars (G.S.I No. 7 ii(a) P/19). (Using Bors)

33.72 Cwt 		@ Rs.5001/70			 P:Cwt	 		Rs.168657/-

-----------------------

Total	Rs: 1616156/-

GROUP: “B” CEMENT CONCRETE PAVEMENT

1.	Barrow pit excavation undressed lead upto 100'ft in ordinary soil (GSINo. 3 P/1)

41698.00 Cft		@Rs:2117/50 			P:%0Cft		Rs:88296/-

2.	Dressing and Levelling of earth work designed section etc complete (b) Ordinary or Hard Soil) (GSINo.11 (b) P/3)

49800.00 Cft		@Rs:354/-			P:%0Cft		Rs:17629/-

3.	Cement concrete brick or stone ballast ½” to                                         2” guage Ratio (1:4:8) (G.S.I.No: 4 P/15)

10956.00 Cft		@Rs:9416/28			P:% Cft		Rs:1031648/-

4.	Cement Concrete Plain i/c placing, compacting, finishing and curing complete i/c screening and washing of stone aggregate without shuttering etc complete.   (Ratio: 1:2:4)

8300.00 Cft		@Rs:14429/25		P:% Cft		Rs:1197628/-

5.	Errection & removal of centering (GSINo.   P/    )

553.33 Sft		@Rs:2127/41			P:% Sft		Rs:11771/67

6.	Cartage of 100 Cft 50'ft additional (lead 02 Miles) (GSINo.   P/    ).

4150.00 Cft		@Rs:502/52			P:% Cft		Rs:20854/58

--------------------

Total	Rs.2367826/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains |  | Rs: 16,116,156/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 23,67,826/- |
| Total |  | Rs: 1,84,83,982/- |

Amount Total (a) + (b) Rs:_1,84,83,982/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF SURFACE DRAINS AND CEMENT CONCRETE PAVEMENT I/C PROVIDING LAYING JOINTING & TESTING RCC SEWER LINE FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA.. (Work No.8). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Surface Drains and Cement Concrete Pavement i/c Providing Laying Jointing & Testing RCC Sewer Line for Rehabilitation of Drainage Scheme Ghulamullah District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 4.035 Million |
| (e) | Amount of Bid Security:- | Rs:-81,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF SURFACE DRAINS AND CEMENT CONCRETE PAVEMENT I/C PROVIDING LAYING JOINTING & TESTING RCC SEWER LINE FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  RCC SEWER LINE

1.	Excavation for Tanks and reservoir in Soft Soil i/c trimming and dressing side to true alignment / design section / profiles and shape leveling of bed of trenches to correct level and grade i/c laying of earth in 6” layer for construction of tanks and dressing and disposal of surplus earth, excavated earth within a one chain as directed by Engineer In charge (P.H.S.I.No.10 P/72)

23750 Cft 		@ Rs.3600/-	 		  P %0  Cft 		Rs.85500/-

2,	Providing laying R.C..C Pipeof ASTM C-76-62 T/C-76-70 of Class-II Class “B” and fixing in trenches i/c cutting fitting and jointing (PHSINo.B-(I) P/17)

12” dia

1000.00 Rft		@ Rs. 412/-		 	P: Rft			Rs.412000/-

18” dia

500.00 Rft		@ Rs. 618/-		 	P: Rft			Rs.309000/-

3. 	Supplying of Clear Screened (River or Pit) Sand within 5 Chain i/c etc complete.

4000 Cft		@ Rs:- 420/-			  P% Cft		Rs:- 16800/-

4. 	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)   (G.S.I.No:     P/    ).

3393.36 Cft		@ Rs:- 3176/20		P%0 Cft		Rs:- 10778/-

5,	Cement Concrete brick or stone ballast (1:4:8) 1 ½” to 2” guage  (G.S.I.No. 4 P/16)

###### 282.78 Cft.  	 	 @ Rs. 9416/28		P% Cft			Rs. 26627/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be aid separately.  This rates also i/c all kinds forms moduls lifitting shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts linkes and other structural member laid in or precost laid in position in all respect ratio 1:2:4 etc complete.              (G.S.I.No.6/I P/18)

Ratio: (1:2:4)

944.52 Cft		@ Rs:-337/-			P: Cft			Rs:318303/-

7.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints & fastening i/c cost of binding wire also i/c removal of rust from bars (G.S.I.No.7 P/18)

37.94  Cwt		@ Rs:-5001/70		 P: Cwt		Rs.189812/-

8.	Cement concrete plain i/c placing compacting finishing and curring complete i/c screening and washing of stone aggrgate without shuttering etc complete (G.SI No.4 P/14)

Ratio: 1:2:4

196.80 Cft		 @ Rs:-14429/25		 P:% Cft		Rs:28397/-

9. 	Errection and removal of Centering for R.C.C or Plain Cement Concrete works of Deodar Wood (2ND Class) (Vertical) (GSINo.19 P/18).

240 Sft			@ Rs:- 7000/-			P% Sft			Rs:16800/-

10,	Providing C.I Man holes frame i/c cost of material etc complete. (P.H.SI.No. J (I) P/35)

###### 35.00 Cft  		@ Rs. 6985/-			P:  Cwt			Rs.24475/-

11.	Refilling the excavated stuff in trenches 6” thick i/c watering ramming to full compaction etc               (P.H.S.I.NO: 24 P/77)

90% of total Excavation

21375 Cft		@ Rs:- 2760/-	  	P%0 Cft		Rs:- 58995/-

12,	Manufacutring and Supplying RCC Man Hole Cover (R.A.Approved Based on Schedule)

###### 20.00 Nos  		@ Rs.1881/18		Each				Rs37624/-

----------------

Total	Rs.1535111/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “B”  SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

4670 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs:14833/-

2. 	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

980.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:110630/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

2625.00 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:313644/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

4530.00 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:103346/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1000 Rft 		@ Rs: 94/-			P/Rft			Rs: 94000/-

Type – II

500 Rft		@ Rs: 147/-			P/Rft			Rs: 87000/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

268.98 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs:90646/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

9.60 Cwt		@ Rs: 5001/70		P/Cwt			Rs:    48016/-

---------------------

Total	Rs: 862115/-

GROUP: “B”  C.C.PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

24000 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:50820/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

24000 Cft			@ Rs.263/ 		  P%Cft		Rs: 8496/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

5280 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 497180/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

4000 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 577170/-

5. 	Erection & removal of centering (G.S.I.No.    P/   ).

450.00  Sft 			@ Rs: 3127/41	P%Sft			Rs:  14073/-

6. 	Cartage of 100 Cft / Stone of all material like stone aggregate etc lead (2 Miles)

25200 Cft 			@ Rs: 502/52	P% Cft		Rs:  126537/-

-----------------

Total	Rs:1346441/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ RCC Sewer Line |  | Rs: 15,35,111/-/- |
| --- | --- | --- |
| Group ‘B’ Surface Drains & C.C.Pavement |  | Rs: 13,46,441/- |
| Total |  | Rs: 28,81,552/- |

Amount Total (a) + (b)  Rs:_28,81,552/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b  in words & Figures____________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF STORAGE TANK (2 NOS) & RCC SUMP WELL FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.. (Work No.09). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Storage Tank (2 Nos) for Water Supply Scheme Oungar (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 10.070 Million |
| (e) | Amount of Bid Security:- | Rs:-21,4000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF STORAGE TANK (2 NOS) & RCC SUMP WELL FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	 STORAGE TANK:

1. 	Excavation for tank and reservoirs in Hard Soil i/c trimming dressing side to true alignment shape design section profile and leveling of beds of tank to coorect level grade i/c laying of earth in 6” layers for construction of bank and dressing to disposal of surplus excavated earth within one chain as driected by Enigneer incharge. (P.H.S.I.NO: 3 P/68).

90308.00 Cft			@ Rs:- 3300/-	  P%0 Cft		Rs:- 298016/-

2. 	Excavation for tank and reservoirs in Hard Rock where blasting is not practicable or is prohibited by the hammering and chiselling disintigrated rock by blasting i/c trimming and dressing sides to true alignment / design section / profiles and shape leveling of bed of trenches to correct level and grade cutting i/c laying of earth in 6” layer for construction of banks and dressing and disposal of surplus earth (PHSINO:10 P/72).

26962.00 Cft			@ Rs:- 23550/-	  P%0 Cft		Rs:- 634955/-

3.	Extra for 50’ft additional lead or part there of for                  earth work (Soft Ordinary or Hard and very Hard) (G.S.I.No.8 (a) P/2)

93816 Cft			@ Rs:- 3828/50	  P%0 Cft		Rs:-359175/-

- Cement Concrete brick or stone ballast ½” to 2” guage (Ratio” 1:4:8)  (G.S.I.NO: 4 (b)  P/14)

16641.00 Cft			@ Rs:- 9416/28	  P% Cft		Rs:-1566963/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- Course Rubble Masonary hammer dressed in cement sand mortor in foundation and plinth Ratio ( 1:6) (G.S.I.NO: 2 /d iv P-26)

17547.50 Cft		@ Rs:- 25321/-	  	 P% Cft		Rs:- 4443202/-

6,	Cement Concrete plain i/c placing compacting             finishing the curing complete i/c screening and washing stone aggregate with out shuttering (Ratio: 1:2:4)  (G.S.I.NO: 5 (f) P-15)

7329.00 Cft		   @ Rs.14429/25		P%Cft			Rs.1057520/-

7.	Errection and Removal of centering for RCC work cement concrete plain for partal wood (G.S.I.No.18 P/21)

414.00 Sft		@ Rs.3127/41	 	P:% Sft		Rs.12947/-

8.	Cement Plaster (1:4) upto 12’ft height 3/4” thick in cement sand mortor (G.S.I.NO: II/b P- 51)

8160.00 Sft  		@ Rs.3015/76		P%Sft			Rs246086/-

9.	Pointing flush on stone work (Raisd) in cement sand mortor Ratio (1:3) (G.S.I.No.20 P/53)

1740.00 Sft		 @ Rs.1758/08 		P: %Sft		Rs.30591/-

INTER CONNECTION

10.	Excavation for pipe line in trenches and pits in                            Hard Soil i/c trimming and dressing side to true alignment and shape leveling of bed of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer Incharge. (P.H.S.I.No.3 P/68)

672.00 Cft		@ Rs.3900/- 			P:%0 Cft		Rs.2621/-

11.	Providing Laying RCC Pipes of ASTM C-76/62 T/C 76-70 of Class-II wall B and fixing in trenc i/c cutting fitting and jointing with rubber ring i/c testing with water to specified pressure  (P.H.S.I.No.B (I) P/17)

48.00 Rft		  @ Rs.412/- 			P: Rft			Rs.19776/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

12.	Refilling the excavated stuff in trenches 6” layer i/c watering ramming to full compaction etc complete (P.H.S.I.No.24 P/77)

604.80 Cft		 @ Rs.2760/- 		P:% Cft		Rs.1669/-

-------------------

Total	Rs:8673521/-

GROUP: “B”	 RCC SUMP WELL

1,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4  ).

###### 502.72 Cft:   	 		@ Rs. 3176/25	P%0Cft		Rs. 1597/-

2,	Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4: 8) 	(G.S.I.No 4/d  : P:  14 )

###### 37.70 Cft:   	 		@ Rs. 9416/28	P%Cft			Rs. 3550/-

3,	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley.This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.

(G.S.I.No  6/I : P: 15 )

###### 141.77 Cft:   	 		@ Rs. 337/-		P: Cft			Rs. 47776/-

4,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars Tor Bars.

(G.S.I.No:  8  : P/ 16  ).

5.696 Cwt			@ Rs. 5001/70 	P/Cwt			Rs. 28490/-

5,	Cement Concrete Plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:2:4)  (G.S.I.No: 5  P: 15 ).

7.00 Cft			@ Rs. 14429/25 	P%Cft			Rs. 1010/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6,	Cement planter 1:4 upto 12’ft height ½”thick ratio (1:4).

(G.S.I.No: 11 : P : 51 ).

292.20 Sft			@ Rs.2283/93 	P%Sft			Rs.6676/-

_____________

Total	Rs.89099/-

A  B  S   T   R   A   C   T

| Group ‘A’ Storage Tank |  | Rs: 86,73,521/- |
| --- | --- | --- |
| Group ‘B’ RCC Sump Well |  | Rs: 89,099/- |
| Total |  | Rs: 87,62,620/- |

Amount Total (a) + (b) Rs:_	87,62,62	/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING AND TESTING P.E. PIPE 8”DIA RISING MAIN FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (Work No.10). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing and Testing P.E. Pipe 8”dia Rising main for Water Supply Scheme Oungar (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 8.100 Million |
| (e) | Amount of Bid Security:- | Rs:-16,2000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 12 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING AND TESTING P.E. PIPE 8”DIA RISING MAIN FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	 RISING MAIN

1,	Excavation for pipe line in trenches and pits in Hard Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

###### 55688.00 Cft   	 	@ Rs.3900/-		P: %0 Cft		Rs.217183/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 20250 Cft  	 	 	@ Rs.24150/-		P: %0 Cft		Rs.489038/-

3,	Providing Laying Jointing in trenches i/c fitting, jointing and testing etc complete in all respect the high density polythenic P.E Pipe (HDPE-100) for w/s confirming ISO 4427/DIN 8074/8075 B.S 3580 PSI 3051 (PHSINo.F (i) P/25) (PN-8)

8” dia

###### 9000.00 Rft: 		  	@ Rs.691/-		P: Rft			Rs.6219000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4,		C.I Special for P.E Pipe (S.M.I.No. 14 P/14)

i.	Bend 900

8”Dia

2 Nos				@ Rs.3312/-		Each			Rs. 6624/-

ii.	Bend 450

8”Dia

4 Nos				@ Rs.2356/25		Each			Rs. 9425/-

iii.	Air Valve

2 Nos				@ Rs.4000/-		Each			Rs. 24000/-

iv.	Tail Piece 8” dia

4 Nos				@ Rs.1056/25		Each			Rs. 4225/-

5,	C.I Sluice valve heavy pattenr test pressure 21Lbs/sq cum or 300 Lb/sq cum etc complete

###### 8”dia

###### 2 Nos.		  		 @ Rs.17940/-		Each			Rs.35880/-

6,	Supplying & Installing M.S Pipe of various dia metre out of M.S Sheet 3/16” thick i/c welding to curvature and shape i/c welding etc complete.

###### 8”dia

###### 300 Rft.		  	 @ Rs.980/20		P: Rft			Rs.294060/-

7,	Manufacturing and Furnishing M.S Flanged Pipe 3” dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete..

###### 8”dia

###### 60 Nos.		  	 @ Rs.1002/44	Each			Rs.60146/-

8,	Jointing C.I/M.S flanged pipe and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc complete (P.H.S.I.No. M (I) P/40)

###### 8”dia

###### 36 Joints.	 	 	 @ Rs.940/-		P: Joint		Rs.33840/-

9,	Providing Chamber 2-1/3’x1 ½” (750x750mm) inside dimension 4 ½ (1372mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt-1 cwt 3 sq) fixed in RCC 1:2 Slab 4”dia (102mm) thick with 5 Ibs steel per Cft 9” (299mm) thick brick masonry walls set in 1:6 cement motor 6” (152mm) 1:2:4 flooring ½” (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at very one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus etc.

(P.H.S.I.No:     : P: 90).

###### 8 Nos.	  		 	 @ Rs.18820/-		Each			Rs.150560/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

10.	Bult Fusion Joints (SMINo.14 P/10)

8” dia

225 Joints			@ Rs.1400/-		P: Joint		Rs. 315000/-

11,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

###### 68344.00 Cft: 	 	 	 @ Rs.2760/-		P:%0 Cft		Rs.188629/

______________

Total	Rs.80,47,610/-

A  B  S   T   R   A   C   T

| Group ‘A’ Rising Main |  | Rs: 80,47,610/- |
| --- | --- | --- |
| Total |  | Rs: 80,47,610/- |

Amount Total (a) ) Rs:_	80,47,610	/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a  in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/1910, Dated:28-07/2017 |
| --- | --- |

| Name of Work:- | PROVIDING LAYING JOINTING AND TESTING P.E. PIPE 8”DIA DELIVERY MAIN FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA. (Work No.11). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing and Testing P.E. Pipe 8”dia Delivery main for Water Supply Scheme Oungar (Rehabilitation) for Water Supply Schemes at UC Dhabeji Taluka Mirpur Sakro and UC’s Tando Hafiz Shah and Oungar Taluka Thatta District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.500 Million |
| (e) | Amount of Bid Security:- | Rs:-70,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 16-08-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 16-08-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 08 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING AND TESTING P.E. PIPE 8”DIA DELIVERY MAIN FOR WATER SUPPLY SCHEME OUNGAR (REHABILITATION) FOR WATER SUPPLY SCHEMES AT UC DHABEJI TALUKA MIRPUR SAKRO AND UC’S TANDO HAFIZ SHAH AND OUNGAR TALUKA THATTA DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	 DELIVERY MAIN

1,	Excavation for pipe line in trenches and pits in Hard Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

###### 24750.00 Cft   	 	@ Rs.3900/-		P: %0 Cft		Rs.96525/-

2,	Excavation for pipe line in trenches and pits in Hard Rock by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 9000 Cft  	 	 	@ Rs.24150/-		P: %0 Cft		Rs.217350/-

3,	Providing Laying Jointing in trenches i/c fitting, jointing and testing etc complete in all respect the high density polythenic P.E Pipe (HDPE-100) for w/s confirming ISO 4427/DIN 8074/8075 B.S 3580 PSI 3051 (PHSINo.F (i) P/25) (PN-8)

8” dia

###### 4000.00 Rft: 		  	@ Rs.691/-		P: Rft			Rs.2764000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4,		C.I Special for P.E Pipe (S.M.I.No. 14 P/14)

i.	Bend 900

8”Dia

2 Nos				@ Rs.3312/-		Each			Rs. 6624/-

ii.	Bend 450

8”Dia

4 Nos				@ Rs.2356/25		Each			Rs. 9425/-

iii.	Air Valve

2 Nos				@ Rs.4000/-		Each			Rs. 8000/-

iv.	Tail Piece 8” dia

4 Nos				@ Rs.1056/25		Each			Rs. 4225/-

v.	Tee Equal 8” dia

2 Nos				@ Rs.5250/-		Each			Rs. 10500/-

5,	C.I Sluice valve heavy pattenr test pressure 21Lbs/sq cum or 300 Lb/sq cum etc complete

###### 8”dia	.

###### 2 Nos.		  		 @ Rs.17940/-		Each			Rs.35880/-

6,	Supplying & Installing M.S Pipe of various dia metre out of M.S Sheet 3/16” thick i/c welding to curvature and shape i/c welding etc complete.

###### 8”dia

###### 100 Rft.		  	 @ Rs.980/20		P: Rft			Rs.98020/-

7,	Manufacturing and Furnishing M.S Flanged Pipe 3” dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete..

###### 8”dia

###### 20 Nos.		  	 @ Rs.1002/44	Each			Rs.20049/-

8,	Jointing C.I/M.S flanged pipe and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc complete (P.H.S.I.No. M (I) P/40)

###### 8”dia		 1 x 16 =	16 Joints.

###### 16 Joints.	 	 	 @ Rs.940/-		P: Joint		Rs.15040/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

9,	Providing Chamber 2-1/3’x1 ½” (750x750mm) inside dimension 4 ½ (1372mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt-1 cwt 3 sq) fixed in RCC 1:2 Slab 4”dia (102mm) thick with 5 Ibs steel per Cft 9” (299mm) thick brick masonry walls set in 1:6 cement motor 6” (152mm) 1:2:4 flooring ½” (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at very one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus etc.

(P.H.S.I.No:     : P: 90).

###### 4 Nos.	  		 	 @ Rs.18820/-		Each			Rs.75280/-

10.	Bult Fusion Joints (SMINo.14 P/10)

8” dia

10 Joints			@ Rs.1400/-		P: Joint		Rs. 14000/-

11,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

###### 30375.00 Cft: 	 	 	 @ Rs.2760/-		P:%0 Cft		Rs.83835/-

______________

Total	Rs.3471153/-

A  B  S   T   R   A   C   T

| Group ‘A’ Delivery Main |  | Rs: 34,71,153/- |
| --- | --- | --- |
| Total |  | Rs: 34,71,153/- |

Amount Total (a) ) Rs:_	34,71,153	/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a  in words & Figures______________________________________________

| CONTRACTORS | ( ABDUL NASIR SOOMRO ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |