## Air conditioner Tender (Final)
AIRCONDITIONING SYSTEM FOR AUDITORIUM
S.No. | Item |  | QTY | Rate | UNIT | Amount
1 | Supply, Installation, Testing and Commissioning of Daikool / EQV. Roof Top Self Contained Packaged type A C Unit & Split Pakcgaed AC Units. and Exhaust Unit Fans of the type and capacity as shown on drawings and as given in equipment selection data, including the cost of all transportation, storage, All equipment mentioned below must T3 high ambient complaine with T3 type compressor for working not stop at 52 Deg. C ambient temperature. lifting/shifting, fixing, supports and six inch. high concrete foundation pads, and all material which is required for complete in all respect ready to operate and handover. Approved Manufactueres : DAIKOOL EQUIVALENT and AHRI certified equipment complying 52 Deg. C operating requirements.
| a. | Self Contained Heavy Duty Packaged AC Units Foyer Area Daikool Industrial heavy Duty Packaged AC Units with Hydrophilick Blue Coated Fins, SS drain Tray, Double Circuit, Scroll Compressor, Centrifugal Fan Motor Supply Air Flow 6000-7000 CFM, Externa Static 1.5 Inch of W.G.T. Capacity 20TR Rated at 115 Deg. F ambient. | 2 |  | Nos.
| b. | Self Contained Heavy Duty Packaged AC Units for Hall Daikool Industrial Heavy Duty Packaged AC Units with Hydrophillick Blue Coated Fins, SS drain Tray, Double Circuit, Scroll Complrssor, Centrifugal Fan Motor Supply Air Flow 8000-10000 CFM, External Static 1.8 Inch of W.C.T Capacity 30TR Rated at 115 Deg. F ambient. | 8 |  | No.
| c. | Floor Standing Decorative Ac Units Back Stage Area Daikool Decrative Floor Standing 4Ton Heavy Duty AC Units with Hydrophillick Blue Coated Fins, etc in all respects. | 7 |  | No.
| d. | Old Auditorium Self Contained Heavy Duty Packaged AC Units Daikool Industrial Heavy Duty Packaged AC Units with Hydrophillick Blue Coated Fins, SS drain Tray, Doublr Circuit, Scroll Compressor, Centrifugal Fan Motor Supply Air Flow 8000-10000 CFM, External Statice 1.8 inch of W.C.T/ Capacity 30TR Rated at 115 Deg. F ambient. | 2 |  | No.
| e. | Exhaust Centrifigal Cabinet Fan EF-01- 1000 CFM, 0.5 Inch ESP for Bath Rooms | 2 |  | Set
| f. | Exhaust Plastic Propeller Fan EF-02- 100 CFM, 0.05 Inch ESP Single Bath Room | 2 |  | Set
2 | Supply and installation of G. I. sheet metal ducting as sown on drawings , including the cost of all transportation, storage, fixing, hot dipped brackets and supports hangers etc, all material and accessories which may be required for installation complete in all respects
| a. | G.I. sheet metal ducting 22,24 Gauge (As Per Smacna Standard) | 25000 |  | Sqft
| b. | G.I Sheet Metal Clading 24,26 gauge (As Per Smacna Standard) | 8000 |  | Sqft
| c. | G.I Cable Tray for Refrigernat Piping, Control Wiring & Power20 ~ 21 Gauge 12 x 6 | 650 |  | Rft
| d. | G.I Sheet metal ducting for Exhaust 26 Gauge | 550 |  | Sqft
3 | Supply and fixing of fiberglass blanket insulation with aluminum vapor barrier, the thickness shall be 1 " Indoor & 2.0 inch Outdoor , @ 24 Kg/M3 density including the cost of all adhesive jacketing, cloth wrapping, two coats of Foster Seal coating or any other material which is required for fixing, complete in all respect.
| Fiberglass Insulation ( AS Per Standard ASTM 96, 1667, 518) |  | 25000 |  | Sqft
4 | Supply and installation of copper refrigerant piping L-type / k-Type Small Fitting, Gauge 19/20 Gauge , including the cost of all fittings specialties cutting, jointing, welding, all supports and hangers etc, complete in all respects
| c. | 4/3" dia + 3/8" | 220 |  | Rft
5 | Supply and fixing of closed cell foam insulation, the thickness shall be min. half (0.5) inch, including the cost of all adhesive jacketing, cloth wrapping, or any other material which is required for installation complete in all respect.
| a. | 4/3" dia + 3/8" | 220 |  | Rft
6 | Supply and installation of air devices of aluminum construction with powder coating of approved color, including the cost of all accessories, fitting, Factory Fabricated Ppre-Insulated lPlenum and Spigot of required size.etc as per specification complete in all respects
| a. | RAG (with Damper) Linier Slot Grill | 350 |  | Rft
| b. | Jet Flow diffuser (with Damper) 14"dia" | 170 |  | Rft
7 | Supply and installation Class-D uPVC insulated ( 0.5 inch closed cell foam insulation )including all supports adhesive fitting etc as specified and as shown in drawings complete in all respects.
| a. | Dia 2" | 200 |  | Rft
| b. | Dia 1.5" | 150 |  | Rft
| c. | Dia 1" | 200 |  | Rft
8 | Supply and fixing of sound liner, the thickness shall be 1.0 inch thick, density 24 kg/m3 including the cost of all adhesive, plastic fastener or any other material which is required for installation complete in all respect.
| Sound Liner ( AS Per Standard ASTM 96, 1667, 518) |  | 5000 |  | Sqft
9 | Electrical works including MCC-01 & 02, with all associated, Distribution board ip-55, mounted with 18swg ms sheet door, handle, catcher, phase nuetral and earth busbar,, with holes nuts, bolts, washers, internal wiring for mccb, / mcb, terminator on terminating blocks at top of wire/cables, 2 earthling terminals, designation labels, engraved plastic strip, 3 phase indication, red/yellow/blue, 1 volt meter/amp size 100x100mm, square selector switch in 3 position, fuses, installed inner side of db, molded case circuit breakers with overload and short circuit protection, having overload and short circuit protection. with air conditioning system for all A C units supplied, including the cost of all conduits, wires and cables, cable trays, accessories, two Nos MCC or any other isolation swiths etc, all testing as required by local authority, earthing of equipment, making earthing pit if required, as approved by consultant and client, complete in all respect.
| a. | MCC -01 (Complete with outgoing wiring) Load Approx. 600 kW | 1 |  | Job
| b. | Power Wiring 35 MM 4-C PVCXPVC Pakistan Cable for 30Ton Unit | 250 |  | P.mtr.
| c. | Power Wiring 10 MM 4-C PVCXPVC Pakistan Cable for 8Ton Unit | 200 |  | P.mtr.
| d. | Power Wiring 6 MM 4-Core Pakistan Cable for 4Ton Unit | 250 |  | P.mtr.
| e. | Internal Control Wiring Indoor to Outoor | 1 |  | Job
10 | Supply and fixing of duct flexible connector, fastener etc as shown on drawings, complet in all respect
11 | 9" wide Neoprene Flexible Connector |  | 750 |  | Rft
12 | Supply and fixing of Volume Control Dampers (VCD) Dampers as shown on drawings, storage gaskets etc. complet in all respects
| Volume Control Damper (As Per Smacna Standard) |  | 200 |  | Sqft
13 | Fire Damper at each unit on Supply (As Per Smacna Standard) |  | 200 |  | Sqft
14 | Testing, Commissioning & Air Balancing of the Entire System. |  | 1 |  | Job
15 | C.C Foundation & Civil Work, Painting, Finishing & Mechanical Indications & Identification Text Work |  | 1 |  | Job
16 | Transportaation, Rigging Shifting Placing of Equipment & Material for LARKANA |  | 1 |  | Job
TOTAL AMOUNT
|  | Engineer | Principal/PD

## P.H
PART (B) SCHEDULE ITEM INCL/ W/S & S/FITTINGS. (Public Heath Engineering).
S. No. | Description of Item | Unit | Quantity | Rate | Amount
|  |  |  | (Rs.) | (Rs.)
1 | Providing & fixing squatting type white glazed earthen ware w.c pan with front flush inlet & complete with i/c the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls plinth & floor for po 19" size with 4" C.I. Trap. (S.I.No. 2 (b)/P-1) | Each | 6 | 5728.8 | 34372.8
2 | Providing & fixing C.I floor trap with 4" dia inlet and 4" dia outlet of the approved self cleaning design with a C.I Grating with or without a vent arm i/c cast of making requisite number of holes in walls plinth and floor for pipe connectons and making good cement concrete 1:2:4. | Each | 70 | 1671.58 | 117010.6
3 | Providing & fixing 1/2" dia, lead connection complete with a 1/2" dia brass stop cock, two brass nuts & lining jointed to lead pipe with plumber wiped solder joints (1/2" inches lead pipe to be of not less than 4lbs per lincal yard). | Each | 73 | 689.7 | 50348.1
4 | Providing & fixing in position nylon connections complete with 1/2" dia brass stop cock with pair of brass nuts and lining joints to nylon connection. (S.I. No. 23/P-6). | Each | 78 | 447.15 | 34877.7
5 | Providing & fixing M.S clamps of the approved design to 4" i/c the cost of cutting and making good to wall on M.S bolts and nuts, 4" into wall including pipe distance pieces extra painting to match the colour of the building (S.I. No. 2/P-8). | Each | 80 | 72.16 | 5772.8
6 | Providing & fixing 4" dia C.I. Holes rest bend i/c extra painting to match the colour of the building (S.I.No. 3/P-8). | Each | 60 | 584.4 | 35064
7 | Providing & fixing 4" x 4" dia C.I branch of the required degree with access doors, rubber washer 3/8" thick and bolts and nuts and extra painting to match the colour of the building (S.I. No. 4/P-8). | Each | 42 | 599.6 | 25183.2
8 | Concealed C.P fitting to Superior quality for tiles bath Rooms.
(b) S/Fixing concealed stop cock of superior quality with crystal head 1/2" dia (S.I.No. 13/P-17).
|  | Each | 22 | 299.42 | 6587.24
9 | (b) S/Fixing long bib-cock of superior quality with c.p 1/2" dia (S.I. No. 15/P-17).
|  | Each | 18 | 1109.46 | 19970.28
10 | Providing & fixing 4" dia C.I offset bend various length etc. (S.I. No. 8/P-10).
|  | Each | 30 | 702 | 21060
11 | Providing & fixing 4" dia bend of the required degree with access door rubber washer 1/8" thick and bolts and nuts and extra painting to match the colour of the building (S.I.No. 9/P-9).
|  | Each | 44 | 599.6 | 26382.4
12 | Providing & fixing of Flush volve 3/4" dia (S.I.No. 7/P-14). | Each | 20 | 197.12 | 3942.4
13 | Providing & fixing of PVC Pipe dia 3/4" (S.I.No.1(ii)/P-14). | Rft | 1720 | 95.79 | 164758.8
14 | Providing & fixing of PVC Pipe dia 1" (S.I.No.1(iii)/P-14). | Rft | 1568 | 128.55 | 201566.4
15 | Providing & fixing of PVC Pipe dia 1 1/2" (S.I.No. 1(v)/P-14). | Rft | 360 | 183.58 | 66088.8
16 | Boring and fixing of 1-1/2" dia pressure pipe in ordinary soil in ordinary soil. (S.I. No.26(a)/P-108).
|  | Rft | 140 | 188.97 | 26455.8
17 | Providing & fixing of PVC 4" (S.I. No. 1/P-08). | Rft | 1120 | 188.44 | 211052.8
18 | Providing & fixing of motor hp with pumping set. | Each | 2 | 7000 | 14000
19 | Providing & fixing flat back lipped from urinal basin (of not less than 17" in height) of white glazed earthen ware complete with and i/c the cost of 1 gallon C.I automatic flushing cistern with fitting standard waste pipe (enamelled iron) connection complete and making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1:2:4 (standard pattern). (S.I.No.6/P-2) | Each | 10 | 3890.7 | 38907
20 | Providing & fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass screws 3/4" dia round or square (Standard Pattern) (S.I.No.1(a)/P-7) | Each | 12 | 1269.95 | 15239.4
21 | Providing & fixing c.p brass toilet paper holder of standard size with chrome plated brass brackets complete (Similar to towfords design No.1108) (S.I.No.2(a)/P-7) | Each | 24 | 572 | 13728
22 | Providing & fixing 24" x 18" bavelled edge mirror of belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. (Standard Pattern) (S.I.No.3(a)/P-7) | Each | 12 | 1711.6 | 20539.2
23 | Supplying & fixing soap tray earthen ware with c.p screws etc. complete. | Each | 12 | 497.2 | 5966.4
24 | Construction manhole or inspection chamber for the required dia of circular sewer and 3'-6" (1067mm) depth with walls of B.B in cement mortar 1:3 cement plaster 1:3 1/2" thick inside of wall and 1" (26mm) thick over inching and channel including fixing C.I manhole cover with frame of clear opening 1-1/2" x 1-1/2" (457 x 457mm) of 1.75 cwt (88.9kg) embedded in plain c.c 1:2:4 and fixing 1" (25mm) dia M.S steps 6" (150mm) wide projection 4" (102mm) from the face of wall at 132" (305mm) c.c duly painted etc complete as per specification and drawing No. D.P 1 of Public Heath ircle southern Zone 4" to 12" dia (S.I.No. 1/P-39).
|  | Each | 26 | 14748 | 383448
25 | Providing R.C.C pipe with collars class "B" and digging the trenches to required depth and fixing imposition i/c cutting, fitting & jointing with maxphalt composition & cement mortar 1:1 and testing with water pressure to a head of 4 feet above to top of 6" dia. (S.I.No. 2 (c)/P-21).
| a. 9" | Rft | 200 | 250.6 | 50120
| b. 12" | Rft | 1000 | 367 | 367000
26 | Providing & fixing 4" dia C.I terminal guard including extra painting to match the colour of thickness during (S.I. No.11/P-9).
|  | Each | 23 | 389.7 | 8963.1
Total |  |  |  |  | 1968405.22
Say |  |  |  |  | 1968405
Non-Schedule Items
1 | Supply & fixing english commode fullsize of portia company
|  | Each | 6
2 | Providing & fixing Bottle trap under venti waiste pipe | Each | 24
3 | Supply & fixing of steel hanger | Each | 21
4 | Supply & fixing of Gyzer (60 gallon) | Each | 2
5 | Providing & fixing 24" x 18" venti in multi colours glazed earthen ware complete with & i/c the cost of W.I or C.I antilever brackets 6 inch. built into wall painted white in two coat afer a primary coat of red lead paint a pair a pair of 1/2" dia chrome plate pillar traps 1-1/2 dia rubber plug & chrome plated brass chain 1-1/4" dia malloable iron or cp brass traps malloable iron or brass union & making requisite number of holes in walls plinth & floor for pipe connection and making good in cement concrete 1:2:4 (standard pattern). | Each | 12
Total
| Engineer |  | Principal/PD

## Summary
Cadet College Larkana
Name of Work: | Civil Work
Summary
| Cost of Scheduled Items | Cost of Non Scheduled Items | Premium on Schedule of item rate | Cost | Total Cost
| Items (Rs.) | Items (Rs.) |  |  | (Rs.)
Civil Works | 110672619.4712
Public Health | 1968405
Electrical Work | 1738241.68
Total
Say
Member
Procurement/Project Committee
Cadet College Larkana
Member
Procurement/Project Committee
Cadet College Larkana
Chairman
Procurement/Project Committee
Cadet College Larkana

## Civil
CADAT COLLEGE LARKANA
Name of Work : Civil Work
1) SCHEDULE OF ITEM (A), CIVIL WORKS
S.No | Description of Item | Unit | Qty | Rate | Amount
(Rs.)
1 | Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead up to 5ft (S.I. No. 18 (b)/P-4) (for foundation)
| (a) In Ordinary Soil | %oCft | 70000 | 3176.25 | 222337.5
2 | Filling, watering and ramming earth in floor with surplus earth from foundation lead upto the one chain and lift upto 5 ft.(S.I. No. 21/P-4) (for plinth) | %0Cft | 35000 | 1512.5 | 52937.5
3 | Filling, watering and ramming earth under floor with new earth excavated from outside lead upto the one chain and lift upto 5 ft.(S.I. No. 22/P-4). | %oCft | 105000 | 3630 | 381150
4 | Supplying and filling sand under floor and plugging in walls (S.I.No.29/P-25) | %Cft | 80000 | 1141.25 | 913000
5 | Cement concrete brick or stone ballast 1-12" or 2" gauge
| (a) Ratio 1:4:8 (S.I. No. 18/P-15). | %Cft | 16000 | 9416.28 | 1506604.8
6 | Providing and fabrication of tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also including removal of rust from bars). S.I. No. 8(b) P-16). | P.Cwt | 7602 | 5001.7
38022923.4
| 2nd Floor 12' x 24' height | P.Cwt | 1560 | 151.25 | 235950
| 3rd Floor 24' x 36' height | P.Cwt | 1522 | 302.5 | 460405
7 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finsihing the exposed surface . (Using steel shuttering only)
a) R.C work in roof slab, beams columns rafts,lintels and other structural members laid in situ or precast laid in position complete in all respects.
(I) Ratio (1:2:4) or more 90 Lbs cement 2 Cft sand 4 Cft. Shingle 1/8" to 1/4" guage.must have cylinder strength >3750psi (S.I. No.6(a)(ii)/P-16).
| a. From 0.00 to 20' height | P.Cft | 50000 | 337 | 16850000
| b. From 20' to 40' height | P.Cft | 25000 | 349.1 | 8727500
8 | Providing and laying pacca brick work compressive strength (1200 psi) laid in cement sand mortar including soaking bricks with water filling both vertical and horizontal joints by adequate mortar with necessary arrangement for placing reinforcement both vertically and horizontally and raking out joints with pointing on one side complete as per drawings, specification lifts (S.I. No. 4/P-24).
| a. In foundation & under plinth (1:6). | %Cft | 9157 | 11948.36 | 1094111.3252
| b. In super structure walls in ground floor (1:6). | %Cft | 11235 | 12674.36 | 1423964.346
9 | Providing and laying cement sand plaster in walls and ceiling including applying nero. Mixing and applying mortar to perfect line & level as per drawings, specifications (S.I. No. 11 & 13/P-57).
| a. In walls 1/2 inches thick (1:6). | %Sft | 20000 | 2206.6 | 441320
| 12' to 22' height 1/2 thick (1:6) | %Sft | 12000 | 2346.6 | 281592
| 22' to 32' height 1/2 thick (1:6) | %Sft | 15000 | 2486.6 | 372990
| b. In walls 3/8 inches thick (1:4). | %Sft | 20000 | 2197.52 | 439504
| 12' to 22' height 1/2 thick (1:4) | %Sft | 12000 | 2337.52 | 280502.4
| 22' to 32' height 1/2 thick (1:4) | %Sft | 15000 | 2477.52 | 371628
10 | Supply & fixing first class deodar wood wrought joinery in doors and windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts, chock cleats, handles and cords with hooks, etc deodar paneled or paneled and glazed or fully glazed, complete in all respects as per specifications and drawings (S.I No. 7/P-57).
| b. 1-3/4" thick | P.Sft | 1000 | 1273.76 | 1273760
11 | Preparing surface and french polishing of doors and windows any type (including edges) (all doors for rooms (S.I.No.7(a)/P-70) | %Sft | 2000 | 3841.75 | 76835
12 | Providing and fixing approved quality mortice lock as approved by Engineer incharge (S.I. No. 21 /P-59). | Each | 20 | 1786.13 | 35722.6
13 | Primary coat of Chalk under distemper (S.I. No. 23/P-58). | %Sft | 100000 | 442.75 | 442750
14 | Distempering (c) three coat. (S.I No. 24/P-59). | %Sft | 100000 | 1079.65 | 1079650
15 | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk/plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete ( 3 coats ) (S.I. No. 36(a) / P-54) | %Sft | 50000 | 3444.38 | 1722190
16 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick /sand paper, filling the voids with chalk/plaster of paris and then painting with weather coat of approved make.
| a. From 0' to 20' height | %Sft | 40000 | 1948.1 | 779240
| From 20' to 30' height | %Sft | 20000 | 2176.19 | 435238
17 | Supplying & fixing in position Almunium channels framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing Belgium and Alpha (Japan) locks i/c handles, stoppers etc. (b) Deluxe Model (Bronze) (S.I No.83/P-107) | P.Sft | 5000 | 1507.66 | 7538300
18 | Providing and laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on bed of 3/4" thic cement mortar 1:2, complete in all respect as per drawing and specification or as directed by the engineer. | %Sft | 35000 | 27678.86 | 9687601
a. Floors (S.I. No. 24/P-42).
| b. Dado (S.I. No. 25/P-42). | %Sft | 16000 | 27747.06 | 4439529.6
19 | Supplying & fixing false ceiling of plaster of Paris in pannels including making frame work of deodar wood including painting with soligia paint. (S.No 52 /P-63 ) | % Sft | 5000 | 25293.42 | 1264671
20 | Providing and fixing with jute felt paper of 60 Lbs over roof i/c cleaning of roof with wire brush an removing dust, applying bitumen coat at the rate of 34 Lbs per % sft as premix inter coats and then laying felt paper with 10% over laps, then applying and spreading hill sand at the rate of 1cft for 100 sft. The cost also i/c necessary fire material, kerosene oil, wood etc: (S.I.No.42/P-38) | PSft | 17000 | 106.73 | 1814410
21 | Providing and fixing ornamental cement jali 2" thick (1:2:4) without steel (S.I.No.10/P-20) | P.Sft | 3000 | 226.02 | 678060
22 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 including rubbing and polishing of the joints 3/4" thick flooring (S.I.No.28/P-42) | PSft | 7000 | 567.48 | 3972360
23 | Providing and fixing G.I frames /choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet i/c welded hingers and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage tools and plant used in making and fixing (S.No 29/ P-92) | P.Rft | 400 | 228.9 | 91560
24 | Providing and laying topping cement concrete (1:2:4) including surface finishing and dividing into panels (S.I. No. 16/P-46).
| a. 2" thick | %Sft | 35000 | 3275.5 | 1146425
| b. 3" thick | %Sft |  | 4411.82 | 0
25 | Providing and carrying out termite proofing as per instruction under floor over the filling and all peripheral sides of the trenches of the foundation. (S.I.No.91/P-108) | P. Sft | 30000 | 40.1 | 1203000
26 | Providing and fixing in position iron/steel grill of 1/2" x 1/4" square bar iron spaced not more than 4 inches on centers in horizontal direction and 8" in vertical direction weighing 1.73kg/sft including painting 3 coats of enamel paint over a coat of weather protected zinc (S.I No. 30/P-98). | Sft | 4000 | 194.16 | 776640
27 | First class deodar wood wrough joinery work in wire gauze door and windows with 22 WG Galvanized wire gauze 144 mesh per square inch iron fittings complete
| (a) 1 3/4" thick deodar wood framing including wire gauze with ordinary hinges. (S.I.No.14(a)/P-58) | PSft | 300 | 454.19 | 136257
|  | Total |  |  | 110672619.4712
NON SCHEDULE OF ITEM (A), CIVIL WORKS
1 | Supply & fixing of steel stair railing with pole post 4" dia and small pole 2" diawith circular strips all respects | PRft | 600
2 | Bitumen Coating horizontal and vertical of foundation base. | %Sft | 43975
3 | Supply & fixing of wooden wall panneling including polishing, beading complete in all respects. | Sft | 3000
4 | Suply & fixing of PVC wall Panneling complete in all respects. | PSft | 4000
5 | Supply & fixing of UPVC door S/Sash openable door key lock solid Addon sheet No Bottom 8 pcs | PSft | 500
6 | Providing, fabricating, installing pre-engineered steel slab as per specification, including Febrication of heavy steel work with angles tees flat iron round iron and sheet iron for making trusses girders tands etc including cutting tanks etc includings cutting drilling rivetting handling assembling and fixing but excluding erection in position , drawing and directions of engineer in charge. | PSft | 13000
7 | Providing & fixing false ceiling of thermopile in panels of required design and size including frame work of Aluminum T-section hanged with nail wire to ceiling etc: completed. | PSft | 20000
8 | Supply & fixing of Auditorium Chairs, frame made of steel with arm, molty foam seat and back cushion and good quality of cloth as per sample. | Each | 1500
9 | Supply & fixing of Carpet complete in all respects | PSft | 15000
10 | Supply & fixing of stage curtain i/c 3-phase motor strip wire with hanging rods as per drawings and sample of cloth | Job | 2
11 | Supply & fixing of wall paper complete in all respects | Sft | 8000
12 | Providing & laying Guttca brick facing 2 1/4" x 9 x 2 1/2" size approved design in cement sand morta 1:3 i/c filling the joints with white cement slurry, using colour pigment for matching i/c levelling smoth finishing, curing, and scaffolding etc complete in all respects. | Sft | 20000
Total
Say
| Engineer | Principal/PD

## Electric
CADET COLLEGE LARKANA
Electric Work
S.NO | DESCRIPTION OF WORK | UNIT | QTY | RATE | AMOUNT
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduite recessed in the wall or column including ECC Wire (1mm)² (S.no.124,Pg-15) | Point | 963 | 1130 | 1088190
2 | wiring for plug point (3/.029) PVC insulated wire in 20mm (3/4") PVC conduite recessed in the wall or column as/ required including 1mm² PVC insulated wire ECC as required (S.no.126,Pg-15) | Point | 40 | 985 | 39400
3 | P/Laying (Main or Sub Main) Pvc insulated with size 2x6mm² copper conductor in 25mm (1") dia PVC conduite recessed in the wall, column & roof including 2.5mm² PVC insulated wire ECC as required (S.no.5,Pg-1) For Spilit AC | Mtr | 50 | 305 | 15250
4 | P/Laying (Main or Sub Main) Pvc insulated with 4 core copper conductor 600/1000 volts size (16mm²) in 40mm (1.5") dia PVC conduite under ground including 1x 6mm² PVC insulated wire ECC (S.no.102,Pg-12) From M. D.B. to LGF D.B | Mtr | 50 | 1300 | 65000
5 | P/Laying (Main or Sub Main) Pvc insulated & PVC sheeted with 4 core copper conductor 300/500 volts size 2.5mm² in 25mm (1") PVC conduite recessed in the wall or column including 1.5mm² PVC insulated wire ECC as required (S.no.98,Pg-12) For UGF DB | Mtr | 70 | 353 | 24710
6 | P/Laying (Main or Sub Main) Pvc insulated & PVC sheeted with 4 core copper conductor 300/500 volts size 4mm² in 25mm (1") PVC conduite recessed in the wall or column including 2.5mm² PVC insulated wire ECC as required (S.no.99,Pg-12) For FF DB | Mtr | 80 | 361 | 28880
7 | P/Laying (Main or Sub Main) Pvc insulated & PVC sheeted with 4 core copper conductor 300/500 volts size 35mm² in 50mm (2") PVC conduite recessed in the wall or column including 2.5mm² PVC insulated wire ECC as required (S.no.104,Pg-12) From Suply Point To Main DB | Mtr | 50 | 2529 | 126450
8 | Providing and fixing one way SP 5 amp switch flush type on metal board & covered with plastic sheet (S.no.219, Pg-33) | No. | 963 | 54 | 52002
9 | Providing and fixing two pin 5 amp plug & socket switch flush type on metal board & covered with plastic sheet (S.no.225, Pg-33) | No. | 12 | 83 | 996
10 | Providing and fixing three pin 5 amp plug & socket switch flush type on metal board & covered with plastic sheet (s.no.226, Pg-33) | No. | 28 | 151 | 4228
11 | Providing and fixing AC plug 10/15 amp plug/socket flush type on metal board & covered with plastic sheet (S.no.227, Pg-33) | No. | 6 | 500 | 3000
12 | Providing and fixing bakelite / Plastic ceiling rose with two terminals(S.no.228, Pg-33) | No. | 6 | 72 | 432
13 | Providing & Fixing B.C Brass / Pvc batten holder (S. No 2, Pg-14) | No. | 192 | 54.79 | 10519.68
14 | Providing & Fixing energy saver superior quality 25w & fixing on existing holder etc complete (S. No 6, Pg-33) | No. | 192 | 497 | 95424
15 | Providing and fixing ceiling fan 56" good quality (S.no.235, Pg-34) | No. | 48 | 3185 | 152880
16 | Providing and fixing Flood light 250 w (HPIT) having ip 65 classification with 250 w lamp, choke, capicator, igniter & internal wiring with wiring of light 2.5 mm² in 3/4" dia pvc pipe including 1 mm² complete as required or instruction of E.I (S.no.235, Pg-34) | No. | 2 | 15440 | 30880
| TOTAL AMOUNT OF SCHEDULE ITEMS |  |  |  | 1738241.68
Non Schedule Item
1 | Providing and fixing bulk head fitting with brass holder and glass cover including 25 w Saver lamp | No. | 85
2 | Providing and fixing Core line led 72 w Ceiling Fitting (Philips Make) | No. | 77
3 | Providing and fixing mirror light 18 w | No. | 2
4 | Providing and fixing Flash light 3 w | No. | 276
5 | Providing and fixing led light cob 6w good quality | No. | 239
6 | Providing and fixing 4 1/2" x 4 1/2" ms di casted powder coated recessed type fan clamp box with 3/8" dia ms bar fan clamp fixed on roof at casting time as required | No. | 48
7 | Providing and fixing 6 A piano fan dimmer fixed on plastic or fiber top cover sheet on 14 swg metal board recessed in the wall or collumn including connection | No. | 48
8 | Providing and fixing donkey pump 1 hp having suction and delivery 1" x 1" complete with motor, mounted on fixed frame as approved including wiring with 2.5 mm2 pvc insulated wire | No. | 1
9 | Providing and fixing 30 cm (12") sweep metalic body exhaust fan complete with blades, motor, shutter etc including making hole in the wall & connection with 14.0076 flexible wire complete as required Millat / Pak /Asia / Climas / Younas / Royal. | No. | 6
10 | Providing and fixing Earthing set with 2'x2'x1/8" copper plate buried in the ground at a depth of 12 feet or less if water comes out from the ground level (salt & charcoal, or earthing chemical powder) etc. making the pit 12 feet deep by excavation of all type of soil (except soft or hard rock) including fixing of 2x8 SWG copper wire in 1/2" dia GI conduit complete in as respect as required. | Job | 1
| LGF DB |  | 1
Providing & Fixing, testing,commissioning cubical type metal sheet distribution board flush type with locking arrangement duly powder quoted paint including all fastening material including wiring with suitable gauge PVC wire complete in all respect (Pel, Libra, Rco, Karimi, Industrial Power Tech, Global Tech).
11 | Incoming:- | No.
50 ampTp mccb 01 no
Indiacting lamp 03 nos
Out going:-
10 A SP mcb 21 nos
20 A SP mcb (Split AC) 06 nos
10 A SP mcb (Spare) 03 nos
20 A SP mcb (Spare) 01 no
| UGF DB |  | 1
Providing & Fixing, testing,commissioning cubical type metal sheet distribution board flush type with locking arrangement duly powder quoted paint including all fastening material including wiring with suitable gauge PVC wire complete in all respect (Pel, Libra, Rco, Karimi, Industrial Power Tech, Global Tech).
12 | Incoming:- | No.
10 ampTp mccb 01 no
Indiacting lamp 03 nos
Out going:-
10 A SP mcb 09 nos
10 A SP mcb (Spare) 03 nos
FF DB
Providing & Fixing, testing,commissioning cubical type metal sheet distribution board flush type with locking arrangement duly powder quoted paint including all fastening material including wiring with suitable gauge PVC wire complete in all respect (Pel, Libra, Rco, Karimi, Industrial Power Tech, Global Tech).
13 | Incoming:- | No. | 1
20 ampTp mccb 01 no
Indiacting lamp 03 nos
Out going:-
10 A SP mcb 15 nos
10 A SP mcb (Spare) 03 nos
| MAIN DB (42 KW) |  | 1
Providing & Fixing, testing,commissioning cubical type metal sheet distribution board flush type with locking arrangement duly powder quoted paint including all fastening material including wiring with suitable gauge PVC wire complete in all respect (Pel, Libra, Rco, Karimi, Industrial Power Tech, Global Tech).
14 | Incoming:- | NO
75 ampTp mccb 01 no
Volt meter with selector 01 no
Ampere meter with selector 01 no
Indicating lamp 03 nos
15 | Supply connecting, jointing with gland bushes, thimble etc of 4 core armored cable (Pakistan Cable) including excavation of trenches (3' x 1.5') and laying 4" dia PVC pipe for cable, fixing of Cable marker on the line and laying brick (9" x 4" 1/2 ) over the cable and refilling of earth/sand as per direction of Engineer.
| Cable 95mm Copper (4 core) Armoured | P.mtr. | 150
| Cable 120mm Copper (4 core) Armoured | P.mtr. | 100
| Cable 240mm Copper (4 core) Armoured | P.mtr. | 600
Total