## Summary Cost
Summary of Cost
Name of Scheme:- |  | #REF!
PART A CIVIL WORK
| 1 | Cost of Schedule Items |  | Rs. | #REF! |  | #REF!
| 2 | Add.10% above on Sr.No.4 | #REF! | Rs. | #REF! | (+)
|  |  | Sub-Total | Rs. | #REF!
| 3 | Cost of Carraige of Material |  | Rs. | #REF!
|  |  | Total (A) | Rs. | #REF!
PART B Water Supply
|  | Non-Schedule items |  | Rs. | #REF!
#REF!
|  |  | G.Total (A+B) | Rs. | #REF!
|  |  | Say in Million | Rs. | #REF! | (M)
Sub-Engineer |  | Assistant Engineer
Buildings Sub-Division
Matiari

## B.O.Q Civil
BILL OF QUANTITIES
Name of Work:- |  | Up-Gradation of BHU Fakir Nooh Thiani to the Level of 'A' Type RHC (Remaining Work)
S# | (A) Description and rate of Items based on Composite Schedule of Rates.
Item No. | Quantities | Descripition of item to be executed as site | RATE | Unit | Amount in Rupees
1 | 1430 | Excavation in foundation of building bridges and other structures I/c dabbling dressing refilling around structure with excavated earth. Watering and ramming lead up to 5ft (b) in ordinary soil.(S.I.No.18 P.4) | 3176.25 | %0Cft | 4542.0375
2 | 1380 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (S.I. No: 4 b/P-15) | 9416.28 | %Cft | 129944.664
3 | 549 | Reinforce cement concrete work including all labor and material except the cost of steel reinforcement and its labor for bending and binding which will be paid separately. This ret also includes all kinds of forms molds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (S.I.No 6 P.16) | 337 | P.Cft | 185013
4 | 29.4107 | Fabrication of mild steel reinforcement for cement concrete including cutting ,bending laying in position making joint and fastenings including cost of dining wire (also including removal of rust form bars).(S.I.No 8(b)P.16). (using to bar) | 5001.7 | P.Cwt | 147103.5696
5 | 3310 | Erecation and removal of centering for RCC or plain cement concrete works of … wood (2nd Class) (S.I.No.19(b-ii)P.18). | 3127.41 | %Sft | 103517.271
6 | 700 | Cement Concrete plain I/C placing, compacting ,Finishing ,Complete (I/C screaning & washing of ston aggregative without shuttering) ratio 1:3:6 (S.i.no-5(h)/P-16) | 12595 | %Cft | 88165
7 | 1030 | Filling watering & ramming earth under floor surplus from foundation lead unto chain lift 5ft(S.I.Mo.2/.P.4) | 1512.5 | %0Cft | 1557.875
8 | 7800 | Supplying & Filling sand under floor and plugging in walls (S.I # 29/P-25) | 1141.25 | %Cft | 89017.5
9 | 500 | Pacca brick work in other then building in cement and mortar 1:6 (s.i.no-7(i)e/P22). | 12346.65 | %Cft | 61733.25
10 | 72 | Makin & fixing steel grated door with 1/16" thick sheeting i/c angle iron frame 2"x 2" 3/8" and 3/4" square bars 4" center to center with locking arrangement. (S.I.No-24/P-91) | 726.72 | P.Sft | 52323.84
11 | 7800 | Carriage of 100 Cft/ 5 Tons of all material like ston aggregate, spawl, coal,lime,surkhi etc: B.G rail fastening points and crossing bridge, Girders,Pipes,sheets Rail, M.S Bars etc: or 1000 Nos: bricks 10"x5"x3" or 1000 Nos: tiles 12"x6"x2" or 150 Cft of limber or 100 Mounds of fuel wood by trucks or any other means owned by the contractors (6 Mile). | 771.96 | %Cft | 60212.88
12 |  | Cement Plaster 1:6 upto 12 ft height 1/2" thick (S.I. No: 13 b/P-52)
| 4300 | (A) G.Floor | 2206.6 | %Sft | 94883.8
| 1879 | (B) F.Floor | 2347.57 | %Sft | 44110.8403
| 1380 | C 2nd Floor | 2488.54 | %Sft | 34341.852
13 |  | Cement plaster 3/8" thick up to 12 ft height (1:4). (S.I. No: 13 b/P-52)
| 4300 | (A) G.Floor | 2197.52 | %Sft | 94493.36
| 1879 | (B) F.Floor | 2338.49 | %Sft | 43940.2271
| 1380 | C 2nd Floor | 2479.46 | %Sft | 34216.548
14 |  | P/Fixing ornamental cement jalli 2" thick (1:2:4) without steel (S.I.No.11/P18)
| 549 | (A) G.Floor | 226.02 | %Sft | 124084.98
| 670 | (B) F.Floor | 228.77 | %Sft | 153275.9
15 | 279 | Cement concrete plain including placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate) without shuttering ration 1:2:4 (S.I No. 5 (f) P/16) | 14429.25 | %Cft | 40257.6075
16 | 1170 | Colored Cement tiles (8" x 8" x 3/4") of approved dark shade laid fled in1:2 cement mortar over 3/4" bedding mortar of 1:2 (S.I.No-15/P-40) | 10962.34 | %Sft | 128259.378
17 | 700 | 1st Class deodar wood wrought, joinery in doors and windows etc. fixed in position i/c chowkats hold fasts hinges iron tower bolts chowks Cleats handless and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (b) 1.3/4" thick (Only Shutters) (S.I.No. 7 (b) P.65) | 902.93 | P Sft | 632051
18 | 84 | Providing and fixing in position doors, windows and ventilators of first class deodar wood frames, and 1 3/4" thick commercial, ply veneer shutters of first class deodar skeleton (Hollow) and commercial ply wood (3 ply) on both sites. (S.I.No-9/P-57) | 856.53 | P Sft | 71948.52
19 | 300 | Supplying & fixing inposition Aluminium channels farming for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks I/c handles, stoppers etc. (S.I.No-83_B/P-107) | 1507.66 | P Sft | 452298
20 | 233 | Supplying & fixing inposition Aluminium channels framing for slidding windows & Ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) and Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete (S.I.No-84_B/P-107) | 1647.69 | P Sft | 383911.77
21 |  | Priming coat of chalk under disturber. (S.I.No. 23 P.58)
| 4300 | (A) G.Floor | 442.75 | %Sft | 19038.25
| 1879 | (B) F.Floor | 583.72 | %Sft | 10968.0988
22 |  | Distempering Three Coats (S.I. No. 24 (c) P/54)
| 4300 | (A) G.Floor | 1079.65 | %Sft | 46424.95
| 1879 | (B) F.Floor | 1220.62 | %Sft | 22935.4498
23 | 4530 | Preparing the surface and painting with weather cost I/C rubbing the surface with rubbing bricks/ sand ,Paper , filling the voids with chalk/ plaster of paris and then painting with weather cost of approved make 3 coat (S.I.No-38/P.55). | 2567.95 | %Sft | 116328.135
24 | 167 | P/L Hala or pattern tiles glazed 6" x6" x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4: thick including washing, filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc complete including cutting tiles to proper profile.(S.I.No-61 P.47). | 47651.56 | %Sft | 79578.1052
25 | 1099 | Preparing the surface and painting with Matt Finish i/c rubbing the surface with Bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk/plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3-coats with matt finish of approved make etc: complete. (New surface). (S.I.NO: 36/P- 55) | 3444.38 | %Sft | 37853.7362
26 | 144 | Perparing surface and painting guard bars, gates of iron bars, gratings, railings (including standardsbraces, etc). And similar open work. (S.I.No-5D(i+ii)/P-69) | 1270.83 | %Sft | 1829.9952
27 | 200 | Extra labor rate for making cement plaster pattas/band around straight or carved opening and around the edges of roof slabs, the width not less then 6" with fine finishing as directed by Engineer In charge. (S.I.No-35.page.54). | 19.36 | P.Rft | 3872
28 | 340 | Khapriel of cement concrete 12"x8"x1" of approved design/Shap laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2 (S.I.No-39/P-37) | 8977.9 | %Sft | 30524.86
29 | 130 | Providing And laying tiles glazed 6"x6" x 1/4" on floor or wall facing in required colour and apttern of STILEspecification jointed in white cement and pigment over a base of 1:2 grey cemeng mortar 3/4" thickincluding washing and filling of joint with slaurry of white cement and pigment in desired shape withfinishing, clearing and cost of wax polish etc. complete including cutting .(S.I.No 60 P.46). | 30509.77 | %Sft | 39662.701
30 | 450 | Picture railing i/c making fixing and painting (S.I.No-35/P-102) | 189.02 | P.Lft | 85059
31 | 132 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 including Rubbing And polishing of the joints. 3/4" thick flooring (S.I.No 28/p.43) | 567.48 | P.Sft | 74907.36
|  |  | Total |  | 3824187.3112
_________% above / below on the rates of CSR _____________/- |  |  | Amount to be added /deducted on the basis of premium quoted TOTAL
Total (A) = in words & figures :_____________________________________________________________________
____________________________________________________________________________________________
EXECUTIVE ENGINEER
| Contractor |  | BUILDINGS DIVISION
Note:- Any omissionerror if occurs will be corrected. |  |  | MATIARI