SCHEDULE “B”

NAME OF SCHEME:	ESTABLISHMENT OF JAM MUMTAZ HUSSAIN DAHAR GOVT: BOYS DEGREE COLLEGE UBAURO WATER SUPPLY & SANITARY FITTING AND EXTERNAL DRAINAGE TALUKA UBAURO.

| S.No. | Name of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | PART A |  |  |  |  |
| 1. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |
|  |  | 4991.0 | 3176/25 | %o CFT | Rs:15853/- |
| 2. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:4:8 (S. I No: 4 (b) P. No: 15). |  |  |  |  |
|  |  | 980.0 | 9416/18 | %CFT | Rs:92280/- |
| 3. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |
|  |  | 995.0 | 11948/36 | % CFT | Rs:118886/- |
| 4. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |
|  | G/Floor | 4281.0 | 337/- | P.CFT | Rs:1442697 |
|  | F/Floor | 653.0 | 349/10 | P.CFT | Rs:227962 |
| 5. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |
|  | Tor bar 198.241 |  | 5001/70 | P:CWT | Rs:991542/- |
|  | Mild Bar 44.050 |  | 4820/20 | P.CWT | Rs:212330/- |
| 6. | Pacca brick work in ground floor 1:6 in cement sand (S. I No: 5 P. No: 21). |  |  |  |  |
|  | F/Floor | 41.0 | 13112/99 | %CFT | Rs:5376/- |
| 7. | Cement plaster 1:6 upto 20’ height ½ “ thick (S. I No: 13 (b) P. No: 52). |  |  |  |  |
|  | G/Floor | 1407.0 | 2206/60 | %SFT | Rs:31047/- |
|  | F/Floor | 1071.0 | 2347/57 | %SFT | Rs:25142/- |
| 8. | Cement plaster 1:4 upto 20’ height 3/8” thick (S. I No: P. No: 52). |  |  |  |  |
|  | G/Floor | 1407.0 | 2197/52 | %SFT | Rs:30919/- |
|  | F/Floor | 1071.0 | 2338/49 | %SFT | Rs:23974/- |
| 9. | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. Ratio. 1:2 :4 S.I No 5 (F) P.No 14 |  |  |  |  |
|  |  | 770.0 | 14429/25 | % CFT | Rs:111105/- |
| 10. | Erection and removal of centering for R.C.C or plain cement concrete works of Deodar wood (2nd-Class)Vertical S.I No 19 ((b) (ii) P.No 18 |  |  |  |  |
|  |  | 240.0 | 3127/41 | % Sft | Rs:7506/- |
| 11. | Small iron work such as gusset plate knees bends, stirrrups, rings etc.Including cutting, drilling, revertting, handling, assembling and fixing but excluding erection in position. S.I No 01 P.No 91 |  |  |  |  |
|  |  | 55.0 | 6420/61 | P.CWT | Rs:353134/- |
|  |  |  |  | Total | 3689753/- |
|  | ------% Above / Below on the rates CSR |  |  |  |  |
|  | Contractor |  | EXECUTIVE ENGINEER EDUCATION WORKS DIVISION GHOTKI |  |  |

| S.No. | Name of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | PART B |  |  |  |  |
| 1. | Providing and fixing squating type white glazed earthen ware w.c pan with front flush inletr & complete with including the cost of flushing cistern with internal fitting and flush Pipe with bend and making requisite number of holes in walls plinth & floor for Pipe connection & making good in cement concrete 1: 2: 4: (Foreign Equivalant).With 4" dia C.I Trap. S.I NO 2 B(i) P.No 1 |  |  |  |  |
|  | W.C | 20.0 | 6014/80 | Each | 120296/- |
| 2. | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hineges and buffers, 3 gallons white glazed earthen earthen ware low level foushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls, plinth and floor for Pipe connectios and making good in cement concerete 1: 2: 4. (Foreign Quality). |  |  |  |  |
|  |  | 9.0 | 114777/40 | Each | 103297/- |
| 3. | Providing & fixing 22" x 16" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in 2 coats after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or c.p. ba]rass traps, malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement cencrete 1:2:4 (Foreign or Equiivalant). |  |  |  |  |
|  |  | 25.0 | 6237/- | Each | 155925/- |
| 4. | Providing & fixing 6" x 2" or 6" x 3" C.I floor trap of the approved selt cleaning design with a C.I scrrewed down gratting with or without a vent arm complete with & I/c making requisite number of holes in walls, plinth & floor for Pipe connections & making good cement concrete 1:2:4. |  |  |  |  |
|  |  | 25.0 | 2042/43 | Each | Rs:50606/- |
| 5. | Providing & fixing 4" dia. C.I plain bend of the required degree including extra painting to match the colour of the building. S.I No 10 P.No 10 |  |  |  |  |
|  |  | 20.0 | 566/70 | Each | Rs:11334/- |
| 6. | Providing & fixing 4" x 4" x 4" dia plain C.I branch of the required degree including extra painting to match the colour of the building plain tee . S.I No 7 P.No 9 |  |  |  |  |
|  |  | 20.0 | 704/20 | Each | Rs:14040/- |
| 7. | Providing G.I pipes and specials etc i/c fixing cutting and fitting complete with & i/c the cost of cutting trench upto 2 ½”feet deep refilling watering ramming and disposal of surpluses earth within one chap and painting 2 coats of bitumen paint to pipes and special after clasaning and brass ran cloth soaked in maxphalt composition wrapped tightly round pipes and testing to pressure head 200 feet and handling. |  |  |  |  |
|  | ½ dia | 1x500 | 73/21 | P:RFT | Rs:36605/- |
|  | ¾”dia | 1x1100 | 95/79 | P:RFT | Rs:105369/- |
|  | 1”dia | 1x800 | 128/55 | P;RFT | Rs:102840/- |
| 8. | S/Fixing long bib- cock of superir quality with c.p head 1/2" dia. |  |  |  |  |
|  |  | 25.0 | 1109/46 | Each | Rs:27737/- |
| 9. | Add extra labour for concealed G.I Pipe & fittings I/c making recess in the wall for Pipe & making good in cement mortor etc. complete S.I No 2 P.No 12. |  |  |  |  |
|  | ½ “ dia | 1x350 | 7/82 | RFT | Rs:2737/- |
|  | ¾ “ dia | 1x400 | 8/45 | RFT | Rs:3380/- |
| 10. | Supplying & fixing C.P Muslim Showeer with double Bib cock & ring Pipe etc complete. |  |  |  |  |
|  |  | 9.0 | 3432/- | Each | Rs:30888/- |
| 11. | Providing & fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass screws.3/4" dia round or square (Superior quality). |  |  |  |  |
|  |  | 15.0 | 1412/95 | Each | Rs:21194/- |
| 12. | Providing & fixing24" x 18" bavelled edge mirror of belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat.superior Quality. |  |  |  |  |
|  |  | 15.0 | 2376/- | Each | Rs:35640/- |
| 13. | Supplying & Fixing swan type piller cock of Superior quality single c.p. head 1/2" dia. |  |  |  |  |
|  |  | 25.0 | 795/30 | Each | Rs:19875/- |
| 14. | Providing & fixing in position nyloon connections complete with 1/2" dia, brass stop cock with pair of brass nuts and lining joints to nyloon connection. |  |  |  |  |
|  |  | 25.0 | 447/15 | Each | Rs:11179/- |
| 15. | Providing, Laying Fiber Cement pressure pipes & Comet joints of Class 'B' and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to a head of 122 meter or 400 ft. |  |  |  |  |
|  | (4"dia) | 500.0 | 172/- | Each | Rs:86000/- |
| 16. | P/L UPVC pressure pipe of class “B”(equiralent make)fixing in trenche i/c cutting with joint with one rubber rain i/c testing with water to head 61meter or 200fts (Publ.health)(S>EIP No.22 |  |  |  |  |
|  |  | 360.0 | 137/- | Each | Rs:49320/- |
| 17. | Providing, Laying RCC pipes of A.S.T.M C-76-62 T/C-76-70 of Class II wall B and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. |  |  |  |  |
|  |  | 1950.0 | 412/- | Rft | Rs:803400/- |
|  |  |  |  | Total | 1791662/- |
|  | ------% Above / Below at Par |  |  |  |  |
|  | Contractor |  | EXECUTIVE ENGINEER EDUCATION WORKS DIVISION GHOTKI |  |  |