SCHEDULE “B”

NAME OF WORK:- 	ESTABLISHMENT OF JAM MUMTAZ HUSSAIN DAHAR GOVT: BOYS DEGREE COLLEGE UBAURO EXTERNAL DEVELOPMENT (EXTERNAL ELECTRIFICATION).

| S: No. | Item of work | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART “A”SCHEDULE

01.	Providing and fixing of M.S tabular pole as following specification tobe fixid on precast foundation with the help of hydraulic crane & manual labour . (S.1 No102 P-16)

10 Nos.			37797/-		P. No:		377970/-

02.	Providing and laying (Main or sub Main) PVC insulated with size 2-7/.036 copper conductor in ¾ dia PVC conduit on surface (S.I No:11 P. No: 2)

200			252/-		P.Mtr		50400/-

03.	Providing and laying (Main or sub Main) PVC insulated with size 2-7/64 copper condector in ¾ dia PVC conduit on surface (S.I No:14 P. No: 2)

200			641/-		P.Mtr		128200/-

04.	Manufactring providing & fixing G.I DOUBLE Arm canopy type with the help of hydraulic crane & manual labour as per site Requirement instruction  of with following specification G.I (S.I No:148 P. No:21)

02			3416/-		P.No:		6832/-

05.	Manufactring providing & fixing G.I DOUBLE Arm canopy type with the help of hydraulic crane & manual labour as per site Requirement instruction  of with following specification G.I (S.I No:146 P. No:21)

15			3196/-		P.No:		47940/-

06       Providing & fixing of street light 250 watts ( SON-T) havingtp66 classification with 250 watts      (S.I No:113 P. No:25)

10			24790/-		P.No:		247900/-

07.       Providing and fixing circuit Breaker 6,10,15,20,30,40,50,and 63amps S.P (TB-5S) on     prepared board as required (S.1.No.203.1P.31)

05			916/-		Per-No.		4580/-

08.       Providing and fixing R.C.C foundation as per follwing specification & instruction of E.I 31 ft/ 40ft long tubular pole  (S.1.No.19.1P.139)

10			15168/-		Per-No.		151680/-

Total       1075502/-

________% above/below on the rates of CSR.

### EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

GHOTKI

CONTRACTOR

PART “B” NON SCHEDULE

01.       Providing and fixing distribution board double shutter to necodoat irenlt breaker for other similer jobs on surface

06			1089/-		Per-sft.		6534/-

02.       P/F Eathing set with 2x2x1/4”coper plate buried in the ground at a depth of 12” or less if

water from the ground level with salt & charcoal ETC i/c making the pit 12” deep by excavation of all  type of soil earth plate to ber connection with No: 8 swg bare copperwire run in ½” G I pipe straight from the earth plate upto the metallic electrical scary including providing necessary Tee

57Nos.		 	3084/- 	         	  Each 		175788/-

03.       Providing and fixing conduct wire

67			600/-		Per-Rft.		20100/-

04.       Providing and fixing D-clamp

25			600/-		Per-No:.	15000/-

05.       Providing and fixing Insulator

25			600/-		Per-No:.	15000/-

Total Part B                   232422/-

Part (B) ________% above/below/@ Par on the rates of CSR.

### EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

GHOTKI

CONTRACTOR