SCHEDULE “B”

NAME OF SCHEME:	ESTABLISHMENT OF JAM MUMTAZ HUSSAIN DAHAR GOVT: BOYS DEGREE COLLEGE UBAURO CONSTRUCTION OF GUARD ROOM I/C MAIN GATE TALUKA UBAURO.

| S.No. | Name of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |
|  |  | 313.0 | 3176/25 | %o CFT | Rs:994/- |
| 2. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:5:10 (S. I No: 4 (c) P. No: 15). |  |  |  |  |
|  |  | 126.0 | 8694/25 | %CFT | Rs:10956/- |
| 3. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |
|  |  | 247.0 | 11948/36 | %CFT | Rs:29512/- |
| 4. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |
|  |  | 149.0 | 337/- | P.CFT | Rs:50213/- |
| 5. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |
|  | Tor bar 6.651 |  | 5001/70 | P:CWT | Rs:33262/- |
|  | Mild Bar 1.330 |  | 4820/20 | P.CWT | Rs:6411/- |
| 6. | Pacca brick work in ground floor 1:6 in cement sand (S. I No: 5 P. No: 21). |  |  |  |  |
|  |  | 389.0 | 12674/36 | % Cft | Rs:49303/- |
| 7. | Cement plaster 1:6 upto 20’ height ½ “ thick (S. I No: 13 (b) P. No: 52). |  |  |  |  |
|  |  | 1389.0 | 2206/60 | %SFT | Rs:30650/- |
| 8. | Cement plaster 1:4 upto 20’ height 3/8” thick (S. I No: P. No: 52). |  |  |  |  |
|  |  | 1389.0 | 2197/52 | %SFT | Rs:30524/- |
| 9. | S/F Girder at site of work |  |  |  |  |
|  |  | 12.00 | 3850/- | P.Cwt | Rs:9898 |
| 10. | S/F Tear at site of work |  |  |  |  |
|  |  | 3.013 | 3575/- | P.Cwt | Rs:10771/- |
| 11. | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position (S.I No: 6 P. No: 91). |  |  |  |  |
|  |  | 5.584 | 186/34 | P.Cwt | Rs:1043/- |
| 12. | Second class tile roofing consisting of 4" earth and 1" mud plaster with Gobri leeping over 1/2"thick cement plaster 1:6 with 34 Lbs. Of hot bitumen coating sand blinded, provided over one layer of 12" x 6"x2" tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc (S. I No: 2 P. No: 33). |  |  |  |  |
|  |  | 190.0 | 7607/25 | % Sft | Rs:14444/- |
| 13. | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividiing into panels: 3" thick S.I No 16 D , P.No 42 |  |  |  |  |
|  |  | 151.0 | 4411/82 | % SFT | Rs:6662/- |
| 14. | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing. S.I No 29 P.No 93 |  |  |  |  |
|  |  | 17.0 | 228/90 | P.RFT | Rs:3891/- |
| 15. | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.S.I No 28 P.No 93 |  |  |  |  |
|  |  | 68.0 | 240/50 | P.RFT | Rs:16354/- |
| 16. | Supplying & fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design including painting 3 coats etc. complete (weight not to be less than 3.7 Lbs./Sq . Foot of finished grill). S.I No 26 P.No 93 |  |  |  |  |
|  |  | 41.0 | 180/50 | P.SFT | Rs:7401/- |
| 17. | Providing and laying HALA or gattewrn tilles glazed 8" x 8" x1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing , cleaning and cost of wax ploish etc. complete including cutting tiles to proper profile. S.I No 62 P.No 48 |  |  |  |  |
|  |  | 144.0 | 34520/31 | % Sft | Rs:49709/- |
| 18. | First class Deodar wood framed braced & battened colors & windows complete with iron fitting & fixed in position i/c chowkats 1 ¾ “ thick with battens & ¾ planks (S. I No: 10 P. No: 59). |  |  |  |  |
|  | Only Shutter | 62.0 | 902/93 | P:SFT | Rs:37280/- |
| 19. | Preparing surface painting guards bars gates realing similar any type 3 coats. (New Surface) |  |  |  |  |
|  |  | 329.0 | 1270/83 | P.Sft | Rs:4181/- |
| 20. | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangemtnt. S.I No 24 P.No 52 |  |  |  |  |
|  |  | 112.0 | 726/72 | P.Sft | Rs:81393/- |
| 21. | Priming coat of chalk distemper. S.I No 23 P.No 54 |  |  |  |  |
|  |  | 1451.0 | 442/75 | % Sft | Rs:6424/- |
| 22. | Distempering.Three coats S.I NO 24 ( C) P.No 54 |  |  |  |  |
|  |  | 1451.0 | 1079/65 | % Sft | Rs:15666/- |
| 23. | Preparing surface painting doors and window open work three coats |  |  |  |  |
|  |  | 145.0 | 2116/41 | % Sft | Rs:3069/- |
|  |  |  |  | Total | 510011/- |
|  | ------% Above / Below on the rates CSR |  |  |  |  |
|  | Contractor |  | EXECUTIVE ENGINEER EDUCATION WORKS DIVISION GHOTKI |  |  |