SCHEDULE “B”

NAME OF SCHEME:	ESTABLISHMENT OF JAM MUMTAZ HUSSAIN DAHAR GOVT: BOYS DEGREE COLLEGE UBAURO G/FLOOR AND F/FLOOR (RESIDUAL WORK) TALUKA UBAURO.

| S.No. | Name of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |
|  |  | 209.0 | 3176/25 | %o CFT | Rs:664/- |
| 2. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:5:10 (S. I No: 4 (c) P. No: 15). |  |  |  |  |
|  |  | 249.0 | 8694/25 | %CFT | Rs:21650/- |
| 3. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |
|  |  | 313.0 | 11948/36 | %CFT | Rs:37398/- |
| 4. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |
|  | G/Floor | 593.0 | 337/- | P.CFT | Rs:199841/- |
|  | F/Floor | 350.0 | 349/10 | P.CFT | Rs:122185/- |
| 5. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |
|  | Tor bar 46.308 |  | 5001/70 | P:CWT | Rs:231619/- |
| 6. | Pacca brick work in ground floor 1:6 in cement sand (S. I No: 5 P. No: 21). |  |  |  |  |
|  |  | 661.0 | 12674/36 | % Cft | Rs:83778/- |
|  | F/Floor | 321.0 | 13112/99 | % Cft | Rs:42093/- |
| 7. | Cement plaster 1:6 upto 20’ height ½ “ thick (S. I No: 13 (b) P. No: 52). |  |  |  |  |
|  | G/Floor | 835.0 | 2206/60 | %SFT | Rs:18425/- |
|  | F/Floor | 2519.0 | 2347/57 | %SFT | Rs:59135/- |
| 8. | Cement plaster 1:4 upto 20’ height 3/8” thick (S. I No: P. No: 52). |  |  |  |  |
|  | G/Floor | 835.0 | 2197/52 | %SFT | Rs:18349/- |
|  | F/Floor | 2519.0 | 2338/49 | %SFT | Rs:58907/- |
| 9. | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. S.I No 24 P.No 43 |  |  |  |  |
|  |  | 239.0 | 27678/86 | % SFT | Rs:66152/- |
| 10. | White glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4" thick including finishing. S.I No 37 P.No 45 |  |  |  |  |
|  |  | 858.0 | 28253/61 | % SFT | Rs:242416/- |
| 11. | Providing & Lying Floor of Verona marble of size 12”x12”x3/4 fine dressed on the surface without , including curing,grinding,rubbing and chemical polishing etc complete i.c cutting tiles to proper profile. (RA) |  |  |  |  |
|  |  | 4704.0 | 307/- | P.Sft | Rs:1444128 |
| 12. | Providing and fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado skirting anf facing removal /tucking of existing plaster surface ete. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry , currint finishing, cleaning and ploishing etc. complete.S.I No 68 (i) P.No 49 |  |  |  |  |
|  |  | 682.0 | 186/04 | P.SFt | Rs:126879/- |
| 13. | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing. S.I No 29 P.No 93 |  |  |  |  |
|  |  | 76.0 | 228/90 | P.RFT | Rs:17396/- |
| 14. | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing.S.I No 28 P.No 93 |  |  |  |  |
|  |  | 243.0 | 240/50 | P.RFT | Rs:58320/- |
| 15. | Supplying & fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design including painting 3 coats etc. complete (weight not to be less than 3.7 Lbs./Sq . Foot of finished grill). S.I No 26 P.No 93 |  |  |  |  |
|  |  | 289.0 | 180/50 | P.SFT | Rs:52165/- |
| 16. | Supplying & fixing inposition Aluminium channels framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks I/c handles, stoppers etc. S.I No 83 (b) P.No 108 |  |  |  |  |
|  |  | 72.0 | 1507/66 | P.Sft | Rs:108552/- |
| 17. | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete. S.I No 84 (b) P.No 108 |  |  |  |  |
|  |  | 144.0 | 1647/69 | P.Sft | Rs:237267/- |
| 18. | Providing and laying HALA or gattewrn tilles glazed 8" x 8" x1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing , cleaning and cost of wax ploish etc. complete including cutting tiles to proper profile. S.I No 62 P.No 48 |  |  |  |  |
|  |  | 1945.0 | 34520/31 | % Sft | Rs:671420/- |
| 19. | First class Deodar wood framed braced & battened colors & windows complete with iron fitting & fixed in position i/c chowkats 1 ¾ “ thick with battens & ¾ planks (S. I No: 10 P. No: 59). |  |  |  |  |
|  |  | 206.0 | 902/93 | P:SFT | Rs:186004/- |
| 20. | Cement concrete plain i/c placing compacting finishing and curing complete (i/c screening and washing at stone aggregate without ratio 1:2:4(SI.No.5(f)P.15) |  |  |  |  |
|  | G/Floor | 73.0 | 14429/25 | % CFT | Rs:10533/- |
|  | F/Floor | 655.0 | 15639/25 | % Cft | Rs:102437/- |
| 21. | Priming coat of chalk distemper. S.I No 23 P.No 54 |  |  |  |  |
|  |  | 42460.0 | 442/75 | % Sft | Rs:187992/- |
| 22. | Distempering.Three coats S.I NO 24 ( C) P.No 54 |  |  |  |  |
|  |  | 42460.0 | 1079/65 | % Sft | Rs:458462/- |
| 23. | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. |  |  |  |  |
|  |  | 13687.0 | 2567/95 | % Sft | Rs:351475/- |
| 24. | Providing & fixing Aluminium sheet 6" to 9" with V-Notch for expansion joints I/c fixing with nails / screws. S.I No 88 P.No 109 |  |  |  |  |
|  |  | 166.0 | 207/51 | P.Rft | Rs:34447/- |
| 25. | Preparing surface painting doors and window open work three coats |  |  |  |  |
|  |  | 8526.0 | 2116/41 | % Sft | Rs:180445/- |
|  |  |  |  | Total | 5430534/- |
|  | ------% Above / Below on the rates CSR |  |  |  |  |
|  | Contractor |  | EXECUTIVE ENGINEER EDUCATION WORKS DIVISION GHOTKI |  |  |